## Slide 1: What is “MRPI”?
Multi-campus Research Programs and Initiatives
  Offered by: UC Office of Research and Graduate Studies
Wide range of fields
  Nanotech, Arts, Climate, Gender Studies, Sustainability, Health
Total Budget: $9.5M, we got $2.6M
ALS 8.3.1 MRPI Project Goals:
  Upgrade ALS 8.3.1 to latest technology
  Open up access to all UC structural biology labs
  Transition to sustainable funding sources
Notes: Brief description of what MRPI is. The University of California seeks to support collaboration between campuses in ways that benefit the entire system the most.
Funding was very limited, and it is extremely remarkable that we got this and our budget was not cut.

## Slide 2: ALS 8.3.1 MRPI Business meeting
Overview of the Beamline
PRT Structure
Scheduling and Allocation
Future upgrade plans
Financial report

## Slide 3: ALS 8.3.1 MRPI Business meeting
Overview of the Beamline
PRT Structure
Scheduling and Allocation
Future upgrade plans
Financial report

## Slide 4: It’s Official

## Slide 5: What is ALS Beamline 8.3.1 ?
Macromolecular Crystallography (MX)
  MAD, 1x1012 ph/s, Pilatus 6M
  Technology development
    Room temp, Elves, multi-crystal
  Staff: Holton, Meigs, Tanamachi, Classen*
Landmark and highly productive facility
  1st ALS SuperBend beamline – constructed 2001
  1 of 10 in USA with >1000 PDBs/10 years running
    Others: 2 at SSRL, 7 at APS
  8% of all membrane protein structures
  996 distinct users from 57 institutions
  1407 structures, 636 pubs, 227 high-impact
45% MRPI
20% MRPI
25% * 6 month
Notes: ALS 8.3.1 is a very productive facility. Our focus is on maximizing efficiency of the user experience.
The MRPI funds are not just to maintain this facility, but to upgrade it. The new detector is 50x faster, more sensitive and more accurate than the existing detector, and an optics upgrade will match these capabilities.
We will exceed the modern standard of screening and data collection by offering completely automated mail-in raster-based screening
This will position ALS 8.3.1 as the centerpiece of structural biology for the UC system

## Slide 6
Apr 20 2016

## Slide 8: New Pilatus3 6M at ALS 8.3.1
Apr 20 2016

## Slide 9: New Pilatus3 6M at ALS 8.3.1
13:41 9-22-2016 Plexxkon’s first Pilatus shift

## Slide 10: MRPI Technical Highlights
Dectris Pilatus3 6M installation - May 2016
  25 Hz framing, 2 ms dead time, previously 0.3 Hz
  0.8% calibration error, previously 2.5%
  Repaired and re-installed 6 times, 10% replaced
Complete control system update
  Shutterless data collection
  “Rastering” automated sample alignment
  Re-write 64k lines of code
Overhaul of data archiving infrastructure
  LTO4 to LTO6, support USB3 user hard drives
First remote data collection – Apr 2017

## Slide 11: ALS 8.3.1 data collection history
images x 106

## Slide 12: Shutterless rastering now available
Membrane
protein crystal
X-ray beam
ice

## Slide 13
BLU-ICE “screening tab” almost integrated

## Slide 14: ALS robots
5.0.2
5.0.1
5.0.3
MBC 4.2.2
ACTOR
8.2.2
8.3.1
Cool Hand Luke
8.2.1
12.3.1 SIBYLS
ACTOR
Berkeley
Auto-
Mounter
ALS MX robots
Stanford
Auto-
Mounter

## Slide 15: Pin compatibility
SLAC
ALS
SPINE

## Slide 16: SuperTong

## Slide 17: What if we didn’t have to choose?
Caltech
SSRL
Yale
Oxford
SPring-8
SPINE
MiTeGen RT
Syrrx
H. magnetic
H. hybrid
H. copper
H. screw cap
H. colored
Hampton screw cap
Hampton magnetic

## Slide 18: “infinite capacity” sample carousel

## Slide 19: Carousel open

## Slide 20
pinhole
mirror
microscope
SBS
format
crystallization
tray
Notes: Inspired by the ESRF microcrystal camera, the superbend endstations are all equipped with zero-paralax optics. The user sees their sample from the point of view of the x-ray beam. Sample alignment is not only more stable but more intuitive than an off-axis camera. Placing the crystal into the microscope crosshairs gaurantees that it will be hit by the beam.

## Slide 21
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 22
NatX-ray
CrystalQuick™ X
250 μm
~50 μm tape
Fluidigm
Topaz® DC
200 μm
PDMS
PDMS
MiTeGen
in-situ-1
100 μm
~50 μm tape
in-situ diffraction trays
CrystalDirect
~50 μm tape
25 μm
Microlytic
Crystal Former™
1000 μm
Notes: Next slide please

## Slide 23: scattering/absorptoin “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
Optimum: support thickness = crystal thickness

## Slide 24: Match crystal to beam
X-ray beam size (μm)
Resolution (Å)
too big
too small
just right

## Slide 25: “8-shooter” adjustable beam size
rotary
pinholes:
300
100
75
50
30
25
15

## Slide 26
1% high
average
1% low
Relative Pixel
Calibration
ALS 8.3.1
Pilatus3 6M
0.9793 Å x-rays
RMS = 0.8%

## Slide 27
Required signal-to-noise (I/σ)
Solve-able proteins (%)
CCD
old Pilatus
Goal
Threshold of a revolution in phasing
8.3.1’s Pilatus

## Slide 28: ALS 8.3.1 capabilities
200s data sets in shutterless mode
Support for room temperature
in-situ screening from trays
15-100 μm beam sizes
True BLU-ICE interface
Touch screen centering
Infinite capacity sample carousel
Automated data backup
Remote operation

## Slide 29: ALS 8.3.1 MRPI Business meeting
Overview of the Beamline
PRT Structure
Scheduling and Allocation
Future upgrade plans
Financial report

## Slide 30: What is a PRT?
8.3.1
Participating Research Team
Advanced
Light Source
PRT
Memorandum
of Understanding
(MOU)
UCSF
UCB
Plexxikon Inc.
MD Anderson CRC
25% free
General Users

## Slide 31: What is a PRT?
8.3.1
Participating Research Team
Advanced
Light Source
PRT
Memorandum
of Understanding
(MOU)
UC
Plexxikon Inc.
25% free
General Users

## Slide 32: UC – beamline organization
LBNL
Director: Michael Witherall
Dep. Director: Horst Simon
ALS
Roger Falcone
MBIB
Paul Adams
UCOP
Janet Napolitano
James Holton
George Meigs
Jane Tanamachi
8.3.1
UCD
UCSF
UCB
UCI
UCLA
UCSC
UCSD
MRPI
Bob Stroud
Plexxikon

## Slide 33: ALS 8.3.1 MRPI Business meeting
Overview of the Beamline
PRT Structure
Scheduling and Allocation
Future upgrade plans
Financial report

## Slide 34: How do I get time on ALS 8.3.1?
Check for available shifts on the schedule:
http://bl831.als.lbl.gov/
Contact Jane Tanamachi!
JTanamachi@LBL.GOV
510-495-2404
No proposals, no reviews, no kidding

## Slide 35: BL8.3.1 online schedule

## Slide 36: ALS 8.3.1 beam time allocation
PRT Member | allocation | Details
General Users | 25% | Mandated by DOE
Staff | 9% | development & testing
Plexxikon | 5% | 5-year contract just renewed
UC | 35.5% total | MRPI ends Dec 2018
UCSF | 18.5% | Sandler, ETAC & NIH IAA
UCB | 7.1% | Same as other UCs
Total | 600 shifts | 200 days/year

## Slide 37: Please Acknowledge!
UC Office of the President, Multicampus Research Programs and Initiatives (MRPI) grant MR‐15‐328599
and the “Program for Breakthrough Biomedical Research (PBBR), which is partially funded by the Sandler Foundation”

## Slide 38: Please email !
Has MRPI support led to any additional extramural funds being brought into UC?
Describe in lay terms one major accomplishment or success of your project to date.
JTanamachi@LBL.GOV

## Slide 39: ALS 8.3.1 MRPI Business meeting
Overview of the Beamline
PRT Structure
Scheduling and Allocation
Future upgrade plans
Financial report

## Slide 40: ALS 8.3.1 possible upgrades
Unattended screening ~1 y
Shutterless helical scans ~3 mo
Upgrade to Pilatus X $700k
Multilayers for rastering ~$300k
Kappa goniostat $140k
ALS-U in 2022 ~$10M

## Slide 41: ALS 8.3.1 possible upgrades
Unattended screening ~1 y
Shutterless helical scans ~3 mo
Upgrade to Pilatus X $700k
Multilayers for rastering ~$300k
Kappa goniostat $140k
ALS-U in 2022 ~$10M

## Slide 42: Interleaved Scheduling
experiment queue
beamline
Minor 30s
Choe 120s
Alberta 60s
Alberta 60s
Choe 30s
Minor 30s

## Slide 43: ALS 8.3.1 possible upgrades
Unattended screening ~1 y
Shutterless helical scans ~3 mo
Upgrade to Pilatus X $700k
Multilayers for rastering ~$300k
Kappa goniostat $140k
ALS-U in 2022 ~$10M

## Slide 44: “rastering” to find the crystal
Membrane
protein crystal
X-ray beam
ice

## Slide 45: ALS 8.3.1 possible upgrades
Unattended screening ~1 y
Shutterless helical scans ~3 mo
Upgrade to Pilatus X $700k
Multilayers for rastering ~$300k
Kappa goniostat $140k
ALS-U in 2022 ~$10M

## Slide 46: PAD full vs partial
iteration
Summed intensity

## Slide 47: Optimal exposure time (anomalous on a PAD)
time
intensity
2.03 ms

## Slide 48: Optimal exposure time (anomalous on EIGER)
time
intensity
0.003 ms

## Slide 49: Optimal exposure time (anomalous on a PAD)
tmad Optimal exposure time (s)
tro read-out time (s)
2.03 ms on Pilatus3 S
0.95 ms on Pilatus3 X
Pilatus S
>0.2 s/frame
Upgrade:
>0.1 s/frame
8.3.1 is too
hot for Pilatus
Attenuate for MAD

## Slide 50: ALS 8.3.1 possible upgrades
Unattended screening ~1 y
Shutterless helical scans ~3 mo
Upgrade to Pilatus X $700k
Multilayers for rastering ~$300k
Kappa goniostat $140k
ALS-U in 2022 ~$10M

## Slide 51: Fast “death ray” switching
Si(111)
Existing mono
Si(111)
ML
ML
0.014 % (5 min)

## Slide 52
Si(111)
Existing mono
ML
ML
1 % (~4 s)
Si(111)
Fast “death ray” switching

## Slide 53: Wide bandpass reveals mosaicity from a still
Snell EH, Weisgerber S, Helliwell JR, Holzer K & Schroer K (1995)."Improvements in lysozyme protein crystal perfection through microgravity growth", Acta crystallographica. Section D, Biological crystallography 51, 1099-1102.
low mosaic
high mosaic
Δradial = 2ηD/cos22θ

## Slide 54: Si(111) vs multilayers
0.014%
Si(111)
1%
multilayer
4 Å
1.9 Å
resolution
spectral
dispersion

## Slide 55: Wide-bandpass MX?
Mono | Si(111) | multilayer | Difference (%) | good
Energy (eV) | 11111 | 12027.5 | +8.2 | Same
Scale | 1.0000 | 1.0964 | +9.6 | Yes
Rmerge (%) | 7.5 | 8.4 | +12 | No
Ranom (%) | 5.6 | 5.5 | -1.8 | Same
I/sd | 13.2 | 12.3 | -6.8 | Same
I/sd (1.5Å) | 2.3 | 1.8 | -21.7 | No
Ano Patt | 5.96 | 4.75 | -20.3 | Same
Ano Phased | 41 | 39.33 | -4.1 | Same
FOM | 0.238 | 0.192 | -19.3 | Same
CC | 0.555 | 0.647 | -6.1 | Yes
Rcryst (%) | 26.70 | 26.48 | -0.2 | Same
Ligand peak | 8.213 | 8.250 | +0.4 | Same

## Slide 56: ALS 8.3.1 possible upgrades
Unattended screening ~1 y
Shutterless helical scans ~3 mo
Upgrade to Pilatus X $700k
Multilayers for rastering ~$300k
Kappa goniostat $140k
ALS-U in 2022 ~$10M

## Slide 57
SmarAct’s
“SmarGon”
Commercialized
PRIGo

## Slide 58: ALS 8.3.1 possible upgrades
Unattended screening ~1 y
Shutterless helical scans ~3 mo
Upgrade to Pilatus X $700k
Multilayers for rastering ~$300k
Kappa goniostat $140k
ALS-U in 2022 ~$10M

## Slide 59: ALS-U ring upgrade in 2022
Pros
Diffraction-limited source
Coherent up to 2 keV
Smaller source
6x flux onto 6 μm xtal
Undulator:
  5x flux of 8.3.1
  ~2x more flux after ALS-U
  0.7 μm beam vs 10 μm
Serial xtallography
Fine, fast rastering
Cons
1 year of dark
No coherence effect in MX
No flux increase (ph/s)
No change for xtals > 36 μm
$10M to keep superbend
Undulator BL = $10M
Only 1 more undulator slot
Xtals die in 2.4 ms
Are your xtals 0.7 μm ?

## Slide 60: ALS-U: Small, soft beams

## Slide 61: ALS-U: Small, soft beams
Diamond
($100, reusable)

## Slide 62: ALS-U: Small, soft beams
Diamond
($100, reusable)
oil ?

## Slide 63: ALS-U: Small, soft beams
Diamond
($100, reusable)
oil ?

## Slide 64: ALS-U: Small, soft beams
oil ?
λ=2d sinθ
2.5 Å data
with 5 Å X-rays
Only analytic absorption correction:
International Tables for Crystallography, Vol. C, 2nd ed., chapter 6.3

## Slide 65
Photon Energy (eV)
Anomalous f” (electrons)
2472.7 2473.5
Bohic et al. Anal. Chem. 2008; 80(24):9557. doi: 10.1021/ac801817k

## Slide 66: S-MAD Sample size Dilemma

## Slide 67
Required signal-to-noise (I/σ)
Solve-able proteins (%)
Single-spot limit
CCD
& early PAD
Single-spot limit
latest PAD
(uncalibrated)
Single-spot limit
Perfect detector
Threshold of a revolution in phasing

## Slide 68: ALS 8.3.1 possible upgrades
Unattended screening ~1 y
Shutterless helical scans ~3 mo
Upgrade to Pilatus X $700k
Multilayers for rastering ~$300k
Kappa goniostat $140k
ALS-U in 2022 ~$10M

## Slide 69: ALS 8.3.1 MRPI Business meeting
Overview of the Beamline
PRT Structure
Scheduling and Allocation
Future upgrade plans
Financial report

## Slide 70: 8.3.1 beam time distribution: 2017
26.5%
Staff/Development
9%
Chart: 
| General User | Staff | UCSF | UCB | UCLA | UCI | UCSC | UCSD | UCD | Plexxikon
Sales | 25 | 9 | 18.5 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 5
General User
Program
25%
18.5%
UC Berkeley
9%
Plexxikon
5%
7.1%
UC Davis
UC Santa Cruz
UCLA
UC Irvine
UC San Diego
7.1%
7.1%
7.1%
7.1%
7.1%

## Slide 71: ALS 8.3.1 total funding: Sep 2017
Chart: 
| NIGMS IAA | R01 | ALS-ENABLE | Plexxikon | Sandler | LBNL | UCOP MRPI
Contributions | 140 | 212 | 302 | 145 | 156 | 480 | 405
Inter-Agency
Agreement
$140k
$145k
$405
Plexxikon
Inc.
UC
Office of the
President
MRPI
$156k
$0
$212k
Sandler
R01 GM124149
$480k
LBNL
full-cost recovery
LBNL overhead
must be paid out of unrestricted funds
Deputy Director Horst Simon awarded: Jul 26 2017
P30 GM124169
ALS-ENABLE
Holton
Adams
Stroud
Stroud
$303k

## Slide 72: BL8.3.1 PRT member contributions ($k)
Year | 2012 | 2013 | 2014 | 2015 | 2016 | 2017
Gen. Users | 0 | 0 | 0 | 0 | 0 | 0
7x UC | 0 | 0 | 0 | 644 | 644 | 644
Plexxikon | 250 | 125 | 125 | 125 | 325 | 125
MD Anderson | 75 | 130 | 130 | 130 | 10 | 0
UCSF | 180 | 180 | 180 | 325 | 395 | 811
UCB | 0 | 0 | 0 | 0 | 0 | 0
Total | 505 | 435 | 435 | 1255 | 1455 | 1580

## Slide 73: Long-term funding plans
NIH support requested since MRPI
  P41 $7.0M, score = 26, not funded Council
  IAA $750k awarded to Holton @LBNL
  P30 $1.8M/5 awarded to Adams @LBNL
  R01 $1M/5 awarded to Holton @UCSF
Cost-saving plans
  Move Meigs position to UCSF
  Large equipment purchased by UCSF

## Slide 74: BL8.3.1 Beam Time Allocation (%)
Year | 2012 | 2013 | 2014 | 2015 | 2016
Gen. Users | 25 | 25 | 25 | 25 | 25
R&D | 9 | 9 | 9 | 9 | 9
Plexxikon | 8 | 6 | 6 | 6 | 6
MD Anderson | 3 | 5 | 8 | 8 | 8
UCSF | 27.5 | 27.5 | 26 | 18.5 | 25
UCB | 27.5 | 27.5 | 26 | 9.7 | 6.8
4 other UC | 0 | 0 | 0 | 6.2 | 5.3
Total | 100 | 100 | 100 | 100 | 100

## Slide 75: What we ask of you
Tell us about your accomplishments
Tell us when you get grants
Tell us what you need!
Support our petition to LBL Deputy Director to continue MRPI
Acknowledge beamline in your papers
  MR‐15‐328599
  P30 GM124169
  R01 GM124149

## Slide 76: BL8.3.1 Financial Support: 2016
Award | dates | source
$2,578,000 | 01/01/15 – 12/31/18 | MRPI: University of California Office of the President (not renewable), $240k at LBNL
$357,492 | 12/15/14 – 12/15/16 | UCSF-PBBR: Program for Breakthrough Biomedical Research (not renewable)
$70,000 | 01/01/16 – 01/01/17 | UCSF-ETAC: shared equipment grant
$750,000 | 08/22/14 – 09/30/19 | National Institutes of Health Inter-Agency Agreement (non renewable)
$625,000 | 05/01/12 – 04/30/16 | Plexxikon Inc.
$500,000 | 05/01/16 – 04/30/21 | Plexxikon Inc.
$130,000 | 08/12/15 – 08/11/16 | M. D. Anderson Cancer Research Center
Planned: |  | 
$6,567,804 | 04/01/16 – 03/31/21 | NIH P41 – X-ray Structural Biology Resource
$130,000 | 08/12/16 – 08/11/17 | M. D. Anderson Cancer Research Center

## Slide 77: BL8.3.1 Staff Effort
Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
sci: James Holton | 0.9 | 0.9 | 0.9 | 0.9 | 0.6 | 0.75
tec: George Meigs | 0.9 | 0.9 | 0.9 | 0.9 | 1.0 | 1.0
adm: Jane Tanamachi | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Total | 2.00 | 2.00 | 2.00 | 2.00 | 1.80 | 1.95

## Slide 78: UCOP MRPI Budget
https://proposalcentral.altum.com

## Slide 79: UCOP MRPI Award status
https://proposalcentral.altum.com

## Slide 80: University of California MRPI Multicampus Research Programs and Initiatives
Offered by: UC Office of Research and Graduate Studies
Wide range of fields: Nanotech, Arts, Climate, Gender Studies, Sustainability, Health
Total Budget: $9.5M / 2 years
2-4 year projects
We asked for: $2.7M / 4 years
Got $2.6M
Notes: Brief description of what MRPI is. The University of California seeks to support collaboration between campuses in ways that benefit the entire system the most.
Funding was very limited, and it is extremely remarkable that we got this and our budget was not cut.

## Slide 81: On-site users from new campuses
Fisher, Andrew | UC Davis
Wilson, David | UC Davis
Matthews, Melissa | UC Davis
Hurlburt, Nicholas | UC Davis
Lal, Neeraj | UC Davis
Feng, Yinghui | UC Davis
Liu, Yuandong | UC Davis
Monteleone, Leanna | UC Davis
McPherson, Alex | UC Irvine
Egea, Pascal | UCLA
Jose Rodriguez | UCLA (Aug 25)
Podust, Larissa | UC San Diego
Pereira, Caibe Alves | UC San Diego
Rubin, Seth | UC Santa Cruz
Tripathi, Sarvind | UC Santa Cruz
Marceau, Aimee | UC Santa Cruz
Guiley, Keelan | UC Santa Cruz
Partch, Carrie | UC Santa Cruz
Goularte, Nicolette | UC Santa Cruz
Luu, Jansen | UC Santa Cruz
Liban, Tyler | UC Santa Cruz
Heisler, Joel | UC Santa Cruz
Liwang, Andy | UC Santa Cruz
Parameshwaran, Ramanan | UC Santa Cruz
Fedechkin, Stas | UC Santa Cruz
Notes: Since access to 8.3.1 was opened up by the MRPI award, a growing number of new users have been coming to 8.3.1. Those shown here have been on-site and traveled to LBNL to use the facility. Now that we have remote operation capabilities we expect this list to grow sharply.