## Slide 1: Where do the X-rays come from?

## Slide 2: Electric charge
balloon
Wool Sweater
-
-
-
-
-
-
+ + + + + +

## Slide 3: Electric field of a moving charge

## Slide 4: Electric field of a moving charge
accelerating charges
make
electromagnetic waves
(light)

## Slide 5: Bending Magnet
N
electron beam
X-rays !
S

## Slide 6: Two Bending Magnets
N
electron beam
S
S
N
2x X-rays !

## Slide 7: Wiggler
N
S
N
S
N
S
N
S
S
N
S
N
S
N
S
N
8x X-rays !

## Slide 8: Undulator
N
S
N
S
N
S
N
S
S
N
S
N
S
N
S
N
> 8x X-rays !

## Slide 9: Undulator emission spectrum

## Slide 10: LCLS undulator hall

## Slide 11: LCLS at SLAC

## Slide 12: Electric field of a moving charge

## Slide 13: SASE effect

## Slide 14: Self-Amplified Stimulated Emission (SASE) effect

## Slide 15: Accelerator-based light source terminology
Code name Translation
First Generation Bending Magnet
Second Generation Wiggler
Third Generation Undulator
Fourth Generation Free electron laser

## Slide 16: The truth about x-ray beams
Term units significance
Flux photons/s duration of experiment
Beam Size μm match to crystal
Divergence mrad spot size vs distance
Wavelength Å resolution and absorption
Emittance size x div constant limited by source/optics
Flux density ph/s/area scattering/damage rate
Fluence ph/area radiation damage

## Slide 17: Spot Shape
Ewald sphere
(h,k,l)

## Slide 18: Spot Shape
Ewald sphere
(h,k,l)
d*

## Slide 19: Spot Shape
Ewald sphere
spindle axis
(h,k,l)
d*

## Slide 20: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 21: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 22: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)

## Slide 23: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 24: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
θ
λ = 2 d sin(θ)

## Slide 25: Spot shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 26: beam divergence
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 27: beam divergence
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
Ewald sphere
λ*
λ*

## Slide 28: divergence = 0 º

## Slide 29: divergence = 0.3 º

## Slide 30: beam divergence
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 31: spectral dispersion
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 32: spectral dispersion
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ’*
λ’*

## Slide 33: dispersion = 0

## Slide 34: dispersion = 0.014% (Si 111)

## Slide 35: dispersion = 0.25% (CuKα)

## Slide 36: dispersion = 0.6%

## Slide 37: dispersion = 1.3%

## Slide 38: dispersion = 2.6%

## Slide 39: dispersion = 5.1%

## Slide 40: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 41: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 42: mosaic spread = 0 º

## Slide 43: mosaic spread = 0.1º

## Slide 44: mosaic spread = 0.2º

## Slide 45: mosaic spread = 0.4º

## Slide 46: mosaic spread = 0.6º

## Slide 47: mosaic spread = 0.8º

## Slide 48: mosaic spread = 1.0º

## Slide 49: mosaic spread = 1.5º

## Slide 50: mosaic spread = 2.0º

## Slide 51: mosaic spread = 2.5º

## Slide 52: mosaic spread = 3.2º

## Slide 53: mosaic spread = 6.4º

## Slide 54: mosaic spread = 12.8º

## Slide 55
Ewald’s “mosaic” picture
What is
this stuff?

## Slide 56
Darwin’s original picture

## Slide 57
“mosaicity” with visible light

## Slide 58: mosaic block = “coherence length”
James R. W. (1962) Optical Principles of the Diffraction of X rays. Ox Bow press.

## Slide 59: Scattering: line of atoms
10 atoms
0.1 μm
50 atoms
0.5 μm
100 atoms
1 μm
200 atoms
2 μm
300 atoms
3 μm
400 atoms
4 μm
500 atoms
5 μm
1000 atoms
10 μm
position on detector (mm)
intensity (photons/SR/atom)

## Slide 60
“crystal”
detector
x-ray beam
peak
intensity
integrated
intensity
Scattering: line of atoms

## Slide 61: Scattering: line of atoms
B factor
mosaic
spread
peak intensity (photons/SR)
number of atoms in line
mosaic
block
size
depends on detector distance !!!
integrated intensity never changes

## Slide 62: spot shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ’*
λ’*
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
Ewald sphere
λ*
λ*
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 63: Point Spread Function
“realistic” PSF
“no” PSF

## Slide 64: Law of Convolution
12 + 12 = 1.42
32 + 12 = 3.22
σtotal2 = σ12 + σ22

## Slide 65: Where do the X-rays go?

## Slide 66: Where do photons go?
beamstop
Transmitted (98%)
Protein
1A x-rays

## Slide 67: Photonuclear absorption

## Slide 68: Photonuclear absorption

## Slide 69: Elastic scattering

## Slide 70: Elastic scattering

## Slide 71: How big is an atom?
C
1 Ångstrom (Å)
1 nanometer (10-9 m)
N
O
S
H
U

## Slide 72: How big is an atom?
U
C
N
O
S
H
as seen by X-rays

## Slide 73: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
Protein
1A x-rays

## Slide 74: Elastic scattering

## Slide 75: Inelastic scattering

## Slide 76: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
Protein
1A x-rays

## Slide 77: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays

## Slide 78: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 79: Photoelectric absorption

## Slide 80: Photoelectric absorption
e-
+

## Slide 81: Fluorescence
+

## Slide 82: Fluorescence
e-
+

## Slide 83: Fluorescence-based x-ray sources

## Slide 84: What limits the source?
Fluorescence-based source:
Thermal distortion of anode
Accelerator-based source
Quality of optics
Electric bill

## Slide 85: How much brighter is the synchrotron?
MX2:
2 x 1012 photons/s
10 μm beam size
0.1 mrad divergence
0.014% BW (Si 111)
= 1.4 x 1019 photons/s/mm2/mrad2/0.1%BW
Gallium liquid METALJET
1.4 x 108 photons/s/mm2/mrad2/0.1%BW
1 s at MX2 =
3000 years
With same beam size, divergence & dispersion

## Slide 86: Auger emission
+

## Slide 87: Auger emission
++
e-

## Slide 88: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 89: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 90: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 91: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
useful/absorbed energy: 7.3%
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 92: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (97%)
useful/absorbed energy: 7.6%
inelastic scattering (5%)
Photoelectric (88%)
SelenoProtein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 93: Where do photons go?
beamstop
elastic scattering (2%)
Transmitted (91%)
useful/absorbed energy: 5.1%
inelastic scattering (2%)
Photoelectric (96%)
SelenoProtein
0.92A x-rays
Re-emitted (57%)
Absorbed (44%)
Re-emitted (99%)
Absorbed (~0%)
just above the edge

## Slide 94: Where do photons go?
beamstop
elastic scattering (2%)
Transmitted (90%)
useful/absorbed energy: 5.1%
inelastic scattering (2%)
Photoelectric (96%)
SelenoProtein
0.97A x-rays
Re-emitted (60%)
Absorbed (40%)
Re-emitted (99%)
Absorbed (~0%)
far above the edge

## Slide 95: Photoelectric absorption

## Slide 96: Photoelectric absorption
e-
+

## Slide 97: Secondary ionization
e-

## Slide 98: Secondary ionization
e-
e-
+

## Slide 99: Excitation
e-

## Slide 100: Excitation
e-

## Slide 101: Excitation
e-

## Slide 102: Excitation

## Slide 103: Electron attachment
e-

## Slide 104: Electron attachment
-

## Slide 105: Sample atoms

## Slide 106: Sample atoms

## Slide 107: Primary ionization
e-
+

## Slide 108: Secondary ionizations
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+

## Slide 109: Ionization track
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 110: Ionization track
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 111: Ionization track

## Slide 112: Ionization track

## Slide 113: Ionization track
Linear Energy Transfer

## Slide 114: Ionization track
initial effects

## Slide 115: Ionization track
Homogeneous reactions
initial effects

## Slide 116: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 117: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
neutralization
e-
+

## Slide 118: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
neutralization
e-
+

## Slide 119: initial effects
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
neutralization
neutralization
+

## Slide 120: initial effects
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
attachment
+

## Slide 121: initial effects
e-
e-
e-
e-
-
e-
e-
+
+
+
+
+
+
attachment
+

## Slide 122: initial effects
e-
e-
e-
e-
-
e-
e-
+
+
+
+
+
+
attachment
attachment
+

## Slide 123: initial effects
e-
e-
-
e-
e-
+
+
+
+
+
+
-
-
+

## Slide 124: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 125: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+
solvation

## Slide 126: initial effects
-
e-
+
+
+
+
+
-
-
-
-
solvation
+

## Slide 129: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 130: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 131: initial effects
-
e-
+
+
+
+
-
-
-
+

## Slide 132: initial effects
-
e-
+
+
-
+

## Slide 133: initial effects
-
e-
+
+

## Slide 134: Excitation transfer

## Slide 135: Excitation transfer
UV photon

## Slide 136: Excitation transfer

## Slide 137: Excitation transfer
Förster transfer
r-6

## Slide 138: Excitation transfer

## Slide 139: t = 0 s

## Slide 140: t ≈ 10-15 s
-
e-
+
+

## Slide 141: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389

## Slide 142: Ionization track
Heterogeneous reactions
Homogeneous reactions

## Slide 143: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389

## Slide 144: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389
LCLS
ALS
bunch

## Slide 145: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
useful/absorbed energy: 7.3%
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 146: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (97%)
useful/absorbed energy: 7.6%
inelastic scattering (5%)
Photoelectric (88%)
SelenoProtein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 147: Where do photons go?
beamstop
elastic scattering (2%)
Transmitted (91%)
useful/absorbed energy: 5.1%
inelastic scattering (2%)
Photoelectric (96%)
SelenoProtein
0.92A x-rays
Re-emitted (57%)
Absorbed (44%)
Re-emitted (99%)
Absorbed (~0%)
just above the edge

## Slide 148: Where do photons go?
beamstop
elastic scattering (2%)
Transmitted (90%)
useful/absorbed energy: 5.1%
inelastic scattering (2%)
Photoelectric (96%)
SelenoProtein
0.97A x-rays
Re-emitted (60%)
Absorbed (40%)
Re-emitted (99%)
Absorbed (~0%)
far above the edge

## Slide 149
detector
sample
detector
x-ray beam
scattering

## Slide 152
sample
detector
x-ray beam
scattering

## Slide 153
sample
detector
x-ray beam
scattering

## Slide 154
sample
detector
x-ray beam
scattering

## Slide 155
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 156
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 157
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 158
source
detector
d
atom #1
atom #2
“near”-ly Bragg’s Law

## Slide 160
scattering from a structure
sample
detector

## Slide 161
forward Fourier Transform
inverse Fourier Transform
no phase

## Slide 162
scattering from a structure
colored by phase
sample
detector
inverse Fourier Transform

## Slide 163
scattering from a lattice
colored by phase
sample
detector

## Slide 164
scattering from a lattice
colored by phase
sample
detector

## Slide 165
scattering from a lattice
colored by phase
sample
detector

## Slide 166
scattering from a crystal structure
colored by phase
sample
detector

## Slide 167: lysozyme: real and reciprocal

## Slide 168: X-ray data are 3D!

## Slide 169: Major Phasing techniques
Molecular Replacement
Multiple Isomorphous Replacement
Multiwavelength Anomalous Diffraction
Single-wavelength Anomalous Diffraction

## Slide 170
inverse Fourier Transform
no phase

## Slide 171
inverse Fourier Transform
no phase

## Slide 172: Major Phasing techniques
Molecular Replacement
Multiple Isomorphous Replacement
Multiwavelength Anomalous Diffraction
Single-wavelength Anomalous Diffraction

## Slide 173
sample
x-ray beam
anomalous scattering
detector

## Slide 174
sample
detector
x-ray beam
anomalous scattering

## Slide 175
sample
x-ray beam
anomalous scattering
detector

## Slide 176
sample
detector
x-ray beam
anomalous scattering

## Slide 177
sample
detector
x-ray beam
anomalous scattering

## Slide 178: Major Phasing techniques
Molecular Replacement
Multiple Isomorphous Replacement
Multiwavelength Anomalous Diffraction
Single-wavelength Anomalous Diffraction

## Slide 179: Molecular Replacement
?
correct structure and intensities
http://www.ysbl.york.ac.uk/~cowtan/fourier/coeff.html

## Slide 180: Molecular Replacement
use something similar as a starting model

## Slide 181: Model Building
current model is missing something

## Slide 182: Model Building
phases from model

## Slide 183: Model Building
missing bits show up in “difference map”

## Slide 184: Model Building
missing bits show up better in FO + (FO - FC) map

## Slide 185: The “phase problem”

## Slide 186: The “phase problem”
Phases
Amplitudes

## Slide 187: The “phase problem”
Phases
Amplitudes

## Slide 188: The “phase problem”
Phases & Amplitudes
Amplitudes
2Fobs-Fcalc

## Slide 189: The “phase problem”
Phases
Amplitudes

## Slide 190: The “phase problem”
Phases & Amplitudes
Amplitudes
2Fobs-Fcalc

## Slide 191: The “phase problem”
Phases & Amplitudes
Amplitudes
2mFobs-Fcalc (A weighting)

## Slide 192: What is “disorder”?

## Slide 193: What is “disorder”?

## Slide 194: What is “disorder”?

## Slide 195: What is “disorder”?
order
order
disorder
B-factor

## Slide 196: Debye-Waller-Ott factor
James R. W. (1962) Optical Principles of the Diffraction of X rays. Ox Bow press.

## Slide 197: Debye-Waller-Ott factor
F - structure factor
A - something Debye said was zero
B - canonical Debye-Waller factor
C - something else Debye said was zero
s - 0.5/d
d - resolution of spot (Å)
F = F0 exp( - A∙s - B∙s2 - C∙s3 - … )

## Slide 198: Debye-Waller-Ott factor
normalized total intensity
Resolution (Ǻ)
 5 2.5 1.7 1.25 1.0
Gaussian
Exponential
Reciprocal Space

## Slide 199: Debye-Waller-Ott factor
normalized number of atoms
magnitude of displacement (Å)
Lorentzian
Gaussian
Direct Space

## Slide 200
scaled <F2>
(sin(θ)/λ)2
Wilson plot
4.1 3.5 3.2 2.9 2.7 2.5 2.4 2.2 2.1
resolution (Å)
Rcryst/Rfree
0.355/0.514

## Slide 201
scaled <F2>
(sin(θ)/λ)2
Wilson plot
4.1 3.5 3.2 2.9 2.7 2.5 2.4 2.2 2.1
resolution (Å)
Rcryst/Rfree
0.355/0.514
0.257/0.449
0.209/0.407

## Slide 202
scaled <F2>
(sin(θ)/λ)2
Wilson plot
4.1 3.5 3.2 2.9 2.7 2.5 2.4 2.2 2.1
resolution (Å)
Rcryst/Rfree
0.355/0.514
0.257/0.449
0.209/0.407

## Slide 203: “B” factors
ATOM 122 N LEU A 13 -3.244 25.808 19.998 1.00 16.96 N
ATOM 123 CA LEU A 13 -2.877 25.448 21.355 1.00 15.29 C
ATOM 124 C LEU A 13 -2.792 23.966 21.561 1.00 17.54 C
ATOM 125 O LEU A 13 -1.814 23.493 22.143 1.00 16.35 O
ATOM 126 CB LEU A 13 -3.907 26.164 22.268 1.00 18.72 C
ATOM 127 CG LEU A 13 -3.577 25.982 23.738 1.00 21.19 C
ATOM 128 CD1 LEU A 13 -2.283 26.820 24.019 1.00 19.43 C
ATOM 129 CD2 LEU A 13 -4.702 26.474 24.639 1.00 24.65 C
ATOM 130 N SER A 14 -3.677 23.149 20.979 1.00 15.96 N
ATOM 131 CA SER A 14 -3.646 21.711 21.061 1.00 18.26 C
ATOM 132 C SER A 14 -2.373 21.203 20.360 1.00 18.71 C
ATOM 133 O SER A 14 -1.747 20.315 20.930 1.00 17.47 O
ATOM 134 CB SER A 14 -4.875 21.077 20.419 1.00 17.62 C
ATOM 135 OG ASER A 14 -4.825 19.665 20.388 0.50 20.89 O
ATOM 136 OG BSER A 14 -6.027 21.408 21.164 0.50 18.67 O
ATOM 137 N LYS A 15 -2.045 21.772 19.215 1.00 18.03 N
ATOM 138 CA LYS A 15 -0.799 21.361 18.555 1.00 18.12 C
ATOM 139 C LYS A 15 0.446 21.707 19.351 1.00 18.81 C
ATOM 140 O LYS A 15 1.400 20.948 19.411 1.00 17.77 O
ATOM 141 CB LYS A 15 -0.700 22.034 17.177 1.00 14.49 C
ATOM 142 CG LYS A 15 -1.727 21.368 16.256 1.00 16.12 C
ATOM 143 CD LYS A 15 -1.663 22.147 14.936 1.00 19.40 C
ATOM 144 CE ALYS A 15 -2.725 21.614 13.986 0.50 17.42 C
ATOM 145 CE BLYS A 15 -1.750 21.211 13.750 0.50 17.01 C
ATOM 146 NZ ALYS A 15 -2.346 21.674 12.559 0.50 18.61 N
ATOM 147 NZ BLYS A 15 -3.052 20.513 13.741 0.50 18.76 N

## Slide 204
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 205
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 206
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 207
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 208: “B” factors
B ≈ 4d2 + 12
essentially, the “resolution” of an atom
d = resolution in Å

## Slide 209: Resolution
http://bl831.als.lbl.gov/~jamesh/movies/resolution.mpeg

## Slide 210: Resolution: low-angle cutoff
http://bl831.als.lbl.gov/~jamesh/movies/lo_cut.mpeg

## Slide 211: R-factor
http://bl831.als.lbl.gov/~jamesh/movies/rfactor.mpeg

## Slide 212: Figure of Merit
http://bl831.als.lbl.gov/~jamesh/movies/dephase.mpeg

## Slide 213: Overloads
http://bl831.als.lbl.gov/~jamesh/movies/overloads.mpeg

## Slide 214: Completeness: missing wedge
http://bl831.als.lbl.gov/~jamesh/movies/osc.mpeg

## Slide 215: Completeness: random deletion
http://bl831.als.lbl.gov/~jamesh/movies/completeness.mpeg

## Slide 216: What does all that stuff in the beamline do?

## Slide 217: X-ray optics
ADSC Quantum 210
Superbend
Plane
Parabolic
mirror
Torroidal
mirror
Si(111)
monochromator
Protein Crystal
pinhole
Scatter
guard
2:1 demagnification cancels spherical aberrations
comparable flux to a wiggler with < 1% of the heat
divergence
slits
Notes: Next slide please

## Slide 218: X-ray optics
ADSC Quantum 210
Superbend
Plane
Parabolic
mirror
Torroidal
mirror
Si(111)
monochromator
Protein Crystal
pinhole
Scatter
guard
2:1 demagnification cancels spherical aberrations
comparable flux to a wiggler with < 1% of the heat
divergence
slits
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 219: X-ray optics
ADSC Quantum 315r
Protein Crystal
pinhole
Scatter
guard
MacDowell et. al. (2004) J. Sync. Rad. 11 447-455
X-ray
Source
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 220: Debye-Waller-Ott factor
How can the distribution of atom displacements
NOT
be Gaussian?
(central limit theorem)
what can cause a Lorentzian distribution?

## Slide 221
stress and strain

## Slide 222
normalized number of atoms
magnitude of displacement (fractional)
stress and strain

## Slide 223
normalized number of atoms
magnitude of displacement (fractional)
stress and strain

## Slide 224
normalized number of atoms
magnitude of displacement (fractional)
stress and strain

## Slide 225: non-Gaussian Debye-Waller-Ott factor
Is there any evidence that this actually happens?

## Slide 226: crystal expansion
48 MGy
20 MGy
2 MGy

## Slide 227
~0 MGy

## Slide 228
5 MGy

## Slide 229
11 MGy

## Slide 230
16 MGy

## Slide 231
22 MGy

## Slide 232
26 MGy

## Slide 233
How does “dose” fade spots?
A simple case…

## Slide 234
D1/2 >> 1012 Gy
D1/2 ~ 10 Gy

## Slide 235: Sodium Chloride is Immortal!
D1/2 > 1 GGy

## Slide 236: Sodium acetate trihydrate
D1/2 = 15 MGy
resolution: 0.92 Å
avg B: ~ 0
R/Rfree: ~4%
C2/c

## Slide 237: lowest-angle spot: (1,1,0) 7.7 Å
integrated spot intensity
dose (MGy)

## Slide 261
Reaction #1
water “rotation”

## Slide 262
~0 MGy

## Slide 263
2.3 MGy

## Slide 264
4.5 MGy

## Slide 265
6.8 MGy

## Slide 266
9.0 MGy

## Slide 267
11 MGy

## Slide 268
14 MGy

## Slide 269
16 MGy

## Slide 270
18 MGy

## Slide 271
21 MGy

## Slide 272
23 MGy

## Slide 273
25 MGy

## Slide 274
27 MGy

## Slide 275
29 MGy

## Slide 276
32 MGy

## Slide 277
34 MGy

## Slide 278
36 MGy

## Slide 279
38 MGy

## Slide 280
41 MGy

## Slide 281
43 MGy

## Slide 282
45 MGy

## Slide 283
48 MGy

## Slide 284
Reaction #2
acetate “bump”

## Slide 288: Interesting spots: (2,6,1) 1.6 Å
integrated spot intensity
dose (MGy)

## Slide 289: Interesting spots: (3,3,-3) 2.3 Å
integrated spot intensity
dose (MGy)

## Slide 290: Interesting spots: (6,2,-5) 1.6 Å
integrated spot intensity
dose (MGy)

## Slide 291: Interesting spots: (2,0,0) 5.7 Å
integrated spot intensity
dose (MGy)

## Slide 292: Overall Scale Factor
dose (MGy)
scale from phenix.refine

## Slide 293: Global Damage: protein
accumulated dose (MGy)
normalized total intensity

## Slide 294
stress and strain
radiation damage = defects
What about
undamaged crystals?

## Slide 295: Purity is crucial!
McPherson, A., Malkin, A. J., Kuznetsov, Y. G. & Plomp, M. (2001)."Atomic force microscopy applications in macromolecular crystallography", Acta Cryst. D 57, 1053-1060.
not important for
initial hits
important for
resolution

## Slide 296: What can I improve?
Purity!
is 95% good enough? 99%?
Purity!
conformational (homogeneous)
Purity!
kinetic (stable over time)

## Slide 297: What can I improve?
add a column
fractional recrystallization
heat shock
mutate Lys
avoid stress
Newman J. (2006) Acta Cryst. D62 27-31.

## Slide 298: causes of stress
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.
basically: no sudden moves!

## Slide 299: causes of stress
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 300: Vicker’s hardness
Tachibana et al. (1999) J. Cryst. Growth 198, 661-664.
Koizumi et al. (2009) Physical Review E 79, 61917.

## Slide 301: Pattersons
The “third space”
of crystallography

## Slide 302: The “spaces” of crystallography
Direct/real space
  Distances are in Å, Angles are in degrees
Reciprocal space
  Distances in 1/Å, Angles are different
Patterson space
  Distances are in Å , Angles are in degrees
  Relative distances only, origin lost
  “direction” is preserved

## Slide 303: How to make a Patterson:
Set all phases to zero
Square all structure factors
Calculate Fourier transform

## Slide 304: One atom in unit cell
Fraction across unit cell
Electron density

## Slide 305: Patterson: one atom
Fraction across unit cell
Electron density

## Slide 306: Patterson: one atom
Fraction across unit cell
Electron density

## Slide 307: Patterson: one atom
Fraction across unit cell
Electron density

## Slide 308: Patterson: two atoms
Fraction across unit cell
Electron density

## Slide 309: Patterson: three atoms
Fraction across unit cell
Electron density

## Slide 310: Patterson: three atoms
Fraction across unit cell
Electron density
Better resolution!

## Slide 311: Patterson: five atoms
Fraction across unit cell
Electron density

## Slide 312: Patterson: five atoms
Fraction across unit cell
Electron density