## Slide 1: Acknowledgements
UCSF LBNL SLAC
NIH R01 GM124149 P50 AI150476
NIH P30 GM124169 R01 GM117126
DOE-BER “IDAT” Plexxikon, Inc.
DOE-BER NIH P30 GM133894
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory
ALS 8.3.1: TomAlberTron
.
Robert Stroud James Fraser Nevan Krogan
Paul Adams John Tainer Greg Hura Nick Sauter Howard Padmore
Aina Cohen Keith Hodgson
Tanamachi
Meigs
Classen

## Slide 2: Critical Challenges in Structural Biology
$$$
Predicting crystallization outcomes
Getting crystals to diffract better
Is the ligand there or not?
Anisotropic diffraction
Radiation damage
Phase problem
Metals (anaerobic)
What is “resolution”
Serial crystallography (processing)
Non-isomorphism & multi-crystal methods
?

## Slide 3: Goals of Methods Development
Impossible → Expensive
Expensive → Cheaper
  Difficult → Easier

## Slide 4
Apple Inc.
3 yr∙lives cancer & heart
USA Department of Defense
global spending “Y2K bug”
NASA Apollo program (adj $)
National Institutes of Health
mentions "cancer"
R01 GM117126 (Holton)
1.1 T
~1 T
700 G
500 G
300 G
39 G
5.6 G
217 k
What is a trillion dollars?

## Slide 5: What is a trillion dollars?
gross world product
CARES + HEROES Acts
USA Federal Budget (2019)
USA health care (2018)
3 yr∙life∙salary cancer & heart
National Institutes of Health
mentions "virus”
“SARS” NIH grants
80 T
5.0 T
4.5 T
3.6 T
~1 T
39 G
1.4 G
12 M

## Slide 6: A trillion dollars for NIH
Fund all applications (5 yr)
1000 XFELs & 105 Titan Krios
$10 M / biologist
  PI, postdoc, student, tech
Q: would that solve
all your problems?
?

## Slide 7: Critical Challenges in Structural Biology
$$$
Predicting crystallization outcomes
Getting crystals to diffract better
Is the ligand there or not?
Anisotropic diffraction
Radiation damage
Phase problem
Metals (anaerobic)
What is “resolution”
Serial crystallography (processing)
Non-isomorphism & multi-crystal methods

## Slide 8: If I had a trillion dollars …
Re-do all structures in PDB
Buy Google
Buy Facebook
10 zettaflops
Success? → impact?
$ 500 M
$ 131 B
$ 527 B
$ 335 B
$ 1.0 T
Predict crystallization conditions
from sequence
10x

## Slide 9: If I had a trillion dollars …
1021 flops ( $0.03 / Gflop )
5 CPU*min per guess: (autobuild)
2 phase values / hkl
1 year run time
89 hkls = 1027 combinations
50 Å cell, P212121 → 10 Å resolution
Success? → impact?
Solve Phase Problem
(brute force)

## Slide 10: Magic Microscope
Visualize a single molecule
spatial resolution 1 Å
temporal resolution: ~100 fs
Watch same molecule indefinitely
No damage to molecule/patient
Ability to tap / tug
Handheld & common
Q: what would you look at first?
Q2: how long before end of disease?
second

## Slide 11
Magic Microscope
Stretching DNA -
Stretch protein?
Smith, Finzi & Bustamante (1992) Science 258, 1122-6

## Slide 12: “I can tell you why it’s not going to work”
- Tom Alber
Tskhovrebova & Trinick (2000)
10.1007/978-1-4615-4267-4_10
titin

## Slide 13: Stretching protein?

## Slide 14: I Learned:
Crazy ideas can still work

## Slide 16
Before Elves

## Slide 17
Before Elves

## Slide 18
Before Elves

## Slide 19
Before Elves
Underling

## Slide 20
Before Elves
Underling
“That’s not possible”
- Tom Alber

## Slide 21: Elven Automation
Elves run…
mosflm
scala
solve
mlphare
dm
arp/warp
Elves examine images and
set-up data processing
Holton, J. & Alber, T. (2004) "ELVES". PNAS 101, 1537-42

## Slide 22: I learned from Elves:
Algorithms work
if you don’t make mistakes
Complexity -> mistakes

## Slide 25: you must choose, but choose wisely!
Caltech
SSRL
Yale
Oxford
SPring-8
SPINE
MiTeGen RT
Syrrx
H. magnetic
H. hybrid
H. copper
H. screw cap
H. colored
Hampton screw cap
Hampton magnetic

## Slide 26: Hampton Pin
Super Tong

## Slide 27: Syrrx Pin
Super Tong

## Slide 28: plastic Pin
Super Tong

## Slide 29: Yale Pin
Super Tong

## Slide 30: SuperTong

## Slide 31: Foam dewars

## Slide 32: Foam dewars

## Slide 33: Ice-B-gone

## Slide 34: Semi-transparent beam stop
Unambiguous
direct beam
gold
gold
LuAc

## Slide 35: Beamline pager

## Slide 36: firewire

## Slide 37: Touch screen

## Slide 38: Traffic light

## Slide 39: Operational Efficiency
Seconds | Description | Percent
51806 | Shutter closed | 100%
“representative” 8.3.1 user
229s  37 | Centering | 16%
179s  109 | Snap → next | 38%
309s  37 | end collect → next | 24%
247s  45 | Mounting | 22%

## Slide 40: I learned from watching users:
No substitute for
sit down & pay attention

## Slide 41
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 44: I learned from in-situ:
GRAPHENE
Need this:

## Slide 45: The “success rate” of data collection
100 s/dataset
200 days/year
~150 beamlines
~26,000,000 datasets/year
~13,377 PDBs in 2019

## Slide 46: DVD data archive

## Slide 47
“petabyte” $11k

## Slide 48: What went wrong?
Number | Description | Percent
682712 | Images (~7 TB) | 
3331 | Data sets | 47% ph
709 | High quality data | 21%
MAD/SAD data 2001 - 2006
322 | Same as published (PDB) | 46%
123 | Published form, non-iso | 17%
45 | Known struct, Unk form | 6%
219 | Unique and unsolvable | 31%

## Slide 49: MAD/SAD datasets
Riso vs PDB deposit
best Rcryst after rigid-body refinement
Published
non-isomorphous
Unsolved
ALS 8.3.1: 2001-2006

## Slide 50: What went wrong?
Number | Description | Percent
219 | Unique but unsolvable | 57%
36 | twinned | 16%
MAD/SAD data 2001 - 2006
45 | Unpublished forms | 100%
6 | twinning | 13%
211/148k | Twinning in PDB | 0.14%
13 | Pseudo-translation | 29%

## Slide 51: I learned from old data:
Sample is everything
Methods can improve

## Slide 52: Simulated diffraction image MLFSOM
simulated
real

## Slide 53: Simulated diffraction image (2008)
simulated
real

## Slide 54
Simulated | statistic | Real
1.45 Å | resolution | 1.45 Å
15 (1.1) | I/sd | 18 (2.0)
6.7% | Rmeas | 5.3%
5.7% | Rmerge | 4.5%
99,8 (66) | CC1/2 | 99.8 (86)
69 | CCano | 62
96.4 (85.5) | complete | 96.7 (86.7)
6.1 (2.2) | mult | 6.1 (2.1)
18.8 | Wilson B | 18.3

## Slide 55: “R-factor Gap” for macromolecules
MLFSOM
Elves
Rmerge = 6%
Rwork = 7%
Rfree = 8%
single-conformer PDB file
1H87; conf “A”
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 56: “R-factor Gap” for macromolecules
MLFSOM
Elves
Rmerge = 6%
Rwork = 17%
Rfree = 20%
multi-conformer PDB file
1H87 ; multi-conf
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 57: “R-factor Gap” for macromolecules
MLFSOM
Elves
Rmerge = 6%
Rwork = 7%
Rfree = 8%
multi-conformer PDB file
1H87 ; multi-conf
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 58: I learned from MLFSOM:
“R-factor gap” is model
12 + 12 = 1.42
102 + 12 = 102

## Slide 59: I learned from MLFSOM:
“R-factor gap” is model
12 + 12 = 1.42
102 + 12 = 102

## Slide 60: Radiation damage

## Slide 61: Radiation damage

## Slide 62: Se-Met decay >> photon hits
fluence (1015 photons/mm2)
fraction unconverted
0.0 0.2 0.4 0.6 0.8 1.0
0 20 40 60 80 100
Se cross-section at 12680 eV
8.6 17 26 34
dose (MGy)
half-dose
Holton (2007) J. Synch. Rad. 14, 51-72

## Slide 63
660%
protective measure
Holton (2007) J. Synch. Rad. 14, 51-72
750%

## Slide 64
Holton (2009) J. Synch. Rad. 16 133-42
Radiation Damage World Records
MGy reaction reference
~45 global damage Owen et al. (2006)
10/Å global damage Howells et al. (2009)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
4 R-C-COOH Garman et al. (2015)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
~1? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.06 putidaredoxin Corbett et al. (2007)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 65: what the is a MGy?
http://bl831.als.lbl.gov/
damage_rates.pdf
Holton J. M. (2009) J. Synchrotron Rad. 16 133-42
1 MGy = 106 J/kg

## Slide 66
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 68
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry
No exposure time

## Slide 69
The number of photons scattered
before crystal is dead
is independent
of flux & time
1 um3 = 105 photons (roomT)
1 um3 = 106 photons (synch)
1 um3 = 108 photons (XFEL)
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009
(synch)

## Slide 70: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 71: I learned from radiation damage:
Can’t avoid it
Amazing community

## Slide 72
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 73: Best-fit Simulation of XFEL still

## Slide 74
phiz
Simulation of XFEL still
phiy
phiz
phix
phix
phiy
VS
real

## Slide 75: 3-blob texture simulation

## Slide 76
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 77: 1-blob texture simulation

## Slide 78: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 79: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 80: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
I/σ | 32 (1.1) | 19 (1.2)
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 81: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
I/σ | 32 (1.1) | 19 (1.2)
CC1/2 | 99 (69) | 99 (58)
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 82: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
I/σ | 32 (1.1) | 19 (1.2)
CC1/2 | 99 (69) | 99 (58)
resolution | 1.55 | 1.94
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 83: I learned from simulating stills:
“texture”
is why XFEL R-factors suck

## Slide 84: 100% SeMet incorporation
Trivial to solve

## Slide 85: 100% S -Met incorporation
Impossible to solve

## Slide 86: Phase Problem: Se vs S
fraction Sulfur
correlation coefficient

## Slide 87: Phase Problem: Se vs S
fraction Sulfur
correlation coefficient

## Slide 88: Phase Problem: Se vs S
fraction Sulfur
correlation coefficient

## Slide 89: Phase Problem: Se vs S
fraction Sulfur
correlation coefficient

## Slide 90: Phase Problem: Se vs S
fraction Sulfur
correlation coefficient

## Slide 91: I learned from simulated challenges:
Community effort
makes technology better

## Slide 92: 2020 at ALS 8.3.1
Feb Mar Apr May Jun Jul Aug
3.0
2.5
2.0
1.5
1.0
0.5
0
106 images
QCRG
UCSF
California
Lockdown
macrodomain
data release

## Slide 93: Seven billion tests for seven billion dollars (How to end a pandemic in 1 day)
Problem
$1000/test is infeasible
PPE
Centralization -> logistics
Specialized equipment
Specialized skills
Antibodies unreliable?
Solution
$1 test
Self-test
decentralize
Pre-distributed hw
YouTube training
Robust reagents

## Slide 94: https://physicsworld.com/a/smartphone-based-device-detects-norovirus/

## Slide 95
COVID-19
detected
+
dry chemical
blister pack
(reflective &
light tight)
End user
= patient
SARS-CoV-2 test with smartphone and $1 reagents
saliva
sample
absorb
RNA
on
surface
blue
filter
Place directly
over camera
blister pack
becomes reflector
-
no virus
Q
self-
quench
+
gttgaccgtcattggtctt cagattcaactggcagtaaccagaatggag
dye
virus genome
Q
heat
kill

## Slide 96: Seven billion tests for seven billion dollars (How to end a pandemic in 1 day)
Smartphones can detect 106 particles/mL
  www.nature.com/articles/srep40203.pdf
Virus titer in saliva is 104-107 particles/mL
  www.thelancet.com/journals/laninf/article/PIIS1473-3099(20)30196-1/
Multi-tag = signal boost (30 kb)
Denaturing conditions = no RNAse
Plan A: “molecular beacon”
  ATTO465
Plan B: time-resolved
  Tb or Gd, “afterglow”

## Slide 97
lens
CMOS
sensor
Al foil
blue filter
green filter
Black rubber sheet
sample
reflecting dome
pressure
pressure
flash
LED
Al foil
smartphone
light
tight
seal

## Slide 98
window
CMOS
sensor
flash
LED
smart
phone
anchor
oligo
(multiple sequences)
molecular
beacon
(~1000 sequences)
Viral
genome
green filter
blue filter
Q
Q
Q
Q
Q
Q
Q
Q
Q
Q
Q
Q
Q
Q
self-
quench
>300x
brigher
no lens!
max solid angle
= more light

## Slide 99: The (pixel array) Detector
https://arxiv.org/abs/1906.04155
RAW
mode

## Slide 100: The (advanced) Light Source
Singh, Subhash. (2009). Basics of Light Emitting diodes, Characterizations and Applications.
~100 lumens
= ~4x1017 ph/s
300 350 400 450 500 550 600 650 700

## Slide 101: Lights, camera, ATTO465?
300 350 400 450 500 550 600 650 700

## Slide 102: Lights, camera, ATTO465?
300 350 400 450 500 550 600 650 700

## Slide 103: Sharpie and Scotch tape as filters
https://www.techadvisor.co.uk/how-to/mobile-phone/
how-turn-your-phone-into-black-light-3651570/

## Slide 104: “rolling shutter”

## Slide 105: LED flash turn-on time

## Slide 106: LED flash turn-off time

## Slide 109
PMC4596616

## Slide 110: Quantum Dots?
Pro
10x brighter
Tunable
Versatile
La-based possible
upconverting
Con
Large radius
< 10% FRET
Cd toxic
fragile
No acceptors

## Slide 111: Things I could use help with
Design ~1000 oligos
Concentration step?
Hybridization in urea?
Filters, dyes & tests!
Establish detection limits
Tell me why this is impossible

## Slide 112: I learned:
Crazy ideas are possible
Simplify
Watch the user
Sample is everything
1 + 1 = 1.4
Community improves technology

## Slide 113: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R01 GM124149
NIH NIAID P50 AI150476
NIH NIGMS P30 GM124169
NIH NIGMS R01 GM117126
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Nevan Krogan
Paul Adams John Tainer Greg Hura Nick Sauter Howard Padmore
Aina Cohen Keith Hodgson

## Slide 114: Easy in lab, hard at “home”
Centrifuge
    ~10 g
Constant temperature
    4, 25, 37, 100 C
Pipette
    “drop” ~ 50 µL

## Slide 117: mosaic spread = 0 º

## Slide 118: mosaic spread = 0.1º

## Slide 119: mosaic spread = 0.2º

## Slide 120: mosaic spread = 0.4º

## Slide 121: mosaic spread = 0.6º

## Slide 122: mosaic spread = 0.8º

## Slide 123: mosaic spread = 1.0º

## Slide 124: mosaic spread = 1.5º

## Slide 125: mosaic spread = 2.0º

## Slide 126: mosaic spread = 2.5º

## Slide 127: mosaic spread = 3.2º

## Slide 128: mosaic spread = 6.4º

## Slide 129: mosaic spread = 12.8º

## Slide 130
The true nature of “mosaic spread”
Lovelace JJ, Murphy CR, Pahl R, Brister K & Borgstahl GEO (2006)."Tracking reflections through cryogenic cooling with topography", J. Appl. Cryst. 39, 425-432.
Any function can be approximated by a family of Gaussians

## Slide 131
3 domains within 1°

## Slide 132
3 domains within 0.2°

## Slide 133: Multi- micro crystal challenge
http://bl831.als.lbl.gov/~jamesh/challenge/microfocus/
5 µm xtals
5 µm beam
~ 5 img / xtal
P212121
XDS thinks:
P422

## Slide 134: Elven Philosophy
Drive existing interfaces
Bring own lunch
Forgiving input
Consistent output
Can’t decide? Do all

## Slide 136
Elves failed? not a setback

## Slide 137
Elves failed? not a setback

## Slide 138
Elves failed? not a setback

## Slide 139
Pick up where you left off

## Slide 140
Pick up where you left off

## Slide 141: Elven Philosophy
Drive existing interfaces
Bring own lunch
Forgiving input
Consistent output
Can’t decide? Do all

## Slide 142: Pack light
one file

## Slide 143: Minimize dependencies
one file
shell script

## Slide 144: Figure it out
one file
shell script
self-configuring

## Slide 145: Elven Philosophy
Drive existing interfaces
Bring own lunch
Forgiving input
Consistent output
Can’t decide? Do all

## Slide 146: Conversational User Interface
user input ->

## Slide 147: Conversational User Interface
user input -> process the data in /data/semet

## Slide 148: Conversational User Interface
user input -> process the data in /data/semet
recognition blah blah blah blah /data/semet

## Slide 149: Conversational User Interface
user input -> process the data in /data/semet
recognition blah blah blah blah /data/semet
simplify /data/semet

## Slide 150: Conversational User Interface
user input -> process the data in /data/semet
recognition blah blah blah blah /data/semet
simplify /data/semet
preempt /data/semet contains image files

## Slide 151: Conversational User Interface
user input -> process the data in /data/semet
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 100 mm from the crystal using 1.54 Å x-rays.

## Slide 152: Conversational User Interface
user input -> process the data in /data/semet
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 100 mm from the crystal using 1.54 Å x-rays.
confirm Everything look okay? [Yes]
->

## Slide 153: Conversational User Interface
user input -> process the data in /data/semet
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 100 mm from the crystal using 1.54 Å x-rays.
confirm Everything look okay? [Yes]
->
user input distance was more like 110

## Slide 154: Conversational User Interface
user input -> distance was more like 110

## Slide 155: Conversational User Interface
user input -> distance was more like 110
recognition distance blah blah blah 110

## Slide 156: Conversational User Interface
user input -> distance was more like 110
recognition distance blah blah blah 110
simplify DISTANCE 110

## Slide 157: Conversational User Interface
user input -> distance was more like 110
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 110 mm from the crystal using 1.54 Å x-rays.

## Slide 158: Conversational User Interface
user input -> distance was more like 110
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 110 mm from the crystal using 1.54 Å x-rays.
confirm Everything look okay? [Yes]
->

## Slide 159: Conversational User Interface
user input -> distance was more like 110
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 110 mm from the crystal using 1.54 Å x-rays.
confirm Everything look okay? [Yes]
user input -> wavelength is wrong

## Slide 160: Conversational User Interface
user input -> wavelength is wrong

## Slide 161: Conversational User Interface
user input -> wavelength is wrong
recognition wavelength = -NOT

## Slide 162: Conversational User Interface
user input -> wavelength is wrong
recognition wavelength = -NOT
simplify WAVELENGTH

## Slide 163: Conversational User Interface
user input -> wavelength is wrong
recognition wavelength = -NOT
query What is the x-ray wavelength? [1.54Å]
->
simplify WAVELENGTH

## Slide 164: Conversational User Interface
user input -> wavelength is wrong
recognition wavelength = -NOT
query What is the x-ray wavelength? [1.54Å]
user input -> 1
simplify WAVELENGTH

## Slide 165: Conversational User Interface
user input -> wavelength is wrong
query What is the x-ray wavelength? [1.54Å]
user input -> 1

## Slide 166: Conversational User Interface
user input -> wavelength is wrong
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 110 mm from the crystal using 1 Å x-rays.
query What is the x-ray wavelength? [1.54Å]
user input -> 1

## Slide 167: Conversational User Interface
user input -> wavelength is wrong
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 110 mm from the crystal using 1 Å x-rays.
query What is the x-ray wavelength? [1.54Å]
user input -> 1
confirm Everything look okay? [Yes]
->

## Slide 168: Conversational User Interface
user input -> wavelength is wrong
report Elves will process from
/data/semet/frame001.img to
/data/semet/frame100.img
Data were collected from 0º to 100º in 1º steps with an ADSC Q4 detector 110 mm from the crystal using 1 Å x-rays.
query What is the x-ray wavelength? [1.54Å]
user input -> 1
confirm Everything look okay? [Yes]
user input -> Yes

## Slide 169: Elven Philosophy
Drive existing interfaces
Bring own lunch
Forgiving input
Consistent output
Can’t decide? Do all

## Slide 170: table1.com

## Slide 171: table1.com

## Slide 172: Elven Philosophy
Drive existing interfaces
Bring own lunch
Forgiving input
Consistent output
Can’t decide? Do all

## Slide 173: What is your Space Group?
the first question asked and the last to be answered
P622-ish?
P6122 P6522 P6222 P6422 P6322
P6 P61 P65 P62 P64 P63
P312 P321 P3112 P3121 P3212 P3221
P3 P31 P32
P2 P21 C2 C222 C2221
P1