## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R01 GM124149
NIH NIGMS P50 GM082250
NIH NIGMS P30 GM124169
NIH NIGMS R01 GM117126
DOE-BER Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
NIH NIGMS P41 GM103393
NSF DBI-1625906
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser
Paul Adams John Tainer Greg Hura Nick Sauter
Aina Cohen Art Lyubimov Sabine Hollatz

## Slide 2: Painting with X-rays
Virtual beams to match any sample
(Some assembly required)

## Slide 3: Beam size?

## Slide 4: “dose contrast” effects
before

## Slide 5: “dose contrast” effects
after

## Slide 6: “dose contrast” effects

## Slide 7: “dose contrast” effects

## Slide 8: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 9: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 10: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 11: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 12: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 13: Exponential spot fading: flat dose
integrated spot intensity
dose (MGy)

## Slide 14: No dose flattening: damage repair?
Absorbed Dose (MGy)
Fraction Se-Met undamaged
25mM SeMet in 50 mM bis-tris
0.0 0.2 0.4 0.6 0.8 1.0
0 100 200 300 400 500
Half-dose = 10 ± 0.4 MGy
25% threhalose
Half-dose = 17.0 ± 0.7 MGy
25% glycerol
Reverse half-dose = 93 ± 5 MGy
Drift!

## Slide 15: False “Damage reversal”: from drift
X-ray beam
crystal

## Slide 16: False “Damage reversal”: from beam profile
X-ray beam
crystal

## Slide 17: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 18: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 19: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 20: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 21: Gaussian beam
50% of flux
the other 50%

## Slide 22: Gaussian beam
50% of flux
6.3%
25% of flux
12.5 % of flux
6.3 % of flux

## Slide 23: Collimated beam
100% of flux
0%

## Slide 24: What is the dose?

## Slide 25: What is the dose?

## Slide 26: What is the dose?

## Slide 27: Falling into “the drift”
normalized photons/area
position relative to beam center (μm)

## Slide 28: Falling into “the drift”
normalized photons/area
position relative to beam center (μm)

## Slide 29: Beam Shape Dichotomy
Flat-top beam
  Uniform dose in illuminated region
  Sharp edges: most sensitive to drift
Gaussian beam
  No sharp edges
  High dose contrast
Best of both?
  “dose flattening”

## Slide 30: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 31: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 32: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 33: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 34
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 35
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 36
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 37
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 38
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 39
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 40
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 41
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 42
Flux density (x106 ph/µm2)
dose flattening: two shots
FWHM
0.849 FWHM
Position (FWHM)
beam1
beam2

## Slide 43
Chart: 
Flux density (x106 ph/µm2)
dose flattening: 3 shots
Position (FWHM)
0.798 FWHM

## Slide 44
Chart: 
Flux density (x106 ph/µm2)
dose flattening: 3 shots
Position (FWHM)
0.781 FWHM
12%

## Slide 45
Flux density (x106 ph/µm2)
dose flattening: 5 shots
Position (FWHM)
0.656 FWHM

## Slide 46
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
1.0 FWHM
12%

## Slide 47
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
0.9 FWHM
4.5%

## Slide 48
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
0.8 FWHM
1.5%

## Slide 49
~0 MGy

## Slide 50
5 MGy

## Slide 51
11 MGy

## Slide 52
16 MGy

## Slide 53
22 MGy

## Slide 54
26 MGy

## Slide 55
In 2D: hexagonal pattern
Position (FWHM)
122%
exposure
0.9 FWHM
0.3%
0.2%
0.1%
0
-0.1%
-0.2%
-0.3%
Avg dose = 180% peak

## Slide 56
In 2D: hexagonal pattern
Position (FWHM)
100%
exposure
0.89 FWHM
3%
2%
1%
0
-1%
-2%
-3%
Avg dose = 164% peak

## Slide 57
In 2D: moving train
Position (FWHM)
Avg dose = 120% +/- 1.5% peak
0.8 FWHM

## Slide 58: “rastering” to find the crystal
Membrane
protein crystal
X-ray beam
ice

## Slide 59: “rastering” for flat dose

## Slide 60: “rastering” for virtual beam

## Slide 61: Background for DS

## Slide 62: Sample is 3D

## Slide 63: 3D mapping of sample

## Slide 64: Sample is 3D

## Slide 65: 2-motor scans offset data
phi
position
360°
0°

## Slide 66: 2-motor scans offset data
phi
position
360°
0°

## Slide 67: “rastering” for flat dose

## Slide 68: How many images?
360° / 0.1° * ( 100 µm / 1 µm )2
= 36x106
28,000 ph/image

## Slide 69: The Entropy Limit
= log2(Npixels) * flux * tsample * 1.2x10-5
minimum data rate with no information loss
Npixels = 4150*4371 for Eiger
flux = photons/s onto the sample
tsample = sample thickness in µm
1.2x10-5 = 10-4 cm/µm * cross section of oxygen (0.2 cm2/g)
* density of protein crystal (1.2 g/cm3 )
* ~1/2 of total scattering intersects detector
E.G. 34 GByte/s for 1013 photons/s and 100 µm thick
bits
s

## Slide 70: How to lose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast

## Slide 71: How long will it take?
Damage & diffraction = flux / area
Gy/s = ph/s /2000 / um2
Example: 30 MGy, 1 mm2 area, flux= 1012 ph/s
1x1 μm beam: 60 ms
100x100 μm beam: 600 s x 10x10 shots =
1x1 mm beam: 60,000 s x 1 shot = 17 hours
1013 ph/s → 1.7 h/mm2
Holton (2009)."beginner's guide rad dam", J. Synch. Rad. 16, 133-142.
17 hours
x 1000x1000 shots =
17 hours
1013 ph/s @ RT → 40 s/mm2

## Slide 72
The number of photons scattered
before crystal is dead
is independent
of flux & time
1 um3 = 105 photons (roomT)
1 um3 = 106 photons (synch)
1 um3 = 108 photons (XFEL)
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009
(synch)

## Slide 73: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
low
completeness
too much
read noise

## Slide 74: Dose slicing: is that a spot?

## Slide 75: Dose slicing: is that a spot?

## Slide 76: Dose slicing: is that a spot?

## Slide 77: Dose slicing: is that a spot?

## Slide 78: Dose slicing: is that a spot?

## Slide 79: Dose slicing: is that a spot?

## Slide 80: What if?
You only have a few small crystals…
Should you:
  Collect 360° from each?
  Collect 10° from each at 36x exposure?
  Glue 36 xtals together, then collect 360° ?

## Slide 81
Chart: 
Resolution (Å)
CC vs right answer
“true” resolution limit

## Slide 82
Dose slice collection scenario |  | 
fine | coarse | glue
3.17700 | 3.14057 | 3.17604
“true” resolution vs strategy
301,640,334 photons/xtal

## Slide 83: How to lose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over profile area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast, drift, read-out gap

## Slide 84: Summary
“dose contrast” avoided with dose flattening
0.8 FWHM = very flat
data beam can be virtual
Don’t fall into “the drift”!
Long exposures = lossy compression
Rastering as data collection?
http://bl831.als.lbl.gov/~jamesh/powerpoint/
ACA_painting_2019.pptx

## Slide 85
compresses 4.2x
Notes: Test data set: ADSC Q315r ccd. No loss, compresses 4.2x with gzip, etc.

## Slide 86
compresses 337x
Notes: Isolate spots by looking for peaks. Set everything else to zero, compresses almost 100x better!

## Slide 87
compresses 5x, but only one per dataset!
Notes: Median background and median absolute deviation from that background, store this separately as two images, compression is > 100x if you consider that there were 100 images in this data set.

## Slide 88
compresses 3.5x
Notes: Subtract meidan background and spots, left with difference between original image and everything we have compressed so far (spots, median background and median background noize level). This compresses less well than original image because all the “information” in the background is in here.

## Slide 89
compressed ~50x
Notes: After doing lossy compression on background, the image can be re-assembled by adding the spots to the median background and then finally adding the lossy-compressed difference image. So, we have only modified background pixels, but achieved 10x more compression!

## Slide 90
compresses 5.2x
Notes: Difference between the 50x lossy-compressed image and the original image. Note that the spots are “blank” because they were not modified by the lossy compression. This difference image contains most of the entropy of the original data set, as evidence by how it doesn’t compress very well. Theoretically, the difference data set could be stored separately from the 50x lossy-compressed data. Perhaps on tape or other slow long-term media. That way if anyone wants the original data back they can still get it. But for quick online storage the 50x compressed data can be used.

## Slide 91: Lossy compression vs R/Rfree
R factor
compression ratio
Notes: By adjusting the h264 lossy compression ratio of the background pixels the impact of the compression on crystallographic statistics can be evaluated. Note that some of these points are actually better than the uncompessed data! This is due to random noise, but could be a misguided argument for lossy compression: it can improve your Rfree

## Slide 92: 8x8 Max-pool & sqrt filter

## Slide 93: Ultimate data rate
The 1.2e-5 scattered photons per incident photon can be derived form the cross section of oxygen (0.2 cm^2/g) and the rough density of protein crystals (1.2 g/cm^3), and the fact that about half of all scattered photons hit a flat detector: 0.2*1.2*1e-4/2 = 1.155e-5 That is, flux*thickness*1.2e-5 is the rate of photon arrivals and log2(pixels) is the number of bits required to store the location of one photon in the entropy-limited regime. Lossless compression cannot be better than this because individual photon arrivals are genuinely random.
bits
s
= log2(pixels) * flux * thick * 1.2x10-5
where: bits/s = entropy-limited compressed data rate
pixels = number of pixels in the detector
flux = photons/s onto the sample thick = sample thickness in microns
EG: 1e12 ph/s * 100um thick = 3.4 GBytes/s

## Slide 94: How to lose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast