## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
UC Multicampus Research Programs and Initiatives (MRPI)
UCSF Program for Breakthrough Biomedical Research (PBBR)
one-time NIH-DOE Inter-agency agreement (IAA)
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
M D Anderson CRC
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Aina Cohen Ana Gonzalez
Axel Brunger Monarin Uervirojnangkoorn Artem Lyubimov Nick Sauter

## Slide 2: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
UC Multicampus Research Programs and Initiatives (MRPI)
UCSF Program for Breakthrough Biomedical Research (PBBR)
one-time NIH-DOE Inter-agency agreement (IAA)
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
M D Anderson CRC
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Aina Cohen Ana Gonzalez
Axel Brunger Monarin Uervirojnangkoorn Artem Lyubimov Nick Sauter

## Slide 3: What if…
we knew everything?
  how would we store it?
we had a hotter beam?
we had more coherence?
we had a perfect detector?
…
we knew what we are doing wrong?

## Slide 4: Diffraction Simulators
1. nearBragg
- first-principles scattering from atoms in space
2. nanoBragg
- optimized for nanocrystal/single-particle stills
3. nonBragg
- non-crystalline, centrosymmetric (SAXS)
4. MLFSOM
- rotation data with maximum realism in noise

## Slide 5: nearBragg program
http://bl831.als.lbl.gov/~jamesh/nearBragg/
“assumption-free” total scattering
no Fourier Transform
no unit cells
no “mosaicity”
arbitrary “atoms”
arbitrary “source”
coherent or not

## Slide 8: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 9: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 10: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 11: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 12
Meaning of “Molecular Transform”
False color intensity
sample
detector

## Slide 13: How to install: nearBragg
wget http://bl831.als.lbl.gov/
~jamesh/nearBragg/nearBragg.c
gcc –o nearBragg nearBragg.c –lm
./nearBragg
usage: nearBragg -file atom_list.txt
options:
-file filename.txt text file containing point scatterer coordinates in Angstrom relative to the origin.
-distance from origin to detector center in mm
-detsize detector size in mm. may also use -detsize_x -detsize_y
-detpixels detector size in pixels. may also use -detpixels_x -detpixels_y
-pixel detector pixel size in mm.

## Slide 14: How to run: nearBragg for single particle
egrep “^ATOM|^HETAT” lysozyme.pdb |\
awk ‘{print substr($0,31,36)}’ |\
cat >! atoms.txt
wget bl831.als.lbl.gov/~jamesh/nearBragg/rotate.awk
./rotate.awk -v phix=10 -v phiy=20 -v phiz=30 atoms.txt >! rotated.txt
nearBragg –atoms rotated.txt -lambda 1 -distance 1000 -detsize 100 -fluence 1e32
(200s)
adxv intimage.img

## Slide 15: How to run: nearBragg for single particle
egrep “^ATOM|^HETAT” lysozyme.pdb |\
awk ‘{print substr($0,31,36)}’ |\
cat >! atoms.txt
wget bl831.als.lbl.gov/~jamesh/nearBragg/rotate.awk
./rotate.awk -v phix=10 -v phiy=20 -v phiz=30 atoms.txt >! rotated.txt
nearBragg –atoms rotated.txt -lambda 1 -distance 1000 -detsize 100 -fluence 1e32
(200s)
adxv intimage.img

## Slide 16: How to run: nearBragg for single particle
egrep “^ATOM|^HETAT” lysozyme.pdb |\
awk ‘{print substr($0,31,36)}’ |\
cat >! atoms.txt
wget bl831.als.lbl.gov/~jamesh/nearBragg/rotate.awk
./rotate.awk -v phix=10 -v phiy=20 -v phiz=30 atoms.txt >! rotated.txt
nearBragg –atoms rotated.txt -lambda 1 -distance 1000 -detsize 100 -fluence 1e32
(200s)
adxv noiseimage.img

## Slide 17: nanoBragg program
http://bl831.als.lbl.gov/~jamesh/nanoBragg/
Optimized for nanocrystals
Square or round
Takes h,k,l and F
Supports 1 unit cell
explicit “mosaicity”
arbitrary source
explicit “phi” steps

## Slide 18: square

## Slide 19: round

## Slide 20: How to run: nanoBragg for single particle
pdbset xyzin lysozyme.pdb xyzout bigcell.pdb << EOF
CELL 250 250 250 90 90 90
SPACEGROUP 1
EOF
phenix.fmodel bigcell.pdb high_resolution=10 k_sol=0.35 b_sol=46.5 mask.solvent_radius=0.5 mask.shrink_truncation_radius=0.16
mtz_to_P1hkl.com bigcell.pdb.mtz
nanoBragg –cell 250 250 250 90 90 90 –misset 10 20 30 -hkl P1.hkl -lambda 1 -distance 1000 -detsize 100 -fluence 1e32 -N 1
adxv noiseimage.img

## Slide 21: How to run: nanoBragg for single particle
pdbset xyzin lysozyme.pdb xyzout bigcell.pdb << EOF
CELL 250 250 250 90 90 90
SPACEGROUP 1
EOF
phenix.fmodel bigcell.pdb high_resolution=10 k_sol=0.35 b_sol=46.5 mask.solvent_radius=0.5 mask.shrink_truncation_radius=0.16
mtz_to_P1hkl.com bigcell.pdb.mtz
nanoBragg –cell 250 250 250 90 90 90 –misset 10 20 30 -hkl P1.hkl -lambda 1 -distance 1000 -detsize 100 -fluence 1e32 -N 1
adxv noiseimage.img

## Slide 22: Realistic single-particle prediction
1012 photon/pulse
100 nm focus

## Slide 23: Realistic single-particle prediction
1012 photon/pulse
3 nm focus

## Slide 24: How to run: nonBragg for SAXS
pdbset xyzin lysozyme.pdb xyzout bigcell.pdb << EOF
CELL 250 250 250 90 90 90
SPACEGROUP 1
EOF
phenix.fmodel bigcell.pdb high_resolution=10 k_sol=0.35 b_sol=46.5 mask.solvent_radius=0.5 mask.shrink_truncation_radius=0.16
mtz_to_stol.com bigcell.pdb.mtz
nonBragg -stol mtz.stol -lambda 1 -dispersion 0 \
-distance 1000 -detsize 100 -pixel 0.172 \
-flux 1e13 -thick 1.2 -MW 14000 -density 0.01
adxv noiseimage.img

## Slide 25: How to run: nonBragg for SAXS
pdbset xyzin lysozyme.pdb xyzout bigcell.pdb << EOF
CELL 250 250 250 90 90 90
SPACEGROUP 1
EOF
phenix.fmodel bigcell.pdb high_resolution=10 k_sol=0.35 b_sol=46.5 mask.solvent_radius=0.5 mask.shrink_truncation_radius=0.16
mtz_to_stol.com bigcell.pdb.mtz
nonBragg -stol mtz.stol -lambda 1 -dispersion 0 \
-distance 1000 -detsize 100 -pixel 0.172 \
-flux 1e13 -thick 1.2 -MW 14000 -density 0.01
adxv noiseimage.img

## Slide 26: nonBragg extracts background
Flux
Exposure
Density
Thickness
Gain, offset
spot remover

## Slide 27
Simulation of XFEL stills
Beam center from autoindexing
Sauter (2015). JSR 22, 239.

## Slide 28: “fit” simulation to reality
Dispersion
Divergence
Mosaicity
Wavelength
Unit cell parameters (3)
Crystal orientation (3)
Mosaic domain size (3)
Beam center (2)
Beam direction (2)
Detector distance

## Slide 29
Real XFEL still

## Slide 30: Simulation of XFEL still

## Slide 31
phiz
Simulation of XFEL still
phiy
phiz
phix
phix
phiy
VS
real

## Slide 32
Angle about y axis (°)
Fraction pixels predicted
Fitting individual “mosaic domains”
Best of
262,140 trials

## Slide 33: The “Lorentz zone”

## Slide 34
The number of photons scattered
before crystal is dead
is independent
of data collection time
1 um3 = 105 photons (roomT)
1 um3 = 106 photons (synch)
1 um3 = 108 photons (XFEL)
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009
(synch)

## Slide 35
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 36
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry

## Slide 37: B factor from image analysis
B = 500

## Slide 38: B factor from image analysis
B = 20

## Slide 39
Synchrotron Resolution (Å)
XFEL Resolution (Å)
Predicting resolution limits

## Slide 40: Is it Real? Or is it MLFSOM
simulated
real
Holton et al (2014) "R-factor gap", FEBS Journal 281, 4046-4060.

## Slide 41: The R-factor Gap
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 42: The R-factor Gap
Last “right”
atom added
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 43
Source of error | realistic simulation | No SHSSS | Perfect detector
Photon counting | + | + | +
Shutter jitter | + | + | -
Beam flicker | + | + | -
Sample absorption | + | + | -
Radiation damage | + | + | -
Imperfect spindle | + | + | -
vignette | + | + | -
Corner correction | + | + | -
SHSSS | + | - | -
Rmeas (∞-10 Å) | 2.8% | 0.7% | 0.7%
I/σ asymptotic | 26.8 | 74.2 | 81.0
Breakdown of the errors
Holton et al (2014) "R-factor gap", FEBS Journal 281, 4046-4060.

## Slide 44
Spot centroid position (pixels)
Relative spot intensity
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 45
Spot centroid position (pixels)
Relative spot intensity
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 46
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 47
down
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 48
down
up
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 49
down
up
Rseparate
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 50
odd
even
Rmixed
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 51
separate:
2.5%
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 52
separate:
mixed:
2.5%
0.9%
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 53
separate:
mixed:
2.5%
0.9%
2.5%2-0.9%2 = 2.3%2
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 54
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
~3x105 photon/pixel
Pilatus: subtract smooth baseline

## Slide 55
Required signal-to-noise (I/σ)
Solve-able proteins (%)
Current
technology
Goal
Threshold of a revolution in phasing

## Slide 56: URLs & Summary
MLFSOM for rotation data
nonBragg for background
nanoBragg for stills
nearBragg for coherence
Phasing limit is calibration
Resolution limited by disorder
http://bl831.als.lbl.gov/~jamesh/powerpoint/
ACA_whatif_2016.pptx
http://bl831.als.lbl.gov/~jamesh/bin_stuff/
http://bl831.als.lbl.gov/~jamesh/mlfsom/

## Slide 57: How to install: MLFSOM
wget http://bl831.als.lbl.gov/~jamesh/
mlfsom/development_snapshot.tgz
tar xvzf development_snapshot.tgz
wget http://ftp.esrf.eu/pub/expg/FIT2D/
fit2d_10.132_i686_linuxV2.2.10
ln –sf fit2d_* fit2d
yum install gnuplot
gedit example.com mlfsom.params
./ano_sfall.com lysozyme.pdb
mv ideal_ano.mtz pristine.mtz
./mlfsom.com frames=100

## Slide 58
processing procedure | collection scenario |  |  | 
 | fine | coarse | glue | glue_fine
XDS/XSCALE | 3.03874 | 3.02970 | 3.0270 | 3.02948
XDS/aimless | 3.13351 | 3.03531 | 3.02638 | 3.05292
XDS/noscale | 3.01449 | 3.03048 | 3.02576 | 3.31013
MOSFLM-defaults | x | x | x | x
MOSFLM-cheat | 3.51254 | 3.04355 | 3.08244 | x
MOSFLM/noscale | 3.51311 | 3.04287 | 3.21664 | x
HKL2000-defaults | x | x | x | x
HKL2000-cheat | 3.04147 | 3.01415 | 3.01415 | 3.03948
DIALS-defaults | x | x | 3.32378 | x
DIALS-cheat | 2.92007 | x | 2.98204 | 2.92007
DIALS-noscale | 2.96392 | x | 3.26126 | 5.14852
d*Trek | ? | ? | ? | ?
EVAL15 | ? | ? | ? | ?

## Slide 59: Systematic Error vs Random Noise

## Slide 60: How to install: nanoBragg
wget http://bl831.als.lbl.gov/
~jamesh/nanoBragg/nanoBragg.c
gcc –o nanoBragg nanoBragg.c -lm

## Slide 61: How to install: nonBragg
wget http://bl831.als.lbl.gov/
~jamesh/nonBragg/nonBragg.c
gcc –o nonBragg nonBragg.c -lm

## Slide 62: How to install: ancillaries
wget http://bl831.als.lbl.gov/
~jamesh/nanoBragg/noisify.c
wget http://bl831.als.lbl.gov/
~jamesh/nanoBragg/float_add.c
wget http://bl831.als.lbl.gov/
~jamesh/nanoBragg/float_func.c
gcc –o noisify noisify.c –lm
gcc –o float_add float_add.c –lm
gcc –o float_func float_func.c –lm

## Slide 63: How to run: nanoBragg for single particle
UBtoA.awk << EOF > A.mat
CELL 250 250 250 90 90 90
RANDOM
EOF
nanoBragg -hkl P1.hkl -lambda 1 -distance 1000 -detsize 100 -fluence 1e32 -N 1 –mat A.mat
adxv noiseimage.img
UBtoA.awk << EOF > A.mat
CELL 250 250 250 90 90 90
MISSET 10 20 30
RANDOM 1 12345
EOF