## Slide 1: It’s Official … TomAlberTron
Meigs
Classen
Burnett
Tanamachi

## Slide 2: Science highlights: 2020 Nobel Chemistry
Chart: 
6
8.3.1
6
cryoEM
2
SLS
Doudna
CRISPR PDBs

## Slide 3: Science Highlights: COVID-19
COVID protection:
nanobody aerosol
Schoof et al., Science 370 (2020)
UCSF-Oxford SARS-CoV-2
fragment screen
Schuller et al., Science Advances 7 eabf8711 (2021)

## Slide 4: TomAlberTron’s User Community
1000+ users, 60+ institutions
PRT investment: $16 M since 2001
Return: 1826 PDB 720 pubs 250 hi-impact
$132+ M (NIH)
$935+ M (Plexxikon)

## Slide 5
Pilatus3 S 6M
Pixel Array
Detector
6x106 pixels
$0.15/each
2 ms readout
25 Hz images
1.5 mm

## Slide 6
1% high
average
1% low
Relative Pixel
Calibration
ALS 8.3.1
Pilatus3 6M
0.9793 Å x-rays
RMS = 0.8%

## Slide 7: Better calibration = better anomalous
8.2σ = Na
DELFAN residual anomalous difference
140x multiplicity data by Tom Peat & Janet Newman

## Slide 8: Milliseconds matter!
time
intensity
2.03 ms
0.95 ms

## Slide 9
Pilatus3 S 6M
Pixel Array
Detector
6x106 pixels
$0.15/each
2 ms readout
25 Hz images
Pilatus3 M 6M
Pixel Array
Detector
6x106 pixels
$0.15/each
1 ms readout
100 Hz images

## Slide 10: ALS 8.3.1 data collection history
Chart: 
| 2001.5094381700001 | 2001.52576793 | 2001.5296679400001 | 2001.53738466 | 2001.5432136500001 | 2001.5463147400001 | 2001.5490528099999 | 2001.5515922899999 | 2001.55421084 | 2001.55710301 | 2001.5587303499999 | 2001.5626939900001 | 2001.5654641399999 | 2001.56736437 | 2001.5703296500001 | 2001.57369236 | 2001.57630672 | 2001.5927401599999 | 2001.5953274999999 | 2001.59661682 | 2001.60379661 | 2001.60654774 | 2001.6090851599999 | 2001.6133692400001 | 2001.6150143499999 | 2001.62023402 | 2001.62297057 | 2001.62571159 | 2001.62844817 | 2001.6309281399999 | 2001.63392419 | 2001.6346994999999 | 2001.77823893 | 2001.7812824800001 | 2001.85580215 | 2001.8568999900001 | 2001.8746867 | 2001.8774825099999 | 2001.8804465799999 | 2001.88318484 | 2001.8859222200001 | 2001.88851434 | 2001.8906167800001 | 2001.9076300500001 | 2001.91330133 | 2001.9160384500001 | 2001.9187769 | 2001.92151453 | 2001.9231500799999 | 2001.9297138899999 | 2001.93246559 | 2001.9351585700001 | 2001.93792091 | 2001.9406768900001 | 2001.94069631 | 2001.94801972 | 2001.9516306400001 | 2001.95436817 | 2001.9563042499999 | 2001.95983535 | 2001.96103801 | 2001.96502491 | 2001.96805825 | 2001.9707813 | 2001.9734997600001 | 2001.9753222700001 | 2001.9784385999999 | 2002.0145301 | 2002.0173396299999 | 2002.0181311599999 | 2002.0228151399999 | 2002.02555248 | 2002.02796917 | 2002.03092025 | 2002.0337548499999 | 2002.0345076900001 | 2002.0415044199999 | 2002.0446249700001 | 2002.04745389 | 2002.0501851199999 | 2002.0529052300001 | 2002.0555840100001 | 2002.0666059800001 | 2002.0720910299999 | 2002.07470524 | 2002.0756914000001 | 2002.0803013499999 | 2002.08302596 | 2002.08578117 | 2002.0885236199999 | 2002.09126163 | 2002.09399859 | 2002.09526441 | 2002.10209721 | 2002.1049491700001 | 2002.1074904899999 | 2002.1104265900001 | 2002.1131636099999 | 2002.1137298799999 | 2002.1523277399999 | 2002.1595041800001 | 2002.16221563 | 2002.1649628299999 | 2002.1674060400001 | 2002.17612848 | 2002.17887013 | 2002.1814326199999 | 2002.18434447 | 2002.18708539 | 2002.1898165299999 | 2002.1898344900001 | 2002.2034963999999 | 2002.2062492099999 | 2002.2089888600001 | 2002.20919858 | 2002.21446472 | 2002.2171994400001 | 2002.2199235 | 2002.2226777400001 | 2002.22540697 | 2002.22632247 | 2002.23362974 | 2002.2345468599999 | 2002.23841236 | 2002.2417939300001 | 2002.2445622600001 | 2002.24731855 | 2002.2500555199999 | 2002.2527831299999 | 2002.25359409 | 2002.3594565200001 | 2002.3621945899999 | 2002.3642269100001 | 2002.3670700600001 | 2002.3704002500001 | 2002.3731457399999 | 2002.3758772799999 | 2002.37862122 | 2002.3813575199999 | 2002.38167129 | 2002.3858575700001 | 2002.38957297 | 2002.39230873 | 2002.3945551300001 | 2002.39775721 | 2002.3986972099999 | 2002.4114643099999 | 2002.4142125799999 | 2002.4169517 | 2002.41899276 | 2002.4277580999999 | 2002.4306125600001 | 2002.43156707 | 2002.43609403 | 2002.43847162 | 2002.4470663500001 | 2002.4495026899999 | 2002.4525389800001 | 2002.45526513 | 2002.4579717700001 | 2002.4593722 | 2002.4689707099999 | 2002.4698649500001 | 2002.4744460300001 | 2002.47714281 | 2002.4781252099999 | 2002.4825129000001 | 2002.48538992 | 2002.48813047 | 2002.4908737000001 | 2002.4936042300001 | 2002.49624021 | 2002.4987761100001 | 2002.5018250099999 | 2002.5018747900001 | 2002.5100239200001 | 2002.5117045 | 2002.51551335 | 2002.5164599699999 | 2002.52293089 | 2002.52644431 | 2002.52920346 | 2002.53148706 | 2002.5345645100001 | 2002.5428535799999 | 2002.5452345599999 | 2002.5510973299999 | 2002.55175695 | 2002.5593200400001 | 2002.5620485100001 | 2002.5647130299999 | 2002.56530183 | 2002.56877646 | 2002.5784837599999 | 2002.5812223 | 2002.5839490999999 | 2002.5866969599999 | 2002.5893530599999 | 2002.5911249000001 | 2002.59714747 | 2002.6015231199999 | 2002.6222903800001 | 2002.6223261299999 | 2002.6359291900001 | 2002.63828289 | 2002.64050729 | 2002.6441915400001 | 2002.6468048300001 | 2002.6512742699999 | 2002.6549929299999 | 2002.6561581399999 | 2002.6687356499999 | 2002.6708603300001 | 2002.6769052100001 | 2002.6789477 | 2002.68090691 | 2002.6852608199999 | 2002.68799833 | 2002.68801867 | 2002.7061000199999 | 2002.73155677 | 2002.73694628 | 2002.73890366 | 2002.7427115800001 | 2002.74493254 | 2002.7509692399999 | 2002.7537069699999 | 2002.7564450100001 | 2002.75918286 | 2002.7619038800001 | 2002.76376508 | 2002.7728378300001 | 2002.7755191799999 | 2002.7783475900001 | 2002.78101836 | 2002.78382035 | 2002.78453016 | 2002.7892993400001 | 2002.7920359899999 | 2002.79476548 | 2002.79711939 | 2002.8002324300001 | 2002.80038732 | 2002.81394013 | 2002.81667094 | 2002.8194156699999 | 2002.82226031 | 2002.82235969 | 2002.82774333 | 2002.83040643 | 2002.8332159900001 | 2002.8359549500001 | 2002.83815271 | 2002.8399086100001 | 2002.8680442699999 | 2002.8741074699999 | 2002.87445611 | 2002.87976069 | 2002.8806801799999 | 2002.88795989 | 2002.8907139600001 | 2002.89345058 | 2002.8961846899999 | 2002.89892745 | 2002.9015824099999 | 2002.90430191 | 2002.90575681 | 2002.9234931399999 | 2002.9262904 | 2003.61517742 | 2003.61723639 | 2003.64231307 | 2003.6571980399999 | 2003.65991869 | 2003.66266763 | 2003.6647293799999 | 2003.6681822099999 | 2003.6736221399999 | 2003.67544557 | 2003.6790472299999 | 2003.6818222899999 | 2003.6843635099999 | 2003.6927664 | 2003.6955252600001 | 2003.69826352 | 2003.7010036900001 | 2003.7037266100001 | 2003.70430508 | 2003.7082964199999 | 2003.7119534399999 | 2003.7146201200001 | 2003.7174309500001 | 2003.72016861 | 2003.7220024999999 | 2003.7311194500001 | 2003.7338576100001 | 2003.7365656500001 | 2003.7374397900001 | 2003.74172329 | 2003.7471616299999 | 2003.75028494 | 2003.75302057 | 2003.75306411 | 2003.7584834100001 | 2003.76123641 | 2003.7612420099999 | 2003.76944467 | 2003.7721878100001 | 2003.7749254400001 | 2003.7776636399999 | 2003.7803300600001 | 2003.78565417 | 2003.7884982400001 | 2003.7904726300001 | 2003.79409074 | 2003.7968267199999 | 2003.79775227 | 2003.8050419199999 | 2003.80777971 | 2003.8103712300001 | 2003.8132520199999 | 2003.8159928800001 | 2003.8179728800001 | 2003.8190035 | 2003.8243176000001 | 2003.8269494799999 | 2003.8291177399999 | 2003.8325347 | 2003.8352679899999 | 2003.8380019399999 | 2003.83803033 | 2003.8423285399999 | 2003.84622386 | 2003.84896088 | 2003.85169965 | 2003.8544373100001 | 2003.8571326700001 | 2003.8587160300001 | 2003.86235829 | 2003.8648523700001 | 2003.8681187699999 | 2003.87075129 | 2003.87359932 | 2003.8761104099999 | 2003.8772185800001 | 2003.8807597499999 | 2003.8843363599999 | 2003.88728924 | 2003.8882429299999 | 2003.8918241599999 | 2003.8955052700001 | 2003.89816165 | 2003.8983859 | 2003.9200906000001 | 2003.9219024900001 | 2003.92561237 | 2003.9283589700001 | 2003.93107816 | 2003.93201032 | 2003.9420449300001 | 2003.9447820800001 | 2003.94751486 | 2003.95025541 | 2003.95300004 | 2003.95367455 | 2003.95847514 | 2003.96021548 | 2003.9639408600001 | 2003.96668901 | 2003.9693836700001 | 2003.97213384 | 2003.9749026500001 | 2003.9772085300001 | 2004.0187085800001 | 2004.02143813 | 2004.0241843199999 | 2004.0250898700001 | 2004.0350876499999 | 2004.0378730299999 | 2004.04059418 | 2004.0433487 | 2004.0460869999999 | 2004.0486551900001 | 2004.05977162 | 2004.0625100100001 | 2004.06523072 | 2004.0679886299999 | 2004.0695065499999 | 2004.0734648099999 | 2004.07619886 | 2004.0780306500001 | 2004.08167731 | 2004.0844092100001 | 2004.0871293099999 | 2004.0882032899999 | 2004.09221804 | 2004.0953684399999 | 2004.09810195 | 2004.1005729200001 | 2004.1035804999999 | 2004.1063192399999 | 2004.1063298500001 | 2004.1145331099999 | 2004.11727124 | 2004.1200090899999 | 2004.12236368 | 2004.12464972 | 2004.1305757099999 | 2004.1335784099999 | 2004.1364361399999 | 2004.1391604600001 | 2004.14184602 | 2004.1446496200001 | 2004.1456468199999 | 2004.1500722799999 | 2004.1527119899999 | 2004.1556010899999 | 2004.1582991099999 | 2004.16010181 | 2004.1692903799999 | 2004.1718883599999 | 2004.17476373 | 2004.1765717599999 | 2004.18023595 | 2004.1829695900001 | 2004.1852545199999 | 2004.18845242 | 2004.19118951 | 2004.1938579299999 | 2004.19666876 | 2004.1993334399999 | 2004.2021431600001 | 2004.20304719 | 2004.24593914 | 2004.24775049 | 2004.2513946900001 | 2004.2541617899999 | 2004.2568539700001 | 2004.25950883 | 2004.2649747099999 | 2004.2677387700001 | 2004.27047161 | 2004.27291876 | 2004.27496926 | 2004.2780568200001 | 2004.28554665 | 2004.28962009 | 2004.2923748000001 | 2004.2951173399999 | 2004.29772888 | 2004.29915957 | 2004.3033251899999 | 2004.3060582600001 | 2004.3088056399999 | 2004.31153713 | 2004.3142554599999 | 2004.31428673 | 2004.4254743399999 | 2004.4341536699999 | 2004.4374579800001 | 2004.4401763799999 | 2004.4420313000001 | 2004.4456825300001 | 2004.4480655100001 | 2004.4511226499999 | 2004.4525179699999 | 2004.4620572900001 | 2004.4648639 | 2004.46759731 | 2004.47033472 | 2004.4705336899999 | 2004.47581524 | 2004.47855338 | 2004.48085571 | 2004.48400636 | 2004.4858449000001 | 2004.4895048400001 | 2004.4895132700001 | 2004.4977116800001 | 2004.5004556399999 | 2004.5031824299999 | 2004.5056802500001 | 2004.5159367900001 | 2004.51962101 | 2004.5216913500001 | 2004.52444904 | 2004.52736729 | 2004.53878616 | 2004.5415229600001 | 2004.5442618899999 | 2004.5451296399999 | 2004.5497370200001 | 2004.5524658100001 | 2004.5551104000001 | 2004.5579088100001 | 2004.5606889600001 | 2004.5634204099999 | 2004.5657472099999 | 2004.56709217 | 2004.57433027 | 2004.57711477 | 2004.5798538900001 | 2004.5825798200001 | 2004.58531457 | 2004.5908050999999 | 2004.5935427899999 | 2004.5962661000001 | 2004.59901887 | 2004.60175267 | 2004.60381506 | 2004.6172506099999 | 2004.63087662 | 2004.6359656 | 2004.64825189 | 2004.6510376599999 | 2004.6537714200001 | 2004.6564547400001 | 2004.6592347000001 | 2004.6607851000001 | 2004.6637383100001 | 2004.66744619 | 2004.6701957400001 | 2004.67293761 | 2004.67563655 | 2004.6783436600001 | 2004.6809857200001 | 2004.69107549 | 2004.69484324 | 2004.6975789000001 | 2004.6988751399999 | 2004.70247522 | 2004.70579496 | 2004.70852365 | 2004.7111205199999 | 2004.7139979000001 | 2004.71674633 | 2004.7175733300001 | 2004.7249516100001 | 2004.7276978299999 | 2004.7304355199999 | 2004.7331726100001 | 2004.7358919200001 | 2004.7368128799999 | 2004.7441249000001 | 2004.7468616799999 | 2004.7496005400001 | 2004.7523383299999 | 2004.7550406600001 | 2004.7572920600001 | 2004.7649504399999 | 2004.7687412499999 | 2004.77127006 | 2004.7742413200001 | 2004.7743448799999 | 2004.77971703 | 2004.78244477 | 2004.7851659200001 | 2004.7878629899999 | 2004.7897785 | 2004.7932141199999 | 2004.7961441299999 | 2004.79717415 | 2004.8043571400001 | 2004.8070778199999 | 2004.8098331900001 | 2004.8102318900001 | 2004.8146759599999 | 2004.82077953 | 2004.8235226700001 | 2004.8262513300001 | 2004.8289981200001 | 2004.8317361899999 | 2004.83435781 | 2004.8427730200001 | 2004.84552719 | 2004.8482598200001 | 2004.8504707899999 | 2004.85356611 | 2004.8546018100001 | 2004.85895841 | 2004.8619340499999 | 2004.8646940199999 | 2004.8674412800001 | 2004.8701657900001 | 2004.87107378 | 2004.8783936 | 2004.8811217299999 | 2004.8837924899999 | 2004.88660592 | 2004.8893411700001 | 2004.8920829799999 | 2004.89481817 | 2004.89574464 | 2004.91668796 | 2004.9193480500001 | 2004.92217418 | 2004.9247580900001 | 2004.92765467 | 2004.9304129300001 | 2004.93127342 | 2004.9358862500001 | 2004.9386193800001 | 2004.94136205 | 2004.9440956200001 | 2004.9468369900001 | 2004.9486098100001 | 2004.9605246900001 | 2004.9632668199999 | 2004.96598328 | 2004.96686047 | 2004.97147838 | 2004.97421547 | 2004.97635558 | 2004.9795744600001 | 2005.0110480799999 | 2005.01528383 | 2005.0174134900001 | 2005.02038894 | 2005.0234838199999 | 2005.02445779 | 2005.03112093 | 2005.0344280300001 | 2005.0369688400001 | 2005.0396871099999 | 2005.0426578399999 | 2005.0431991 | 2005.0563007600001 | 2005.0590916900001 | 2005.06135543 | 2005.0645671100001 | 2005.0649470799999 | 2005.06912005 | 2005.0727551800001 | 2005.0755011199999 | 2005.0782567700001 | 2005.08098918 | 2005.08889092 | 2005.0918338500001 | 2005.0946822999999 | 2005.0974005600001 | 2005.10014871 | 2005.1024739500001 | 2005.1083723700001 | 2005.1102769900001 | 2005.1601434500001 | 2005.1850329199999 | 2005.1869633900001 | 2005.2036199500001 | 2005.3948511599999 | 2005.40394681 | 2005.40574771 | 2005.42037405 | 2005.42311107 | 2005.4258485099999 | 2005.4285346199999 | 2005.43680055 | 2005.4395383399999 | 2005.4422621199999 | 2005.4450113800001 | 2005.4451658600001 | 2005.4532240399999 | 2005.4559558999999 | 2005.4587038899999 | 2005.4614414299999 | 2005.4639398100001 | 2005.46956632 | 2005.47512628 | 2005.4778536399999 | 2005.48060667 | 2005.48334404 | 2005.4858895499999 | 2005.4881815799999 | 2005.49064948 | 2005.49420872 | 2005.4970098199999 | 2005.4997323600001 | 2005.5025094699999 | 2005.50516513 | 2005.5134566300001 | 2005.5161979 | 2005.5189366100001 | 2005.5216723999999 | 2005.5239652600001 | 2005.5316835199999 | 2005.5353566799999 | 2005.53802498 | 2005.54069441 | 2005.54631509 | 2005.5490512599999 | 2005.5517778000001 | 2005.5545287299999 | 2005.5572650300001 | 2005.55998 | 2005.56179206 | 2005.5709472799999 | 2005.57307885 | 2005.57642343 | 2005.57916819 | 2005.5808756399999 | 2005.5873730599999 | 2005.5888699100001 | 2005.5928586099999 | 2005.59559453 | 2005.59827797 | 2005.60924608 | 2005.61199435 | 2005.6147614199999 | 2005.61628337 | 2005.6202317699999 | 2005.6211755300001 | 2005.62570848 | 2005.6284226299999 | 2005.63118545 | 2005.63231615 | 2005.63660123 | 2005.6387179599999 | 2005.6397612599999 | 2005.6448749900001 | 2005.64761576 | 2005.6493792900001 | 2005.6530912400001 | 2005.6555080600001 | 2005.65855296 | 2005.6594745800001 | 2005.6633491800001 | 2005.66675121 | 2005.6686105700001 | 2005.6722557799999 | 2005.6749923299999 | 2005.6758730700001 | 2005.6877532200001 | 2005.69142121 | 2005.69387295 | 2005.69686082 | 2005.6989156699999 | 2005.70237258 | 2005.70499141 | 2005.70784819 | 2005.7105859400001 | 2005.7133237 | 2005.7142331499999 | 2005.7214036600001 | 2005.72333314 | 2005.72612936 | 2005.7297512499999 | 2005.7324814599999 | 2005.7351002299999 | 2005.7406885800001 | 2005.74263062 | 2005.7460382899999 | 2005.7489088499999 | 2005.7509567300001 | 2005.75406514 | 2005.7626052999999 | 2005.7653433099999 | 2005.7680811299999 | 2005.7708162500001 | 2005.77198868 | 2005.7790324 | 2005.7817700600001 | 2005.7845068399999 | 2005.7863381899999 | 2005.78895534 | 2005.79087095 | 2005.7954511099999 | 2005.7981870000001 | 2005.8009351799999 | 2005.8036707199999 | 2005.80542345 | 2005.80877532 | 2005.8118863 | 2005.81344399 | 2005.8172868700001 | 2005.8201001699999 | 2005.8228381399999 | 2005.8246537800001 | 2005.8307574400001 | 2005.83937926 | 2005.8419993299999 | 2005.8447459199999 | 2005.8475822 | 2005.8494151 | 2005.85580643 | 2005.8585262500001 | 2005.8596791299999 | 2005.86379113 | 2005.8667368900001 | 2005.8749711 | 2005.8769265999999 | 2005.88011848 | 2005.8831847199999 | 2005.8858753500001 | 2005.8886605800001 | 2005.8905022599999 | 2005.9160390500001 | 2005.9187769299999 | 2005.9209996300001 | 2005.9241861200001 | 2005.9267810599999 | 2005.9324591899999 | 2005.93250627 | 2005.9390072399999 | 2005.95337393 | 2005.95671277 | 2005.9586054399999 | 2005.9680378099999 | 2005.9707960999999 | 2005.9735297 | 2005.97581014 | 2006.00489277 | 2006.01621178 | 2006.0185503299999 | 2006.02270071 | 2006.0235486199999 | 2006.0310289399999 | 2006.0337589999999 | 2006.0365020199999 | 2006.0392313699999 | 2006.0419231799999 | 2006.05290726 | 2006.05565705 | 2006.05840739 | 2006.06030655 | 2006.06659315 | 2006.0691542100001 | 2006.07181173 | 2006.0748137400001 | 2006.07755812 | 2006.0785131299999 | 2006.0830148 | 2006.0857746500001 | 2006.0885232099999 | 2006.0912479399999 | 2006.0939951400001 | 2006.09669747 | 2006.0989946 | 2006.0996972800001 | 2006.10494217 | 2006.10765945 | 2006.11042094 | 2006.1131580700001 | 2006.1158980099999 | 2006.11659515 | 2006.1241146699999 | 2006.1257913500001 | 2006.1295902100001 | 2006.1323091700001 | 2006.1342184099999 | 2006.14592745 | 2006.14874588 | 2006.15147017 | 2006.1533985200001 | 2006.15555204 | 2006.1621729799999 | 2006.1642834700001 | 2006.1828205300001 | 2006.19255587 | 2006.1952991400001 | 2006.1967380599999 | 2006.2373976199999 | 2006.24731675 | 2006.25005609 | 2006.2518072 | 2006.2597379399999 | 2006.2629413499999 | 2006.26907426 | 2006.2717155 | 2006.2744167799999 | 2006.2773190600001 | 2006.2799624500001 | 2006.2827948900001 | 2006.28553489 | 2006.28827284 | 2006.2891316800001 | 2006.29241843 | 2006.2964203900001 | 2006.2992207299999 | 2006.30195912 | 2006.3046998499999 | 2006.3074375399999 | 2006.31016849 | 2006.3125533899999 | 2006.3140036899999 | 2006.3183876799999 | 2006.32107369 | 2006.32386477 | 2006.3266025 | 2006.32920659 | 2006.33748919 | 2006.3393014999999 | 2006.3430186099999 | 2006.3456293900001 | 2006.3485054299999 | 2006.34912132 | 2006.3539475800001 | 2006.3567056100001 | 2006.3594565799999 | 2006.36216347 | 2006.3649105100001 | 2006.3659447800001 | 2006.37312647 | 2006.37588248 | 2006.3786125700001 | 2006.38133939 | 2006.3840974899999 | 2006.3868353099999 | 2006.3894297100001 | 2006.3923111399999 | 2006.3950489900001 | 2006.3977864599999 | 2006.4004874899999 | 2006.4032625699999 | 2006.4058595399999 | 2006.4080823300001 | 2006.4101422199999 | 2006.4125103599999 | 2006.41694856 | 2006.4196893000001 | 2006.42233988 | 2006.4242514 | 2006.42976114 | 2006.43337836 | 2006.4361119 | 2006.43885391 | 2006.44159233 | 2006.4424750600001 | 2006.4495996799999 | 2006.45254243 | 2006.45528145 | 2006.4580031099999 | 2006.4606002999999 | 2006.4633128600001 | 2006.46883103 | 2006.4717060200001 | 2006.4744466899999 | 2006.47718439 | 2006.47992138 | 2006.48251534 | 2006.4880470000001 | 2006.49087351 | 2006.49358259 | 2006.4962322900001 | 2006.49716496 | 2006.5018249499999 | 2006.5040507799999 | 2006.5099995200001 | 2006.51274283 | 2006.51551015 | 2006.51823954 | 2006.5185223799999 | 2006.5237227499999 | 2006.52645762 | 2006.52920361 | 2006.53158459 | 2006.5346666400001 | 2006.53741257 | 2006.53828634 | 2006.5483685700001 | 2006.5507244200001 | 2006.55384437 | 2006.5565668199999 | 2006.5588536800001 | 2006.5646944299999 | 2006.56739128 | 2006.57027128 | 2006.5730092599999 | 2006.57532335 | 2006.5784117600001 | 2006.5836520800001 | 2006.58669829 | 2006.5894318000001 | 2006.5921708599999 | 2006.59484806 | 2006.59752269 | 2006.5999407700001 | 2006.6113362200001 | 2006.6138740599999 | 2006.62395059 | 2006.6265835199999 | 2006.63049284 | 2006.63322724 | 2006.6359739 | 2006.63710567 | 2006.64109749 | 2006.6441757299999 | 2006.6468348000001 | 2006.64966899 | 2006.6503993599999 | 2006.6578825700001 | 2006.66062029 | 2006.6631195 | 2006.66609606 | 2006.66879617 | 2006.6710309099999 | 2006.6742468100001 | 2006.67977907 | 2006.68173039 | 2006.6852611100001 | 2006.68798857 | 2006.6906334800001 | 2006.6916325699999 | 2006.6989486800001 | 2006.7016466699999 | 2006.7044258799999 | 2006.70716287 | 2006.70988076 | 2006.71074841 | 2006.7180860399999 | 2006.7208527600001 | 2006.7235908299999 | 2006.7263287400001 | 2006.7288946599999 | 2006.73180426 | 2006.7327184599999 | 2006.73724881 | 2006.73998435 | 2006.7409161999999 | 2006.74516763 | 2006.7479122300001 | 2006.7496607800001 | 2006.7557498000001 | 2006.7590658399999 | 2006.7619207099999 | 2006.76431237 | 2006.7673952099999 | 2006.7694120900001 | 2006.7705269099999 | 2006.7756097700001 | 2006.77795745 | 2006.78108595 | 2006.78382371 | 2006.7865615600001 | 2006.7889308399999 | 2007.02970448 | 2007.04297795 | 2007.0467404399999 | 2007.0495083000001 | 2007.0522470999999 | 2007.05498476 | 2007.0565696399999 | 2007.06315344 | 2007.0658970300001 | 2007.06867427 | 2007.0714113900001 | 2007.0738576799999 | 2007.08119014 | 2007.0850693299999 | 2007.08783935 | 2007.0905770700001 | 2007.0933148300001 | 2007.0958446499999 | 2007.1015178600001 | 2007.1042637 | 2007.1070038 | 2007.1079311200001 | 2007.1124769 | 2007.1152144600001 | 2007.1155119800001 | 2007.1233561199999 | 2007.1260361699999 | 2007.1271030400001 | 2007.1316407100001 | 2007.1342990600001 | 2007.14259636 | 2007.14533295 | 2007.14779692 | 2007.14989188 | 2007.1590232799999 | 2007.16176126 | 2007.1626472200001 | 2007.1671902800001 | 2007.1697378399999 | 2007.17246888 | 2007.17350515 | 2007.1781763500001 | 2007.1809257 | 2007.18366403 | 2007.18640166 | 2007.18909768 | 2007.19168096 | 2007.1927717900001 | 2007.19738839 | 2007.2051351800001 | 2007.2162118199999 | 2007.2182811099999 | 2007.2355657600001 | 2007.2383068700001 | 2007.24085412 | 2007.2436380500001 | 2007.2454520900001 | 2007.2491807399999 | 2007.2574719199999 | 2007.26020651 | 2007.2629154000001 | 2007.2649875100001 | 2007.26840023 | 2007.2736851300001 | 2007.28211255 | 2007.2848483400001 | 2007.2857918499999 | 2007.2928484700001 | 2007.2957970499999 | 2007.29853899 | 2007.3012703100001 | 2007.30401542 | 2007.30649973 | 2007.3075481000001 | 2007.3113050100001 | 2007.31496685 | 2007.3173935299999 | 2007.3204425599999 | 2007.3231741300001 | 2007.3259002 | 2007.3339321399999 | 2007.3368646500001 | 2007.3395794 | 2007.34222105 | 2007.3450831499999 | 2007.34606637 | 2007.3504622999999 | 2007.3532968 | 2007.3560323300001 | 2007.3587717400001 | 2007.36057134 | 2002.92901656 | 2002.931781 | 2002.9344221399999 | 2002.94481047 | 2002.9482087700001 | 2002.9509467800001 | 2002.95368222 | 2002.9564190599999 | 2002.9573571200001 | 2002.96461277 | 2002.96736951 | 2002.9692078600001 | 2002.97284949 | 2002.97551591 | 2002.9771390400001 | 2003.0161538899999 | 2003.0221307700001 | 2003.0248669699999 | 2003.0272208599999 | 2003.0303437499999 | 2003.0326267800001 | 2003.03570066 | 2003.0361585200001 | 2003.04129281 | 2003.0440336700001 | 2003.0467711700001 | 2003.0481332899999 | 2003.0600501599999 | 2003.0631737799999 | 2003.06593645 | 2003.0659963999999 | 2003.0791668899999 | 2003.0817896200001 | 2003.08510086 | 2003.0853281899999 | 2003.09873279 | 2003.1015284699999 | 2003.1042660400001 | 2003.1060830399999 | 2003.11795491 | 2003.1197496 | 2003.1260741000001 | 2003.1285001700001 | 2003.1307802599999 | 2003.1356910899999 | 2003.13971021 | 2003.1424135899999 | 2003.14532702 | 2003.14575259 | 2003.1535345499999 | 2003.15615703 | 2003.15901358 | 2003.16175942 | 2003.1644989500001 | 2003.1672241199999 | 2003.1690853600001 | 2003.17258255 | 2003.1754034800001 | 2003.18073729 | 2003.1836639400001 | 2003.1864018799999 | 2003.1885597099999 | 2003.2135545799999 | 2003.2164567299999 | 2003.21925612 | 2003.2217674000001 | 2003.2293980500001 | 2003.2329448099999 | 2003.2356430100001 | 2003.2383242400001 | 2003.24115158 | 2003.24389662 | 2003.2447245999999 | 2003.25056167 | 2003.3134008300001 | 2003.3216188199999 | 2003.3254853000001 | 2003.3285347399999 | 2003.331379 | 2003.3341304800001 | 2003.3368693100001 | 2003.3388795400001 | 2003.3446103000001 | 2003.3478202700001 | 2003.3505580599999 | 2003.3532962300001 | 2003.3560342400001 | 2003.3587607699999 | 2003.3603134299999 | 2003.36698583 | 2003.3697239000001 | 2003.37246052 | 2003.3751922199999 | 2003.37793723 | 2003.37886826 | 2003.3830252 | 2003.38888122 | 2003.3916251200001 | 2003.39431642 | 2003.4039302399999 | 2003.40800891 | 2003.41078872 | 2003.41316244 | 2003.4183855599999 | 2003.42173714 | 2003.42446986 | 2003.42630454 | 2003.4299512600001 | 2003.43039185 | 2003.43529128 | 2003.4409073300001 | 2003.4436390000001 | 2003.4463057099999 | 2003.4491196399999 | 2003.4518591999999 | 2003.45458856 | 2003.4559296299999 | 2003.4586452999999 | 2003.4628105700001 | 2003.4655475100001 | 2003.4673474900001 | 2003.47101516 | 2003.47375691 | 2003.47518728 | 2003.4819753700001 | 2003.48471341 | 2003.4874151399999 | 2003.48946789 | 2003.4926918399999 | 2003.4956584199999 | 2003.4984013400001 | 2003.5011170099999 | 2003.50256182 | 2003.51723062 | 2003.5194188400001 | 2003.52303882 | 2003.52577851 | 2003.52850876 | 2003.5293264100001 | 2003.53946954 | 2003.5421996 | 2003.54494518 | 2003.54768328 | 2003.55039661 | 2003.5513122 | 2003.55586322 | 2003.55863561 | 2003.5613732700001 | 2003.56411131 | 2003.5668487099999 | 2003.5695746199999 | 2003.57642932 | 2003.5805341299999 | 2003.58327614 | 2003.5860134500001 | 2003.5887487 | 2003.5896984599999 | 2003.5942270999999 | 2003.59695687 | 2003.59970305 | 2003.6024411200001 | 2003.60506407 | 2003.60597422 | 2007.4929999999999 | 2007.4960000000001 | 2007.498 | 2007.499 | 2007.502 | 2007.508 | 2007.51 | 2007.5129999999999 | 2007.5160000000001 | 2007.519 | 2007.521 | 2007.5239999999999 | 2007.527 | 2007.539 | 2007.5409999999999 | 2007.5429999999999 | 2007.546 | 2007.549 | 2007.5519999999999 | 2007.5550000000001 | 2007.557 | 2007.56 | 2007.5619999999999 | 2007.566 | 2007.568 | 2007.5709999999999 | 2007.5730000000001 | 2007.576 | 2007.586 | 2007.588 | 2007.5909999999999 | 2007.5930000000001 | 2007.595 | 2007.598 | 2007.605 | 2007.606 | 2007.6089999999999 | 2007.6120000000001 | 2007.614 | 2007.617 | 2007.625 | 2007.626 | 2007.6289999999999 | 2007.6310000000001 | 2007.634 | 2007.6369999999999 | 2007.6389999999999 | 2007.643 | 2007.645 | 2007.6469999999999 | 2007.65 | 2007.654 | 2007.6559999999999 | 2007.66 | 2007.6610000000001 | 2007.6659999999999 | 2007.6669999999999 | 2007.6690000000001 | 2007.6759999999999 | 2007.682 | 2007.6849999999999 | 2007.6859999999999 | 2007.6880000000001 | 2007.692 | 2007.6949999999999 | 2007.702 | 2007.7059999999999 | 2007.7080000000001 | 2007.71 | 2007.713 | 2007.7159999999999 | 2007.721 | 2007.7239999999999 | 2007.7270000000001 | 2007.73 | 2007.732 | 2007.7370000000001 | 2007.7380000000001 | 2007.741 | 2007.7660000000001 | 2007.769 | 2007.778 | 2007.78 | 2007.7819999999999 | 2007.7850000000001 | 2007.787 | 2007.79 | 2007.797 | 2007.798 | 2007.8009999999999 | 2007.8040000000001 | 2007.806 | 2007.809 | 2007.816 | 2007.818 | 2007.82 | 2007.8230000000001 | 2007.825 | 2007.829 | 2007.8309999999999 | 2007.835 | 2007.836 | 2007.8389999999999 | 2007.8430000000001 | 2007.845 | 2007.848 | 2007.857 | 2007.8589999999999 | 2007.8610000000001 | 2007.865 | 2007.867 | 2007.874 | 2007.875 | 2007.8779999999999 | 2007.88 | 2007.883 | 2007.886 | 2007.893 | 2007.894 | 2007.8979999999999 | 2007.9 | 2007.902 | 2007.905 | 2007.9079999999999 | 2007.9110000000001 | 2007.913 | 2007.934 | 2007.9349999999999 | 2007.9380000000001 | 2007.941 | 2007.943 | 2007.9490000000001 | 2007.9490000000001 | 2007.952 | 2007.954 | 2007.9570000000001 | 2007.96 | 2007.963 | 2007.9649999999999 | 2007.97 | 2007.971 | 2007.9739999999999 | 2007.9760000000001 | 2007.979 | 2007.982 | 2007.9849999999999 | 2007.9880000000001 | 2007.992 | 2007.9929999999999 | 2007.9970000000001 | 2008.0440000000001 | 2008.0450000000001 | 2008.049 | 2008.0519999999999 | 2008.0530000000001 | 2008.056 | 2008.059 | 2008.0609999999999 | 2008.0650000000001 | 2008.067 | 2008.069 | 2008.0730000000001 | 2008.076 | 2008.078 | 2008.088 | 2008.0889999999999 | 2008.0909999999999 | 2008.0940000000001 | 2008.097 | 2008.107 | 2008.1079999999999 | 2008.1110000000001 | 2008.1130000000001 | 2008.116 | 2008.1189999999999 | 2008.123 | 2008.124 | 2008.127 | 2008.1320000000001 | 2008.1320000000001 | 2008.135 | 2008.1379999999999 | 2008.145 | 2008.146 | 2008.1489999999999 | 2008.152 | 2008.154 | 2008.1610000000001 | 2008.164 | 2008.165 | 2008.1679999999999 | 2008.171 | 2008.174 | 2008.18 | 2008.182 | 2008.184 | 2008.1869999999999 | 2008.192 | 2008.1949999999999 | 2008.2 | 2008.201 | 2008.204 | 2008.2070000000001 | 2008.21 | 2008.212 | 2008.2429999999999 | 2008.252 | 2008.2529999999999 | 2008.2570000000001 | 2008.259 | 2008.261 | 2008.2639999999999 | 2008.2670000000001 | 2008.269 | 2008.2760000000001 | 2008.278 | 2008.28 | 2008.2829999999999 | 2008.2860000000001 | 2008.288 | 2008.298 | 2008.299 | 2008.3030000000001 | 2008.3050000000001 | 2008.308 | 2008.31 | 2008.3140000000001 | 2008.316 | 2008.319 | 2008.3209999999999 | 2008.3240000000001 | 2008.327 | 2008.3340000000001 | 2008.335 | 2008.3389999999999 | 2008.3409999999999 | 2008.3430000000001 | 2008.346 | 2008.3489999999999 | 2008.3530000000001 | 2008.356 | 2008.3579999999999 | 2008.36 | 2008.3620000000001 | 2008.365 | 2008.375 | 2008.376 | 2008.3789999999999 | 2008.3820000000001 | 2008.384 | 2008.393 | 2008.3969999999999 | 2008.4110000000001 | 2008.443 | 2008.4490000000001 | 2008.4649999999999 | 2008.4739999999999 | 2008.4749999999999 | 2008.4780000000001 | 2008.48 | 2008.4829999999999 | 2008.4880000000001 | 2008.4880000000001 | 2008.491 | 2008.4939999999999 | 2008.4970000000001 | 2008.499 | 2008.509 | 2008.5119999999999 | 2008.5129999999999 | 2008.5160000000001 | 2008.52 | 2008.521 | 2008.5250000000001 | 2008.527 | 2008.53 | 2008.5450000000001 | 2008.546 | 2008.549 | 2008.5519999999999 | 2008.5540000000001 | 2008.557 | 2008.56 | 2008.5630000000001 | 2008.5650000000001 | 2008.568 | 2008.5709999999999 | 2008.5730000000001 | 2008.576 | 2008.579 | 2008.5830000000001 | 2008.5889999999999 | 2008.59 | 2008.5930000000001 | 2008.595 | 2008.598 | 2008.6020000000001 | 2008.604 | 2008.606 | 2008.626 | 2008.6410000000001 | 2008.6420000000001 | 2008.645 | 2008.6469999999999 | 2008.6510000000001 | 2008.653 | 2008.66 | 2008.662 | 2008.664 | 2008.6669999999999 | 2008.6690000000001 | 2008.672 | 2008.6790000000001 | 2008.68 | 2008.683 | 2008.6859999999999 | 2008.6880000000001 | 2008.691 | 2008.741 | 2008.8 | 2008.8009999999999 | 2008.807 | 2008.809 | 2008.8119999999999 | 2008.8140000000001 | 2008.817 | 2008.82 | 2008.8230000000001 | 2008.825 | 2008.836 | 2008.836 | 2008.8389999999999 | 2008.8420000000001 | 2008.845 | 2008.847 | 2008.8510000000001 | 2008.8530000000001 | 2008.856 | 2008.8589999999999 | 2008.8620000000001 | 2008.8710000000001 | 2008.8720000000001 | 2008.875 | 2008.8779999999999 | 2008.88 | 2008.883 | 2008.89 | 2008.8910000000001 | 2008.894 | 2008.8969999999999 | 2008.9 | 2008.902 | 2008.912 | 2008.913 | 2008.9159999999999 | 2008.9190000000001 | 2008.922 | 2008.924 | 2008.9269999999999 | 2008.93 | 2008.9480000000001 | 2008.9490000000001 | 2008.952 | 2008.954 | 2008.9570000000001 | 2008.96 | 2008.963 | 2008.9670000000001 | 2008.9680000000001 | 2008.971 | 2008.9739999999999 | 2008.979 | 2008.979 | 2008.989 | 2008.991 | 2008.9939999999999 | 2008.9960000000001 | 2008.998 | 2009.001 | 2009.0039999999999 | 2009.0630000000001 | 2009.0640000000001 | 2009.067 | 2009.069 | 2009.0719999999999 | 2009.075 | 2009.085 | 2009.086 | 2009.0889999999999 | 2009.0909999999999 | 2009.0940000000001 | 2009.097 | 2009.1010000000001 | 2009.1030000000001 | 2009.105 | 2009.1079999999999 | 2009.1110000000001 | 2009.1130000000001 | 2009.117 | 2009.12 | 2009.1210000000001 | 2009.125 | 2009.127 | 2009.13 | 2009.133 | 2009.135 | 2009.1420000000001 | 2009.143 | 2009.146 | 2009.1489999999999 | 2009.152 | 2009.1610000000001 | 2009.163 | 2009.165 | 2009.1690000000001 | 2009.171 | 2009.1780000000001 | 2009.1790000000001 | 2009.182 | 2009.184 | 2009.1880000000001 | 2009.19 | 2009.2239999999999 | 2009.2280000000001 | 2009.2349999999999 | 2009.2380000000001 | 2009.24 | 2009.242 | 2009.2460000000001 | 2009.2470000000001 | 2009.25 | 2009.2539999999999 | 2009.2570000000001 | 2009.258 | 2009.261 | 2009.2739999999999 | 2009.2750000000001 | 2009.278 | 2009.28 | 2009.2829999999999 | 2009.287 | 2009.2929999999999 | 2009.2950000000001 | 2009.297 | 2009.299 | 2009.3019999999999 | 2009.307 | 2009.308 | 2009.3150000000001 | 2009.317 | 2009.32 | 2009.3209999999999 | 2009.3240000000001 | 2009.327 | 2009.3309999999999 | 2009.3320000000001 | 2009.335 | 2009.338 | 2009.3420000000001 | 2009.3510000000001 | 2009.3530000000001 | 2009.357 | 2009.36 | 2009.3630000000001 | 2009.365 | 2009.37 | 2009.3720000000001 | 2009.373 | 2009.376 | 2009.38 | 2009.3820000000001 | 2009.384 | 2009.3920000000001 | 2009.394 | 2009.395 | 2009.3979999999999 | 2009.402 | 2009.404 | 2009.4079999999999 | 2009.4090000000001 | 2009.413 | 2009.4159999999999 | 2009.4179999999999 | 2009.4290000000001 | 2009.431 | 2009.434 | 2009.4359999999999 | 2009.441 | 2009.4469999999999 | 2009.4480000000001 | 2009.451 | 2009.454 | 2009.4559999999999 | 2009.4580000000001 | 2009.47 | 2009.473 | 2009.4749999999999 | 2009.4780000000001 | 2009.4849999999999 | 2009.4860000000001 | 2009.489 | 2009.491 | 2009.4939999999999 | 2009.4970000000001 | 2009.5039999999999 | 2009.5050000000001 | 2009.508 | 2009.511 | 2009.5129999999999 | 2009.5160000000001 | 2009.519 | 2009.5229999999999 | 2009.5239999999999 | 2009.527 | 2009.539 | 2009.5419999999999 | 2009.547 | 2009.55 | 2009.5519999999999 | 2009.5550000000001 | 2009.557 | 2009.5609999999999 | 2009.5619999999999 | 2009.567 | 2009.569 | 2009.5730000000001 | 2009.578 | 2009.5830000000001 | 2009.5840000000001 | 2009.587 | 2009.59 | 2009.5940000000001 | 2009.595 | 2009.6 | 2009.6010000000001 | 2009.604 | 2009.607 | 2009.6089999999999 | 2009.6220000000001 | 2009.624 | 2009.6559999999999 | 2009.6579999999999 | 2009.6610000000001 | 2009.664 | 2009.6669999999999 | 2009.6690000000001 | 2009.672 | 2009.6759999999999 | 2009.6780000000001 | 2009.68 | 2009.683 | 2009.6859999999999 | 2009.6890000000001 | 2009.691 | 2009.694 | 2009.704 | 2009.7639999999999 | 2009.768 | 2009.771 | 2009.779 | 2009.788 | 2009.79 | 2009.7929999999999 | 2009.796 | 2009.798 | 2009.8009999999999 | 2009.806 | 2009.806 | 2009.8109999999999 | 2009.8130000000001 | 2009.8140000000001 | 2009.817 | 2009.82 | 2009.8240000000001 | 2009.827 | 2009.83 | 2009.8320000000001 | 2009.8340000000001 | 2009.836 | 2009.8389999999999 | 2009.8440000000001 | 2009.845 | 2009.8489999999999 | 2009.85 | 2009.8530000000001 | 2009.856 | 2009.8589999999999 | 2009.8710000000001 | 2009.8720000000001 | 2009.876 | 2009.8789999999999 | 2009.8820000000001 | 2009.883 | 2009.8879999999999 | 2009.89 | 2009.8910000000001 | 2009.894 | 2009.8969999999999 | 2009.912 | 2009.914 | 2009.9169999999999 | 2009.92 | 2009.921 | 2009.924 | 2009.9269999999999 | 2009.9449999999999 | 2009.9459999999999 | 2009.95 | 2009.952 | 2009.9580000000001 | 2009.9690000000001 | 2009.971 | 2009.9760000000001 | 2009.9829999999999 | 2009.9860000000001 | 2009.9870000000001 | 2009.99 | 2009.9929999999999 | 2009.9949999999999 | 2009.998 | 2010.001 | 2010.0409999999999 | 2010.046 | 2010.0509999999999 | 2010.0540000000001 | 2010.058 | 2010.06 | 2010.0609999999999 | 2010.0650000000001 | 2010.068 | 2010.07 | 2010.0719999999999 | 2010.08 | 2010.085 | 2010.086 | 2010.09 | 2010.0930000000001 | 2010.095 | 2010.098 | 2010.1 | 2010.1020000000001 | 2010.106 | 2010.1089999999999 | 2010.1110000000001 | 2010.115 | 2010.12 | 2010.1220000000001 | 2010.124 | 2010.1310000000001 | 2010.134 | 2010.136 | 2010.1389999999999 | 2010.1420000000001 | 2010.143 | 2010.146 | 2010.1610000000001 | 2010.1659999999999 | 2010.1690000000001 | 2010.175 | 2010.1769999999999 | 2010.1790000000001 | 2010.183 | 2010.184 | 2010.1969999999999 | 2010.1990000000001 | 2010.201 | 2010.2059999999999 | 2010.2059999999999 | 2010.213 | 2010.2149999999999 | 2010.2170000000001 | 2010.22 | 2010.223 | 2010.2729999999999 | 2010.2760000000001 | 2010.278 | 2010.28 | 2010.2840000000001 | 2010.29 | 2010.2919999999999 | 2010.2940000000001 | 2010.297 | 2010.299 | 2010.3019999999999 | 2010.3109999999999 | 2010.3130000000001 | 2010.317 | 2010.32 | 2010.3219999999999 | 2010.325 | 2010.327 | 2010.33 | 2010.3320000000001 | 2010.335 | 2010.338 | 2010.3420000000001 | 2010.35 | 2010.3520000000001 | 2010.355 | 2010.357 | 2010.36 | 2010.366 | 2010.3689999999999 | 2010.3720000000001 | 2010.374 | 2010.376 | 2010.3910000000001 | 2010.394 | 2010.396 | 2010.3979999999999 | 2010.405 | 2010.4069999999999 | 2010.4090000000001 | 2010.413 | 2010.414 | 2010.4179999999999 | 2010.421 | 2010.4269999999999 | 2010.4290000000001 | 2010.431 | 2010.4359999999999 | 2010.4359999999999 | 2010.46 | 2010.4690000000001 | 2010.4690000000001 | 2010.473 | 2010.4749999999999 | 2010.479 | 2010.481 | 2010.4839999999999 | 2010.4860000000001 | 2010.4880000000001 | 2010.491 | 2010.4949999999999 | 2010.5039999999999 | 2010.5050000000001 | 2010.508 | 2010.511 | 2010.5129999999999 | 2010.5160000000001 | 2010.52 | 2010.521 | 2010.5239999999999 | 2010.527 | 2010.5450000000001 | 2010.548 | 2010.55 | 2010.5530000000001 | 2010.5609999999999 | 2010.5630000000001 | 2010.5650000000001 | 2010.568 | 2010.5809999999999 | 2010.5820000000001 | 2010.585 | 2010.59 | 2010.596 | 2010.598 | 2010.6010000000001 | 2010.605 | 2010.607 | 2010.6089999999999 | 2010.6130000000001 | 2010.644 | 2010.6590000000001 | 2010.6610000000001 | 2010.665 | 2010.6669999999999 | 2010.673 | 2010.6759999999999 | 2010.6780000000001 | 2010.68 | 2010.684 | 2010.6869999999999 | 2010.6949999999999 | 2010.6980000000001 | 2010.7070000000001 | 2010.7139999999999 | 2010.722 | 2010.7239999999999 | 2010.7270000000001 | 2010.73 | 2010.7339999999999 | 2010.742 | 2010.7470000000001 | 2010.75 | 2010.751 | 2010.7560000000001 | 2010.758 | 2010.76 | 2010.7660000000001 | 2010.769 | 2010.7719999999999 | 2010.7729999999999 | 2010.7760000000001 | 2010.78 | 2010.7819999999999 | 2010.7840000000001 | 2010.788 | 2010.7909999999999 | 2010.7929999999999 | 2010.797 | 2010.798 | 2010.8030000000001 | 2010.8050000000001 | 2010.806 | 2010.817 | 2010.817 | 2010.82 | 2010.8230000000001 | 2010.827 | 2010.828 | 2010.8309999999999 | 2010.8869999999999 | 2010.8889999999999 | 2010.8910000000001 | 2010.894 | 2010.8979999999999 | 2010.9 | 2010.904 | 2010.9059999999999 | 2010.9079999999999 | 2010.9110000000001 | 2010.913 | 2010.9169999999999 | 2010.9190000000001 | 2010.921 | 2010.924 | 2010.9449999999999 | 2010.9459999999999 | 2010.95 | 2010.953 | 2010.954 | 2010.961 | 2010.963 | 2010.9649999999999 | 2010.9680000000001 | 2010.972 | 2010.9839999999999 | 2010.9849999999999 | 2010.9870000000001 | 2010.99 | 2010.9939999999999 | 2010.9970000000001 | 2010.998 | 2011.0440000000001 | 2011.0450000000001 | 2011.047 | 2011.05 | 2011.0530000000001 | 2011.056 | 2011.058 | 2011.0609999999999 | 2011.0640000000001 | 2011.067 | 2011.069 | 2011.079 | 2011.08 | 2011.0830000000001 | 2011.087 | 2011.0889999999999 | 2011.1010000000001 | 2011.1020000000001 | 2011.105 | 2011.1089999999999 | 2011.1110000000001 | 2011.115 | 2011.116 | 2011.12 | 2011.1210000000001 | 2011.124 | 2011.127 | 2011.135 | 2011.135 | 2011.1379999999999 | 2011.1420000000001 | 2011.143 | 2011.146 | 2011.15 | 2011.1559999999999 | 2011.1569999999999 | 2011.16 | 2011.163 | 2011.1659999999999 | 2011.1780000000001 | 2011.18 | 2011.182 | 2011.184 | 2011.192 | 2011.193 | 2011.1959999999999 | 2011.1980000000001 | 2011.202 | 2011.251 | 2011.2539999999999 | 2011.2560000000001 | 2011.2619999999999 | 2011.2639999999999 | 2011.268 | 2011.27 | 2011.2719999999999 | 2011.2760000000001 | 2011.279 | 2011.2809999999999 | 2011.29 | 2011.2909999999999 | 2011.2940000000001 | 2011.297 | 2011.299 | 2011.3019999999999 | 2011.306 | 2011.308 | 2011.31 | 2011.3130000000001 | 2011.316 | 2011.319 | 2011.3209999999999 | 2011.325 | 2011.329 | 2011.33 | 2011.3320000000001 | 2011.335 | 2011.338 | 2011.3440000000001 | 2011.348 | 2011.3489999999999 | 2011.3520000000001 | 2011.354 | 2011.3589999999999 | 2011.3610000000001 | 2011.364 | 2011.367 | 2011.3679999999999 | 2011.3710000000001 | 2011.374 | 2011.376 | 2011.3810000000001 | 2011.3820000000001 | 2011.384 | 2011.3869999999999 | 2011.39 | 2011.393 | 2011.395 | 2011.3979999999999 | 2011.4059999999999 | 2011.4069999999999 | 2011.4090000000001 | 2011.412 | 2011.414 | 2011.4179999999999 | 2011.42 | 2011.424 | 2011.425 | 2011.4280000000001 | 2011.431 | 2011.434 | 2011.443 | 2011.4449999999999 | 2011.4469999999999 | 2011.45 | 2011.453 | 2011.4570000000001 | 2011.4580000000001 | 2011.461 | 2011.4639999999999 | 2011.4670000000001 | 2011.4690000000001 | 2011.472 | 2011.4749999999999 | 2011.6410000000001 | 2011.646 | 2011.6469999999999 | 2011.6569999999999 | 2011.66 | 2011.6610000000001 | 2011.6679999999999 | 2011.67 | 2011.672 | 2011.675 | 2011.6780000000001 | 2011.68 | 2011.683 | 2011.693 | 2011.694 | 2011.6969999999999 | 2011.6990000000001 | 2011.702 | 2011.712 | 2011.713 | 2011.7159999999999 | 2011.7190000000001 | 2011.721 | 2011.7239999999999 | 2011.731 | 2011.732 | 2011.7349999999999 | 2011.7380000000001 | 2011.741 | 2011.7429999999999 | 2011.7460000000001 | 2011.749 | 2011.751 | 2011.7539999999999 | 2011.7570000000001 | 2011.76 | 2011.7619999999999 | 2011.7650000000001 | 2011.768 | 2011.771 | 2011.7750000000001 | 2011.7760000000001 | 2011.779 | 2011.788 | 2011.79 | 2011.7929999999999 | 2011.7950000000001 | 2011.799 | 2011.8040000000001 | 2011.806 | 2011.809 | 2011.8119999999999 | 2011.8150000000001 | 2011.817 | 2011.82 | 2011.8330000000001 | 2011.8340000000001 | 2011.836 | 2011.8389999999999 | 2011.8430000000001 | 2011.845 | 2011.847 | 2011.8510000000001 | 2011.8530000000001 | 2011.8579999999999 | 2011.8630000000001 | 2011.866 | 2011.867 | 2011.8689999999999 | 2011.8720000000001 | 2011.875 | 2011.8789999999999 | 2011.88 | 2011.884 | 2011.886 | 2011.8889999999999 | 2011.893 | 2011.895 | 2011.905 | 2011.9069999999999 | 2011.9079999999999 | 2011.9110000000001 | 2011.914 | 2011.9169999999999 | 2011.9190000000001 | 2011.922 | 2011.942 | 2011.944 | 2011.9459999999999 | 2011.9490000000001 | 2011.952 | 2011.954 | 2011.9580000000001 | 2011.96 | 2011.963 | 2011.9649999999999 | 2011.9690000000001 | 2011.971 | 2011.981 | 2011.9829999999999 | 2011.9839999999999 | 2011.9870000000001 | 2011.99 | 2011.9929999999999 | 2011.9960000000001 | 2011.998 | 2012.153 | 2012.154 | 2012.1579999999999 | 2012.16 | 2012.163 | 2012.172 | 2012.174 | 2012.1759999999999 | 2012.1790000000001 | 2012.182 | 2012.191 | 2012.193 | 2012.1949999999999 | 2012.1980000000001 | 2012.201 | 2012.2080000000001 | 2012.2090000000001 | 2012.212 | 2012.2149999999999 | 2012.2170000000001 | 2012.22 | 2012.268 | 2012.27 | 2012.2719999999999 | 2012.2750000000001 | 2012.278 | 2012.28 | 2012.2840000000001 | 2012.287 | 2012.288 | 2012.2909999999999 | 2012.2940000000001 | 2012.297 | 2012.306 | 2012.308 | 2012.31 | 2012.3130000000001 | 2012.32 | 2012.3209999999999 | 2012.3240000000001 | 2012.327 | 2012.3309999999999 | 2012.3320000000001 | 2012.335 | 2012.347 | 2012.3489999999999 | 2012.3510000000001 | 2012.354 | 2012.3579999999999 | 2012.3620000000001 | 2012.3630000000001 | 2012.365 | 2012.3689999999999 | 2012.3710000000001 | 2012.373 | 2012.383 | 2012.384 | 2012.3869999999999 | 2012.39 | 2012.394 | 2012.395 | 2012.4010000000001 | 2012.4010000000001 | 2012.404 | 2012.4059999999999 | 2012.4090000000001 | 2012.412 | 2012.414 | 2012.42 | 2012.42 | 2012.423 | 2012.4259999999999 | 2012.4290000000001 | 2012.431 | 2012.4349999999999 | 2012.443 | 2012.4459999999999 | 2012.4469999999999 | 2012.45 | 2012.453 | 2012.4580000000001 | 2012.461 | 2012.4649999999999 | 2012.4670000000001 | 2012.4690000000001 | 2012.4760000000001 | 2012.4780000000001 | 2012.48 | 2012.4829999999999 | 2012.4860000000001 | 2012.489 | 2012.491 | 2012.4960000000001 | 2012.5029999999999 | 2012.5050000000001 | 2012.508 | 2012.511 | 2012.5129999999999 | 2012.5170000000001 | 2012.52 | 2012.521 | 2012.5239999999999 | 2012.527 | 2012.53 | 2012.5419999999999 | 2012.5440000000001 | 2012.546 | 2012.549 | 2012.5509999999999 | 2012.5540000000001 | 2012.558 | 2012.56 | 2012.5630000000001 | 2012.5740000000001 | 2012.576 | 2012.58 | 2012.5840000000001 | 2012.585 | 2012.5889999999999 | 2012.5909999999999 | 2012.5930000000001 | 2012.595 | 2012.598 | 2012.6010000000001 | 2012.604 | 2012.614 | 2012.615 | 2012.617 | 2012.6210000000001 | 2012.627 | 2012.6279999999999 | 2012.6310000000001 | 2012.634 | 2012.636 | 2012.6389999999999 | 2012.6420000000001 | 2012.645 | 2012.654 | 2012.6559999999999 | 2012.674 | 2012.675 | 2012.6780000000001 | 2012.681 | 2012.6890000000001 | 2012.693 | 2012.694 | 2012.6969999999999 | 2012.6990000000001 | 2012.704 | 2012.7049999999999 | 2012.7090000000001 | 2012.71 | 2012.713 | 2012.7159999999999 | 2012.721 | 2012.7280000000001 | 2012.73 | 2012.732 | 2012.7349999999999 | 2012.7380000000001 | 2012.742 | 2012.7429999999999 | 2012.7460000000001 | 2012.749 | 2012.752 | 2012.7539999999999 | 2012.758 | 2012.769 | 2012.771 | 2012.7729999999999 | 2012.7760000000001 | 2012.779 | 2012.7829999999999 | 2012.7840000000001 | 2012.787 | 2012.79 | 2012.7929999999999 | 2012.7950000000001 | 2012.8050000000001 | 2012.806 | 2012.809 | 2012.8119999999999 | 2012.8150000000001 | 2012.817 | 2012.8209999999999 | 2012.8230000000001 | 2012.825 | 2012.828 | 2012.8309999999999 | 2012.8340000000001 | 2012.846 | 2012.847 | 2012.85 | 2012.8530000000001 | 2012.856 | 2012.8589999999999 | 2012.8610000000001 | 2012.864 | 2012.867 | 2012.87 | 2012.8720000000001 | 2012.8820000000001 | 2012.884 | 2012.886 | 2012.8889999999999 | 2012.8910000000001 | 2012.895 | 2012.8969999999999 | 2012.9 | 2012.903 | 2012.9059999999999 | 2012.9079999999999 | 2012.9110000000001 | 2012.913 | 2012.9169999999999 | 2012.92 | 2012.934 | 2012.941 | 2012.941 | 2012.943 | 2012.9459999999999 | 2012.9490000000001 | 2012.953 | 2012.954 | 2012.9570000000001 | 2012.96 | 2012.963 | 2012.9649999999999 | 2012.9680000000001 | 2012.98 | 2012.982 | 2012.9839999999999 | 2012.9870000000001 | 2012.991 | 2012.9929999999999 | 2012.9960000000001 | 2012.998 | 2013.001 | 2013.04 | 2013.0419999999999 | 2013.0450000000001 | 2013.047 | 2013.0519999999999 | 2013.0530000000001 | 2013.056 | 2013.058 | 2013.0609999999999 | 2013.0640000000001 | 2013.068 | 2013.069 | 2013.0719999999999 | 2013.075 | 2013.078 | 2013.08 | 2013.0830000000001 | 2013.09 | 2013.098 | 2013.1 | 2013.1030000000001 | 2013.105 | 2013.1079999999999 | 2013.1110000000001 | 2013.1130000000001 | 2013.116 | 2013.1189999999999 | 2013.1210000000001 | 2013.191 | 2013.2629999999999 | 2013.2639999999999 | 2013.268 | 2013.269 | 2013.2719999999999 | 2013.2750000000001 | 2013.278 | 2013.28 | 2013.2829999999999 | 2013.2860000000001 | 2013.3040000000001 | 2013.3050000000001 | 2013.308 | 2013.3109999999999 | 2013.3130000000001 | 2013.316 | 2013.326 | 2013.328 | 2013.33 | 2013.3320000000001 | 2013.336 | 2013.34 | 2013.3409999999999 | 2013.3430000000001 | 2013.346 | 2013.3489999999999 | 2013.3520000000001 | 2013.354 | 2013.3579999999999 | 2013.36 | 2013.3620000000001 | 2013.365 | 2013.3679999999999 | 2013.3720000000001 | 2013.385 | 2013.3869999999999 | 2013.3910000000001 | 2013.393 | 2013.3969999999999 | 2013.3989999999999 | 2013.4010000000001 | 2013.405 | 2013.4059999999999 | 2013.4570000000001 | 2013.4580000000001 | 2013.461 | 2013.4639999999999 | 2013.4670000000001 | 2013.4690000000001 | 2013.473 | 2013.4749999999999 | 2013.4780000000001 | 2013.48 | 2013.4829999999999 | 2013.4860000000001 | 2013.4880000000001 | 2013.498 | 2013.499 | 2013.502 | 2013.5050000000001 | 2013.508 | 2013.5119999999999 | 2013.5139999999999 | 2013.5160000000001 | 2013.519 | 2013.521 | 2013.5239999999999 | 2013.528 | 2013.53 | 2013.5329999999999 | 2013.5440000000001 | 2013.55 | 2013.5509999999999 | 2013.5550000000001 | 2013.557 | 2013.5609999999999 | 2013.5640000000001 | 2013.5719999999999 | 2013.5740000000001 | 2013.577 | 2013.58 | 2013.5820000000001 | 2013.5840000000001 | 2013.588 | 2013.59 | 2013.5940000000001 | 2013.595 | 2013.5989999999999 | 2013.6010000000001 | 2013.61 | 2013.6130000000001 | 2013.616 | 2013.617 | 2013.624 | 2013.626 | 2013.6279999999999 | 2013.6310000000001 | 2013.634 | 2013.636 | 2013.6389999999999 | 2013.6479999999999 | 2013.65 | 2013.653 | 2013.6559999999999 | 2013.6590000000001 | 2013.663 | 2013.664 | 2013.6669999999999 | 2013.6690000000001 | 2013.672 | 2013.675 | 2013.6780000000001 | 2013.68 | 2013.6849999999999 | 2013.6869999999999 | 2013.69 | 2013.692 | 2013.6959999999999 | 2013.6969999999999 | 2013.7249999999999 | 2013.7270000000001 | 2013.73 | 2013.732 | 2013.7349999999999 | 2013.742 | 2013.7429999999999 | 2013.7460000000001 | 2013.75 | 2013.751 | 2013.7539999999999 | 2013.7570000000001 | 2013.761 | 2013.7619999999999 | 2013.7650000000001 | 2013.768 | 2013.7719999999999 | 2013.7739999999999 | 2013.777 | 2013.7860000000001 | 2013.788 | 2013.7909999999999 | 2013.7940000000001 | 2013.8030000000001 | 2013.8050000000001 | 2013.81 | 2013.818 | 2013.8209999999999 | 2013.8240000000001 | 2013.825 | 2013.828 | 2013.8309999999999 | 2013.8430000000001 | 2013.845 | 2013.848 | 2013.857 | 2013.8579999999999 | 2013.865 | 2013.8679999999999 | 2013.87 | 2013.8789999999999 | 2013.8820000000001 | 2013.884 | 2013.8869999999999 | 2013.8889999999999 | 2013.896 | 2013.8969999999999 | 2013.9010000000001 | 2013.9090000000001 | 2013.92 | 2013.925 | 2013.9280000000001 | 2013.93 | 2013.933 | 2013.9349999999999 | 2013.961 | 2013.963 | 2013.972 | 2013.9780000000001 | 2013.979 | 2013.982 | 2013.9839999999999 | 2013.9880000000001 | 2013.9939999999999 | 2013.9949999999999 | 2013.999 | 2014.001 | 2014.0039999999999 | 2014.049 | 2014.0540000000001 | 2014.057 | 2014.0630000000001 | 2014.0640000000001 | 2014.0709999999999 | 2014.0719999999999 | 2014.077 | 2014.078 | 2014.0809999999999 | 2014.096 | 2014.098 | 2014.1 | 2014.1020000000001 | 2014.1089999999999 | 2014.1110000000001 | 2014.1130000000001 | 2014.116 | 2014.1189999999999 | 2014.1289999999999 | 2014.1310000000001 | 2014.133 | 2014.136 | 2014.1389999999999 | 2014.145 | 2014.1479999999999 | 2014.15 | 2014.152 | 2014.1559999999999 | 2014.1569999999999 | 2014.172 | 2014.1780000000001 | 2014.1790000000001 | 2014.184 | 2014.1849999999999 | 2014.1869999999999 | 2014.191 | 2014.193 | 2014.1949999999999 | 2014.2 | 2014.222 | 2014.241 | 2014.2439999999999 | 2014.2460000000001 | 2014.2470000000001 | 2014.25 | 2014.2529999999999 | 2014.2560000000001 | 2014.26 | 2014.261 | 2014.2639999999999 | 2014.268 | 2014.269 | 2014.2819999999999 | 2014.2840000000001 | 2014.2860000000001 | 2014.29 | 2014.2909999999999 | 2014.2940000000001 | 2014.298 | 2014.3009999999999 | 2014.3019999999999 | 2014.3050000000001 | 2014.308 | 2014.3119999999999 | 2014.3209999999999 | 2014.3209999999999 | 2014.3240000000001 | 2014.327 | 2014.33 | 2014.3530000000001 | 2014.355 | 2014.357 | 2014.36 | 2014.3620000000001 | 2014.365 | 2014.3679999999999 | 2014.556 | 2014.557 | 2014.5609999999999 | 2014.5619999999999 | 2014.569 | 2014.58 | 2014.587 | 2014.588 | 2014.5909999999999 | 2014.5930000000001 | 2014.595 | 2014.598 | 2014.6020000000001 | 2014.604 | 2014.607 | 2014.6089999999999 | 2014.6120000000001 | 2014.615 | 2014.6179999999999 | 2014.6410000000001 | 2014.646 | 2014.66 | 2014.665 | 2014.6669999999999 | 2014.6690000000001 | 2014.673 | 2014.6759999999999 | 2014.6780000000001 | 2014.682 | 2014.683 | 2014.6869999999999 | 2014.6890000000001 | 2014.692 | 2014.694 | 2014.71 | 2014.7139999999999 | 2014.722 | 2014.7249999999999 | 2014.7270000000001 | 2014.731 | 2014.732 | 2014.742 | 2014.7439999999999 | 2014.7460000000001 | 2014.751 | 2014.752 | 2014.7539999999999 | 2014.759 | 2014.761 | 2014.7629999999999 | 2014.7650000000001 | 2014.769 | 2014.7719999999999 | 2014.7850000000001 | 2014.8019999999999 | 2014.806 | 2014.808 | 2014.81 | 2014.8119999999999 | 2014.819 | 2014.8209999999999 | 2014.8230000000001 | 2014.826 | 2014.829 | 2014.854 | 2014.857 | 2014.8589999999999 | 2014.8610000000001 | 2014.866 | 2014.876 | 2014.8779999999999 | 2014.8820000000001 | 2014.884 | 2014.886 | 2014.895 | 2014.8979999999999 | 2014.9010000000001 | 2014.902 | 2014.9059999999999 | 2014.9179999999999 | 2014.9190000000001 | 2014.922 | 2014.924 | 2014.9269999999999 | 2014.931 | 2014.9549999999999 | 2014.9580000000001 | 2014.961 | 2014.9639999999999 | 2014.9649999999999 | 2014.9690000000001 | 2014.972 | 2014.9739999999999 | 2014.9770000000001 | 2014.98 | 2014.982 | 2014.9839999999999 | 2014.991 | 2014.9929999999999 | 2014.9949999999999 | 2014.998 | 2015.001 | 2015.0039999999999 | 2015.066 | 2015.068 | 2015.069 | 2015.0730000000001 | 2015.079 | 2015.0930000000001 | 2015.096 | 2015.098 | 2015.1 | 2015.104 | 2015.105 | 2015.1079999999999 | 2015.1110000000001 | 2015.1130000000001 | 2015.126 | 2015.1279999999999 | 2015.1310000000001 | 2015.134 | 2015.136 | 2015.1379999999999 | 2015.144 | 2015.1469999999999 | 2015.15 | 2015.152 | 2015.155 | 2015.1610000000001 | 2015.1669999999999 | 2015.1690000000001 | 2015.172 | 2015.1769999999999 | 2015.181 | 2015.182 | 2015.184 | 2015.191 | 2015.2049999999999 | 2015.2139999999999 | 2015.2139999999999 | 2015.221 | 2015.223 | 2015.2260000000001 | 2015.2460000000001 | 2015.248 | 2015.251 | 2015.259 | 2015.2619999999999 | 2015.2650000000001 | 2015.268 | 2015.269 | 2015.2950000000001 | 2015.317 | 2015.32 | 2015.3209999999999 | 2015.3240000000001 | 2015.327 | 2015.33 | 2015.336 | 2015.338 | 2015.3409999999999 | 2015.355 | 2015.357 | 2015.3610000000001 | 2015.3620000000001 | 2015.366 | 2015.3820000000001 | 2015.386 | 2015.3869999999999 | 2015.39 | 2015.393 | 2015.396 | 2015.3979999999999 | 2015.402 | 2015.404 | 2015.4159999999999 | 2015.4169999999999 | 2015.421 | 2015.433 | 2015.434 | 2015.4369999999999 | 2015.4390000000001 | 2015.443 | 2015.451 | 2015.453 | 2015.4570000000001 | 2015.4590000000001 | 2015.462 | 2015.4680000000001 | 2015.47 | 2015.472 | 2015.4749999999999 | 2015.4780000000001 | 2015.48 | 2015.4929999999999 | 2015.4949999999999 | 2015.498 | 2015.502 | 2015.502 | 2015.5060000000001 | 2015.509 | 2015.511 | 2015.5139999999999 | 2015.5229999999999 | 2015.5239999999999 | 2015.527 | 2015.5309999999999 | 2015.55 | 2015.5509999999999 | 2015.5550000000001 | 2015.559 | 2015.56 | 2015.5640000000001 | 2015.566 | 2015.569 | 2015.5709999999999 | 2015.5740000000001 | 2015.578 | 2015.586 | 2015.588 | 2015.5909999999999 | 2015.5940000000001 | 2015.596 | 2015.6020000000001 | 2015.605 | 2015.6079999999999 | 2015.61 | 2015.6120000000001 | 2015.616 | 2015.627 | 2015.6289999999999 | 2015.635 | 2015.6369999999999 | 2015.643 | 2015.6469999999999 | 2015.655 | 2015.6569999999999 | 2015.663 | 2015.664 | 2015.6679999999999 | 2015.67 | 2015.673 | 2015.6790000000001 | 2015.681 | 2015.683 | 2015.6869999999999 | 2015.6890000000001 | 2015.691 | 2015.6959999999999 | 2015.701 | 2015.703 | 2015.7059999999999 | 2015.7080000000001 | 2015.711 | 2015.721 | 2015.722 | 2015.7239999999999 | 2015.729 | 2015.73 | 2015.732 | 2015.7380000000001 | 2015.7380000000001 | 2015.741 | 2015.7439999999999 | 2015.7470000000001 | 2015.75 | 2015.7550000000001 | 2015.758 | 2015.761 | 2015.7629999999999 | 2015.7650000000001 | 2015.769 | 2015.771 | 2015.78 | 2015.7829999999999 | 2015.7840000000001 | 2015.787 | 2015.799 | 2015.8009999999999 | 2015.8040000000001 | 2015.807 | 2015.8140000000001 | 2015.816 | 2015.8230000000001 | 2015.8230000000001 | 2015.825 | 2015.829 | 2015.8330000000001 | 2015.835 | 2015.836 | 2015.8389999999999 | 2015.8420000000001 | 2015.845 | 2015.847 | 2016.0630000000001 | 2016.0650000000001 | 2016.068 | 2016.069 | 2016.0719999999999 | 2016.076 | 2016.088 | 2016.0889999999999 | 2016.0909999999999 | 2016.095 | 2016.1010000000001 | 2016.1020000000001 | 2016.106 | 2016.1079999999999 | 2016.1120000000001 | 2016.1130000000001 | 2016.123 | 2016.125 | 2016.1279999999999 | 2016.13 | 2016.134 | 2016.1420000000001 | 2016.1469999999999 | 2016.1659999999999 | 2016.17 | 2016.172 | 2016.18 | 2016.182 | 2016.1859999999999 | 2016.1869999999999 | 2016.2 | 2016.202 | 2016.2049999999999 | 2016.2080000000001 | 2016.213 | 2016.2159999999999 | 2016.2190000000001 | 2016.221 | 2016.2239999999999 | 2016.2270000000001 | 2016.231 | 2016.2560000000001 | 2016.2619999999999 | 2016.2739999999999 | 2016.277 | 2016.278 | 2016.28 | 2016.2840000000001 | 2016.2860000000001 | 2016.289 | 2016.2929999999999 | 2016.2950000000001 | 2016.298 | 2016.299 | 2016.3030000000001 | 2016.3050000000001 | 2016.309 | 2016.3119999999999 | 2016.3309999999999 | 2016.3320000000001 | 2016.335 | 2016.338 | 2016.347 | 2016.35 | 2016.3520000000001 | 2016.356 | 2016.357 | 2016.3610000000001 | 2016.364 | 2016.365 | 2016.37 | 2016.3710000000001 | 2016.375 | 2016.377 | 2016.3789999999999 | 2016.3820000000001 | 2016.386 | 2016.3869999999999 | 2016.3920000000001 | 2016.393 | 2016.395 | 2016.403 | 2016.404 | 2016.4079999999999 | 2016.4090000000001 | 2016.412 | 2016.4159999999999 | 2016.4190000000001 | 2016.42 | 2016.424 | 2016.4269999999999 | 2016.4290000000001 | 2016.431 | 2016.4349999999999 | 2016.4380000000001 | 2016.441 | 2016.4490000000001 | 2016.451 | 2016.454 | 2016.4570000000001 | 2016.4649999999999 | 2016.4680000000001 | 2016.47 | 2016.473 | 2016.4749999999999 | 2016.4780000000001 | 2016.482 | 2016.4839999999999 | 2016.4870000000001 | 2016.49 | 2016.492 | 2016.498 | 2016.501 | 2016.5060000000001 | 2016.509 | 2016.5129999999999 | 2016.518 | 2016.5219999999999 | 2016.5250000000001 | 2016.527 | 2016.537 | 2016.547 | 2016.549 | 2016.5530000000001 | 2016.558 | 2016.5609999999999 | 2016.5640000000001 | 2016.566 | 2016.569 | 2016.5709999999999 | 2016.5740000000001 | 2016.5830000000001 | 2016.585 | 2016.588 | 2016.5940000000001 | 2016.5989999999999 | 2016.6020000000001 | 2016.604 | 2016.607 | 2016.61 | 2016.6179999999999 | 2016.6220000000001 | 2016.624 | 2016.626 | 2016.6279999999999 | 2016.635 | 2016.636 | 2016.64 | 2016.643 | 2016.645 | 2016.6469999999999 | 2016.663 | 2016.665 | 2016.673 | 2016.6759999999999 | 2016.6790000000001 | 2016.682 | 2016.684 | 2016.6980000000001 | 2016.6990000000001 | 2016.702 | 2016.7049999999999 | 2016.7080000000001 | 2016.7149999999999 | 2016.7170000000001 | 2016.7190000000001 | 2016.721 | 2016.7239999999999 | 2016.7270000000001 | 2016.731 | 2016.7360000000001 | 2016.7380000000001 | 2016.741 | 2016.7439999999999 | 2016.752 | 2016.7550000000001 | 2016.758 | 2016.76 | 2016.768 | 2016.77 | 2016.7750000000001 | 2016.7760000000001 | 2016.779 | 2016.7819999999999 | 2016.807 | 2016.81 | 2016.8130000000001 | 2016.8140000000001 | 2016.818 | 2016.82 | 2016.8230000000001 | 2016.826 | 2016.829 | 2016.8320000000001 | 2016.8340000000001 | 2016.837 | 2016.8389999999999 | 2016.846 | 2016.848 | 2016.8510000000001 | 2016.854 | 2016.856 | 2016.86 | 2016.865 | 2016.8679999999999 | 2016.8710000000001 | 2016.874 | 2016.875 | 2016.8789999999999 | 2016.8810000000001 | 2016.8869999999999 | 2016.8889999999999 | 2016.8920000000001 | 2016.894 | 2016.8979999999999 | 2016.9 | 2016.903 | 2016.9059999999999 | 2016.9090000000001 | 2016.9110000000001 | 2016.914 | 2016.9169999999999 | 2016.922 | 2016.924 | 2016.9280000000001 | 2016.9469999999999 | 2016.95 | 2016.953 | 2016.9559999999999 | 2016.9580000000001 | 2016.96 | 2016.9639999999999 | 2016.9659999999999 | 2016.9690000000001 | 2016.972 | 2016.9739999999999 | 2016.9760000000001 | 2016.979 | 2016.9860000000001 | 2016.9870000000001 | 2016.991 | 2016.9939999999999 | 2016.9970000000001 | 2016.998 | 2017.001 | 2017.0039999999999 | 2017.008 | 2017.0429999999999 | 2017.095 | 2017.117 | 2017.12 | 2017.1220000000001 | 2017.125 | 2017.1279999999999 | 2017.134 | 2017.153 | 2017.1579999999999 | 2017.1610000000001 | 2017.175 | 2017.194 | 2017.231 | 2017.2329999999999 | 2017.2349999999999 | 2017.2380000000001 | 2017.241 | 2017.248 | 2017.251 | 2017.2529999999999 | 2017.2560000000001 | 2017.259 | 2017.261 | 2017.2639999999999 | 2017.2729999999999 | 2017.2760000000001 | 2017.278 | 2017.2809999999999 | 2017.2840000000001 | 2017.289 | 2017.2929999999999 | 2017.2950000000001 | 2017.297 | 2017.299 | 2017.306 | 2017.309 | 2017.3109999999999 | 2017.3140000000001 | 2017.317 | 2017.32 | 2017.3209999999999 | 2017.328 | 2017.33 | 2017.3330000000001 | 2017.336 | 2017.3389999999999 | 2017.348 | 2017.356 | 2017.3579999999999 | 2017.3610000000001 | 2017.367 | 2017.3689999999999 | 2017.3710000000001 | 2017.374 | 2017.376 | 2017.384 | 2017.3889999999999 | 2017.3910000000001 | 2017.394 | 2017.396 | 2017.3979999999999 | 2017.404 | 2017.4069999999999 | 2017.4090000000001 | 2017.412 | 2017.415 | 2017.4179999999999 | 2017.422 | 2017.425 | 2017.4269999999999 | 2017.4290000000001 | 2017.432 | 2017.434 | 2017.4459999999999 | 2017.4480000000001 | 2017.451 | 2017.453 | 2017.4649999999999 | 2017.4670000000001 | 2017.47 | 2017.4739999999999 | 2017.481 | 2017.4829999999999 | 2017.4870000000001 | 2017.489 | 2017.491 | 2017.4949999999999 | 2017.501 | 2017.5029999999999 | 2017.5060000000001 | 2017.52 | 2017.528 | 2017.5419999999999 | 2017.56 | 2017.5619999999999 | 2017.5650000000001 | 2017.569 | 2017.5709999999999 | 2017.577 | 2017.58 | 2017.5830000000001 | 2017.585 | 2017.587 | 2017.598 | 2017.6020000000001 | 2017.605 | 2017.607 | 2017.6110000000001 | 2017.616 | 2017.6179999999999 | 2017.6210000000001 | 2017.624 | 2017.627 | 2017.6279999999999 | 2017.6410000000001 | 2017.644 | 2017.645 | 2017.6489999999999 | 2017.652 | 2017.654 | 2017.6559999999999 | 2017.66 | 2017.662 | 2017.6659999999999 | 2017.671 | 2017.673 | 2017.675 | 2017.6780000000001 | 2017.681 | 2017.684 | 2017.6880000000001 | 2017.6880000000001 | 2017.692 | 2017.6980000000001 | 2017.712 | 2017.7170000000001 | 2017.72 | 2017.721 | 2017.7249999999999 | 2017.7270000000001 | 2017.73 | 2017.7329999999999 | 2017.7349999999999 | 2017.739 | 2017.752 | 2017.7539999999999 | 2017.758 | 2017.7619999999999 | 2017.7629999999999 | 2017.77 | 2017.7719999999999 | 2017.7729999999999 | 2017.7809999999999 | 2017.7909999999999 | 2017.7940000000001 | 2017.797 | 2017.8019999999999 | 2017.808 | 2017.809 | 2017.8130000000001 | 2017.8150000000001 | 2017.817 | 2017.826 | 2017.829 | 2017.8320000000001 | 2017.835 | 2017.837 | 2017.84 | 2017.846 | 2017.847 | 2017.8510000000001 | 2017.854 | 2017.86 | 2017.8610000000001 | 2017.865 | 2017.8710000000001 | 2017.873 | 2017.876 | 2017.8789999999999 | 2017.8810000000001 | 2017.885 | 2017.8869999999999 | 2017.89 | 2017.8920000000001 | 2017.895 | 2017.904 | 2017.9079999999999 | 2017.9110000000001 | 2017.9179999999999 | 2017.92 | 2017.923 | 2017.925 | 2017.94 | 2017.941 | 2017.943 | 2017.9469999999999 | 2017.95 | 2017.9549999999999 | 2017.9590000000001 | 2017.961 | 2017.9639999999999 | 2017.9670000000001 | 2017.9690000000001 | 2017.972 | 2017.9770000000001 | 2017.98 | 2017.9829999999999 | 2017.9880000000001 | 2017.991 | 2017.9939999999999 | 2017.999 | 2018.001 | 2018.0039999999999 | 2018.0429999999999 | 2018.076 | 2018.079 | 2018.0840000000001 | 2018.087 | 2018.09 | 2018.098 | 2018.1010000000001 | 2018.1030000000001 | 2018.107 | 2018.115 | 2018.117 | 2018.12 | 2018.123 | 2018.126 | 2018.127 | 2018.1310000000001 | 2018.136 | 2018.1389999999999 | 2018.1420000000001 | 2018.143 | 2018.152 | 2018.155 | 2018.1579999999999 | 2018.1610000000001 | 2018.1659999999999 | 2018.175 | 2018.1769999999999 | 2018.18 | 2018.182 | 2018.1849999999999 | 2018.1869999999999 | 2018.191 | 2018.194 | 2018.1959999999999 | 2018.1990000000001 | 2018.202 | 2018.2049999999999 | 2018.213 | 2018.2149999999999 | 2018.2180000000001 | 2018.221 | 2018.2270000000001 | 2018.2280000000001 | 2018.232 | 2018.2349999999999 | 2018.2370000000001 | 2018.239 | 2018.2429999999999 | 2018.251 | 2018.2539999999999 | 2018.2570000000001 | 2018.259 | 2018.261 | 2018.2660000000001 | 2018.268 | 2018.27 | 2018.2729999999999 | 2018.2760000000001 | 2018.278 | 2018.2809999999999 | 2018.2919999999999 | 2018.2950000000001 | 2018.3040000000001 | 2018.306 | 2018.309 | 2018.3109999999999 | 2018.3140000000001 | 2018.317 | 2018.319 | 2018.3209999999999 | 2018.3309999999999 | 2018.3330000000001 | 2018.34 | 2018.3420000000001 | 2018.345 | 2018.347 | 2018.35 | 2018.3520000000001 | 2018.367 | 2018.3679999999999 | 2018.3710000000001 | 2018.373 | 2018.377 | 2018.38 | 2018.383 | 2018.384 | 2018.3879999999999 | 2018.3910000000001 | 2018.393 | 2018.396 | 2018.402 | 2018.405 | 2018.4059999999999 | 2018.41 | 2018.412 | 2018.415 | 2018.4190000000001 | 2018.424 | 2018.4259999999999 | 2018.4290000000001 | 2018.431 | 2018.44 | 2018.443 | 2018.4459999999999 | 2018.4469999999999 | 2018.45 | 2018.4570000000001 | 2018.46 | 2018.462 | 2018.4649999999999 | 2018.4670000000001 | 2018.47 | 2018.4839999999999 | 2018.4860000000001 | 2018.4880000000001 | 2018.4970000000001 | 2018.5 | 2018.5029999999999 | 2018.5060000000001 | 2018.509 | 2018.5129999999999 | 2018.5129999999999 | 2018.52 | 2018.521 | 2018.5250000000001 | 2018.528 | 2018.5309999999999 | 2018.5319999999999 | 2018.5350000000001 | 2018.539 | 2018.6479999999999 | 2018.652 | 2018.654 | 2018.6559999999999 | 2018.6579999999999 | 2018.6610000000001 | 2018.665 | 2018.6759999999999 | 2018.6790000000001 | 2018.681 | 2018.684 | 2018.6859999999999 | 2018.69 | 2018.691 | 2018.694 | 2018.6969999999999 | 2018.701 | 2018.702 | 2018.7139999999999 | 2018.7170000000001 | 2018.721 | 2018.7280000000001 | 2018.73 | 2018.7329999999999 | 2018.7360000000001 | 2018.7380000000001 | 2018.741 | 2018.7429999999999 | 2018.752 | 2018.7550000000001 | 2018.758 | 2018.76 | 2018.7660000000001 | 2018.769 | 2018.771 | 2018.7729999999999 | 2018.7760000000001 | 2018.779 | 2018.7829999999999 | 2018.7940000000001 | 2018.797 | 2018.8030000000001 | 2018.808 | 2018.81 | 2018.8240000000001 | 2018.827 | 2018.83 | 2018.8320000000001 | 2018.836 | 2018.8440000000001 | 2018.846 | 2018.848 | 2018.8510000000001 | 2018.854 | 2018.857 | 2018.8579999999999 | 2018.865 | 2018.87 | 2018.8789999999999
Proteum 300 | 0.001097 | 0.0011 | 0.001101 | 0.00111 | 0.001561 | 0.001663 | 0.002679 | 0.002878 | 0.002921 | 0.00314 | 0.003294 | 0.00337 | 0.003565 | 0.00384 | 0.003842 | 0.003869 | 0.00453 | 0.0046 | 0.004821 | 0.004986 | 0.005007
images x 106

## Slide 11: Recent upgrades
Dectris Pilatus3 6M upgraded
Computing to keep up

## Slide 12
octamus1
3600-image Pilatus 6M processing benchmark
https://bl831.als.lbl.gov/~jamesh/benchmarks/
8x Xeon Platinum 8280L
28 cores/socket
4 GHz (turbo)
3 TB
RAM
50 TB
SSD
$90k

## Slide 13
petabyte
90 hot-swap drive bays
64 occupied
ZFS RAID
$12k (empty)

## Slide 14: SynchWeb / ISPyB
Alpha Fold Me!
Alpha Fold Me!

## Slide 15
voltron
8x Titan V ~ 0.8 Pflop $50k

## Slide 16: Modernizing loop center: beamline AI
Scott Classen
Shawfeng Dong
Feng Chen Liu

## Slide 17: Recent upgrades
Dectris Pilatus3 6M upgraded
Computing to keep up
Robotics upgrade

## Slide 18: SuperTong

## Slide 20: Prepare for the Great Synchrotron Shuffle
Caltech
SSRL
Yale
Oxford
SPring-8
SPINE
MiTeGen RT
Syrrx
H. magnetic
H. hybrid
H. copper
H. screw cap
H. colored
Hampton screw cap
Hampton magnetic

## Slide 21: Carousel open

## Slide 22: TomAlberTron capabilities
200s data sets in shutterless mode
Physiological temperature (up to 45 C)
in-situ screening from trays
15-100 μm beam sizes
True BLU-ICE interface
Excellent detector calibration
Infinite capacity sample carousel
Automation and ease-of-use
In-person crystallography

## Slide 23: Giving remote the “human touch”
Overall best way to remove ice
  requires human hand
Pressure + liquid
  Removes stubborn ice
Proximity
  No warm gas
  Minimal cold gas
  Must be compact
  Must refill

## Slide 27
pinhole
mirror
microscope
SBS
format
crystallization
tray
Notes: Inspired by the ESRF microcrystal camera, the superbend endstations are all equipped with zero-paralax optics. The user sees their sample from the point of view of the x-ray beam. Sample alignment is not only more stable but more intuitive than an off-axis camera. Placing the crystal into the microscope crosshairs gaurantees that it will be hit by the beam.

## Slide 28
NatX-ray
CrystalQuick™ X
250 μm
~50 μm tape
Fluidigm
Topaz® DC
200 μm
PDMS
PDMS
MiTeGen
in-situ-1
100 μm
~50 μm tape
in-situ diffraction trays
CrystalDirect
~50 μm tape
25 μm
Microlytic
Crystal Former™
1000 μm
Notes: Next slide please

## Slide 29: Lockdown impact on TomAlberTron
Chart: year
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021
datasets | 3166 | 3156 | 4553 | 4424 | 3888 | 1620
robot | 75 | 121 | 1288 | 1490 | 5356 | 2829
hand | 12846 | 13462 | 11030 | 9524 | 2093 | 281

## Slide 30: Robotics upgrade

## Slide 31: Future Plans
“puck unpacker” – wide sample range
Make remote more like in-person
Survive ALS-U

## Slide 32: Long ALS-U shutdowns will impact MX
  22 ± 17 days

## Slide 33: Benefit from ASL-U?
Thank you:
Howard Padmore
Alastair MAcDowell
80 x 60
10 x 10
60 x 40

## Slide 34
5 cm YAG
diagnostic
Convergence
Slits
Al
foil

## Slide 35
Y2

## Slide 37
Unscaled mono = 0 mm
Mono= 0 mm
Mono= +2 mm
Mono= -2 mm
Sweeping
Theta2
over
Si(333)
Rocking
Curve

## Slide 38: Culprit?: 1st mono crystal

## Slide 39: Summary
ALS 8.3.1 is TomAlberTron
Diverse users & samples
In-person advantage
Future AI
Surviving ALS-U?
http://bl831.als.lbl.gov/~jamesh/powerpoint/
ALS831_MOU_2021.pptx