## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
UC Multicampus Research Programs and Initiatives (MRPI)
NIH NIGMS R01 GM124149
NIH NIGMS P30 GM124169
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Paul Adams John Tainer
Chris Nielsen Clemens Schulze-Briese Aina Cohen Ana Gonzalez

## Slide 2: Painting with X-rays
Virtual beams to match any sample
(Some assembly required)

## Slide 3: Beam size?

## Slide 4: “dose contrast” effects
before

## Slide 5: “dose contrast” effects
after

## Slide 6: “dose contrast” effects

## Slide 7: “dose contrast” effects

## Slide 8: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 9: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 10: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 11: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 12: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 13: Exponential spot fading: flat dose
integrated spot intensity
dose (MGy)

## Slide 14: No dose flattening: damage repair?
Absorbed Dose (MGy)
Fraction Se-Met undamaged
25mM SeMet in 50 mM bis-tris
0.0 0.2 0.4 0.6 0.8 1.0
0 100 200 300 400 500
Half-dose = 10 ± 0.4 MGy
25% threhalose
Half-dose = 17.0 ± 0.7 MGy
25% glycerol
Reverse half-dose = 93 ± 5 MGy
Drift!

## Slide 15
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 16
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 17
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 18
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 19
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 20
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 21
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 22
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 23
Flux density (x106 ph/µm2)
dose flattening: two shots
FWHM
0.849 FWHM
Position (FWHM)
beam1
beam2

## Slide 24
Chart: 
Flux density (x106 ph/µm2)
dose flattening: 3 shots
Position (FWHM)
0.798 FWHM

## Slide 25
Chart: 
Flux density (x106 ph/µm2)
dose flattening: 3 shots
Position (FWHM)
0.781 FWHM
12%

## Slide 26
Flux density (x106 ph/µm2)
dose flattening: 5 shots
Position (FWHM)
0.656 FWHM

## Slide 27
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
1.0 FWHM
12%

## Slide 28
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
0.9 FWHM
4.5%

## Slide 29
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
0.8 FWHM
1.5%

## Slide 30
~0 MGy

## Slide 31
5 MGy

## Slide 32
11 MGy

## Slide 33
16 MGy

## Slide 34
22 MGy

## Slide 35
26 MGy

## Slide 36: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 37: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 38: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 39: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 40
In 2D: hexagonal pattern
Position (FWHM)
122%
exposure
0.9 FWHM
0.3%
0.2%
0.1%
0
-0.1%
-0.2%
-0.3%
Avg dose = 180% peak

## Slide 41
In 2D: hexagonal pattern
Position (FWHM)
100%
exposure
0.89 FWHM
3%
2%
1%
0
-1%
-2%
-3%
Avg dose = 164% peak

## Slide 42
In 2D: moving train
Position (FWHM)
Avg dose = 120% +/- 1.5% peak
0.8 FWHM

## Slide 43: “rastering” to find the crystal
Membrane
protein crystal
X-ray beam
ice

## Slide 44: “rastering” for flat dose

## Slide 45: “rastering” for virtual beam

## Slide 46: Sample is 3D

## Slide 47: 3D mapping of sample

## Slide 48: Sample is 3D

## Slide 49: 2-motor scans offset data
phi
position
360°
0°

## Slide 50: 2-motor scans offset data
phi
position
360°
0°

## Slide 51: “rastering” for flat dose

## Slide 52: How many images?
360° / 0.1° * ( 1000 µm / 1 µm )2
= 3.6x109
28,000 ph/image

## Slide 53: The Entropy Limit
= log2(Npixels) * flux * tsample * 1.2x10-5
minimum data rate with no information loss
Npixels = 4150*4371 for Eiger
flux = photons/s onto the sample
tsample = sample thickness in µm
1.2x10-5 = 10-4 cm/µm * cross section of oxygen (0.2 cm2/g)
* density of protein crystal (1.2 g/cm3 )
* ~1/2 of total scattering intersects detector
E.G. 34 GByte/s for 1013 photons/s and 100 µm sample
bits
s

## Slide 54: How to loose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast

## Slide 55: How long will it take?
Damage & diffraction = flux / area
Gy/s = ph/s /2000 / um2
Example: flux= 1012 ph/s, 1 mm2 beam = 500 Gy/s
100% sample life → 30 MGy / 500 Gy/s = 17 hours
10% sample life → 3 MGy / 500 Gy/s = 1.7 hours
1% sample life → 300 kGy / 500 Gy/s = 10 min
Holton (2009)."beginner's guide rad dam", J. Synch. Rad. 16, 133-142.

## Slide 56
The number of photons scattered
before crystal is dead
is independent
of flux & time
1 um3 = 105 photons (roomT)
1 um3 = 106 photons (synch)
1 um3 = 108 photons (XFEL)
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009
(synch)

## Slide 57: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
low
completeness
too much
read noise

## Slide 58: Dose slicing: is that a spot?

## Slide 59: Dose slicing: is that a spot?

## Slide 60: Dose slicing: is that a spot?

## Slide 61: Dose slicing: is that a spot?

## Slide 62: Dose slicing: is that a spot?

## Slide 63: Dose slicing: is that a spot?

## Slide 64: What if?
You only have a few small crystals…
Should you:
  Collect 360° from each?
  Collect 10° from each at 36x exposure?
  Glue 36 xtals together, then collect 360° ?

## Slide 65
Chart: 
Resolution (Å)
CC vs right answer
“true” resolution limit

## Slide 66
Dose slice collection scenario |  | 
fine | coarse | glue
3.17700 | 3.14057 | 3.17604
“true” resolution vs strategy
301,640,334 photons/xtal

## Slide 67: How to loose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast

## Slide 68: Sample is 3D
10 µm
25 µm
1 µm
90°

## Slide 69: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
~ 50 mm He
≈ 370 mm sat water vapor @ 4C
Optimum: support thickness = crystal thickness

## Slide 70: Laser cutting under cryo
Spot diameter: 15 µm
Could be diffraction limited?
Kitano, H., et al., Protein Cryocrystallography Using Laser-Processed Crystal. Japanese Journal of Applied Physics, 2005. 44: p. L54.
Laser details:
193 nm M2 < 2
< 1 ns pulse ~1 µJ
1-4 kHz ~70 C temp rise
200-1400 s cutting time

## Slide 71
Laser cutting under cryo
Spot diameter: 15 µm
Could be diffraction limited?
Kitano, H., et al., Protein Cryocrystallography Using Laser-Processed Crystal. Japanese Journal of Applied Physics, 2005. 44: p. L54.
Laser details:
193 nm M2 < 2
< 1 ns pulse ~1 µJ
1-4 kHz ~70 C temp rise
200-1400 s cutting time

## Slide 72: What we really need
GRAPHENE
Thin
Light
Tight
Cheap

## Slide 73: Back to basics? Bragg vs Laue

## Slide 74: Diffraction without penetration

## Slide 75: Diffraction without penetration
Diamond
($100, reusable)

## Slide 76: Diffraction without penetration
Diamond
($100, reusable)
oil / plastic

## Slide 77: Diffraction without penetration
Diamond
($100, reusable)
oil / plastic

## Slide 78: Diffraction without penetration
oil / plastic
λ=2d sinθ
2.5 Å data
with 5 Å X-rays
Only analytic absorption correction:
International Tables for Crystallography, Vol. C, 2nd ed., chapter 6.3

## Slide 79: Pilatus 12M Detector
Micro- soft- beamline for native-element phasing
imaging at atomic resolution with elemental contrast

## Slide 80
Photon Energy (eV)
Anomalous f” (electrons)
2472.7 2473.5
Bohic et al. Anal. Chem. 2008; 80(24):9557. doi: 10.1021/ac801817k

## Slide 81: Summary
“dose contrast” avoided with flat beams
0.8 FWHM = very flat
data beam can be virtual
Long exposures = lossy compression
106 photons / um3
must reduce background
Back to Bragg for S-MAD ?
http://bl831.als.lbl.gov/~jamesh/powerpoint/
APS-U_painting_2018.pptx

## Slide 82: Zero-parallax simplifies alignment
visible light

## Slide 83: Zero-parallax simplifies alignment
X-ray

## Slide 84
MX
area
detector
beam center
3%
2%
1%
0
crystal in loop
Cu foil
X-ray excited
fluorescent
X-ray source
x-ray beam
Cone-Beam Online X-ray
Absorption Radiography
(CBOXAR)

## Slide 85: shoot the whole crystal

## Slide 86: shoot the whole crystal

## Slide 87: shoot the whole crystal

## Slide 88: How many crystals do you see?
Shoot the “crystal” (singular)

## Slide 89: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389

## Slide 90: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389
LCLS
ALS
bunch

## Slide 91: Ionization track
Heterogeneous reactions
Homogeneous reactions

## Slide 92: Rough values of energy quanta
1 MeV 100 GJ/mol Medical radiation therapy
100 keV 10 GJ/mol Medical imaging
10 keV 1 GJ/mol X-ray crystallography
1 keV 100 MJ/mol S and P K-edges
100 eV 10 MJ/mol “water window”
10 eV 1 MJ/mol C≡C bond
1 eV 100 kJ/mol C-C bond, visible light
100 meV 10 kJ/mol hydrogen bond
10 meV 1 kJ/mol heat (~300 K)

## Slide 93
X-ray beam size (μm)
Resolution (Å)
too big
too small
just right

## Slide 94: Gaussian beam
50% of flux
the other 50%

## Slide 95: Collimated beam
100% of flux
0%

## Slide 96: shoot nothing but the crystal

## Slide 97: shoot nothing but the crystal

## Slide 98: shoot nothing but the crystal

## Slide 99: PAD full vs partial
time
intensity
2.03 ms

## Slide 100: Rastering is robust, but slow
Damage & diffraction = flux / area
Gy/s = ph/s /2000 / um2
Example: 10% life, 1 mm2 sample, flux= 1012 ph/s
10x10 μm beam: 0.6 s
100x100 μm beam: 60s x 10x10 shots =
1% life & 1013 ph/s → 1 min
Holton (2009)."beginner's guide rad dam", J. Synch. Rad. 16, 133-142.
1% life → 10 min
1.7 hours
x 100x100 shots =
1.7 hours

## Slide 101: Rastering is robust, but slow
Damage & diffraction = flux / area
time/mm2 is fixed by flux
Example: ALS 8.3.1 – 200 kGy/s = 15 s for 10% lifedose
50 μm hole: 20x20 shots = 210 s/mm2
30 μm hole: 33x33 shots = 320 s/mm2
10 μm hole: 100x100 shots = 2730 s/mm2
10 μm hole + multilayer: 70 s/mm2
Holton (2009)."beginner's guide rad dam", J. Synch. Rad. 16, 133-142.

## Slide 102: Rastering is robust, but slow
Damage & diffraction = flux / area
time/mm2 is fixed by flux
Example: ALS 8.3.1 – 200 kGy/s ; 1% lifedose
50 μm hole: 20x20 shots = 21 s/mm2
30 μm hole: 33x33 shots = 32 s/mm2
10 μm hole: 100x100 shots = 273 s/mm2
10 μm hole + multilayer: 7 s/mm2
Holton (2009)."beginner's guide rad dam", J. Synch. Rad. 16, 133-142.

## Slide 103: Rastering is robust, but slow
Damage & diffraction = flux / area
time/mm2 is fixed by flux
Example: ALS 8.3.1 – 200 kGy/s ; 1% lifedose
50 μm hole: 20x20 shots = 21 s/mm2 20 Hz
30 μm hole: 33x33 shots = 32 s/mm2 35 Hz
10 μm hole: 100x100 shots = 273 s/mm2 37 Hz
10 μm hole + multilayer: 7 s/mm2 2 kHz
Holton (2009)."beginner's guide rad dam", J. Synch. Rad. 16, 133-142.

## Slide 104
molecular weight
Photoelectron escape advantage
Complete data set from single xtal
Required crystal diameter (μm)
100 Da 1 kDa 10 kDa 100 kDa 1 MDa 10 MDa
escape model
None
Simple
MCNP
Holton & Frankel (2010)

## Slide 105: Water ring shift
saturated sucrose in 250mM WO4

## Slide 106: Water ring shift
saturated sucrose in 250mM WO4
0 MGy

## Slide 107: Water ring shift
saturated sucrose in 250mM WO4
37 MGy

## Slide 108: Water ring shift
saturated sucrose in 250mM WO4
80 MGy

## Slide 109: Water ring shift
saturated sucrose in 250mM WO4
184 MGy

## Slide 110: Water ring shift
Resolution (Ǻ)
Photons/s/pixel
 7.5 3.8 2.5 1.9 1.5
saturated sucrose in 250mM WO4

## Slide 111: Water ring shift
Resolution (Ǻ)
Photons/s/pixel
 7.5 3.8 2.5 1.9 1.5
saturated sucrose in 250mM WO4

## Slide 112: Water ring shift
Resolution (Ǻ)
Photons/s/pixel
 7.5 3.8 2.5 1.9 1.5
saturated sucrose in 250mM WO4

## Slide 113: Water ring shift
Resolution (Ǻ)
Photons/s/pixel
 7.5 3.8 2.5 1.9 1.5
saturated sucrose in 250mM WO4

## Slide 114: Water ring shift
Resolution (Ǻ)
Photons/s/pixel
 7.5 3.8 2.5 1.9 1.5
saturated sucrose in 250mM WO4

## Slide 115: Water ring shift
Absorbed dose (MGy)
Water ring position (Ǻ)
saturated sucrose in 250mM WO4

## Slide 116
Protein crystal background

## Slide 117: Protein crystal background

## Slide 118: Water ring shift
Absorbed dose (MGy)
Water ring position (Ǻ)
GCN4-p1-N16A trigonal crystal

## Slide 119: Water ring shift
Absorbed dose (MGy)
Water ring position (Ǻ)
GCN4-p1-N16A trigonal crystal
crystal background
saturated sucrose

## Slide 120: Water ring shift
bubbles?
Richard D. Leapman, Songquan Sun, Ultramicroscopy (1995)

## Slide 121: Water ring shift
Hydrogen bubbles?
Richard D. Leapman, Songquan Sun, Ultramicroscopy (1995)

## Slide 122: Water ring shift
Absorbed dose (MGy)
Water ring position (Ǻ)
GCN4-p1-N16A trigonal crystal
crystal background
saturated sucrose

## Slide 123: Lattice damage

## Slide 124
Macroscopic damage