## Slide 1: Where do the X-rays come from?

## Slide 2: Electric charge
balloon
Wool Sweater
-
-
-
-
-
-
+ + + + + +

## Slide 3: Electric field of a moving charge
accelerating charges
make
electromagnetic waves
(light)

## Slide 4: Bending Magnet
N
electron beam
X-rays !
S

## Slide 5: Two Bending Magnets
N
electron beam
S
S
N
2x X-rays !

## Slide 6: Wiggler
N
S
N
S
N
S
N
S
S
N
S
N
S
N
S
N
8x X-rays !

## Slide 7: Undulator
N
S
N
S
N
S
N
S
S
N
S
N
S
N
S
N
> 8x X-rays !

## Slide 8: Undulator emission spectrum

## Slide 9: LCLS undulator hall

## Slide 10: Electric field of a moving charge

## Slide 11: SASE effect

## Slide 12: Self-Amplified Stimulated Emission (SASE) effect

## Slide 13: Accelerator-based light source terminology
Code name Translation
First Generation Bending Magnet
Second Generation Wiggler
Third Generation Undulator
Fourth Generation Free electron laser

## Slide 14: What does all that stuff in the concrete tunnel do?

## Slide 15: X-ray optics
ADSC Quantum 210
Superbend
Plane
Parabolic
mirror
Torroidal
mirror
Si(111)
monochromator
Protein Crystal
pinhole
Scatter
guard
2:1 demagnification cancels spherical aberrations
comparable flux to a wiggler with < 1% of the heat
divergence
slits
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 16: X-ray optics
ADSC Quantum 315r
Protein Crystal
pinhole
Scatter
guard
MacDowell et. al. (2004) J. Sync. Rad. 11 447-455
X-ray
Source
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 17: The truth about x-ray beams
Term units significance
Flux photons/s duration of experiment
Beam Size μm match to crystal
Divergence mrad spot size vs distance
Wavelength Å resolution and absorption
Emittance size x div constant limited by source/optics
Flux density ph/s/area scattering/damage rate
Fluence ph/area radiation damage

## Slide 18: beam divergence
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 19: beam divergence
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
Ewald sphere
λ*
λ*

## Slide 20: divergence = 0 º

## Slide 21: divergence = 0.3 º

## Slide 22: spectral dispersion
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 23: spectral dispersion
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ’*
λ’*

## Slide 24: dispersion = 0

## Slide 25: dispersion = 0.014% (Si 111)

## Slide 26: dispersion = 0.25% (CuKα)

## Slide 27: dispersion = 1.3%

## Slide 28: dispersion = 5.1%

## Slide 29: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 30: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 31: mosaic spread = 0 º

## Slide 32: mosaic spread = 1.0º

## Slide 33: mosaic spread = 6.4º

## Slide 34: mosaic spread = 12.8º

## Slide 35: Law of Convolution
12 + 12 = 1.42
32 + 12 = 3.22
σtotal2 = σ12 + σ22

## Slide 36: Where do the X-rays go?

## Slide 37: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
useful/absorbed energy: 7.3%
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 38: Elastic scattering

## Slide 39: Elastic scattering

## Slide 40: How big is an atom?
C
1 Ångstrom (Å)
1 nanometer (10-9 m)
N
O
S
H
U

## Slide 41: How big is an atom?
U
C
N
O
S
H
as seen by X-rays

## Slide 42: Elastic scattering

## Slide 43: Inelastic scattering

## Slide 44: Photoelectric absorption

## Slide 45: Photoelectric absorption
e-
+

## Slide 46: Fluorescence
+

## Slide 47: Fluorescence
e-
+

## Slide 48: Fluorescence-based x-ray sources

## Slide 49: What limits the source?
Fluorescence-based source:
Thermal distortion of anode
Accelerator-based source
Quality of optics
Electric bill

## Slide 50: How much brighter is the synchrotron?
MX2:
2 x 1012 photons/s
10 μm beam size
0.1 mrad divergence
0.014% BW (Si 111)
= 1.4 x 1019 photons/s/mm2/mrad2/0.1%BW
Gallium liquid METALJET
1.4 x 108 photons/s/mm2/mrad2/0.1%BW
1 s at MX2 =
3000 years
With same beam size, divergence & dispersion

## Slide 51: Auger emission
+

## Slide 52: Auger emission
++
e-

## Slide 53: Secondary ionization
e-
e-
+

## Slide 54: Excitation
e-

## Slide 55: Ionization track
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 56: Ionization track

## Slide 57: Ionization track
Homogeneous reactions
initial effects

## Slide 59: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389
LCLS
ALS
bunch

## Slide 60: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
useful/absorbed energy: 7.3%
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 61: Where does all that absorbed energy go?

## Slide 62
16 MGy

## Slide 63
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Global damage
10 MGy/Å

## Slide 64: 10 MGy/Å
what the is a MGy?
http://bl831.als.lbl.gov/
damage_rates.pdf
Holton J. M. (2009) J. Synchrotron Rad. 16 133-42

## Slide 65
How long will my crystal last?

## Slide 66
Holton (2009) J. Synchrotron Rad. 16 133-42
Specific damage rates
world records:
MGy reaction reference
~45 global damage Owen et al. (2006)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 67
Damage is done
by photons/area
proportional to dose (MGy)
not time
not heat

## Slide 68
The amount of data you get
before crystal is dead
is independent
of data collection time
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009

## Slide 69
How does “dose” fade spots?
A simple case…

## Slide 70
D1/2 >> 1012 Gy
D1/2 ~ 10 Gy

## Slide 71: Sodium Chloride is Immortal!
D1/2 > 1 GGy

## Slide 72: Sodium acetate trihydrate
D1/2 = 15 MGy
resolution: 0.92 Å
avg B: ~ 0
R/Rfree: ~4%
C2/c

## Slide 73
stress and strain
radiation damage = defects
What about
undamaged crystals?

## Slide 74: Purity is crucial!
McPherson, A., Malkin, A. J., Kuznetsov, Y. G. & Plomp, M. (2001)."Atomic force microscopy applications in macromolecular crystallography", Acta Cryst. D 57, 1053-1060.
not important for
initial hits
important for
resolution

## Slide 75: What can I do to maximize what I get out of my crystal?

## Slide 76: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!
  The crystal must rotate

## Slide 77: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal

## Slide 78: shoot the whole crystal

## Slide 79: shoot the whole crystal

## Slide 80: shoot the whole crystal

## Slide 81: shoot nothing but the crystal

## Slide 82: shoot nothing but the crystal

## Slide 83: How many crystals do you see?

## Slide 84: mosaic spread = 12.8º

## Slide 85: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 86: Background scattering
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
real estate is
expensive
use it!

## Slide 87: Fine Slicing
Pflugrath, J. W. (1999)."The finer things in X-ray diffraction data collection", Acta Cryst. D 55, 1718-1725.
background
background

## Slide 88: Optimal exposure time (faint spots)
thr Optimal exposure time for data set (s)
tref exposure time of reference image (s)
bgref background level near weak spots on
reference image (ADU)
bg0 ADC offset of detector (ADU)
bghr optimal background level (via thr)
σ0 rms read-out noise (ADU)
gain ADU/photon
m multiplicity of data set (including partials)
adjust exposure
so this is ~100

## Slide 89: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 90: Multi-crystal strategies
Kendrew et al. (1960) "Structure of Myoglobin” Nature 185, 422-427.

## Slide 91: Basic Principles
“Hell, there are NO RULES here - we're trying to accomplish something.”
Thomas A. Edison – inventor
“You’ve got to have an ASSAY.”
Arthur Kornberg – Nobel Laureate
“Control, control, you must learn CONTROL!”
Yoda – Jedi Master

## Slide 92: Summary
Shoot the crystal
Do not bend!
Multi-crystal strategies
assay, control and open mind
Membrane Protein Expression Center © 2013