## Slide 1
Tuned-up flux at sample (nA)
History at BL831
2013 2014 2015 2016 2017 2018 2019 2020 2021 2022 2023

## Slide 2: 108994.002
Expiring Sep 31, 2023
$400k LDRD
to make 8.3.1 focus smaller
Problem #1 : can’t see the focus

## Slide 4
focus
accessible

## Slide 5
1.0
0.5
0
-0.5
-1.0
-1.5
-2.0
-2.5
-3.0
Beam height (mm)
focus position vs M2 Tilt
0 100 200 300 400 500 600
distance from sample (mm)

## Slide 6
Grant total move: 1.4 mm “up”

## Slide 7
#1
beam
#2
chain

## Slide 8
#4 wires
#3 tubing
#2 chain
#1 beam

## Slide 9
#1
#2
#3
#4
Fixed panel drawing

## Slide 10
Inside hutch

## Slide 11
Inside
hutch
#2
chain
#1
beam

## Slide 12
Labyrinth
#2 “chain”

## Slide 13
Labyrinth
#2 “chain”

## Slide 16
1/2” holes
9/32” holes
Tapped holes

## Slide 17: Proposed work
Move two hutch-penetration clamshell labyrinths “up” by 1.4 mm
Anticipate possibly having to extend existing slotted screw holes
Slot extension need not exceed thickness of shielding: 1/8”
Make new labyrinth flange that is 1/4” wider to ensure ½” holes are covered
focus

## Slide 18
screw
fixed
fixed
collar
collar
flange
flange
9/32”
1/4”
1/2” hole in collar
1”
23/64”
Current configuration

## Slide 19
screw
fixed
fixed
collar
collar
new flange
new flange
9/32”
1/4”
3/4” hole in collar
1 + 1/4”
23/64”
Proposed configuration

## Slide 20
Current configuration
23/64”
fixed
panel
screw
9/32”

## Slide 21
Proposed configuration
23/64”
fixed
panel
screw
9/32”

## Slide 22
hole
Current configuration
1/4”
collar
screw
9/32”
1/2”

## Slide 23
hole
1/4”
5/8”
Proposed configuration
screw
9/32”
collar

## Slide 24
Current configuration
23/64”
flange
screw
9/32”
1”

## Slide 25
Proposed configuration
23/64”
screw
9/32”
1/4”
flange
1 1/4”

## Slide 26
Overlay
23/64”
fixed
panel
screw
9/32”
hole
1/4”
5/8”
screw
9/32”
collar