## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
UC Multicampus Research Programs and Initiatives (MRPI)
UCSF Program for Breakthrough Biomedical Research (PBBR)
one-time NIH-DOE Inter-agency agreement (IAA)
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
M D Anderson CRC
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Tom Caradoc-Davies Ed Domning George Meigs
Aina Cohen Ana Gonzalez Mike Soltis

## Slide 2: Conclusions
Measure your beam stability through a pinhole!
No such thing as “shutterless”
Pile up: problem for RT MX?
Solution: attenu-wait?

## Slide 3: Measured Beam Flicker
Silicon PIN photodiode after pinhole

## Slide 4: Measured Beam Flicker
Silicon PIN photodiode after pinhole

## Slide 5: Measured Beam Flicker
Silicon PIN photodiode after pinhole

## Slide 6: Measured Beam Flicker
Silicon PIN photodiode after pinhole

## Slide 7: Top-up pulse vs pinhole size

## Slide 8: RMS flicker vs pinhole size
Pinhole size (μm)
Noise level ( % / sqrt(Hz) )
10 100 1000

## Slide 9: What is the beam doing?
Not this

## Slide 10: What is the beam doing?
Not this

## Slide 11: What is the beam doing?
Must be this?

## Slide 12: Beam Flicker
time (seconds)
normalized flux through pinhole
pinhole
removed

## Slide 13: This is an Aperture!

## Slide 14: Pilatus pile-up for RT MX? same photons, different speeds
Sum of 193 shots with
193-fold attenuation

## Slide 15: Pilatus pile-up for RT MX? same photons, different speeds
1 shot with
no attenuation

## Slide 16: Pilatus pile-up for RT MX? same photons, different speeds
0.016° mosaic

## Slide 17: Pilatus pile-up for RT MX? same photons, different speeds
20 deg/s
0.016 deg mosaic

## Slide 18: Pilatus pile-up for RT MX? same photons, different speeds

## Slide 19: Flicker noise power spectrum

## Slide 20: Flicker noise power spectrum

## Slide 21: Flicker noise power spectrum

## Slide 22: Flicker noise power spectrum

## Slide 23: Shutter Jitter
frame number
PHIZ from MOSFLM (deg)

## Slide 24: Shutter Jitter
frame number
PHIZ from MOSFLM (deg)

## Slide 25: Shutter Jitter
frame number
shutter timing error (ms)
rms 0.47 ms

## Slide 26: What are these?

## Slide 27: Conclusions
Measure your beam stability through a pinhole!
No such thing as “shutterless”
Pile up: problem for RT MX?
Solution: attenu-wait?