## Slide 1: Key Challenges to Unlocking the True Power of Macromolecular Crystallography
Signal-to-noise can be awesome
Stills should be better
Non-isomorphism is annoying
Radiation damage is correctable
R-factor gap
  Tangled ensemble models
  Uneven solvent

## Slide 2: Acknowledgements
https://bl831.als.lbl.gov/~jamesh/powerpoint/BioSci_GM_2026.pptx
In order of response:
David von Stetten
Meitian Wang
Manfred Weiss
Judith Juanhuix Gibert
Bill Shepard
Ilme Schlichting
Kunio Hirata
Armin Wanger
Tom Caradoc-Davies
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
Astera.org diff-USE (Fraser)
NIH NIGMS R35 GM158447 (Holton)
NIH NIAID P50 AI150476 (Krogan)
NIH NIGMS P30 GM124169 (Adams)
DOE-BER IDAT (Hura)
NIH NIGMS P30 GM133894 (Hodgson)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.

## Slide 3: From round the world

## Slide 4: From round the world
Study function and dynamics
  Fixed target, “serial”, capture intermediates
Multi-crystal multi-data
  Fragment screening
  Time-resolved (laser?, mixer?, tape?)
“room” (core) temperature
Element identification
Very high resolution

## Slide 5: From round the world
“Fewer Beamlines”
cryoEM
  “interesting” things don’t crystallize
Alphafold is the new “low resolution”
Data curation, training students
Multilayers?, high energy? In-vacuum?
Source upgrades
China?
industrialized?

## Slide 6: Magic Microscope
Visualize a single molecule
spatial resolution 1 Å
temporal resolution: ~100 fs
Watch same molecule indefinitely
No damage to molecule/patient
Ability to tap / tug
Handheld & common
Q: what would you look at first?
Q2: how long before end of disease?
second

## Slide 7: Goals of Methods Development
Impossible → Expensive
Expensive → Cheaper
  Difficult → Easier

## Slide 8
Because: the future of crystallography has alternate conformations
Single-conf models
poor resolution
Low signal/noise
Phase Problem
Dynamics?
Mechanism?
Small signal?
Overlapping states?
The last Å between prediction and reality

## Slide 9: The last Å: near, but far
ATOM 122 N LEU A 13 -3.244 25.808 19.998 1.00 16.96 N
ATOM 123 CA LEU A 13 -2.877 25.448 21.355 1.00 15.29 C
ATOM 124 C LEU A 13 -2.792 23.966 21.561 1.00 17.54 C
ATOM 125 O LEU A 13 -1.814 23.493 22.143 1.00 16.35 O
ATOM 126 CB LEU A 13 -3.907 26.164 22.268 1.00 18.72 C
ATOM 127 CG LEU A 13 -3.577 25.982 23.738 1.00 21.19 C
ATOM 128 CD1 LEU A 13 -2.283 26.820 24.019 1.00 19.43 C
ATOM 129 CD2 LEU A 13 -4.702 26.474 24.639 1.00 24.65 C
ATOM 130 N SER A 14 -3.677 23.149 20.979 1.00 15.96 N
ATOM 131 CA SER A 14 -3.646 21.711 21.061 1.00 18.26 C
ATOM 132 C SER A 14 -2.373 21.203 20.360 1.00 18.71 C
ATOM 133 O SER A 14 -1.747 20.315 20.930 1.00 17.47 O
ATOM 134 CB SER A 14 -4.875 21.077 20.419 1.00 17.62 C
ATOM 135 OG ASER A 14 -4.825 19.665 20.388 0.50 20.89 O
ATOM 136 OG BSER A 14 -6.027 21.408 21.164 0.50 18.67 O
ATOM 137 N LYS A 15 -2.045 21.772 19.215 1.00 18.03 N
ATOM 138 CA LYS A 15 -0.799 21.361 18.555 1.00 18.12 C
ATOM 139 C LYS A 15 0.446 21.707 19.351 1.00 18.81 C
ATOM 140 O LYS A 15 1.400 20.948 19.411 1.00 17.77 O
ATOM 141 CB LYS A 15 -0.700 22.034 17.177 1.00 14.49 C
ATOM 142 CG LYS A 15 -1.727 21.368 16.256 1.00 16.12 C
ATOM 143 CD LYS A 15 -1.663 22.147 14.936 1.00 19.40 C
ATOM 144 CE ALYS A 15 -2.725 21.614 13.986 0.50 17.42 C
ATOM 145 CE BLYS A 15 -1.750 21.211 13.750 0.50 17.01 C
ATOM 146 NZ ALYS A 15 -2.346 21.674 12.559 0.50 18.61 N
ATOM 147 NZ BLYS A 15 -3.052 20.513 13.741 0.50 18.76 N

## Slide 10: The last Å: near, but far
ATOM 122 N LEU A 13 -3.000 26.000 20.000 1.00 16.96 N
ATOM 123 CA LEU A 13 -3.000 25.000 21.000 1.00 15.29 C
ATOM 124 C LEU A 13 -3.000 24.000 22.000 1.00 17.54 C
ATOM 125 O LEU A 13 -2.000 23.000 22.000 1.00 16.35 O
ATOM 126 CB LEU A 13 -4.000 26.000 22.000 1.00 18.72 C
ATOM 127 CG LEU A 13 -4.000 26.000 24.000 1.00 21.19 C
ATOM 128 CD1 LEU A 13 -2.000 27.000 24.000 1.00 19.43 C
ATOM 129 CD2 LEU A 13 -5.000 26.000 25.000 1.00 24.65 C
ATOM 130 N SER A 14 -4.000 23.000 21.000 1.00 15.96 N
ATOM 131 CA SER A 14 -4.000 22.000 21.000 1.00 18.26 C
ATOM 132 C SER A 14 -2.000 21.000 20.000 1.00 18.71 C
ATOM 133 O SER A 14 -2.000 20.000 21.000 1.00 17.47 O
ATOM 134 CB SER A 14 -5.000 21.000 20.000 1.00 17.62 C
ATOM 135 OG ASER A 14 -5.000 20.000 20.000 0.50 20.89 O
ATOM 136 OG BSER A 14 -6.000 21.000 21.000 0.50 18.67 O
ATOM 137 N LYS A 15 -2.000 22.000 19.000 1.00 18.03 N
ATOM 138 CA LYS A 15 -1.000 21.000 19.000 1.00 18.12 C
ATOM 139 C LYS A 15 0.000 22.000 19.000 1.00 18.81 C
ATOM 140 O LYS A 15 1.000 21.000 19.000 1.00 17.77 O
ATOM 141 CB LYS A 15 -1.000 22.000 17.000 1.00 14.49 C
ATOM 142 CG LYS A 15 -2.000 21.000 16.000 1.00 16.12 C
ATOM 143 CD LYS A 15 -2.000 22.000 15.000 1.00 19.40 C
ATOM 144 CE ALYS A 15 -3.000 22.000 14.000 0.50 17.42 C
ATOM 145 CE BLYS A 15 -2.000 21.000 14.000 0.50 17.01 C
ATOM 146 NZ ALYS A 15 -2.000 22.000 13.000 0.50 18.61 N
ATOM 147 NZ BLYS A 15 -3.000 21.000 14.000 0.50 18.76 N

## Slide 11: Key Challenges to Unlocking the True Power of Macromolecular Crystallography
Signal-to-noise can be awesome
Stills should be better
Non-isomorphism is annoying
Radiation damage is correctable
R-factor gap
  Tangled ensemble models
  Uneven solvent

## Slide 12: Key Challenges to Unlocking the True Power of Macromolecular Crystallography
Signal-to-noise can be awesome
Stills should be better
Non-isomorphism is annoying
Radiation damage is correctable
R-factor gap
  Tangled ensemble models
  Uneven solvent

## Slide 13: 140-fold multiplicity
7.4σ = Na
DELFAN residual anomalous difference
data Courtesy of Tom & Janet
I/Sa = 260
16 xtals

## Slide 14
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
~3x105 photon/pixel Pilatus detector
Dominant source of error for Anomalous

## Slide 15: Prediction:
In-situ detector calibration will
Identify light metals
down to Na
(perhaps F?)
Why? Because ultra-high multiplicity can

## Slide 16: Stills should be better
why do we keep trying to integrate over them?

## Slide 17
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 18
phiz
Simulation fit to XFEL still
phiy
phiz
phix
phix
phiy
VS
real
https://pmc.ncbi.nlm.nih.gov/articles/PMC11801403/
“texture”

## Slide 19: Best “round relp” simulation

## Slide 20
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 21: 3-cluster texture simulation

## Slide 22: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
I/σ | 32 (1.1) | 19 (1.2)
CC1/2 | 99 (69) | 99 (58)
resolution | 1.55 | 1.94
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 23: Prediction:
Incorporating texture
in serial data processing will
reduce image count requirement
from ~10,000 to ~100
Why? Because rotation data lack texture error

## Slide 24: T-REXX beamline - Sample environment chamber
relative humidity: up to 98%
temperature: 8 – 70 °C
still a prototype, but in constant use
[Schulz et al., Nature Commun. 16, 6553 (2025)]

## Slide 25: Si(111) vs multilayers
0.014%
Si(111)
1%
multilayer
4 Å
1.9 Å
resolution
spectral
dispersion
beamstop
beamstop

## Slide 26: Wide-bandpass MX?
Mono | Si(111) | multilayer | Difference (%) | good
Energy (eV) | 11111 | 12027.5 | +8.2 | Same
Scale | 1.0000 | 1.0964 | +9.6 | Yes
Rmerge (%) | 7.5 | 8.4 | +12 | No
Ranom (%) | 5.6 | 5.5 | -1.8 | Same
I/sd | 13.2 | 12.3 | -6.8 | Same
I/sd (1.5Å) | 2.3 | 1.8 | -21.7 | No
Ano Patt | 5.96 | 4.75 | -20.3 | Same
Ano Phased | 41 | 39.33 | -4.1 | Same
FOM | 0.238 | 0.192 | -19.3 | Same
CC | 0.555 | 0.647 | -6.1 | Yes
Rcryst (%) | 26.70 | 26.48 | -0.2 | Same
Ligand peak | 8.213 | 8.250 | +0.4 | Same

## Slide 27: Finding:
Multilayers are good for everything
Except resolution

Why? Because mosaicity

## Slide 28: Non-isomorphism
is annoying
Caused by:
rad dam
humidity
temperature
Growth conditions
Cryo-cooling
Everything
means you:
can’t merge
can’t
add
can’t
subtract

## Slide 29: Cell clustering: 100 datasets
Reality:
Perfect isomorphism
(simulated data)
Holton, J. (2019). Acta Cryst. D 75, 113-122.

## Slide 30
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.
Same structure, different cell

## Slide 31
Same structure, different cell
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 32
Uniform stretch
5% change → 0%

## Slide 33
5% change → 0%
Uniform stretch

## Slide 34: Hygrostatic gradients
loop
jet
high
water activity
low

## Slide 35: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 1.70 Å
RMSD = 0.18 Å LSQ

## Slide 36
Fobs-Fobs difference
3σ 1.8 Å
old way

## Slide 37
Fobs-Fobs difference
3σ 1.8 Å
“unbent”

## Slide 38
Periodic Spatial Distortion Vector Field

## Slide 39: 3aw6

## Slide 40: 3aw6 3aw7

## Slide 41: 3aw6, 3aw7, “bent” 3aw6

## Slide 42: 3aw7, “bent” 3aw6

## Slide 43: 3aw7

## Slide 44: “bent” 3aw7

## Slide 45: 3aw6

## Slide 46: Prediction:
Correcting non-isomorphism
will allow
infinite averaging
allowing arbitrary signal/noise
Why? Because it works for cryoEM

## Slide 47: Radiation Damage
is correctable
if we make it linear

## Slide 48: 0 Gy

## Slide 49: 100 MGy

## Slide 50: What is the dose?
50 MGy ?

## Slide 51: Systematic error: Illumination contrast appears to “reverse” damage
0.35 MGy
Cys6
Cys127
Room temperature high-dose rate series
de la Mora, et al. (2020) PNAS USA 117, 4142-4151

## Slide 52: False Damage reversal: from “hole burning”
X-ray beam
crystal

## Slide 53: False Damage reversal: from “hole burning”
X-ray beam
crystal

## Slide 54: Painting with X-rays
0°
img_000045

## Slide 55: Painting with X-rays
0.2°
img_000100

## Slide 56: Painting with X-rays
30°
img_015000

## Slide 57: Painting with X-rays
90°
img_045000

## Slide 58: Painting with X-rays
360°
img_180000

## Slide 59: Painting with X-rays
1080°
img_540000

## Slide 60: Beam Shape Dichotomy
Flat-top beam
  Uniform dose in illuminated region
  Sharp edges: sensitive to drift
Gaussian beam
  Softer edges
  High dose contrast
“Painting mode”
  Best of both: “dose flattening”

## Slide 61: How many images?
360° / 0.1° * ( 100 µm / 1 µm )2
= 36x106
28,000 photons/image

## Slide 62: Lossless data rate
The 1.2e-5 scattered photons per incident photon can be derived form the cross section of oxygen (0.2 cm^2/g) and the rough density of protein crystals (1.2 g/cm^3), and the fact that about half of all scattered photons hit a flat detector: 0.2*1.2*1e-4/2 = 1.155e-5 That is, flux*thickness*1.2e-5 is the rate of photon arrivals and log2(pixels) is the number of bits required to store the location of one photon in the entropy-limited regime. Lossless compression cannot be better than this because individual photon arrivals are genuinely random.
bits
s
= log2(pixels) * flux * thick * 1.2x10-5
where: bits/s = entropy-limited compressed data rate
pixels = number of pixels in the detector
flux = photons/s onto the sample thick = sample thickness in microns
EG: 1e12 ph/s * 100um thick = 3.4 GBytes/s

## Slide 63: How to lose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over profile area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast, drift, read-out gap

## Slide 64: Dose slicing: is that a spot?

## Slide 65: Dose slicing: is that a spot?

## Slide 66: Dose slicing: is that a spot?

## Slide 67: Dose slicing: is that a spot?

## Slide 68: Dose slicing: is that a spot?

## Slide 69: Dose slicing: is that a spot?

## Slide 70
photons
0
4
time
photons
0
4
photons
0
4
time
photons
0
4
Single Photons Carry Information
About Radiation Damage

## Slide 71: Prediction:
“painting mode” data collection =
damage-free data from synchrotron
zero-dose extrapolation that works
Why? Because everything is linear (to first order)

## Slide 72: The R-factor Gap
1 + 1 = 1.4

## Slide 73: Dominant source of error in MX: Cowtan’s Cat
http://www.ysbl.york.ac.uk/~cowtan/fourier/coeff.html
Amplitudes
Phases
2Fo-Fc
+
=

## Slide 74: map error: simplest possible case
fractional coordinate
electron density (e-/Å3)

## Slide 75: map error: simplest possible case
fractional coordinate
electron density (e-/Å3)

## Slide 76: map error: simplest possible case
fractional coordinate
electron density (e-/Å3)

## Slide 77: map error: simplest possible case
fractional coordinate
electron density (e-/Å3)

## Slide 78: map error: simplest possible case
fractional coordinate
electron density (e-/Å3)

## Slide 79: map error: simplest possible case
fractional coordinate
electron density (e-/Å3)

## Slide 80: map error: simplest possible case
fractional coordinate
electron density (e-/Å3)

## Slide 81: map error: simplest possible case
fractional coordinate
electron density (e-/Å3)

## Slide 82: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 83: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 84: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 85: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 86: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 87: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 88: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 89: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 90: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 91: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 92: map error: 3-atom case
fractional coordinate
electron density (e-/Å3)

## Slide 93: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 94: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 95: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 96: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 97: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 98: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 99: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 100: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 101: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 102: map error: asymmetric case
fractional coordinate
electron density (e-/Å3)

## Slide 103: Magic?
Can CNN (fully-connected layer) “de-noise” phase errors?
density
known
+
recovered
AI?
NOT
noise !

## Slide 104: Map Noise: via Parseval’s Theorem
e- number of electrons in peak
7 number of electrons in typical atom
R Riso or Rfree
ρ electron density peak
σ rms deviation expected

## Slide 105: Dominant source of error in MX: Cowtan’s Cat
http://www.ysbl.york.ac.uk/~cowtan/fourier/coeff.html
Amplitudes
perfect
model
2Fo-Fc
+
=

## Slide 106: Prediction:
Closing the R-factor gap will
Simultaneously reveal correlated motions and low-lying map features
down to <1 e-
Why? Because small molecules can
and the data are good enough

## Slide 107
Rwork = 0.04
Rfree = 0.05
dmin = 3.5 Å
6σ = 1 e-
Simulation:
Realistic noise
“perfect” model
Hydrogen: visible at 3.5 Å resolution!

## Slide 108
Reso | complete | R-factor | I/SIGMA | R-meas | CC(1/2) | AnoCC
10.82 | 82.4% | 2.1% | 80.11 | 2.3% | 100.0* | 62
7.65 | 100.0% | 2.2% | 81.73 | 2.3% | 100.0* | 74*
6.25 | 100.0% | 2.6% | 75.80 | 2.7% | 100.0* | 56*
5.41 | 100.0% | 2.7% | 71.37 | 2.8% | 100.0* | 49*
4.84 | 100.0% | 3.3% | 67.52 | 3.4% | 100.0* | 22
4.42 | 100.0% | 3.7% | 61.05 | 3.8% | 100.0* | 29
4.09 | 100.0% | 5.5% | 39.98 | 5.7% | 99.9* | 31
3.83 | 100.0% | 7.7% | 29.05 | 8.0% | 99.9* | 8
3.61 | 100.0% | 17.2% | 14.49 | 17.9% | 99.3* | 4
3.42 | 100.0% | 30.9% | 8.12 | 32.3% | 98.1* | -2
3.26 | 100.0% | 80.5% | 3.19 | 83.9% | 88.6* | -13
3.12 | 100.0% | 204.5% | 1.33 | 212.9% | 59.2* | -10
3.00 | 100.0% | 607.3% | 0.37 | 633.3% | 1.5 | -14
total | 99.5% | 3.3% | 31.86 | 3.5% | 100.0* | 6

## Slide 109: Adding noise
14%2 + 14%2 +3%2 ≈ 20%2
Rprotein+Rsolv +Rsym ≈ Rcryst

## Slide 110: Adding noise
14%2 + 14%2 +0%2 ≈ 20%2
Rprotein+Rsolv +Rsym ≈ Rcryst

## Slide 111: Adding noise
14%2 + 14%2 = 20%2
Rprotein + Rsolvent ≈ Rcryst

## Slide 112: Adding noise
14%2 + 0%2 = 14%2
Rprotein + Rsolvent ≈ Rcryst
tangling echoes

## Slide 113: The UNTANGLE Challenge
https://github.com/jmholton/UnTangle

## Slide 114
A

## Slide 115
B

## Slide 116
A

## Slide 117
?
?
B

## Slide 119
Ala39
wE=17.2
tangled
A B conformers
Rfree=3.71

## Slide 120
Ala39
wE=18.2
A B conformers
Rfree=3.14
untangled

## Slide 121
A
B
A
B
B
A
Chemical
strain
density misfit
energy
barrier
untangled
tangled

## Slide 122: Travelling Salesman Problem Analogy
Spencer Passmore - Swinburne University, Melbourne, Australia
Minimize
2 possible costs per bond
(AA-BB, AB-BA)
4 possible costs per angle
(AAA-BBB, BAA-ABB, ABA-BAB, AAB-BBA)
we find 20 or so structures with the lowest values for C, then perform restrained refinement
Minimum:
../build1/

## Slide 123: Long-range traps from rectified SA
wE=21.4
Match ground-truth
swapped relative
To ground truth
Rfree=3.48

## Slide 124: best.pdb
wE=18.2
Match ground-truth
Nothing
swapped relative
To ground truth
Rfree=3.14

## Slide 125: Prediction:
Untangling Ensemble Models will
reveal correlated motions
Why? Because nothing else fits better

## Slide 126
Ground
Truth
Diffuse Scatter

## Slide 127
Long
Range
Traps
Diffuse Scatter

## Slide 128
Correct
ensemble
Wrong
ensemble
Diffuse Scatter

## Slide 129
Lots
Wrong
Diffuse Scatter

## Slide 130
Correct
ensemble
Diffuse Scatter
Lots
Wrong

## Slide 131
Correct
ensemble
Val1
Diffuse Scatter

## Slide 132
Ala39
swapped
Diffuse Scatter

## Slide 133
Correct
ensemble
Ala39
swapped
Diffuse Scatter

## Slide 134: Diffuse scatter: at scale

## Slide 135
Diffuse scatter: at scale

## Slide 136: Prediction:
Diffuse Scatter will
reveal correlated motions
Why? Because anything is possible
with enough averaging

## Slide 137: Ensemble model flattens differences
All difference
features
are in
the solvent!
real data

## Slide 138: Things I’ve tried that didn’t work
Molecular dynamics
Simulated annealing
High-copy ensemble refinement
  “liquid helium” solvent
  48-copy protein
SQUEEZE
Sharp-edged masks
“touch up”

## Slide 139: Molecular Dynamics of crystals
65
60
55
50
45
40
35
Rfree (%)
Time (ns)
unrestrained
restrained

## Slide 140: Solvent models vs real data
Method | Rwork | Rfree
Default refmac5: flat bulk solvent | .1784 | .1898
RISM – protein fixed multi-conformer weighted | .1578 | .1739
Molecular dynamics average bulk solvent | .1440 | .1666
MD avg bulk solvent + watershed + 48 copies protein | .1059 | .1295

## Slide 141: many-conformer & explicit solvent
Rwork = 0.0309
Rfree = 0.0678
vs Fsim
Problem: diverges with more cycles

## Slide 142
Phenix macro-cycle
R factor (%)
High-copy ensembe refinement is unstable

## Slide 143: Crowded-atom problem

## Slide 144: Crowded-atom problem

## Slide 145: How to stabilize refinement?
Do just 1 macro cycle
Apply overall scale factor to occupancies
Scale all changes back so that:
  max XYZ shift <= 0.01 Å
  Max occ shift <= 0.01
  Max B shift <= 1
Repeat 1

## Slide 146
Phenix macro-cycle
R factor (%)
Small steps = stable refinement

## Slide 147: Status of macromolecular representation:
Even if we start with the “right answer”
it will blow up.
Need better model

## Slide 148: Ton Spek’s SQUEEZE
https://doi.org/10.1107/S2053229614024929

## Slide 149: Even a “do nothing” FFT can impact map

## Slide 150: Solvent “touch-up”
Δ Electron density (σ)
position along x (Å)

## Slide 151: Solvent “touch-up”
Δ Electron density (σ)
position along x (Å)
Δ Electron density (σ)
probability
position along x (Å)

## Slide 152: Solvent “touch-up”
Δ Electron density (σ)
probability
position along x (Å)

## Slide 153: Solvent “touch-up”
Δ Electron density (σ)
probability
position along x (Å)

## Slide 154: Solvent “touch-up”
Δ Electron density (σ)
probability
position along x (Å)

## Slide 155: Solvent “touch-up”
Δ Electron density (σ)
position along x (Å)

## Slide 156: Solvent “touch-up”
Δ Electron density (σ)
probability
position along x (Å)

## Slide 157: Solvent “touch-up”
Δ Electron density (σ)
position along x (Å)

## Slide 158: Key Challenges to Unlocking the True Power of Macromolecular Crystallography
Signal-to-noise can be awesome
Stills should be better
Non-isomorphism is annoying
Radiation damage is correctable
R-factor gap
  Untangling ensemble models
  Capturing solvent