## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
UC Multicampus Research Programs and Initiatives (MRPI)
R01 GM124149 to Holton
P30 GM124169 to Adams (ALS-ENABLE)
R01 GM117126 to Sauter (DIALS)
one-time NIH-DOE Inter-agency agreement (IAA)
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser
Nick Sauter John Tainer Aina Cohen Mike Soltis Ana Gonzalez
Paul Adams Axel Brunger Art Lyubimov
http://bl831.als.lbl.gov/~jamesh/powerpoint/CCP4_SW_2018.pptx

## Slide 2: What was old is new again
Looking back at first principles
to face the challenges ahead

## Slide 3: Multi-crystal strategies
Kendrew et al. (1960) "Structure of Myoglobin” Nature 185, 422-427.

## Slide 4: Multi-crystal strategies
Kendrew et al. (1960) "Structure of Myoglobin” Nature 185, 422-427.

## Slide 5
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 6
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 7
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 9: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 1.70 Å
RMSD = 0.18 Å

## Slide 10
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.
Same structure, different cell

## Slide 11
Same structure, different cell
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 12
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 13
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 14
Uniform stretch
5% change → 0%

## Slide 15
5% change → 0%
Uniform stretch

## Slide 16
Magdoff & Crick (1955) “Ribonuclease II. Accuracy of measurement and shrinkage”, Acta Cryst. 8, 461-8.
Crick & Magdoff (1956) “The theory of the method of isomorphous replacement for protein crystals”, Acta Cryst. 9, 901-8.

## Slide 17: Elastic deformation = non-isomorphism

## Slide 18: Elastic deformation = non-isomorphism

## Slide 19: Plastic deformation = poor diffraction

## Slide 20: Plastic deformation = poor diffraction

## Slide 21: First diffraction from protein xtal
Bernal, J. & Crowfoot, D. (1934). "X-ray photographs of crystalline pepsin", Nature 133, 794-795.
1934

## Slide 22: Dehydration: 1934
100 μm
2 mm
= 1.5 μL
= 1.0 nL
10 μm
= 1.0 pL
and 2018?
1 μm
= 1.0 fL

## Slide 23: opened drop: you have ~30 seconds!
equilibrated drop

## Slide 24: Cell clustering: 100 datasets
Reality:
Perfect isomorphism
(simulated data)

## Slide 25: Micro-focus challenge
http://bl831.als.lbl.gov/~jamesh/challenge/microfocus/
5 µm xtals
5 µm beam
~ 5 img / xtal
P212121
XDS thinks:
P422

## Slide 26: Trick Question: What is the space group?
a = 63 b = 63 c = 63
α = 90 β = 90 γ = 90

## Slide 27: Pitfalls: sub-space groups
P622
What else?
P6122 P6522 P6222 P6422 P6322
P6 P61 P65 P62 P64 P63
P312 P321 P3112 P3121 P3212 P3221
P3 P31 P32
P2 P21 C2 C222 C2221
P1

## Slide 28: Multi-crystal merge preparation
Take each pair of datasets
“othercell” to find all possible re-indexings
Apply all re-indexing operators in turn
Evaluate best agreement (R, CC)
Cluster by acceptable distance (20-30%)
Re-index clusters to common lattice
Apply xscale_isocluster, CODGAS, others?

## Slide 29: 3aw6

## Slide 30: 3aw6 3aw7

## Slide 31: 3aw6, 3aw7, “bent” 3aw6

## Slide 32: 3aw7, “bent” 3aw6

## Slide 33: “map bender” procedure
Convert to fractional coordinates
Basis functions: spatial sin waves

## Slide 34: Basis function 1 0 0

## Slide 35: “map bender” procedure
Convert to fractional coordinates
Basis functions: spatial sin waves
  Repeats with unit cell
  Low-order h,k,l indices first
Fit function to Δx vs x,y,z across P1 cell
Repeat with Δy, Δz
Apply to PDB file and interpolate map grid
Usually 3-5 orders comparable to LSQ

## Slide 37: Bragg’s “minimum wavelength principle”
Perutz (1985). “Early Days of Cryst…” Methods in Enzymology, Vol. 114, 3-18.
Bragg & Perutz (1952)."external form haemoglobin I", Acta Cryst. 5, 277-283.

## Slide 38: Structure Factor Equation
Fhkl = fatom exp(-2π i (hx + ky + lz))
Σ
= fatom (-2π i hx) exp(-2π i (hx + ky + lz))
Σ
dFhkl
dh
?

## Slide 39: Photon-counting detectors
Cork, et al. (1974). J. Appl. Cryst. 7 319-23.
Hamlin, et. al. (1981). J. Appl. Cryst. 14 85-93.

## Slide 40: Pilatus pile-up for RT MX: same photons, different speeds
Collaboroators:
Aina Cohen
Ana Gonzalez

## Slide 41: Pilatus pile-up for RT MX: same photons, different speeds
Collaboroators:
Aina Cohen
Ana Gonzalez

## Slide 42: Multi-crystal strategies
Kendrew et al. (1960) "Structure of Myoglobin” Nature 185, 422-427.

## Slide 43
Rad dam take-home lesson:
The number of photons scattered
before crystal is dead
is independent
of flux & time
1 um3 = 105 photons (roomT)
1 um3 = 106 photons (synch)
1 um3 = 108 photons (XFEL)
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009
(synch)

## Slide 44: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
unacceptable
completeness
unacceptable
read noise

## Slide 45: Dose slicing: is that a spot?

## Slide 46: Dose slicing: is that a spot?

## Slide 47: Dose slicing: is that a spot?

## Slide 48: Dose slicing: is that a spot?

## Slide 49: Dose slicing: is that a spot?

## Slide 50: Dose slicing: is that a spot?

## Slide 51: What if?
You only have a few small crystals…
Should you:
  Collect 360° from each?
  Collect 10° from each at 36x exposure?
  Glue 36 xtals together, then collect 360° ?
  Glue, and do 12960° faint exposures?

## Slide 52
Chart: 
Resolution (Å)
CC vs right answer
“true” resolution limit

## Slide 53
Dose slice collection scenario |  |  | 
fine | coarse | glue | Glue & fine
3.17700 | 3.14057 | 3.17604 | 3.12086
“true” resolution vs strategy
301,640,334 photons/xtal

## Slide 54
Bragg, James & Bosanquet (1921). Philos. Mag. Ser. 6, 41, 309–337.

## Slide 55: The “partiality problem”
0.006°
1 μm xtal
1 Å x-rays

## Slide 56: The “Lorentz zone”

## Slide 57
The true nature of “mosaic spread”
Lovelace JJ, Murphy CR, Pahl R, Brister K & Borgstahl GEO (2006)."Tracking reflections through cryogenic cooling with topography", J. Appl. Cryst. 39, 425-432.

## Slide 58: SASE spectrum of XFEL
Inubushi et al. Applied Sciences 2017, 7(6), 584

## Slide 59: Convolution: the great leveler
 =
(f  g)(x) = f(u)g(x-u)du
∫
∞
-∞
 =

## Slide 60
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 61: XFEL: “fit” simulation to reality
Dispersion
Divergence
Mosaicity
Wavelength
Unit cell parameters (3)
Crystal orientation (3)
Mosaic domain size (3)
Beam center (2)
Beam direction (2)
Detector distance

## Slide 62: Simulation of XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 63
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 64
phiz
Simulation of XFEL still
phiy
phiz
phix
phix
phiy
VS
real

## Slide 65
Angle about y axis (°)
Fraction pixels predicted
Fitting individual “mosaic domains”
Best of
262,140 trials

## Slide 66: 3-domain Simulation of XFEL still

## Slide 67
Real XFEL still

## Slide 68: 1-domain Simulation of XFEL still

## Slide 69: Now available in CCTBX !
At-scale simulation of diffraction data
https://github.com/cctbx
Documentation and examples:
http://bl831.als.lbl.gov/~jamesh/simtbx

## Slide 70: B factor from image inspection
B = 500

## Slide 71: B factor from image inspection
B = 20

## Slide 72
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 73: Realistic single-particle prediction
1012 photon/pulse
100 nm focus

## Slide 74: Realistic single-particle prediction
1012 photon/pulse
3 nm focus

## Slide 75: lysozyme: real and reciprocal

## Slide 76: lysozyme: thermal motion

## Slide 77
disorder
+ averaging
= poor resolution
Diffraction Take-Home Lesson:

## Slide 78: The B factor
Bragg, W. H. (1914)."XCVII. The intensity of reflexion of X rays by crystals", Philosophical Magazine Series 6 27, 881-899. Published May 1 1914

## Slide 79: URLs & Summary
Multi-crystal: consider re-indexing
Non-isomorphism: careful humidity
Cell does not always tell
3D mosaic structure from single still
How low can you dose?
How to make molecules sit still?
http://bl831.als.lbl.gov/~jamesh/powerpoint/
CCP4_SW_2018.pptx
http://bl831.als.lbl.gov/~jamesh/bin_stuff/

## Slide 80: Expected Rmerge as Iobs → 0

## Slide 81
Average value
Averaging Gaussian error
Number of samples averaged

## Slide 82
Average value
Averaging Gauss/Gauss error
Number of samples averaged

## Slide 83
Average outer-shell Rmerge
Rmerge at the resolution limit in PDB
Year

## Slide 84: what is “partiality”?
F(h,k,l)
Ewald sphere
λ1*
λ2*
F(0,0,0)
F(h,k,l)

## Slide 85: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
~ 50 mm He
≈ 370 mm sat water vapor @ 4C
Optimum: support thickness = crystal thickness