## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R01 GM124149 (Holton)
NIH NIAID P50 AI150476 (Krogan)
NIH NIGMS P30 GM124169 (Adams)
DOE-BER IDAT (Hura)
NIH NIGMS P30 GM133894 (Hodgson)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
James Fraser Nevan Krogan
Paul Adams John Tainer Greg Hura Nick Sauter
Pavel Afonine Tom Terwilliger Nigel Moriarty, Dorothee Liebschner
Aina Cohen
https://bl831.als.lbl.gov/~jamesh/powerpoint/CCP4_tangle_2025.pptx

## Slide 2: Why is a beamline guy doing refinement things?
Because: the future of crystallography has alternate conformations
Single-conf models
poor resolution
Low signal/noise
Phase Problem
Dynamics?
Mechanism?
Small signal?
Overlapping states?
https://bl831.als.lbl.gov/~jamesh/powerpoint/CCP4_tangle_2025.pptx

## Slide 3: Map Noise: via Parseval’s Theorem
e- number of electrons in peak
7 number of electrons in typical atom
R Riso or Rfree
ρ electron density peak
σ rms deviation expected

## Slide 4
Rwork = 0.04
Rfree = 0.05
6σ = 1 e-
Simulation:
Realistic noise
“perfect” model
Hydrogen: visible at 3.5 Å resolution!
cut at 5 Å :
Rfree = 0.01

## Slide 5: Model building: real vs sim data
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.
multi
multi
multi
multi
single
single
single
single

## Slide 6: Model building: real vs sim data
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.
multi
single conf
Multi conf ground truth
Single conf ground

## Slide 7
Rwork: 0.0823
Rfree: 0.1106
bond: 0.014 Å
angle: 1.92°
6σ
MoPro: 1.15
Clash: 0.49
Cβdev: 20
Rota: 1.7%
Rama: 0.03%
reso: 1.0 Å
Real Data
1.2 σ
48-copy ensemble
3 params
per observation

## Slide 8
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 1 | 1.1000000000000001 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2000000000000002 | 2.2999999999999998 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 4.0999999999999996 | 4.2 | 4.3 | 4.4000000000000004 | 4.5 | 4.5999999999999996 | 4.7 | 4.8 | 4.9000000000000004 | 5 | 5.0999999999999996 | 5.2 | 5.3 | 5.4 | 5.5 | 5.6 | 5.7 | 5.8 | 5.9 | 6 | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | 6.6 | 6.7 | 6.8 | 6.9 | 7 | 7.1 | 7.2 | 7.3 | 7.4 | 7.5 | 7.6 | 7.7 | 7.8 | 7.9 | 8 | 8.1 | 8.1999999999999993 | 8.3000000000000007 | 8.4 | 8.5 | 8.6 | 8.6999999999999993 | 8.8000000000000007 | 8.9 | 9 | 9.1 | 9.1999999999999993 | 9.3000000000000007 | 9.4 | 9.5 | 9.6 | 9.6999999999999993 | 9.8000000000000007 | 9.9
data | 0.0045981 | 0.29107 | 0.84581 | 0.15221 | 0.58554 | 0.19348 | 0.81062 | 0.17353 | 0.48498 | 0.15186
Over-Fitting data
Map density
position

## Slide 9
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 1 | 1.1000000000000001 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2000000000000002 | 2.2999999999999998 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 4.0999999999999996 | 4.2 | 4.3 | 4.4000000000000004 | 4.5 | 4.5999999999999996 | 4.7 | 4.8 | 4.9000000000000004 | 5 | 5.0999999999999996 | 5.2 | 5.3 | 5.4 | 5.5 | 5.6 | 5.7 | 5.8 | 5.9 | 6 | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | 6.6 | 6.7 | 6.8 | 6.9 | 7 | 7.1 | 7.2 | 7.3 | 7.4 | 7.5 | 7.6 | 7.7 | 7.8 | 7.9 | 8 | 8.1 | 8.1999999999999993 | 8.3000000000000007 | 8.4 | 8.5 | 8.6 | 8.6999999999999993 | 8.8000000000000007 | 8.9 | 9 | 9.1 | 9.1999999999999993 | 9.3000000000000007 | 9.4 | 9.5 | 9.6 | 9.6999999999999993 | 9.8000000000000007 | 9.9
data | 0.0045981 | 0.29107 | 0.84581 | 0.15221 | 0.58554 | 0.19348 | 0.81062 | 0.17353 | 0.48498 | 0.15186
1 param | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269
Over-Fitting data
Map density
position

## Slide 10
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 1 | 1.1000000000000001 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2000000000000002 | 2.2999999999999998 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 4.0999999999999996 | 4.2 | 4.3 | 4.4000000000000004 | 4.5 | 4.5999999999999996 | 4.7 | 4.8 | 4.9000000000000004 | 5 | 5.0999999999999996 | 5.2 | 5.3 | 5.4 | 5.5 | 5.6 | 5.7 | 5.8 | 5.9 | 6 | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | 6.6 | 6.7 | 6.8 | 6.9 | 7 | 7.1 | 7.2 | 7.3 | 7.4 | 7.5 | 7.6 | 7.7 | 7.8 | 7.9 | 8 | 8.1 | 8.1999999999999993 | 8.3000000000000007 | 8.4 | 8.5 | 8.6 | 8.6999999999999993 | 8.8000000000000007 | 8.9 | 9 | 9.1 | 9.1999999999999993 | 9.3000000000000007 | 9.4 | 9.5 | 9.6 | 9.6999999999999993 | 9.8000000000000007 | 9.9
data | 0.0045981 | 0.29107 | 0.84581 | 0.15221 | 0.58554 | 0.19348 | 0.81062 | 0.17353 | 0.48498 | 0.15186
1 param | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269
3 params | 0.28281 | 0.37054 | 0.43452 | 0.47477 | 0.49127 | 0.48404 | 0.45306 | 0.39834 | 0.31988 | 0.21767
Over-Fitting data
Map density
position

## Slide 11
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 1 | 1.1000000000000001 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2000000000000002 | 2.2999999999999998 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 4.0999999999999996 | 4.2 | 4.3 | 4.4000000000000004 | 4.5 | 4.5999999999999996 | 4.7 | 4.8 | 4.9000000000000004 | 5 | 5.0999999999999996 | 5.2 | 5.3 | 5.4 | 5.5 | 5.6 | 5.7 | 5.8 | 5.9 | 6 | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | 6.6 | 6.7 | 6.8 | 6.9 | 7 | 7.1 | 7.2 | 7.3 | 7.4 | 7.5 | 7.6 | 7.7 | 7.8 | 7.9 | 8 | 8.1 | 8.1999999999999993 | 8.3000000000000007 | 8.4 | 8.5 | 8.6 | 8.6999999999999993 | 8.8000000000000007 | 8.9 | 9 | 9.1 | 9.1999999999999993 | 9.3000000000000007 | 9.4 | 9.5 | 9.6 | 9.6999999999999993 | 9.8000000000000007 | 9.9
data | 0.0045981 | 0.29107 | 0.84581 | 0.15221 | 0.58554 | 0.19348 | 0.81062 | 0.17353 | 0.48498 | 0.15186
1 param | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269 | 0.39269
3 params | 0.28281 | 0.37054 | 0.43452 | 0.47477 | 0.49127 | 0.48404 | 0.45306 | 0.39834 | 0.31988 | 0.21767
Over-Fitting data
Map density
position
Rwork ≈ 0
Nparams= Nobs

## Slide 12
Under-Fitting data
Map density
position
Rwork > 0
Nparams> Nobs

## Slide 13
Rwork: 0.0823
Rfree: 0.1106
bond: 0.014 Å
angle: 1.92°
6σ
MoPro: 1.15
Clash: 0.49
Cβdev: 20
Rota: 1.7%
Rama: 0.03%
reso: 1.0 Å
under-fitting:
Rwork > 0

## Slide 14
What is holding it back?
30°
peptide
bond twist
1 member of 48-copy
ensemble
3 parameters
per observation!

## Slide 15: Why does ensemble refinement suck? (3 parameters/observation and Rwork still high!)
The chains are “tangled”

## Slide 16
Local Minimum
Ground Truth
What do you mean, “tangled”?

## Slide 17
A
B
A
B
B
A
It takes two to tangle
Chemical
strain
density
fit
energy
tangled
barrier
untangled

## Slide 18: Refine from right answer
R = 0.8%
rms bond = 0.0002

## Slide 19: swap assignments
R = 0.8%
rms bond = 0.04

## Slide 20: Refine – low x-ray weight
R = 14.3%
rms bond = 0.0002

## Slide 21: Refine – step 61
R = 6.8%
rms bond = 0.001

## Slide 22: Refine – high x-ray weight
R = 1.2%
rms bond = 0.06

## Slide 23: Refine – low x-ray weight
R = 14.3%
rms bond = 0.0002

## Slide 24: Refine from wrong starting point
R = 7.07%
rms bond = 0.001

## Slide 25: Right answer
R = 0.8%
rms bond = 0.0002

## Slide 26: UNTANGLE: sim-data Ground Truth
As simple as possible:
  2 conformers
  50:50 occupancy
Accessible
  64 residues
  78 waters
Every chance of success
  1.0 Å reso
  “one thing wrong”
  flat bulk solvent
  no false outliers
  phenix, refmac, shelxl
  clear score
  Experimental error only
  perfect phases

## Slide 27: The UNTANGLE Challenge
11) Build better than the best:
as-good or better wE, Rfree as best.pdb
non-equivalent ensemble
10) Recover best.pdb from refme.mtz
true phases, auto-building allowed
no cheating (don’t use best.pdb as guide)
Prove: true ensemble is unique and can be recovered
best.pdb
refme.mtz
$1000
$500
https://github.com/jmholton/UnTangle

## Slide 28: verified Score sheet
wE | Rwork | Rfree | method
185 | 20.6 | 21.4 | Alphafold2
109.6 | 8.87 | 9.44 | Phenix.ensemble_refine
97.3 | 8.84 | 9.27 | qFit best
91.7 | 3.64 | 4.27 | manual
80.5 | 4.31 | 4.75 | lotswrong
65.2 | 6.35 | 6.93 | Amber24
54.6 | 5.87 | 6.57 | single conf w aniso B
33.5 | 2.94 | 3.32 | One thing wrong: Ala39
23.5 | 2.95 | 3.31 | One thing wrong: Val1
21.4 | 3.12 | 3.48 | Rectified Simulated annealing
18.1 | 17.9 | 18.4 | Phenix autobuild
18.2 | 2.79 | 3.14 | best (ground truth)

## Slide 29
Ala39
wE=18.2
-0.3σ
-0.2σ
0.8σ
angle
N-Cα
bond
A B conformers
Sim challenge data

## Slide 30
Ala39
wE=63.5
-9σ
+11σ
5σ
angle
N-Cα
bond
A B conformers
Sim challenge data: “otw39”
It’s a TRAP!

## Slide 31
Ala39
wE=63.5
-9σ
+11σ
5σ
angle
N-Cα
bond
A B conformers
Sim challenge data: “otw39”

## Slide 32
Arg62
wE=63.5
A B conformers
4σ
Cγ-Cδ
bond
2.8 Å
2.7σ torsion
sim data

## Slide 33
Arg62
wE=50.7
A B conformers
2.8 Å
2σ
angle
sim data

## Slide 34
Arg62
wE=18.2
A B conformers
3.0 Å
1σ
angle
0.3σ
Cγ-Cδ
bond
1.6σ torsion
sim data

## Slide 35
Tyr14
wE=33.1
A B conformers
3.0 Å
sim data

## Slide 36
Tyr14
A B conformers
3.2 Å
wE=18.2
sim data

## Slide 37
Cys16
A B conformers
wE=21.4
2.7σ
angle
sim data

## Slide 38
Cys16
A B conformers
wE=18.2
1.5σ
angle
sim data

## Slide 39: wE score: key concepts
Energy ↔ dev/sigma ↔ Probability
Probability outlier is not noise
  “clip” outlier energy at “10”
  Not so sharp transition to outlier
Tighter Non-bond (Lennard-Jones)
sqrt()
erf()

## Slide 40: Statistical Potential
E “energy”
v model value
v0 ideal value
σ rms deviation expected
Outlier problem:
1 x 6σ ≈ 36x 1σ
solution: weight by
“probability its not noise”
1 x 6σ ← 40x 1σ

## Slide 41
real data
-80°
Torsion outlier
Glu32
Genuine outlier
in ground truth

## Slide 42
A B conformers
real data
-107°
torsion outlier
Cys12
Genuine outlier
in ground truth

## Slide 43: New Tools!
phenix.holton_geometry_validation test.pdb
phenix.create_alt_conf phenix_autobuild.pdb refme.mtz \
nproc=48
phenix.refine \
model.pdb refme.mtz \
main.number_of_mac=10 \
fit_altlocs_method=masking \
ordered_solvent=true \
include_altlocs=true \
ordered_solvent.mode=every_macro_cycle_after_first \
refine_oat=true
Tom
Terwilliger
Pavel Afonine

## Slide 44
Ala39
wE=17.2
Better than the best?
A B conformers

## Slide 45
Ala39
wE=18.2
A B conformers
best?

## Slide 46: Summary
Rfree < 3% → single e-
  Not over-fitting
Main barrier: tangled ensemble
Sensible scoring function
  Probability its not noise
  some outliers are real
Recover underlying ensemble
  Might be required!
Cooperative motions
$1000
$500
https://bl831.als.lbl.gov/~jamesh/powerpoint/CCP4_tangle_2025.pptx

## Slide 47: verified Score sheet
wE | Rwork | Rfree | method
185 | 20.6 | 21.4 | Alphafold2
109.6 | 8.87 | 9.44 | Phenix.ensemble_refine
97.3 | 8.84 | 9.27 | qFit best
91.7 | 3.64 | 4.27 | manual
80.5 | 4.31 | 4.75 | lotswrong
65.2 | 6.35 | 6.93 | Amber24
54.6 | 5.87 | 6.57 | single conf w aniso B
33.5 | 2.94 | 3.32 | One thing wrong: Ala39
23.5 | 2.95 | 3.31 | One thing wrong: Val1
21.4 | 3.12 | 3.48 | Rectified Simulated annealing
18.1 | 17.9 | 18.4 | Phenix autobuild
18.2 | 2.79 | 3.14 | best (ground truth)

## Slide 48: wE score: key concepts
Probability outlier is not noise
  “clip” outlier energy at “10”
  Not so sharp transition to outlier
Tighter Non-bond (Lennard-Jones)

## Slide 49: Sensible scoring function
  Statistical potential
    bonds, angles, planes, torsions, chiral
  Lennard-Jones vdW
    non-bond and clashes
  Probability -> σ dev
    - Rota, rama
  Peptide bond
    σ → 5°
  Cβdev
    σ = 0.05 Å
4
2
0
3
4
5
van der Waals
Phenix/refmac
Atomic separation (Å)
Energy
-1
2
1

## Slide 50: Probability that it’s not noise
Pnn probability
v-v0 deviation from ideal
σ rms deviation expected
erf() integral of a Gaussian
Nthings number of trials
erf() = 68%
erf() = 95%
= 2%
= 63%
= 53%

## Slide 51: Probability that it’s not noise average/sum of Nthings
χ2 test
Probability
That its
Gaussian
tie breaker
Nthings

## Slide 52: “clip” for tolerating true outliers
clip(E)
10
5
0
3
6
8
N=10
N=10,000
max sigma deviate
wE
Colloquially:
OK! OK! Its an outlier! Let’s not agonize about it
Statistical Energy
10σ vs 10.1σ not more important
than 3.3σ vs 3.0σ

## Slide 53: Probability that it’s not noise softer
Pnn probability
v-v0 deviation from ideal
σ rms deviation expected
inverf() inverse erf()
Nthings number of trials
1
0.5
0
3
6
N=1
N=1 soft
max sigma deviate
P
4
5
2
1
N=10,000
N=10,000
soft

## Slide 54: weighted Energy scoring function
clip(E)
10
5
0
3
6
8
N=10
N=10,000
max sigma deviate
wE
max() = worst outlier
validation types
Nbonds
wE
phenix.holton_geometry_validation

## Slide 55
real data
-80°
Torsion outlier
Glu32
Genuine outlier
in ground truth

## Slide 56
A B conformers
real data
-107°
torsion outlier
Cys12
Genuine outlier
in ground truth

## Slide 57
Ser40
wE=18.8
A B conformers
Better than the best

## Slide 58
Ser40
wE=18.2
A B conformers
Better than the best

## Slide 59: UNTANGLE scoring function
score UNTANGLE Challenge score
wE weighted energy avg + worst
σR experimental error (2%)
https://github.com/jmholton/UnTangle

## Slide 60
wE=18.2

## Slide 61
wE=21.4

## Slide 62: Muybridge’s galloping horse (1872)

## Slide 63: average structure: galloping horse

## Slide 64: Horses have bones
+/- 0.01

## Slide 65: Horses have bones

## Slide 66: Muybridge’s galloping horse 0

## Slide 67: Muybridge’s galloping horse 1

## Slide 68: Muybridge’s galloping horse 2

## Slide 69: Muybridge’s galloping horse 3

## Slide 70: Muybridge’s galloping horse 4

## Slide 71: Muybridge’s galloping horse 5

## Slide 72: Muybridge’s galloping horse 6

## Slide 73: Muybridge’s galloping horse 7

## Slide 74: Muybridge’s galloping horse 8

## Slide 75: Muybridge’s galloping horse 9

## Slide 76: Muybridge’s galloping horse 10

## Slide 77: Muybridge’s galloping horse 11

## Slide 78: Muybridge’s galloping horse 12

## Slide 79: Muybridge’s galloping horse 13

## Slide 80: Muybridge’s galloping horse 14

## Slide 81: ensemble refine ???

## Slide 82: Differences
horse
~2 m
Stiff backbone
Bone sigma ~ 1 mm
4 joints/leg
Continuous angle
No torision
Concerted motion
molecule
~100 Å
Stiff backbone
Bond sigma = 0.01 Å
0-4 chi angles
Angle sigma ~ 1°
Rotamers
Concerted motion