## Slide 1: Background scattering
Resolution (Ǻ)
Electron equivalents
The form-factor of the cryostream
20 10 5 4 3 2.5 2 1.8 1.6 1.4 1.2 1
0 2 4 6 8 10 12 14 16
measured
theoretical

## Slide 2: Background scattering
Ibg - scattered photons/steradian
Ibeam - incident (photons/s/m2 )
t - exposure time (s)
re - classical electron radius (2.818x10-15 m)
NA - Avogadro number (6.02x1023)
ρ - density of material (g/m3)
Mr - molecular weight (g/mol)
V - volume of material (in m3)
P - polarization factor
(1+cos2(2θ) -Pfac∙cos(2Φ)sin2(2θ))/2
A - absorption factor
exp(-μxtal∙lpath)
f(s) - molecular structure amplitude (electrons)
s - scattering length (sin(θ)/λ)
P A | f(s) |2
Ibg = Ibeam t re2
NA ρV
Mr
R. W. James (1947)

## Slide 3: Background scattering
Resolution (Ǻ)
Photons/s/pixel
Se edge with detector at 100 mm
 7.5 3.8 2.5 1.9 1.5 1.2 1.1
xtal size x 1000 = air gap

## Slide 4: Background scattering
Ibg - scattered photons/steradian
Ibeam - incident (photons/s/m2 )
t - exposure time (s)
re - classical electron radius (2.818x10-15 m)
NA - Avogadro number (6.02x1023)
ρ - density of material (g/m3)
Mr - molecular weight (g/mol)
V - volume of material (in m3)
P - polarization factor
(1+cos2(2θ) -Pfac∙cos(2Φ)sin2(2θ))/2
A - absorption factor
exp(-μxtal∙lpath)
f(s) - molecular structure amplitude (electrons)
s - scattering length (sin(θ)/λ)
P A | f(s) |2
Ibg = Ibeam t re2
NA ρV
Mr
R. W. James (1947)

## Slide 5: Solid angle of a pixel

## Slide 6: Solid angle of a pixel
xtal-to-det
r

## Slide 7: Solid angle of a pixel
xtal-to-det
r
Ω

## Slide 8: Diffuse scattering
Ids - scattered photons/steradian
Ibeam - incident (photons/s/m2 )
t - exposure time (s)
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
VASU - asymmetric unit (in m3)
P - polarization factor
A - absorption factor
a - particular atom in the ASU
fa(s) - atomic structure amplitude (electrons)
s - scattering length (sin(θ)/λ)
Ba - atomic B factor
|fa(s)|2 (1-exp(-2Ba∙s2))
Ids = Ibeam t re2
Vxtal
VASU
P A
Σ
a
R. W. James (1947)

## Slide 9: Diffuse scattering
Ids - scattered photons/steradian
Ibeam - incident (photons/s/m2 )
t - exposure time (s)
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
VASU - asymmetric unit (in m3)
P - polarization factor
A - absorption factor
a - particular atom in the ASU
fa(s) - atomic structure amplitude (electrons)
s - scattering length (sin(θ)/λ)
Ba - atomic B factor
|fa(s)|2 (1-exp(-2Ba∙s2))
Ids = Ibeam t re2
Vxtal
VASU
P A
Σ
a
R. W. James (1947)

## Slide 10: Compton scattering
Icompton - scattered photons/steradian
Ibeam - incident (photons/s/m2 )
t - exposure time (s)
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
VASU - asymmetric unit (in m3)
P - polarization factor
A - absorption factor
a - particular atom in the ASU
θ - Bragg angle
κ - photon energy (keV) / 511 keV
Za - atomic number
fa(s) - atomic structure amplitude (electrons)
s - scattering length (sin(θ)/λ)
Za- |fa(s)|
Icompton = Ibeam t re2
Σ
a
Vxtal P A
VASU 1+κ (1-cos(θ))2
R. W. James (1947)

## Slide 11: Compton scattering
Icompton - scattered photons/steradian
Ibeam - incident (photons/s/m2 )
t - exposure time (s)
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
VASU - asymmetric unit (in m3)
P - polarization factor
A - absorption factor
a - particular atom in the ASU
θ - Bragg angle
κ - photon energy (keV) / 511 keV
Za - atomic number
fa(s) - atomic structure amplitude (electrons)
s - scattering length (sin(θ)/λ)
Za- |fa(s)|
Icompton = Ibeam t re2
Σ
a
Vxtal P A
VASU 1+κ (1-cos(θ))2
R. W. James (1947)

## Slide 12
sample
detector
x-ray beam
scattering

## Slide 13
sample
detector
x-ray beam
scattering

## Slide 14
sample
detector
x-ray beam
scattering

## Slide 15
sample
detector
x-ray beam
scattering

## Slide 16
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 17
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 18
sample
x-ray beam
anomalous scattering
detector

## Slide 19
sample
detector
x-ray beam
anomalous scattering

## Slide 20
sample
x-ray beam
anomalous scattering
detector

## Slide 21
sample
detector
x-ray beam
anomalous scattering

## Slide 22
sample
detector
x-ray beam
anomalous scattering

## Slide 23
detector
sample
detector
x-ray beam
scattering

## Slide 26
scattering from a structure
sample
detector

## Slide 27
forward Fourier Transform
inverse Fourier Transform
no phase

## Slide 28
scattering from a structure
colored by phase
sample
detector
inverse Fourier Transform

## Slide 29
scattering from a lattice
colored by phase
sample
detector

## Slide 30
scattering from a lattice
colored by phase
sample
detector

## Slide 31
scattering from a lattice
colored by phase
sample
detector

## Slide 32
scattering from a crystal structure
colored by phase
sample
detector

## Slide 33: crystal expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 34: crystal expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 35: crystal expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 36: crystal expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 37: Distention of cryo with dose
before

## Slide 38: Distention of cryo with dose
after

## Slide 39: Distention of cryo with dose
Leapman, R. D. & Sun, S. (1995). Ultramicroscopy, 59, 71–79.
High pressure hydrogen bubbles

## Slide 40: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 41: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 42: strong reflection

## Slide 43: weak reflection

## Slide 44
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 45
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 46
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 47
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 48
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 49
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 50
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 51
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 52: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 53: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 54: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 55: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 56: Anisotropic diffraction

## Slide 57: “Anisotropic” diffraction

## Slide 58: Completeness: missing wedge
http://bl831.als.lbl.gov/~jamesh/movies/osc.mpeg

## Slide 59: Completeness: random deletion
http://bl831.als.lbl.gov/~jamesh/movies/completeness.mpeg

## Slide 60: Resolution
http://bl831.als.lbl.gov/~jamesh/movies/resolution.mpeg

## Slide 61: Resolution: low-angle cutoff
http://bl831.als.lbl.gov/~jamesh/movies/lo_cut.mpeg

## Slide 62: R-factor
http://bl831.als.lbl.gov/~jamesh/movies/rfactor.mpeg

## Slide 63: Figure of Merit
http://bl831.als.lbl.gov/~jamesh/movies/dephase.mpeg

## Slide 64: Overloads
http://bl831.als.lbl.gov/~jamesh/movies/overloads.mpeg

## Slide 65: Spot Shape
Ewald sphere
(h,k,l)

## Slide 66: Spot Shape
Ewald sphere
(h,k,l)
d*

## Slide 67: Spot Shape
Ewald sphere
spindle axis
(h,k,l)
d*

## Slide 68: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 69: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 70: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)

## Slide 71: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 72: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
θ
λ = 2 d sin(θ)

## Slide 73: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 74: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 75: mosaic spread = 0 º

## Slide 76: mosaic spread = 0.1º

## Slide 77: mosaic spread = 0.2º

## Slide 78: mosaic spread = 0.4º

## Slide 79: mosaic spread = 0.6º

## Slide 80: mosaic spread = 0.8º

## Slide 81: mosaic spread = 1.0º

## Slide 82: mosaic spread = 1.5º

## Slide 83: mosaic spread = 2.0º

## Slide 84: mosaic spread = 2.5º

## Slide 85: mosaic spread = 3.2º

## Slide 86: mosaic spread = 6.4º

## Slide 87: mosaic spread = 12.8º

## Slide 88: Trick Question: What is the space group?
a = 63 b = 63 c = 63
α = 90 β = 90 γ = 90

## Slide 89: What you know when:
Autoindexing: Lattice (14)
Scaling: Point Group (43)
Refinement: Space Group (84)

## Slide 90: Incompatible chemistries for crystallization
Mg + PO4
Ca + SO4
Tris + gold
Tris + temperature
Lipid + oil
Salt + peg
Salt + detergent
Zn + PO4
Ca + PO4
Ca + hi pH
Ag + Cl
Osmotic shock
Tris + gluteraldehyde

## Slide 91: Good, bad and ugly crystals?
https://hamptonresearch.com/gallery.aspx