## Slide 1: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
unacceptable
damage
unacceptable
read noise

## Slide 2: Dose slicing: is that a spot?

## Slide 3: Dose slicing: is that a spot?

## Slide 4: Dose slicing: is that a spot?

## Slide 5: Dose slicing: is that a spot?

## Slide 6: Dose slicing: is that a spot?

## Slide 7: Dose slicing: is that a spot?

## Slide 8: What if…
You only have a few small crystals?
Should you:
  Collect 360° from each?
  Collect 10° from each at 36x exposure?
  Glue 36 xtals together, then collect 360° ?
  Glue together and do 12960° ?
  http://bl1231.als.lbl.gov/~jamesh/dose_slice/results.html
5 μm & 1 MGy = 301,640,334 photons

## Slide 9
Resolution (Å)
CC vs right answer
“true” resolution limit

## Slide 10
processing procedure | Dose slice collection scenario |  |  | 
 | fine | coarse | glue | gluefine
XDS/XSCALE | 3.03874 | 3.02970 | 3.0270 | 3.02948
XDS/aimless | 3.13351 | 3.03531 | 3.02638 | 3.05292
XDS/noscale | 3.01449 | 3.03048 | 3.02576 | 3.31013
“true” resolution vs strategy
301,640,334 photons

## Slide 11
processing procedure | collection scenario |  |  | 
 | fine | coarse | glue | glue_fine
XDS/XSCALE | 3.03874 | 3.02970 | 3.0270 | 3.02948
XDS/aimless | 3.13351 | 3.03531 | 3.02638 | 3.05292
XDS/noscale | 3.01449 | 3.03048 | 3.02576 | 3.31013
MOSFLM-defaults | x | x | x | x
MOSFLM-cheat | 3.51254 | 3.04355 | 3.08244 | x
MOSFLM/noscale | 3.51311 | 3.04287 | 3.21664 | x
HKL2000-defaults | x | x | x | x
HKL2000-cheat | 3.04147 | 3.01415 | 3.01415 | 3.03948
DIALS-defaults | x | x | 3.32378 | x
DIALS-cheat | 2.92007 | x | 2.98204 | 2.92007
DIALS-noscale | 2.96392 | x | 3.26126 | 5.14852
d*Trek | ? | ? | ? | ?
EVAL15 | ? | ? | ? | ?

## Slide 12: How to run DIALS:
source /home/jamesh/dials-dev20161016/dials_env.csh
xia2 –dials -beam 151.16,144.09
/home/data/data2016/SERCAT-Sat/MM/BT/
dials.reciprocal_space_viewer

## Slide 13: How to run XDS:
cd
mkdir –p processing/SERCAT-Sun/MM/LYSAU1
cd processing/SERCAT-Sun/MM/LYSAU1
ln –sf /home/data/data2016/SERCAT-Sat/MM/LYSAU1/ ./data
xdsgui

## Slide 14: “B” factors
ATOM 122 N LEU A 13 -3.244 25.808 19.998 1.00 16.96 N
ATOM 123 CA LEU A 13 -2.877 25.448 21.355 1.00 15.29 C
ATOM 124 C LEU A 13 -2.792 23.966 21.561 1.00 17.54 C
ATOM 125 O LEU A 13 -1.814 23.493 22.143 1.00 16.35 O
ATOM 126 CB LEU A 13 -3.907 26.164 22.268 1.00 18.72 C
ATOM 127 CG LEU A 13 -3.577 25.982 23.738 1.00 21.19 C
ATOM 128 CD1 LEU A 13 -2.283 26.820 24.019 1.00 19.43 C
ATOM 129 CD2 LEU A 13 -4.702 26.474 24.639 1.00 24.65 C
ATOM 130 N SER A 14 -3.677 23.149 20.979 1.00 15.96 N
ATOM 131 CA SER A 14 -3.646 21.711 21.061 1.00 18.26 C
ATOM 132 C SER A 14 -2.373 21.203 20.360 1.00 18.71 C
ATOM 133 O SER A 14 -1.747 20.315 20.930 1.00 17.47 O
ATOM 134 CB SER A 14 -4.875 21.077 20.419 1.00 17.62 C
ATOM 135 OG ASER A 14 -4.825 19.665 20.388 0.50 20.89 O
ATOM 136 OG BSER A 14 -6.027 21.408 21.164 0.50 18.67 O
ATOM 137 N LYS A 15 -2.045 21.772 19.215 1.00 18.03 N
ATOM 138 CA LYS A 15 -0.799 21.361 18.555 1.00 18.12 C
ATOM 139 C LYS A 15 0.446 21.707 19.351 1.00 18.81 C
ATOM 140 O LYS A 15 1.400 20.948 19.411 1.00 17.77 O
ATOM 141 CB LYS A 15 -0.700 22.034 17.177 1.00 14.49 C
ATOM 142 CG LYS A 15 -1.727 21.368 16.256 1.00 16.12 C
ATOM 143 CD LYS A 15 -1.663 22.147 14.936 1.00 19.40 C
ATOM 144 CE ALYS A 15 -2.725 21.614 13.986 0.50 17.42 C
ATOM 145 CE BLYS A 15 -1.750 21.211 13.750 0.50 17.01 C
ATOM 146 NZ ALYS A 15 -2.346 21.674 12.559 0.50 18.61 N
ATOM 147 NZ BLYS A 15 -3.052 20.513 13.741 0.50 18.76 N

## Slide 15: “B” factors
B = 8π2 ux2
ux = RMS variation perpendicular to plane

## Slide 16: “B” factors
B ≈ 4d2 + 12
essentially, the “resolution” of an atom
d = resolution in Å

## Slide 17: Resolution
http://bl831.als.lbl.gov/~jamesh/movies/resolution.mpeg

## Slide 18: Completeness: random deletion
http://bl831.als.lbl.gov/~jamesh/movies/completeness.mpeg

## Slide 19: Completeness: missing wedge
http://bl831.als.lbl.gov/~jamesh/movies/osc.mpeg

## Slide 20: Resolution: low-angle cutoff
http://bl831.als.lbl.gov/~jamesh/movies/lo_cut.mpeg

## Slide 21: Figure of Merit
http://bl831.als.lbl.gov/~jamesh/movies/dephase.mpeg

## Slide 22: R-factor
http://bl831.als.lbl.gov/~jamesh/movies/rfactor.mpeg

## Slide 23: Overloads
http://bl831.als.lbl.gov/~jamesh/movies/overloads.mpeg

## Slide 24: “R” factors
R = % error

## Slide 25: “R” factors
completely random: 0.59
starting MR solution: 0.4-0.55
something still wrong?: > 0.3
correct chain trace: < 0.2
small molecule: ~ 0.05

## Slide 26: “R” factors
Rcryst (or just “R”)
observed vs calculated data (Fs)
Rfree
cross-check with “random” subset of data
should be < 0.3 and < Rcryst + 0.1

## Slide 27
structure factor (F)
spot index (h)
Fitting data

## Slide 28
structure factor (F)
spot index (h)
Fitting data

## Slide 29
structure factor (F)
spot index (h)
Fitting data

## Slide 30
structure factor (F)
spot index (h)
Fitting data

## Slide 31: “R” factors
Rcryst (or just “R”)
observed vs calculated data (Fs)
Rfree
cross-check with “random” subset of data
should be < 0.3 and < Rcryst + 0.1
Rsym = Rmerge (self-consistency of data: Is)

## Slide 32: Rmerge
completely random: 0.59
weak data (high angle): 0.7- ∞
wrong symmetry choice?: ~0.2-0.55
small or disordered crystal: ~0.1-0.2
typical: ~ 0.05
blows up
as Iobs → 0

## Slide 33: “R” factors
Rcryst (or just “R”)
observed vs calculated data (Fs)
Rfree
cross-check with “random” subset of data
should be < 0.3 and < Rcryst + 0.1
Rsym = Rmerge (self-consistency of data: Is)
Rrim Rpim Rmeas
Riso Ranom
Rdiff
Rsym is “unfair” to high multiplicity

## Slide 34: Is the structure any good?
Molecular replacement:
  R/Rfree (compare with Rmerge)
MAD/SAD/MIR
  R and FOM
All cases
  does the map look like the model?!

## Slide 35: Is the structure any good?
“do the data presented justify the conclusions drawn?”

## Slide 36: 100% SeMet incorporation
Trivial to solve

## Slide 37: 100% S -Met incorporation
Impossible to solve

## Slide 38: Finding sites
fraction Sulfur
Number of correct sites

## Slide 39: Finding sites
fraction Sulfur
Number of correct sites

## Slide 40: Finding sites
fraction Sulfur
Number of correct sites

## Slide 41: Finding sites
fraction Sulfur
Number of correct sites
25
20
15
10
5
0
peak height ()

## Slide 42: Finding sites
fraction Sulfur
Number of correct sites

## Slide 43: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 44: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 45: X-ray transmission of materials
Depth into material (μm)
transmission
glass
protein
crystal
water
air

## Slide 46: X-ray scattering of materials
Differential cross section
(scattered photons/solid angle/incident photon/meter thickness)
 7.5 3.8 2.5 1.9 1.5
d-spacing (Ǻ)
water
25% glycerol
paratone-N oil
plastic
glass

## Slide 47: naked xtal

## Slide 48: Crowfoot Cell

## Slide 49: Crowfoot Cell

## Slide 50: Crowfoot Cell
J. D. Bernal and D. Crowfoot, Nature (London) 133, 794 (1934).

## Slide 51: Fluidigm RT/cryo mount
“Diffraction Capable” chip
http://www.fluidigm.com/products/topaz-chips.html

## Slide 52: Plate goniometers
Notes: The non-rotating “plate goniometer” (left) was developed last year. A new incarnation for taking rotation-camera data is now being developed (right). Either of these devices will accept most any crystallization tray that can be rotated 90 degrees to gravity and probe arbitrary points in each crystallization drop with a 50 um x-ray beam. Installing a plate goniometer takes ~30 minutes and the location ~300 mm downbeam from the “normal” protein crystallography sample mounting point makes this technology transferable to most any beamline.
Current status is that a 95% complete data set has been collected from a 50 um lysozyme crystal at room temperature, and trials are now underway to collect data sets from “real” crystals.

## Slide 53
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 55: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 57
8000 Gy/s

## Slide 58: Example Data
lysozyme
50 μm beam
37 Gy/s (0.775 Å)
30s exposures at 20C
90° of data, 97% complete
I/ = 1.5 at 1.9 Å
Rmerge 18% (overall) 5% (low)
ΔB same as 20 min at 100K
B factor
-2
-4
-6
scale vs batch
2
1
0

## Slide 59: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 60: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 61: Every spot is an unpaired partial!
Ispot = k Ncells2
Ewald sphere
range

## Slide 62: Every spot is an unpaired partial!
Ewald sphere
range
Ispot = k Ncells1
Woolfson, M. M. (1997). An introduction to X-ray crystallography. Ch. 2 & 6

## Slide 63: Internal consistency of data
1,850,000 images
112,000 > 10 peaks
33,000 indexed
16,500 good preds
rigid-body:
Rcryst = 0.252
Rfree = 0.232

## Slide 64: what is “partiality”?
F(h,k,l)
Ewald sphere
λ1*
λ2*
F(0,0,0)
F(h,k,l)

## Slide 65: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 66: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 67: MiTeGen RT cell
http://www.mitegen.com/products/micrort/micrort.shtml

## Slide 68: Free-mounting system
http://www.proteros.de/

## Slide 69: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 70: beam size vs xtal size
  Put your crystal into the beam

## Slide 71: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal

## Slide 72: shoot the whole crystal

## Slide 73: shoot the whole crystal

## Slide 74: shoot the whole crystal

## Slide 75: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal

## Slide 76: shoot nothing but the crystal

## Slide 77: shoot nothing but the crystal

## Slide 78: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 79
X-ray beam size (μm)
Resolution (Å)
too big
too small
just right

## Slide 80: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!

## Slide 81: Mosquito tips cost $0.15 each
So do Pilatus pixels!
We bought 6,224,001
Use them!
(they are reusable)

## Slide 82: Background scattering

## Slide 83: Background scattering
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
real estate is
expensive
use it!

## Slide 84: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!
  The crystal must rotate

## Slide 85: The crystal rotates!

## Slide 86: The crystal rotates!
Membrane Protein Expression Center © 2012