## Slide 1: Acknowledgements
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_XDS_2022.pptx
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R01 GM124149 to Holton
NIH NIAID P50 AI150476 to Krogan
NIH NIAID U19 AI171110 to Krogan
NIH NIGMS P30 GM124169 to Adams
DOE-BER IDAT to Hura
NIH NIGMS P41 GM103393 to Hodgson
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser
Paul Adams Greg Hura
Aina Cohen Keith Hodgson

## Slide 2: XDS X-ray diffraction data reduction engine
Diffraction image data
List of spot intensities (text)

## Slide 3
XDS native user interface: a text file!

## Slide 5
XDS native user interface
The “prompt”
Cursor
does not move
with mouse
Mouse
can be used
To select and paste
But all pasted text
Goes to the cursor

## Slide 7: How to start XDS
~]$ cd
~]$ mkdir xds_tutorial
~]$ cd xds_tutorial
~]$ ln –sf /home/data/Data_2022 .
~]$ cp Data*/blah/*.INP XDS.INP
~]$ xds_par
~]$ xdsgui
Space!
underscore
prompt
Do not type!
Enter
Space!
Full stop

## Slide 8
xdsgui – a graphical interface for XDS

## Slide 9
xdsgui – load an image

## Slide 10
xdsgui – a GUI for text!

## Slide 11
xdsconv – make an “mtz” file
output_file_name.mtz

## Slide 12
xdsgui – nuts, bolts, bells & whistles

## Slide 13
XYCORR– setting things up

## Slide 14: Beam center vs “origin”
direct beam

## Slide 15: Beam center vs “origin”
origin
direct beam

## Slide 16: Correct beam center
155.063 155.647
159.353 155.063
159.301 155.011
1512.73 1554.57
155.063 159.356 -250
ADXV
HKL2000
MOSFLM
XDS
DIALS

## Slide 17
XYCORR– setting things up

## Slide 18
XYCORR– setting things up

## Slide 19: Pilatus: 1-module shift

## Slide 20
Pilatus: 1-module shift

## Slide 21
Pilatus: 1-module shift

## Slide 22: Detector pixels are 3D
51 μm
31 μm thick
17%
loss
Typical CCD
Mean Penetration depth 12 keV:
17.5 μm Gd2O2S 237 μm Si
8%
side
loss
172 μm
26% loss
320 μm thick
Pilatus
53%
side
loss
photon
75 μm
15%
loss
450 μm thick
Eiger
76%
side
loss
photon
Arrival angle of 2 Å spot: 29°

## Slide 23
XYCORR– setting things up

## Slide 24
INIT – look at the background

## Slide 25
INIT – look at the background

## Slide 26
COLSPOT – the spot picker

## Slide 27
COLSPOT – the spot picker

## Slide 28
IDXREF – auto-indexing

## Slide 29: XPARM.XDS
XPARM.XDS VERSION Feb 5, 2021 BUILT=20210323
1 270.0000 0.2000 0.999971 0.007404 -0.001831
0.979460 0.000711 0.000291 1.020970
96 78.8215 78.8215 37.1784 90.000 90.000 90.000
36.338257 9.327419 -69.320709
26.357738 70.532730 23.307367
30.559622 -16.002089 13.866352
1 2463 2527 0.172000 0.172000
1231.500000 1263.500000 189.160004
1.000000 0.000000 0.000000
0.000000 1.000000 0.000000
0.000000 0.000000 1.000000
1 1 2463 1 2527
0.00 0.00 0.00 1.00000 0.00000 0.00000 0.00000 1.00000 0.00000
First image number
Starting phi
Delta-phi
spindle vector
beam vector
unit cell
a
b
c
space
group
number
wavelen
cell vectors
real space
det panels
origin
distance
pixels
pixel size
x
y
z
Detector fast/slow
Panel #

## Slide 30
IDXREF – auto-indexing
BRAVAIS- POSSIBLE SPACE-GROUPS FOR PROTEIN CRYSTALS
TYPE [SPACE GROUP NUMBER,SYMBOL]
aP [1,P1]
mP [3,P2] [4,P2(1)]
mC,mI [5,C2]
oP [16,P222] [17,P222(1)] [18,P2(1)2(1)2] [19,P2(1)2(1)2(1)]
oC [21,C222] [20,C222(1)]
oF [22,F222]
oI [23,I222] [24,I2(1)2(1)2(1)]
tP [75,P4] [76,P4(1)] [77,P4(2)] [78,P4(3)] [89,P422] [90,P42(1)2]
[91,P4(1)22] [92,P4(1)2(1)2] [93,P4(2)22] [94,P4(2)2(1)2]
[95,P4(3)22] [96,P4(3)2(1)2]
tI [79,I4] [80,I4(1)] [97,I422] [98,I4(1)22]
hP [143,P3] [144,P3(1)] [145,P3(2)] [149,P312] [150,P321] [151,P3(1)12]
[152,P3(1)21] [153,P3(2)12] [154,P3(2)21] [168,P6] [169,P6(1)]
[170,P6(5)] [171,P6(2)] [172,P6(4)] [173,P6(3)] [177,P622]
[178,P6(1)22] [179,P6(5)22] [180,P6(2)22] [181,P6(4)22] [182,P6(3)22]
hR [146,R3] [155,R32]
cP [195,P23] [198,P2(1)3] [207,P432] [208,P4(2)32] [212,P4(3)32]
[213,P4(1)32]
cF [196,F23] [209,F432] [210,F4(1)32]
cI [197,I23] [199,I2(1)3] [211,I432] [214,I4(1)32]

## Slide 31: Trick Question: What is the space group?
a = 63 b = 63 c = 63
α = 90 β = 90 γ = 90

## Slide 32: What you know when:
Autoindexing: Lattice (14)
Scaling: Point Group (43)
Phasing: Space Group (84)

## Slide 33: Pitfalls: sub-space groups
P622
What else?
P6122 P6522 P6222 P6422 P6322
P6 P61 P65 P62 P64 P63
P312 P321 P3112 P3121 P3212 P3221
P3 P31 P32
P2 P21 C2 C222 C2221
P1
zanuda

## Slide 34: Asymmetric Unit (ASU)
Smallest part of the crystal
that you can use to build up the rest of the crystal
with symmetry operations
Unit Cell
Smallest part of the crystal
that you can use to build up the rest of the crystal
with translation symmetry only
“NCS ASU”
Builds ASU with Non-crystallographic symmetry operations

## Slide 35: Frequency of Space Groups in PDB
13007 | P212121 | 566 | R32 | 191 | P6322 | 74 | P4322 | 36 | P3212
9629 | P21 | 491 | P6522 | 187 | P213 | 71 | P4122 | 30 | P622
5300 | C2 | 474 | P61 | 161 | P6 | 70 | P64 | 24 | F4132
3021 | P21212 | 421 | P65 | 144 | P4212 | 70 | P6222 | 22 | P4332
2543 | C2221 | 353 | P41 | 142 | I23 | 67 | P6422 | 22 | P422
2109 | P1 | 351 | P63 | 132 | F432 | 66 | F222 | 22 | P23
2030 | P43212 | 286 | P31 | 124 | P321 | 63 | P62 | 19 | P3112
1565 | P3221 | 257 | I422 | 115 | I41 | 59 | P4132 | 18 | P4222
1359 | P41212 | 253 | P42212 | 103 | P3 | 46 | P2221 | 18 | I4132
1198 | P3121 | 249 | I4 | 99 | I213 | 43 | P4 | 16 | P432
1147 | I222 | 246 | P43 | 94 | C222 | 43 | I432 | 8 | P4232
825 | R3 | 239 | I4122 | 93 | P2 | 40 | P42 | 3 | P222
620 | P6122 | 193 | P32 | 82 | I212121 | 37 | F23 | 2 | P312

## Slide 36
DEFPIX – pixels good and bad

## Slide 37
DEFPIX – pixels good and bad

## Slide 38
INTEGRATE – measure the spots!

## Slide 39
INTEGRATE – measure the spots!

## Slide 40
Ewald’s “mosaic” picture

## Slide 41
Ewald’s “mosaic” picture

## Slide 42
Ewald’s “mosaic” picture
What is
this stuff?

## Slide 43
Darwin’s original picture

## Slide 44
“mosaicity” with visible light

## Slide 45: mosaic spread = 0 º

## Slide 46: mosaic spread = 0.1º

## Slide 47: mosaic spread = 0.2º

## Slide 48: mosaic spread = 0.4º

## Slide 49: mosaic spread = 0.6º

## Slide 50: mosaic spread = 0.8º

## Slide 51: mosaic spread = 1.0º

## Slide 52: mosaic spread = 1.5º

## Slide 53: mosaic spread = 2.0º

## Slide 54: mosaic spread = 2.5º

## Slide 55: mosaic spread = 3.2º

## Slide 56: mosaic spread = 6.4º

## Slide 57: mosaic spread = 12.8º

## Slide 58: Spot Shape
Ewald sphere
(h,k,l)

## Slide 59: Spot Shape
Ewald sphere
(h,k,l)
d*

## Slide 60: Spot Shape
Ewald sphere
spindle axis
(h,k,l)
d*

## Slide 61: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 62: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 63: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)

## Slide 64: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 65: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
θ
λ = 2 d sin(θ)

## Slide 66: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 67: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 68
INTEGRATE – measure the spots!

## Slide 69: beam divergence
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 70: beam divergence
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
Ewald sphere
λ*
λ*

## Slide 71: divergence = 0 º

## Slide 72: divergence = 0.3 º

## Slide 73: spectral dispersion
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 74: spectral dispersion
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ’*
λ’*

## Slide 75: dispersion = 0

## Slide 76: dispersion = 0.014% (Si 111)

## Slide 77: dispersion = 0.25% (CuKα)

## Slide 78: dispersion = 0.6%

## Slide 79: dispersion = 1.3%

## Slide 80: dispersion = 2.6%

## Slide 81: dispersion = 5.1%

## Slide 82: spot shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ’*
λ’*
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
Ewald sphere
λ*
λ*
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 83
CORRECT – scale all the “factors”

## Slide 84: Polarization factor
1.0
0.45
+

## Slide 85: Lorentz factor
+
50x
1.2x
550x
3x
10x

## Slide 86: The “Lorentz zone”

## Slide 87: A few other corrections…
Meisburger, et. al. Nat Commun 11, 1271 (2020). https://doi.org/10.1038

## Slide 88: attenuation factor
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp[-μxtal(txi+ txo)
-μsolvent(tsi + tso)]
IT
Ibeam
μxtal
txi
txo
tsi
tso
txi
txo
tsi
tso
txi
txo
tsi
tso
μsolvent

## Slide 89: B factor from image gazing
B = 500

## Slide 90: B factor from image gazing
B = 20

## Slide 91
CORRECT – after all the “factors”

## Slide 92
xdscc12 – any outlier images?

## Slide 93
xdsstat – radiation damage “limit”

## Slide 94
xdsconv – make an “mtz” file

## Slide 95
xscale – merge multiple runs

## Slide 96
CORRECT – scale all the “factors”

## Slide 97: Re-indexing cheat sheet
Dauter, Z. (1999). "Data-collection strategies." Acta Cryst. D 55(10): 1703-1717.

## Slide 98: Zero-dose extrapolation (ZDE)
Diederichs, K. (2006). "Some aspects of quantitative analysis and correction of radiation damage." Acta Cryst. D 62(1): 96-101.
OUTPUT_FILE= multi-merge.hkl
INPUT_FILE= ../xds_1/XDS_ASCII.HKL
CRYSTAL_NAME= ip
INPUT_FILE= ../xds_2/XDS_ASCII.HKL
! same crystal, but translated
CRYSTAL_NAME= ip

## Slide 99
xscale – final stats

## Slide 100: XDS: CORRECT.LP or XSCALE.LP
SUBSET OF INTENSITY DATA WITH SIGNAL/NOISE >= -3.0 AS FUNCTION OF RESOLUTION
RESOLUTION NUMBER OF REFLECTIONS COMPLETENESS R-FACTOR R-FACTOR COMPARED I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OBSERVED UNIQUE POSSIBLE OF DATA observed expected Corr
6.39 4103 2517 3135 80.3% 1.7% 1.8% 3018 33.77 2.3% 99.9* 21* 1.012 533
4.54 7339 4970 5544 89.6% 2.6% 2.6% 4585 22.56 3.6% 99.8* 9 0.914 796
3.72 9442 6724 7186 93.6% 2.8% 2.9% 5327 19.99 4.0% 99.7* 9 0.859 877
3.22 11077 7997 8486 94.2% 4.8% 4.9% 6094 12.27 6.8% 99.3* -1 0.784 913
2.88 12408 8851 9595 92.2% 10.0% 10.1% 7068 6.01 14.2% 97.8* -2 0.799 1012
2.63 13673 9561 10662 89.7% 20.8% 20.8% 8185 3.10 29.4% 88.8* -4 0.776 1274
2.44 14360 9852 11510 85.6% 34.5% 34.7% 8981 1.90 48.8% 75.9* 2 0.765 1525
2.28 9501 6495 12416 52.3% 61.8% 59.6% 5991 1.14 87.3% 53.5* -2 0.722 1031
2.15 4567 3307 13210 25.0% 120.5% 120.3% 2520 0.59 170.4% 21.9* 4 0.693 408
total 86470 60274 81744 73.7% 6.7% 6.7% 51769 8.97 9.5% 99.5* 2 0.804 8369

## Slide 101: XDS: CORRECT.LP or XSCALE.LP
******************************************************************************
CORRECTION PARAMETERS FOR THE STANDARD ERROR OF REFLECTION INTENSITIES
******************************************************************************
The variance v0(I) of the intensity I obtained from counting statistics is
replaced by v(I)=a*(v0(I)+b*I^2). The model parameters a, b are chosen to
minimize the discrepancies between v(I) and the variance estimated from
sample statistics of symmetry related reflections. This model implicates
an asymptotic limit ISa=1/SQRT(a*b) for the highest I/Sigma(I) that the
experimental setup can produce (Diederichs (2010) Acta Cryst D66, 733-740).
a b ISa
3.806E+00 1.080E-04 49.32

## Slide 102: CCP4: aimless log
$TABLE: Analysis against resolution, XDSdataset:
$GRAPHS:I/sigma, Mean Mn(I)/sd(Mn(I)):0|0.216023x0|137.14:2,13,14:
:Rmerge, Rfull, Rmeas, Rpim v Resolution:0|0.216023x0|1.70834:2,4,5,6,7:
:Average I, RMSdeviation and Sd:0|0.216023x0|1650.8:2,10,11,12:
:Fractional bias:0|0.216023x0|0:2,15:
$$
N 1/d^2 Dmid Rmrg Rfull Rcum Rmeas Rpim Nmeas AvI RMSdev sd I/RMS Mn(I/sd) FrcBias $$ $$
1 0.0064 12.55 0.020 0.020 0.020 0.021 0.006 13115 1651 57 42 29.2 137.1 -
2 0.0191 7.24 0.027 0.027 0.024 0.028 0.008 24753 1171 47 42 25.0 105.2 -
3 0.0318 5.61 0.038 0.038 0.029 0.040 0.012 32197 857 46 43 18.4 79.6 -
4 0.0445 4.74 0.034 0.034 0.031 0.035 0.010 37743 1212 57 53 21.4 91.2 -
5 0.0572 4.18 0.036 0.036 0.032 0.038 0.011 42642 1181 59 57 19.9 83.8 -
6 0.0699 3.78 0.049 0.049 0.036 0.052 0.015 47224 883 59 57 15.1 65.1 -
7 0.0826 3.48 0.065 0.065 0.040 0.068 0.020 51052 685 59 58 11.7 50.9 -
8 0.0953 3.24 0.096 0.096 0.045 0.100 0.029 54636 448 56 56 8.0 35.0 -
9 0.1080 3.04 0.151 0.151 0.050 0.158 0.046 58072 268 53 53 5.1 22.7 -
10 0.1207 2.88 0.229 0.229 0.056 0.240 0.070 60731 171 51 51 3.3 15.4 -
11 0.1334 2.74 0.314 0.314 0.063 0.329 0.097 63807 125 51 51 2.4 11.3 -
12 0.1461 2.62 0.406 0.406 0.070 0.425 0.125 66241 98 51 52 1.9 8.7 -
13 0.1588 2.51 0.537 0.537 0.078 0.562 0.166 68272 76 53 53 1.4 6.5 -
14 0.1715 2.41 0.685 0.685 0.084 0.727 0.237 54170 61 53 54 1.1 4.4 -
15 0.1843 2.33 0.886 0.886 0.088 0.950 0.333 39781 48 55 56 0.9 3.1 -
16 0.1970 2.25 1.249 1.249 0.092 1.355 0.508 29754 35 57 59 0.6 2.1 -

## Slide 103: CCP4: aimless log
$TABLE: Correlations CC(1/2) within dataset, XDSdataset:
$GRAPHS: Anom & Imean CCs v resolution:0|0.216023x0|1:2,4,7:
: RMS correlation ratio :0|0.216023x0|2.20344:2,6:
$$
N 1/d^2 Dmid CCanom Nanom RCRanom CC1/2 NImean $$ $$
1 0.0064 12.55 0.659 499 2.203 1.000 669
2 0.0191 7.24 0.550 975 1.853 1.000 1155
3 0.0318 5.61 0.527 1295 1.798 1.000 1479
16 0.1970 2.25 0.037 2123 1.038 0.711 2275
17 0.2097 2.18 0.043 1682 1.044 0.460 1877

## Slide 104: CC = 0.999
Chart: 

## Slide 105: CC = 0.0
Chart: 

## Slide 106: CC = 0.9
Chart: 

## Slide 107: CC = 0.8
Chart: 

## Slide 108: CC = 0.7
Chart: 

## Slide 109: CC = 0.6
Chart: 

## Slide 110: CC = 0.5
Chart: 

## Slide 111: CC = 0.4
Chart: 

## Slide 112: CC = 0.3
Chart: 

## Slide 113: CC = 0.2
Chart: 

## Slide 114: CC = 0.1
Chart: 

## Slide 115: CC = 0.1
Chart: 

## Slide 116: CC = 0.0
Chart: 

## Slide 117: Adding images
% cat << EOF > MERGE2CBF.INP
NAME_TEMPLATE_OF_DATA_FRAMES= /data/you/weak_?????.cbf
DATA_RANGE= 1 10
NAME_TEMPLATE_OF_OUTPUT_FRAMES=/data/you/sum_???.cbf
NUMBER_OF_DATA_FRAMES_COVERED_BY_EACH_OUTPUT_FRAME= 10
EOF
% merge2cbf
Which is better?:
% xds_runme.com /data/you/weak_?????.cbf
% xds_runme.com /data/you/sum_?????.cbf
“lossy”
compression

## Slide 118: Sources of error for anomalous differences
Shutter jitter (rms 0.5 ms)
Beam flicker (0.15%/sqrt(Hz))
Attenuation correction (< 2%)
Radiation damage (1%/MGy)
Detector calibration (3%)

## Slide 119: Summary
XYCORR
INIT
COLSPOT
IDXREF
DEFPIX
INTEGRATE
CORRECT

## Slide 120: How to run DIALS:
source /Applications/dials-v1-7-2/dials_env.csh
xia2 mosflm_beam_centre=151.4,144.8
/home/data/data2016/SERCAT-Sun/MM/MLYS/
dials.reciprocal_space_viewer

## Slide 121: How to run DIALS the hard way:
% dials.import /home/ …. /MLYS/
% dials.find_spots datablock.json nproc=8
% dials.reciprocal_space_viewer datablock.json strong.pickle &
% dials.image_viewer datablock.json &
% dials.generate_mask untrusted.polygon=1958,2024,0,2005,0,2151,1956,2125 untrusted.circle=1964,2073,200
% open –t datablock.json

## Slide 122: How to run DIALS the hard way:
% open -t datablock.json
  Change origin to -144.8,151.4,-200
  edit mask = mask.pickle
% dials.find_spots datablock.json nproc=8
% dials.index datablock.json strong.pickle \ space_group=P21 \ unit_cell=27.28,62.44,59.82,90,90.615,90
% dials.integrate experiments.json indexed.pickle
% dials.image_viewer integrated.pickle \ integrated_experiments.json

## Slide 123: How to run DIALS the hard way:
% dials.export integrated_experiments.json integrated.pickle
% pointless hklin integrated.mtz hklout ptls.mtz | tee pointless.log
% egrep “Best|twin” pointless.log
% echo “refine parallel” |\
aimless hklin ptls.mtz hklout amls.mtz |\
tee aimless.log
% truncate hklin amls.mtz hklout truncated.mtz
% phenix.autosol truncated.mtz

## Slide 126
The “prompt”
Cursor
does not move
with mouse
Mouse
can be used
To select and paste
But all pasted text
Goes to the cursor

## Slide 127: DIALS demo
~]$ cd
~]$ mkdir dials_tutorial
~]$ cd dials_tutorial
~]$ ln –sf /home/data/Data_2022 .
~]$ dui
Space!
underscore
prompt
Do not type!
Enter
Space!

## Slide 143: After DUI: scale merge refine!
$ echo | pointless hklin hkl_out.mtz hklout pointless.mtz |\
tee pointless.log
$ echo refine parallel | aimless hklin pointless.mtz \
hklout aimless.mtz | tee aimless.log
$ echo | truncate hklin aimless.mtz hklout truncated.mtz |\
tee truncate.log
$ wget http://www.rcsb.org/pdb/files/5x9L.pdb.gz
$ gunzip 5x9L.pdb.gz
$ echo | pointless xyzin 5x9L.pdb hklin truncated.mtz \
hklout reindexed.mtz | tee reindex.log
$ uniqueify reindexed.mtz
$ echo | refmac5 hklin reindexed-unique.mtz xyzin 5x9L.pdb \
hklout refmacout.mtz xyzout refmacout.pdb |\
tee refmac.log

## Slide 144
Left click
Left click

## Slide 145
type
(with keyboard)

## Slide 146
drag

## Slide 149: Re-indexing cheat sheet
Dauter, Z. (1999). "Data-collection strategies." Acta Cryst. D 55(10): 1703-1717.

## Slide 150: How to run DIALS the hard way:
% dials.import /home/ …. /MLYS/
% dials.find_spots datablock.json nproc=8
% dials.reciprocal_space_viewer datablock.json strong.pickle &
% dials.image_viewer datablock.json &
% dials.generate_mask untrusted.polygon=1958,2024,0,2005,0,2151,1956,2125 untrusted.circle=1964,2073,200
% open –t datablock.json

## Slide 151: How to run DIALS the hard way:
% open -t datablock.json
  Change origin to -144.8,151.4,-200
  edit mask = mask.pickle
% dials.find_spots datablock.json nproc=8
% dials.index datablock.json strong.pickle \ space_group=P21 \ unit_cell=27.28,62.44,59.82,90,90.615,90
% dials.integrate experiments.json indexed.pickle
% dials.image_viewer integrated.pickle \ integrated_experiments.json

## Slide 152: How to run DIALS the hard way:
% dials.export integrated_experiments.json integrated.pickle
% pointless hklin integrated.mtz hklout ptls.mtz | tee pointless.log
% egrep “Best|twin” pointless.log
% echo “refine parallel” |\
aimless hklin ptls.mtz hklout amls.mtz |\
tee aimless.log
% truncate hklin amls.mtz hklout truncated.mtz
% phenix.autosol truncated.mtz

## Slide 153: Resolution cutoff?

## Slide 154
Average outer-shell Rmerge
Rmerge at the resolution limit in PDB
Year

## Slide 155: Optimum resolution cutoff is:
Too optimistic: add nothing but noise
Too pessimistic: series-termination error
Happy medium?
Simulate:
  Random atoms, compute F2
  Add Gaussian noise, RMS = 1
  Truncate
  Subtract “right” map, RMS difference

## Slide 156
Chart: 
| 0.8 | 0.81 | 0.82 | 0.83 | 0.84 | 0.85 | 0.86 | 0.87 | 0.88 | 0.89 | 0.9 | 0.91 | 0.92 | 0.93 | 0.94 | 0.95 | 0.96 | 0.97 | 0.98 | 0.99 | 1 | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.08 | 1.0900000000000001 | 1.1000000000000001 | 1.1100000000000001 | 1.1200000000000001 | 1.1299999999999999 | 1.1399999999999999 | 1.1499999999999999 | 1.1599999999999999 | 1.17 | 1.18 | 1.19 | 1.2 | 1.21 | 1.22 | 1.23 | 1.24 | 1.25 | 1.26 | 1.27 | 1.28 | 1.29 | 1.3
total error | 0.0063854 | 0.006377 | 0.0063704 | 0.0063613 | 0.0063546 | 0.0063466 | 0.006339 | 0.0063331 | 0.0063281 | 0.0063218 | 0.0063169 | 0.0063122 | 0.0063076 | 0.0063035 | 0.0062986 | 0.0062952 | 0.006292 | 0.0062882 | 0.0062851 | 0.0062825 | 0.0062808 | 0.0062806 | 0.0062829 | 0.0062871 | 0.0063049 | 0.0063317 | 0.0063768 | 0.006453 | 0.00655 | 0.0067899 | 0.006935 | 0.0072772 | 0.0075335 | 0.0079267 | 0.0082267 | 0.0085917 | 0.0090308 | 0.0096403 | 0.010142 | 0.010578 | 0.011234 | 0.011798 | 0.012663 | 0.013292 | 0.013934 | 0.014784 | 0.015263 | 0.016206 | 0.01711 | 0.01817 | 0.018793
series termination | 0.0001167 | 0.00014118 | 0.00016693 | 0.00020738 | 0.00024052 | 0.00028835 | 0.00034393 | 0.00040287 | 0.00046367 | 0.00054497 | 0.00062312 | 0.00072092 | 0.00082139 | 0.00091787 | 0.0010631 | 0.0011963 | 0.0013389 | 0.0015127 | 0.0017075 | 0.0019087 | 0.0021401 | 0.0023446 | 0.0026241 | 0.0028107 | 0.0031805 | 0.0034765 | 0.0037849 | 0.0041158 | 0.0044212 | 0.0049665 | 0.0052371 | 0.0057965 | 0.0061838 | 0.0067416 | 0.0071474 | 0.0076234 | 0.0081753 | 0.0089132 | 0.0095026 | 0.010003 | 0.010739 | 0.011361 | 0.012297 | 0.012969 | 0.013647 | 0.014539 | 0.015036 | 0.016012 | 0.016942 | 0.018027 | 0.018662
noise in data | 0.0063844 | 0.0063755 | 0.0063682 | 0.0063579 | 0.0063501 | 0.0063401 | 0.0063297 | 0.0063203 | 0.0063111 | 0.0062983 | 0.0062861 | 0.0062709 | 0.0062539 | 0.0062363 | 0.0062082 | 0.0061804 | 0.0061479 | 0.0061034 | 0.0060487 | 0.0059854 | 0.0059049 | 0.0058264 | 0.0057085 | 0.0056237 | 0.0054437 | 0.0052917 | 0.0051318 | 0.0049697 | 0.0048324 | 0.0046297 | 0.0045459 | 0.0043996 | 0.0043026 | 0.0041691 | 0.0040733 | 0.0039623 | 0.0038365 | 0.0036725 | 0.0035436 | 0.0034402 | 0.0032968 | 0.0031835 | 0.0030235 | 0.002914 | 0.0028109 | 0.0026816 | 0.0026168 | 0.0024966 | 0.0023891 | 0.0022725 | 0.0022113
Resolution cutoff (Å)
Error in map (rms e-)
Optimal resolution cutoff

## Slide 157
Chart: 
| 0.8 | 0.81 | 0.82 | 0.83 | 0.84 | 0.85 | 0.86 | 0.87 | 0.88 | 0.89 | 0.9 | 0.91 | 0.92 | 0.93 | 0.94 | 0.95 | 0.96 | 0.97 | 0.98 | 0.99 | 1 | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.08 | 1.0900000000000001 | 1.1000000000000001 | 1.1100000000000001 | 1.1200000000000001 | 1.1299999999999999 | 1.1399999999999999 | 1.1499999999999999 | 1.1599999999999999 | 1.17 | 1.18 | 1.19 | 1.2 | 1.21 | 1.22 | 1.23 | 1.24 | 1.25 | 1.26 | 1.27 | 1.28 | 1.29 | 1.3
total error | 0.011234 | 0.011798 | 0.012663 | 0.013292 | 0.013934 | 0.014784 | 0.015263 | 0.016206 | 0.01711 | 0.01817 | 0.018793
CC1/2 | 0.00027543 | 0.0009316 | 0.0011407 | 0.00093939 | -0.00085547 | 8.519e-05 | 0.0017707 | 0.0018655 | 0.00044742 | -0.00083644 | -8.9753e-05 | -0.0012856 | -0.0022441 | -0.0011232 | -0.0006217 | -0.00063863 | 0.00039935 | 0.0020736 | 0.0023749 | 0.001991 | 0.0015254 | 0.0011874 | 0.0012966 | 0.0070442 | 0.010659 | 0.014306 | 0.021539 | 0.031659 | 0.044804 | 0.054608 | 0.085054 | 0.10512 | 0.15123 | 0.19219 | 0.24658 | 0.30221 | 0.374 | 0.43569 | 0.50225 | 0.58077 | 0.63948 | 0.71345 | 0.75573 | 0.79925 | 0.8353 | 0.86091 | 0.89448 | 0.91138 | 0.92903 | 0.94132 | 0.95425
CCtrue | -0.0018739 | -0.0009566 | 0.00078927 | -0.00047161 | 0.00086676 | 0.0013379 | 0.00021407 | 0.001888 | 0.0027656 | 0.0036656 | 0.0050632 | 0.0063693 | 0.0067999 | 0.010765 | 0.013871 | 0.01712 | 0.023754 | 0.030523 | 0.038896 | 0.047732 | 0.06188 | 0.078774 | 0.090571 | 0.11775 | 0.13935 | 0.1692 | 0.20286 | 0.24067 | 0.29172 | 0.32687 | 0.40014 | 0.43863 | 0.51218 | 0.56571 | 0.62646 | 0.68068 | 0.73761 | 0.77832 | 0.81873 | 0.8591 | 0.88409 | 0.9127 | 0.92782 | 0.94254 | 0.95429 | 0.96199 | 0.97176 | 0.97663 | 0.98146 | 0.98479 | 0.98825
Resolution cutoff (Å)
Correlation Coefficient
Optimal resolution cutoff

## Slide 158
Chart: 
| 0.8 | 0.81 | 0.82 | 0.83 | 0.84 | 0.85 | 0.86 | 0.87 | 0.88 | 0.89 | 0.9 | 0.91 | 0.92 | 0.93 | 0.94 | 0.95 | 0.96 | 0.97 | 0.98 | 0.99 | 1 | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.08 | 1.0900000000000001 | 1.1000000000000001 | 1.1100000000000001 | 1.1200000000000001 | 1.1299999999999999 | 1.1399999999999999 | 1.1499999999999999 | 1.1599999999999999 | 1.17 | 1.18 | 1.19 | 1.2 | 1.21 | 1.22 | 1.23 | 1.24 | 1.25 | 1.26 | 1.27 | 1.28 | 1.29 | 1.3
total error | 0.011234 | 0.011798 | 0.012663 | 0.013292 | 0.013934 | 0.014784 | 0.015263 | 0.016206 | 0.01711 | 0.01817 | 0.018793
CC1/2 | 0.00027543 | 0.0009316 | 0.0011407 | 0.00093939 | -0.00085547 | 8.519e-05 | 0.0017707 | 0.0018655 | 0.00044742 | -0.00083644 | -8.9753e-05 | -0.0012856 | -0.0022441 | -0.0011232 | -0.0006217 | -0.00063863 | 0.00039935 | 0.0020736 | 0.0023749 | 0.001991 | 0.0015254 | 0.0011874 | 0.0012966 | 0.0070442 | 0.010659 | 0.014306 | 0.021539 | 0.031659 | 0.044804 | 0.054608 | 0.085054 | 0.10512 | 0.15123 | 0.19219 | 0.24658 | 0.30221 | 0.374 | 0.43569 | 0.50225 | 0.58077 | 0.63948 | 0.71345 | 0.75573 | 0.79925 | 0.8353 | 0.86091 | 0.89448 | 0.91138 | 0.92903 | 0.94132 | 0.95425
CCtrue | -0.0018739 | -0.0009566 | 0.00078927 | -0.00047161 | 0.00086676 | 0.0013379 | 0.00021407 | 0.001888 | 0.0027656 | 0.0036656 | 0.0050632 | 0.0063693 | 0.0067999 | 0.010765 | 0.013871 | 0.01712 | 0.023754 | 0.030523 | 0.038896 | 0.047732 | 0.06188 | 0.078774 | 0.090571 | 0.11775 | 0.13935 | 0.1692 | 0.20286 | 0.24067 | 0.29172 | 0.32687 | 0.40014 | 0.43863 | 0.51218 | 0.56571 | 0.62646 | 0.68068 | 0.73761 | 0.77832 | 0.81873 | 0.8591 | 0.88409 | 0.9127 | 0.92782 | 0.94254 | 0.95429 | 0.96199 | 0.97176 | 0.97663 | 0.98146 | 0.98479 | 0.98825
CC* | 0.023467 | 0.043145 | 0.047737 | 0.043325 | 0 | 0.013052 | 0.059457 | 0.061026 | 0.029907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.028256 | 0.064333 | 0.068837 | 0.063041 | 0.055192 | 0.048703 | 0.05089 | 0.11828 | 0.14523 | 0.16795 | 0.20535 | 0.24774 | 0.29286 | 0.32181 | 0.39595 | 0.43617 | 0.51257 | 0.56782 | 0.62898 | 0.68128 | 0.73783 | 0.77906 | 0.81772 | 0.8572 | 0.88323 | 0.91256 | 0.92783 | 0.94256 | 0.95408 | 0.9619 | 0.97175 | 0.97654 | 0.98143 | 0.98477 | 0.98823
Resolution cutoff (Å)
Correlation Coefficient
Optimal resolution cutoff

## Slide 159
log( intensity )
Wilson Plot
2.2 1.6 1.3 1.1 1.0 0.9 0.85 0.8 0.75 0.7
resolution (Å)
8
2

## Slide 160: Optimum resolution cutoff is:
0.0 Å

## Slide 161: But my reviewer says…
Rmerge in high-resolution bin is >100% !
Answer: this is expected

## Slide 162: Expected Rmerge as Iobs → 0

## Slide 163
Average value
Averaging Gaussian error
Number of samples averaged

## Slide 164
Average value
Averaging Gauss/Gauss error
Number of samples averaged

## Slide 165: No free R flag?
$ uniqueify reindexed.mtz

## Slide 166: No free R flag?
$ echo symm P43212 |\
reindex hklin output_file_name.mtz hklout \
reindexed.mtz
$ uniqueify reindexed.mtz

## Slide 167: No free R flag?
$ echo |\
pointless xyzin 5X9L.pdb hklin hkl_out.mtz \
hklout reindexed.mtz
$ uniqueify reindexed.mtz

## Slide 168: Occupancy refinement in refmac
$ echo “”| refmac5 hklin reindexed-unique.mtz \
xyzin phaser.1.pdb >! refmac.log

## Slide 169: Occupancy refinement in refmac
$ echo “”| refmac5 hklin reindexed-unique.mtz \
hklout refmacout.mtz \
xyzin phaser.1.pdb xyzout refmacout.pdb \
>! refmac.log

## Slide 170: Occupancy refinement in refmac
$ refmac5 hklin reindexed-unique.mtz \
hklout refmacout.mtz \
xyzin phaser.1.pdb xyzout refmacout.pdb << EOF |\
cat >! refmac.log
EOF

## Slide 171: Occupancy refinement in refmac
$ refmac5 hklin reindexed-unique.mtz \
hklout refmacout.mtz \
xyzin phaser.1.pdb xyzout refmacout.pdb << EOF |\
tee refmac.log
EOF

## Slide 172: Occupancy refinement in refmac
$ refmac5 hklin reindexed-unique.mtz \
hklout refmacout.mtz \
xyzin phaser.1.pdb xyzout refmacout.pdb << EOF |\
tee refmac.log
occupancy refine
occupancy group id 1 chain A residue 440 alt A
occupancy group id 2 chain A residue 440 alt B
occupancy group alts complete 1 2
EOF

## Slide 173: Other Good Resources
http://bl831.als.lbl.gov/~jamesh/
elves/manual/tricks.html
https://bl831.als.lbl.gov/~jamesh/
beamline/moving_data.html
% man awk
% man tcsh

## Slide 174
JMHolton@lbl.gov