## Slide 1
sample
detector
x-ray beam
scattering

## Slide 2
sample
detector
x-ray beam
scattering

## Slide 3
sample
detector
x-ray beam
scattering

## Slide 4
sample
detector
x-ray beam
scattering

## Slide 5
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 6
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 7
sample
x-ray beam
anomalous scattering
detector

## Slide 8
sample
detector
x-ray beam
anomalous scattering

## Slide 9
sample
x-ray beam
anomalous scattering
detector

## Slide 10
sample
detector
x-ray beam
anomalous scattering

## Slide 11
sample
detector
x-ray beam
anomalous scattering

## Slide 12
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.
4-wavelength MAD
f”

## Slide 13
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.
3-wavelength MAD
f”

## Slide 14
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.
Two-wavelength MAD
f”

## Slide 15
Is it element X ?
f”

## Slide 16: Suggested anomalous protocol:
2 wavelengths are better than 1
- (peak + inf)/2, and remote
MAD, not M-SAD!
360° in < 5 MGy
move detector
4X exposure
goto 2

## Slide 17
Required signal-to-noise (I/σ)
Solve-able proteins (%)
Phasing from native elements

## Slide 18: Counting photons
σ(Nphotons) >= √Nphotons
I/σ(I) <= √Nphotons
Signal-to-noise ratio

## Slide 19: Anomalous differences
I-
I+
3%
100 photons
10 photons
100 photons

## Slide 20: Anomalous differences
I-
I+
3%
100 photons
14 photons
100 photons

## Slide 21: Anomalous differences
3%
I-
I+
2000 photons
67 photons

## Slide 22: Anomalous differences
1%
I-
I+
20,000 photons
200 photons

## Slide 23: Can you count to 1,000,000 ?
= 0.1%
sqrt(1,000,000)
1,000,000
= 3%
sqrt(1,000)
1,000
> 1000 is a waste!
photon
spot
Theoretically:
In reality:
ISa ~ 33
Rmeas ≈ 0.1% ?
ISa = 1000
Rmeas = ≈ 3%

## Slide 24: systematic error

## Slide 25
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
~3x105 photon/pixel
Pilatus: subtract smooth baseline

## Slide 26
Source of error | realistic simulation | No SHSSS | Perfect detector
Photon counting | + | + | +
Shutter jitter | + | + | -
Beam flicker | + | + | -
Sample absorption | + | + | -
Radiation damage | + | + | -
Imperfect spindle | + | + | -
vignette | + | + | -
Corner correction | + | + | -
SHSSS | + | - | -
Rmeas (∞-10 Å) | 2.8% | 0.7% | 0.7%
I/σ asymptotic | 26.8 | 74.2 | 81.0
Potential for improvement
Holton et al (2014) "R-factor gap", FEBS Journal 281, 4046-4060.

## Slide 27
Required signal-to-noise (I/σ)
Solve-able proteins (%)
Current
technology
Goal
Phasing from native elements

## Slide 28
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 29: Fractional error
mult > (—)2
~3%
<ΔF/F>

## Slide 30
anomalous signal
Crick, F. H. C. & Magdoff, B. S. (1956) Acta Crystallogr. 9, 901-908.
Hendrickson, W. A. & Teeter, M. M. (1981) Nature 290, 107-113.
# sites
MW (Da)
ΔF
F
≈ 1.2 f”
√
World record!
ΔF/F = 0.5%
Wang, Dauter & Dauter (2006) Acta Cryst. D 62, 1475-1483.

## Slide 31: Anomalous signal
1
f”
4
6
0
2
“electrons”

## Slide 32: How can I tell: f” ?
“K” edge = 4
Atom. No. 20 – 40
Ca 4.0 Kr 14.3 keV
Fe 7.1 Sr 16.1
Zn 9.7 Mo 20
Se 12.6 Ru 22
Br 13.5 Pd 24
K edge ~ 0.7*Z-10.6
“L” edge = 10
Atom. No. 53 – 85
I 4.5 Os 10.9 keV
Xe 4.8 Au 11.9
Cs 5.0 Hg 12.3
La 5.6 Pb 13
Lu 9.2 Bi 13.4
L edge ~ 0.28*Z-10.2
http://skuld.bmsc.washington.edu/scatter/AS_form.html

## Slide 33: CCP4: aimless log
$TABLE: Analysis against resolution, XDSdataset:
$GRAPHS:I/sigma, Mean Mn(I)/sd(Mn(I)):0|0.216023x0|137.14:2,13,14:
:Rmerge, Rfull, Rmeas, Rpim v Resolution:0|0.216023x0|1.70834:2,4,5,6,7:
:Average I, RMSdeviation and Sd:0|0.216023x0|1650.8:2,10,11,12:
:Fractional bias:0|0.216023x0|0:2,15:
$$
N 1/d^2 Dmid Rmrg Rfull Rcum Rmeas Rpim Nmeas AvI RMSdev sd I/RMS Mn(I/sd) FrcBias $$ $$
1 0.0064 12.55 0.020 0.020 0.020 0.021 0.006 13115 1651 57 42 29.2 137.1 -
2 0.0191 7.24 0.027 0.027 0.024 0.028 0.008 24753 1171 47 42 25.0 105.2 -
3 0.0318 5.61 0.038 0.038 0.029 0.040 0.012 32197 857 46 43 18.4 79.6 -
4 0.0445 4.74 0.034 0.034 0.031 0.035 0.010 37743 1212 57 53 21.4 91.2 -
5 0.0572 4.18 0.036 0.036 0.032 0.038 0.011 42642 1181 59 57 19.9 83.8 -
6 0.0699 3.78 0.049 0.049 0.036 0.052 0.015 47224 883 59 57 15.1 65.1 -
7 0.0826 3.48 0.065 0.065 0.040 0.068 0.020 51052 685 59 58 11.7 50.9 -
8 0.0953 3.24 0.096 0.096 0.045 0.100 0.029 54636 448 56 56 8.0 35.0 -
9 0.1080 3.04 0.151 0.151 0.050 0.158 0.046 58072 268 53 53 5.1 22.7 -
10 0.1207 2.88 0.229 0.229 0.056 0.240 0.070 60731 171 51 51 3.3 15.4 -
11 0.1334 2.74 0.314 0.314 0.063 0.329 0.097 63807 125 51 51 2.4 11.3 -
12 0.1461 2.62 0.406 0.406 0.070 0.425 0.125 66241 98 51 52 1.9 8.7 -
13 0.1588 2.51 0.537 0.537 0.078 0.562 0.166 68272 76 53 53 1.4 6.5 -
14 0.1715 2.41 0.685 0.685 0.084 0.727 0.237 54170 61 53 54 1.1 4.4 -
15 0.1843 2.33 0.886 0.886 0.088 0.950 0.333 39781 48 55 56 0.9 3.1 -
16 0.1970 2.25 1.249 1.249 0.092 1.355 0.508 29754 35 57 59 0.6 2.1 -

## Slide 34: CCP4: aimless log
$TABLE: Correlations CC(1/2) within dataset, XDSdataset:
$GRAPHS: Anom & Imean CCs v resolution:0|0.216023x0|1:2,4,7:
: RMS correlation ratio :0|0.216023x0|2.20344:2,6:
$$
N 1/d^2 Dmid CCanom Nanom RCRanom CC1/2 NImean $$ $$
1 0.0064 12.55 0.659 499 2.203 1.000 669
2 0.0191 7.24 0.550 975 1.853 1.000 1155
3 0.0318 5.61 0.527 1295 1.798 1.000 1479
16 0.1970 2.25 0.037 2123 1.038 0.711 2275
17 0.2097 2.18 0.043 1682 1.044 0.460 1877

## Slide 35: XDS: CORRECT.LP or XSCALE.LP
SUBSET OF INTENSITY DATA WITH SIGNAL/NOISE >= -3.0 AS FUNCTION OF RESOLUTION
RESOLUTION NUMBER OF REFLECTIONS COMPLETENESS R-FACTOR R-FACTOR COMPARED I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OBSERVED UNIQUE POSSIBLE OF DATA observed expected Corr
6.39 4103 2517 3135 80.3% 1.7% 1.8% 3018 33.77 2.3% 99.9* 21* 1.012 533
4.54 7339 4970 5544 89.6% 2.6% 2.6% 4585 22.56 3.6% 99.8* 9 0.914 796
3.72 9442 6724 7186 93.6% 2.8% 2.9% 5327 19.99 4.0% 99.7* 9 0.859 877
3.22 11077 7997 8486 94.2% 4.8% 4.9% 6094 12.27 6.8% 99.3* -1 0.784 913
2.88 12408 8851 9595 92.2% 10.0% 10.1% 7068 6.01 14.2% 97.8* -2 0.799 1012
2.63 13673 9561 10662 89.7% 20.8% 20.8% 8185 3.10 29.4% 88.8* -4 0.776 1274
2.44 14360 9852 11510 85.6% 34.5% 34.7% 8981 1.90 48.8% 75.9* 2 0.765 1525
2.28 9501 6495 12416 52.3% 61.8% 59.6% 5991 1.14 87.3% 53.5* -2 0.722 1031
2.15 4567 3307 13210 25.0% 120.5% 120.3% 2520 0.59 170.4% 21.9* 4 0.693 408
total 86470 60274 81744 73.7% 6.7% 6.7% 51769 8.97 9.5% 99.5* 2 0.804 8369

## Slide 36: XDS: CORRECT.LP or XSCALE.LP
******************************************************************************
CORRECTION PARAMETERS FOR THE STANDARD ERROR OF REFLECTION INTENSITIES
******************************************************************************
The variance v0(I) of the intensity I obtained from counting statistics is
replaced by v(I)=a*(v0(I)+b*I^2). The model parameters a, b are chosen to
minimize the discrepancies between v(I) and the variance estimated from
sample statistics of symmetry related reflections. This model implicates
an asymptotic limit ISa=1/SQRT(a*b) for the highest I/Sigma(I) that the
experimental setup can produce (Diederichs (2010) Acta Cryst D66, 733-740).
a b ISa
3.806E+00 1.080E-04 49.32

## Slide 37: 140-fold multiplicity
7.4σ = Na
DELFAN residual anomalous difference

## Slide 38: Data collection parameters:
16 crystals
360° each, inverse beam
7235 eV photon energy
< 1 MGy per xtal
Australian Synchrotron MX1
  35 kGy/s into 100 μm x 100 μm

## Slide 39: “R” factors
R = % error

## Slide 40: “R” factors
completely random: 0.59
starting MR solution: 0.4-0.55
something still wrong?: > 0.3
correct chain trace: < 0.2
small molecule: ~ 0.05

## Slide 41: “R” factors
Rcryst (or just “R”)
observed vs calculated data (Fs)
Rfree
cross-check with “random” subset of data
should be < 0.3 and < Rcryst + 0.1

## Slide 42
structure factor (F)
spot index (h)
Fitting data

## Slide 43
structure factor (F)
spot index (h)
Fitting data

## Slide 44
structure factor (F)
spot index (h)
Fitting data

## Slide 45
structure factor (F)
spot index (h)
Fitting data

## Slide 46: “R” factors
Rcryst (or just “R”)
observed vs calculated data (Fs)
Rfree
cross-check with “random” subset of data
should be < 0.3 and < Rcryst + 0.1
Rsym = Rmerge (self-consistency of data: Is)

## Slide 47: Rmerge
completely random: 0.59
weak data (high angle): 0.7- ∞
wrong symmetry choice?: ~0.2-0.55
small or disordered crystal: ~0.1-0.2
typical: ~ 0.05
blows up
as Iobs → 0

## Slide 48: “R” factors
Rcryst (or just “R”)
observed vs calculated data (Fs)
Rfree
cross-check with “random” subset of data
should be < 0.3 and < Rcryst + 0.1
Rsym = Rmerge (self-consistency of data: Is)
Rrim Rpim Rmeas
Riso Ranom
Rdiff
Rsym is “unfair” to high multiplicity