## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R01 GM124149
NIH NIGMS P50 GM082250
NIH NIGMS P30 GM124169
NIH NIGMS R01 GM117126
DOE-BER Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
NIH NIGMS P41 GM103393
NSF DBI-1625906
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser
Paul Adams John Tainer Greg Hura Nick Sauter
Aina Cohen Art Lyubimov Sabine Hollatz

## Slide 2
ber
structural
bio
portal.org

## Slide 3: PowerPoint File available:
http://bl831.als.lbl.gov/
~jamesh/powerpoint/
CSHL_beamline_2019.pptx

## Slide 4: The “success rate” of data collection
100 s/dataset
200 days/year
~150 beamlines
~26,000,000 datasets/year
~11,000 PDBs in 2018

## Slide 5: signal vs noise
“If you don’t have good data, then you have no data at all.”
-Sung-Hou Kim

## Slide 6: signal vs noise
easy
hard
impossible

## Slide 7: signal vs noise
easy
hard
impossible
threshold of “solvability”

## Slide 8: signal vs noise
“If you don’t have good data, then you must learn statistics.”
-James Holton

## Slide 9: Adding noise

## Slide 10: Adding noise
12 + 12 = 1.42

## Slide 11: Adding noise
12 + 12 = 1.42
32 + 12 = 3.22
σtotal2 = σ12 + σ22

## Slide 12: Adding noise
12 + 12 = 1.42
32 + 12 = 3.22
σtotal2 = σ12 + σ22

## Slide 13: Adding noise
12 + 12 = 1.42
32 + 12 = 3.22
σtotal2 = σ12 + σ22

## Slide 14: Adding noise
12 + 12 = 1.42
32 + 12 = 3.22
102 + 12 = 10.052

## Slide 15: And the dominant source of error is…
Resolution
  Disorder (including Radiation Damage)
  Background
Phases
  Non-isomorphism (including Radiation Damage)
  Vibration (beam, xtal, spindle, etc.)
  Detector calibration

## Slide 16: Data quality - simple rules:
  Put your crystal into the beam

## Slide 17: Your sample is a lens! (but not for x-rays)
90°

## Slide 18: Your sample is a lens! (but not for x-rays)
90°

## Slide 19: Data quality - simple rules:
  Put your crystal into the beam
  Shoot the whole crystal

## Slide 20: shoot the whole crystal

## Slide 21: shoot the whole crystal

## Slide 22: shoot the whole crystal

## Slide 23: shoot the whole crystal

## Slide 24: shoot the whole crystal

## Slide 25: How many crystals do you see?
Shoot the crystal (singular)

## Slide 26: mosaic spread = 0 º

## Slide 27: mosaic spread = 0.1º

## Slide 28: mosaic spread = 0.2º

## Slide 29: mosaic spread = 0.4º

## Slide 30: mosaic spread = 0.6º

## Slide 31: mosaic spread = 0.8º

## Slide 32: mosaic spread = 1.0º

## Slide 33: mosaic spread = 1.5º

## Slide 34: mosaic spread = 2.0º

## Slide 35: mosaic spread = 2.5º

## Slide 36: mosaic spread = 3.2º

## Slide 37: mosaic spread = 6.4º

## Slide 38: mosaic spread = 12.8º

## Slide 39: “pretty” crystals

## Slide 40: “pretty” crystals

## Slide 41: “pretty” crystals

## Slide 42: Data quality - simple rules:
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal

## Slide 43: shoot nothing but the crystal

## Slide 44: shoot nothing but the crystal

## Slide 45: scattering/absorptoin “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
Optimum: support thickness = crystal thickness
1 + 1 = 1.4

## Slide 46
X-ray beam size (μm)
Resolution (Å)
too big
too small
just right
limited by
radiation
damage
limited by
excess
background

## Slide 47: Data quality - simple rules:
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  The crystal must rotate

## Slide 48: The crystal rotates!

## Slide 49: The crystal rotates!
Membrane Protein Expression Center © 2012

## Slide 50: avoiding overlaps
c
c

## Slide 51: avoiding overlaps
c

## Slide 52: avoiding overlaps
c
http://www.mitegen.com/mic_catalog.php?c=DTMicroMounts

## Slide 53: avoiding overlaps
c
http://www.mitegen.com/mic_catalog.php?c=orientedmounts

## Slide 54: Data quality - simple rules:
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  The crystal must rotate
  Back off!

## Slide 55: Background scattering

## Slide 56: Mosquito tips cost $0.15 each
So do detector pixels!
We bought 6,224,001
Use them!
(they are reusable)

## Slide 57: Background scattering
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
real estate is
expensive
use it!

## Slide 58: Fine Slicing
Pflugrath, J. W. (1999)."The finer things in X-ray diffraction data collection", Acta Cryst. D 55, 1718-1725.
background
background

## Slide 60: Optimal exposure time (anomalous on a PAD)
tmad Optimal exposure time (s)
tro read-out time (s)
2.03 ms on Pilatus3 S
0.95 ms on Pilatus3 X
0.003 ms on Eiger
Attenuate for MAD
PILATUS
>0.2 s/frame
EIGER
>0.0003 s/frame

## Slide 61: Optimal exposure time (anomalous on a PAD)
time
intensity
2.03 ms

## Slide 62: Optimal exposure time (faint spots on CCD detector)
thr Optimal exposure time for data set (s)
tref exposure time of reference image (s)
bgref background level near weak spots on
reference image (ADU)
bg0 ADC offset of detector (ADU)
bghr optimal background level (via thr)
σ0 rms read-out noise (ADU)
gain ADU/photon
m multiplicity of data set (including partials)
adjust exposure
so this is ~100

## Slide 63: And the dominant source of error is…
Resolution
  Disorder (including Radiation Damage)
  Background
Phases
  Non-isomorphism (including Radiation Damage)
  Vibration (beam, xtal, spindle, etc.)
  Detector calibration

## Slide 64
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
~3x105 photon/pixel Pilatus detector
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 65: Detector calibration: 7235 eV

## Slide 66: Detector calibration: 7247 eV

## Slide 67: Gadox calibration vs energy
photon energy (keV)
Relative absorption depth
same = good!
bad!

## Slide 68: Systematic error does not “average out”
Unless you can randomize their source

## Slide 69: Fractional error
mult > (—)2
~3%
<ΔF/F>

## Slide 70
anomalous signal
Crick, F. H. C. & Magdoff, B. S. (1956) Acta Crystallogr. 9, 901-908.
Hendrickson, W. A. & Teeter, M. M. (1981) Nature 290, 107-113.
# sites
MW (Da)
ΔF
F
≈ 1.2 f”
√
World record!
ΔF/F = 0.5%
Wang, Dauter & Dauter (2006) Acta Cryst. D 62, 1475-1483.

## Slide 71
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 72: 100% SeMet incorporation
Trivial to solve

## Slide 73: 100% S -Met incorporation
Impossible to solve

## Slide 74: Phase Problem: Se vs S
fraction not Selenium
correlation coefficient

## Slide 75: Phase Problem: Se vs S
fraction not Selenium
correlation coefficient

## Slide 76: Phase Problem: Se vs S
fraction not Selenium
correlation coefficient

## Slide 77: Phase Problem: Se vs S
fraction not Selenium
correlation coefficient

## Slide 78: Phase Problem: Se vs S
fraction not Selenium
correlation coefficient

## Slide 79: One xtal, no idea? Suggested native protocol:
Do strategy
Start at specified phi
Complete fast as you can
Keep going to 360°
Move detector
Advance phi 10-30 deg
Increase photons/image 4x
goto 4

## Slide 80: Suggested anomalous protocol:
2 wavelengths are better than 1
- (peak + inf)/2, and remote
MAD, not M-SAD!
360° in < ~5 MGy (for Se)
move detector
4X exposure
goto 2

## Slide 81: The “threshold of solvability” is sharp!
How can we predict success/failure?
Know Thy Experiment

## Slide 82: The “beam line”
Area Detector
Protein Crystal
Cite the “beamline paper!”
X-ray
Source
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 83: The “beam line”
Area Detector
Source
Primary
mirror
Secondary
mirror
Si(111)
monochromator
Sample
focused
beam
slits
Scatter
guard
Unfocused
beam
slits

## Slide 84: The “beam line”
Area Detector
Source
Primary
mirror
Secondary
mirror
Si(111)
monochromator
Sample
focused
beam
slits
Scatter
guard
Unfocused
beam
slits
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 85: Where do the X-rays come from?

## Slide 86: The “Home source”
e-

## Slide 87: The “Home source”
e-
+
e-

## Slide 88: The “Home source”
+

## Slide 89: The “Home source”
e-
+

## Slide 90: The “Home source”

## Slide 91: Metal identification
scattering
same
λ as
incident

## Slide 92
“MAD scan” – absorption spectrum
“counts” (aka arbitrary units)
0.980888
0.980500
0.980113
0.979725
0.979338
0.978952
0.978565
0.978179
0.977794
0.977408
0.977023
0.976638
0.976254
Wavelength (Å)
fluorescence = yield * absorption
12398.42
energy

## Slide 93
maximize
absolute
value of
f’’
maximize
difference
in f’
“MAD scan” – absorption spectrum

## Slide 94
4-wavelength MAD

## Slide 95
3-wavelength MAD

## Slide 96
2-wavelength MAD

## Slide 97
2-wavelength MAD

## Slide 98
1-wavelength SAD

## Slide 99
2-wavelength metal validation
phased
anomalous
difference
Fourier

## Slide 100: The “beam line”
Area Detector
Source
Primary
mirror
Secondary
mirror
Si(111)
monochromator
Sample
focused
beam
slits
Scatter
guard
Unfocused
beam
slits
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 101: Bending Magnet
N
electron beam
X-rays !
S

## Slide 102: Two Bending Magnets
N
electron beam
S
S
N
2x X-rays !

## Slide 103: Wiggler
N
S
N
S
N
S
N
S
S
N
S
N
S
N
S
N
8x X-rays !

## Slide 104: Undulator
N
S
N
S
N
S
N
S
S
N
S
N
S
N
S
N
> 8x X-rays !

## Slide 105: Undulator emission spectrum

## Slide 106: XFEL Undulator
N
S
N
S
N
S
N
S
S
N
S
N
S
N
S
N
same X-rays
short pulse
S
N
S
N
S
N
S
N
N
S
N
S
N
S
N
S

## Slide 107: LCLS undulator hall

## Slide 108: LCLS at SLAC

## Slide 109: Accelerator-based light source terminology
Code name Translation
First Generation Bending Magnet
Second Generation Wiggler
Third Generation Undulator
Fourth Generation Free electron laser
..and diffraction-limited synchrotron

## Slide 110: Diffraction-limited light source
λ ≈ 2 d sinθ
λ = x-ray wavelength
d = electron/x-ray beam size
θ = beam divergence
d = 1 Å / 100 µrad / 2 = 0.5 µm

## Slide 111: The “beam line”
Area Detector
Source
Primary
mirror
Secondary
mirror
Si(111)
monochromator
Sample
focused
beam
slits
Scatter
guard
Unfocused
beam
slits
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 112: X-ray optics: mirrors
Notes: Next slide please

## Slide 113: Why are the mirrors so long?
3 mm
Must be < 0.2°
1000 mm
Notes: Next slide please

## Slide 114: There is a lens for X-rays!
1 mm
0.1 mm
Be
Notes: Next slide please

## Slide 115: The “beam line”
Area Detector
Source
Primary
mirror
Secondary
mirror
Si(111)
monochromator
Sample
focused
beam
slits
Scatter
guard
Unfocused
beam
slits
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 116
Single crystal

## Slide 117: Monochromators
λ = 1 Å
Si
Notes: Next slide please

## Slide 118: Monochromators
λ = 1 Å
Si
d = 3.135 Å
θ = 9.177°
λ = 1 Å
nλ = 2d sin(θ)
Notes: Next slide please

## Slide 119: Monochromators
nλ = 2d sin(θ)
λ = 1.1 Å
Si
d = 3.135 Å
θ = 9.177°
Notes: Next slide please

## Slide 120: Monochromators
nλ = 2d sin(θ)
λ = 1.1 Å
Si
d = 3.135 Å
θ = 10.104°
λ = 1.1 Å
Notes: Next slide please

## Slide 121: Monochromators
nλ = 2d sin(θ)
λ = 1 Å
Si
d = 3.135 Å
θ = 9.177°
λ = 1 Å
Notes: Next slide please

## Slide 122: Monochromators
Si
λ = 1 Å
λ = 1 Å
Si
d = 3.135 Å
DCM = Double Crystal Monochromator
Notes: Next slide please

## Slide 123: Monochromators
Si
λ = 1.1 Å
λ = 1.1 Å
Si
d = 3.135 Å
DCM = Double Crystal Monochromator
Notes: Next slide please

## Slide 124: Monochromators
nλ = 2d sin(θ)
λ = 1.54 Å
θ = 1.84°
λ = 1.54 Å
Mo/C
d = 24 Å
Multilayer optics
Notes: Next slide please

## Slide 125: The truth about x-ray beams
Term units significance
Flux photons/s duration of experiment
Beam Size μm match to crystal
Divergence mrad spot size vs distance
Wavelength Å resolution and absorption
Dispersion Δλ/λ spot size
Flux density ph/s/area scattering/damage rate
Fluence ph/area scattering/damage

## Slide 126: The truth about x-ray beams
Term units significance
Flux photons/s duration of experiment
Beam Size μm match to crystal
Divergence mrad spot size vs distance
Wavelength Å resolution and absorption
Dispersion Δλ/λ spot size
Flux density ph/s/area scattering/damage rate
Fluence ph/area scattering/damage

## Slide 127
The number of photons scattered
before crystal is dead
is independent
of data collection time
1 um3 = 106 photons
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009

## Slide 128: The truth about x-ray beams
quantity | units | home source | synchrotron
flux | Photons/second | 2.5 x 109 | 2 x 1012
exposure | seconds | 400 | 1

## Slide 129: The truth about x-ray beams
quantity | units | home source | synchrotron
flux | Photons/second | 2.5 x 109 | 2 x 1012
exposure | seconds | 400 | 1
Dispersion | wavelength range / wavelength | 0.2% (Kα1 - Kα2) | 0.014% (Si111)
Divergence | milliRadian | 4.8 | 1.8 (h) 0.18 (v)
Beam size | microns | 100 | 24 (h) 12 (v)
Spectral brightness | Photons/s/mm2/ mR2/0.1%BW | 5.4 x 109 | 1.5 x 1017

## Slide 130: The truth about x-ray beams
quantity | units | home source | synchrotron
flux | Photons/second | 72 x 106 | 2 x 1012
exposure | time | 4 hours | 1 second
Dispersion | wavelength range / wavelength | 0.2% (Kα1 - Kα2) | 0.014% (Si111)
Divergence | milliRadian | 4.8 | 1.8 (h) 0.18 (v)
Beam size | microns | 17 | 24 (h) 12 (v)
Spectral brightness | Photons/s/mm2/ mR2/0.1%BW | 5.4 x 109 | 1.5 x 1017

## Slide 131: The truth about x-ray beams
quantity | units | home source | synchrotron
flux | Photons/second | 1 x 106 | 2 x 1012
exposure | time | 10 days | 1 second
Dispersion | wavelength range / wavelength | 0.2% (Kα1 - Kα2) | 0.014% (Si111)
Divergence | milliRadian | 0.6 | 1.8 (h) 0.18 (v)
Beam size | microns | 17 | 24 (h) 12 (v)
Spectral brightness | Photons/s/mm2/ mR2/0.1%BW | 5.4 x 109 | 1.5 x 1017

## Slide 132: The truth about x-ray beams
quantity | units | home source | synchrotron
flux | Photons/second | 8 x 104 | 2 x 1012
exposure | time | 5 months | 1 second
Dispersion | wavelength range / wavelength | 0.014% (Si111) | 0.014% (Si111)
Divergence | milliRadian | 0.6 | 1.8 (h) 0.18 (v)
Beam size | microns | 17 | 24 (h) 12 (v)
Spectral brightness | Photons/s/mm2/ mR2/0.1%BW | 5.4 x 109 | 1.5 x 1017

## Slide 133: The truth about x-ray beams
Term units significance
Flux photons/s duration of experiment
Beam Size μm match to crystal
Divergence mrad spot size vs distance
Wavelength Å resolution and absorption
Dispersion Δλ/λ spot size
Flux density ph/s/area scattering/damage rate
Fluence ph/area scattering/damage

## Slide 134
Two-color experiment (ca 1914)
(Cu source)
20 eV

## Slide 135
sample
detector
x-ray beam
scattering

## Slide 136
sample
detector
x-ray beam
scattering

## Slide 137
sample
detector
x-ray beam
scattering

## Slide 138
sample
detector
x-ray beam
scattering

## Slide 139
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 140
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 141
sample
x-ray beam
anomalous scattering
detector

## Slide 142
sample
detector
x-ray beam
anomalous scattering

## Slide 143
sample
x-ray beam
anomalous scattering
detector

## Slide 144
sample
detector
x-ray beam
anomalous scattering

## Slide 145
sample
detector
x-ray beam
anomalous scattering

## Slide 146
detector
sample
detector
x-ray beam
scattering

## Slide 149
scattering from a structure
sample
detector
beam center
+

## Slide 150
forward Fourier Transform
inverse Fourier Transform
no phase
+

## Slide 151
scattering from a structure
colored by phase
sample
detector
inverse Fourier Transform
+

## Slide 152
scattering from a lattice
colored by phase
sample
detector
beam center
+

## Slide 153
scattering from a lattice
colored by phase
sample
detector
beam center
+

## Slide 154
scattering from a lattice
colored by phase
sample
detector
beam center
+

## Slide 155
scattering from a crystal structure
colored by phase
sample
detector
beam center
+

## Slide 156: lysozyme: real and reciprocal
+
+

## Slide 157: Diffraction from a 3D lattice
real space
reciprocal space
+

## Slide 158: Diffraction from a 3D lattice
real space
reciprocal space
+

## Slide 159: Spot Shape
Ewald sphere
(h,k,l)

## Slide 160: Spot Shape
Ewald sphere
(h,k,l)
d*

## Slide 161: Spot Shape
Ewald sphere
spindle axis
(h,k,l)
d*

## Slide 162: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 163: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 164: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)

## Slide 165: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 166: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
θ
λ = 2 d sin(θ)

## Slide 167: spectral dispersion
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 168: spectral dispersion
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ’*
λ’*

## Slide 169: dispersion = 0

## Slide 170: dispersion = 0.014% (Si 111)

## Slide 171: dispersion = 0.25% (CuKα)

## Slide 172: dispersion = 0.6%

## Slide 173: dispersion = 1.3%

## Slide 174: dispersion = 2.6%

## Slide 175: dispersion = 5.1%

## Slide 176: The truth about x-ray beams
Term units significance
Flux photons/s duration of experiment
Beam Size μm match to crystal
Divergence mrad spot size vs distance
Wavelength Å resolution and absorption
Dispersion Δλ/λ spot size
Flux density ph/s/area scattering/damage rate
Fluence ph/area scattering/damage

## Slide 177: beam divergence
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 178: beam divergence
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
Ewald sphere
λ*
λ*

## Slide 179: divergence = 0 º

## Slide 180: divergence = 0.3 º

## Slide 181: Divergence Arndt & Wonacott (1977)

## Slide 182
Ewald’s “mosaic” picture

## Slide 183
Ewald’s “mosaic” picture

## Slide 184
Ewald’s “mosaic” picture
What is
this stuff?

## Slide 185
Darwin’s original picture

## Slide 186
“mosaicity” with visible light

## Slide 187: mosaic spread = 0 º

## Slide 188: mosaic spread = 0.1º

## Slide 189: mosaic spread = 0.2º

## Slide 190: mosaic spread = 0.4º

## Slide 191: mosaic spread = 0.6º

## Slide 192: mosaic spread = 0.8º

## Slide 193: mosaic spread = 1.0º

## Slide 194: mosaic spread = 1.5º

## Slide 195: mosaic spread = 2.0º

## Slide 196: mosaic spread = 2.5º

## Slide 197: mosaic spread = 3.2º

## Slide 198: mosaic spread = 6.4º

## Slide 199: mosaic spread = 12.8º

## Slide 200: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 201: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 202: The truth about x-ray beams
Term units significance
Flux photons/s duration of experiment
Beam Size μm match to crystal
Divergence mrad spot size vs distance
Wavelength Å resolution and absorption
Dispersion Δλ/λ spot size
Flux density ph/s/area scattering/damage rate
Fluence ph/area scattering/damage

## Slide 203: Air absorption
Distance from sample (mm)
transmittance

## Slide 204: Summary
1 + 1 = 1.4
Match beam to “crystal”
Match goop thickness to crystal
Better beam = less time
Look at your spots!
“true multiplicity” for anomalous
Crystal must rotate

## Slide 205: Correct beam center
155.063 155.647
159.353 155.063
159.301 155.011
1512.73 1554.57
155.063 159.356 -250
ADXV
HKL2000
MOSFLM
XDS
DIALS

## Slide 206: Re-indexing cheat sheet
Dauter, Z. (1999). "Data-collection strategies." Acta Cryst. D 55(10): 1703-1717.

## Slide 207: CCP4: aimless log
$TABLE: Analysis against resolution, XDSdataset:
$GRAPHS:I/sigma, Mean Mn(I)/sd(Mn(I)):0|0.216023x0|137.14:2,13,14:
:Rmerge, Rfull, Rmeas, Rpim v Resolution:0|0.216023x0|1.70834:2,4,5,6,7:
:Average I, RMSdeviation and Sd:0|0.216023x0|1650.8:2,10,11,12:
:Fractional bias:0|0.216023x0|0:2,15:
$$
N 1/d^2 Dmid Rmrg Rfull Rcum Rmeas Rpim Nmeas AvI RMSdev sd I/RMS Mn(I/sd) FrcBias $$ $$
1 0.0064 12.55 0.020 0.020 0.020 0.021 0.006 13115 1651 57 42 29.2 137.1 -
2 0.0191 7.24 0.027 0.027 0.024 0.028 0.008 24753 1171 47 42 25.0 105.2 -
3 0.0318 5.61 0.038 0.038 0.029 0.040 0.012 32197 857 46 43 18.4 79.6 -
4 0.0445 4.74 0.034 0.034 0.031 0.035 0.010 37743 1212 57 53 21.4 91.2 -
5 0.0572 4.18 0.036 0.036 0.032 0.038 0.011 42642 1181 59 57 19.9 83.8 -
6 0.0699 3.78 0.049 0.049 0.036 0.052 0.015 47224 883 59 57 15.1 65.1 -
7 0.0826 3.48 0.065 0.065 0.040 0.068 0.020 51052 685 59 58 11.7 50.9 -
8 0.0953 3.24 0.096 0.096 0.045 0.100 0.029 54636 448 56 56 8.0 35.0 -
9 0.1080 3.04 0.151 0.151 0.050 0.158 0.046 58072 268 53 53 5.1 22.7 -
10 0.1207 2.88 0.229 0.229 0.056 0.240 0.070 60731 171 51 51 3.3 15.4 -
11 0.1334 2.74 0.314 0.314 0.063 0.329 0.097 63807 125 51 51 2.4 11.3 -
12 0.1461 2.62 0.406 0.406 0.070 0.425 0.125 66241 98 51 52 1.9 8.7 -
13 0.1588 2.51 0.537 0.537 0.078 0.562 0.166 68272 76 53 53 1.4 6.5 -
14 0.1715 2.41 0.685 0.685 0.084 0.727 0.237 54170 61 53 54 1.1 4.4 -
15 0.1843 2.33 0.886 0.886 0.088 0.950 0.333 39781 48 55 56 0.9 3.1 -
16 0.1970 2.25 1.249 1.249 0.092 1.355 0.508 29754 35 57 59 0.6 2.1 -

## Slide 208: CCP4: aimless log
$TABLE: Correlations CC(1/2) within dataset, XDSdataset:
$GRAPHS: Anom & Imean CCs v resolution:0|0.216023x0|1:2,4,7:
: RMS correlation ratio :0|0.216023x0|2.20344:2,6:
$$
N 1/d^2 Dmid CCanom Nanom RCRanom CC1/2 NImean $$ $$
1 0.0064 12.55 0.659 499 2.203 1.000 669
2 0.0191 7.24 0.550 975 1.853 1.000 1155
3 0.0318 5.61 0.527 1295 1.798 1.000 1479
16 0.1970 2.25 0.037 2123 1.038 0.711 2275
17 0.2097 2.18 0.043 1682 1.044 0.460 1877

## Slide 209: XDS: CORRECT.LP or XSCALE.LP
SUBSET OF INTENSITY DATA WITH SIGNAL/NOISE >= -3.0 AS FUNCTION OF RESOLUTION
RESOLUTION NUMBER OF REFLECTIONS COMPLETENESS R-FACTOR R-FACTOR COMPARED I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OBSERVED UNIQUE POSSIBLE OF DATA observed expected Corr
6.39 4103 2517 3135 80.3% 1.7% 1.8% 3018 33.77 2.3% 99.9* 21* 1.012 533
4.54 7339 4970 5544 89.6% 2.6% 2.6% 4585 22.56 3.6% 99.8* 9 0.914 796
3.72 9442 6724 7186 93.6% 2.8% 2.9% 5327 19.99 4.0% 99.7* 9 0.859 877
3.22 11077 7997 8486 94.2% 4.8% 4.9% 6094 12.27 6.8% 99.3* -1 0.784 913
2.88 12408 8851 9595 92.2% 10.0% 10.1% 7068 6.01 14.2% 97.8* -2 0.799 1012
2.63 13673 9561 10662 89.7% 20.8% 20.8% 8185 3.10 29.4% 88.8* -4 0.776 1274
2.44 14360 9852 11510 85.6% 34.5% 34.7% 8981 1.90 48.8% 75.9* 2 0.765 1525
2.28 9501 6495 12416 52.3% 61.8% 59.6% 5991 1.14 87.3% 53.5* -2 0.722 1031
2.15 4567 3307 13210 25.0% 120.5% 120.3% 2520 0.59 170.4% 21.9* 4 0.693 408
total 86470 60274 81744 73.7% 6.7% 6.7% 51769 8.97 9.5% 99.5* 2 0.804 8369

## Slide 210: XDS: CORRECT.LP or XSCALE.LP
******************************************************************************
CORRECTION PARAMETERS FOR THE STANDARD ERROR OF REFLECTION INTENSITIES
******************************************************************************
The variance v0(I) of the intensity I obtained from counting statistics is
replaced by v(I)=a*(v0(I)+b*I^2). The model parameters a, b are chosen to
minimize the discrepancies between v(I) and the variance estimated from
sample statistics of symmetry related reflections. This model implicates
an asymptotic limit ISa=1/SQRT(a*b) for the highest I/Sigma(I) that the
experimental setup can produce (Diederichs (2010) Acta Cryst D66, 733-740).
a b ISa
3.806E+00 1.080E-04 49.32