## Slide 1: PowerPoint File available:
http://bl831.als.lbl.gov/
~jamesh/powerpoint/
CSHL_cryo_2017.pptx

## Slide 2: Icky Skin Stuff

## Slide 3: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 4: Hampton crystal surgery tools

## Slide 5: MiTeGen MicroTools
http://www.mitegen.com/products/microtools/microtools_kit1.shtml

## Slide 6: Harvesting dos and don'ts
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 7: “crystal” = thing you want to shoot

## Slide 8: platy crystals

## Slide 9: platy crystals

## Slide 10: How many “crystals” do you see?
Shoot the crystal (singular)

## Slide 11: platy crystals

## Slide 12: platy crystals

## Slide 13: MiTeGen MicroMesh grids
http://www.mitegen.com/products/micromeshes/micromeshes.shtml

## Slide 14: platy crystals

## Slide 15: platy crystals

## Slide 16: platy crystals

## Slide 17: xtal stuck on tray
?

## Slide 18: xtal stuck on tray

## Slide 19: xtal stuck on tray

## Slide 20: xtal stuck on tray

## Slide 21: xtal stuck on tray

## Slide 22: xtal stuck on tray

## Slide 23: acupuncture needles

## Slide 24: acupuncture needles

## Slide 25: xtal stuck on tray

## Slide 26: MiTeGen MicroSaw
http://www.mitegen.com/products/microtools/microtools_kit1.shtml
10 μm thick!

## Slide 27: xtal stuck on tray

## Slide 28: xtal stuck on tray

## Slide 29: xtal stuck on tray

## Slide 30: xtal stuck on tray

## Slide 31: crystals too fragile? cross-link them!
Lusty (1999) J. Appl. Crystallogr. 32, 106-112.
McWhirter, et al. (1999) PNAS USA 96, 8408-8413.

## Slide 32: Harvesting dos and don'ts
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 33: cryo assay 1 does your crystal “like” it?

## Slide 34: Osmolarity matching
Look up osmotic pressure of mother liquor in CRC Handbook of Physics and Chemistry, Section D-232. 11th column is O: Os/kg
Look up o.p. of cryoprotectant agent.
Modify conc. of mother liquor to minimize change in osmotic pressure.

## Slide 35: matching osmolarity

## Slide 36: Harvesting dos and don'ts
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 37: Dielectric matching
Travers & Douzou (1970) J. of Phys. Chem. 74, 2243-2244.
Petsko (1975) J. Mol. Biol. 96, 381-388.
Douzou (1977) Cryobiochemistry. Academic Press.

## Slide 38: Tris buffer vs temperature
Temperature (C)
pH

## Slide 39: Tris buffer under cryo
Temperature (K)
pH*
Douzou (1977) Cryobiochemistry. Academic Press.

## Slide 40: matching dielectric const.

## Slide 41: matching dielectric const.

## Slide 42: matching dielectric const.

## Slide 43: matching dielectric const.

## Slide 44: My crystal “dissolved” in the oil!
no, it didn’t…

## Slide 45: Harvesting dos and don'ts
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 46: ice = bad

## Slide 47: ice = bad

## Slide 48: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 49: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 50: cryo assay
does it “freeze clear”?
vs.

## Slide 51: You do not need a cryostream to check your cryo!
liquid N2

## Slide 52: clear drop, right?

## Slide 53: cubic ice
0.92 g/cm3

## Slide 54: hexagonal ice
0.92 g/cm3

## Slide 55: nano-crystalline cubic ice
~0.93 g/cm3

## Slide 56: amorphous ice
0.94 g/cm3

## Slide 57: annealing
easiest way to change your cryo
WATCH droplet melt before re-cooling
snapshots only!
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 58: annealing gone wrong

## Slide 59: annealing – in slo-mo

## Slide 60: opened drop: you have ~30 seconds!
equilibrated drop

## Slide 61: First diffraction from protein xtal
Bernal, J. & Crowfoot, D. (1934). "X-ray photographs of crystalline pepsin", Nature 133, 794-795.
1934

## Slide 62: Dehydration: 1934
100 μm
2 mm
= 1.5 μL
= 1.0 nL
10 μm
= 1.0 pL
and 2017?
1 μm
= 1.0 fL

## Slide 63
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 64
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 65
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 67: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 1.70 Å
RMSD = 0.18 Å

## Slide 68: “same drop” ?

## Slide 69
Magdoff & Crick (1955) “Ribonuclease II. Accuracy of measurement and shrinkage”, Acta Cryst. 8, 461-8.
Crick & Magdoff (1956) “The theory of the method of isomorphous replacement for protein crystals”, Acta Cryst. 9, 901-8.

## Slide 70: Elastic deformation = non-isomorphism

## Slide 71: Elastic deformation = non-isomorphism

## Slide 72: Plastic deformation = poor diffraction

## Slide 73: Plastic deformation = poor diffraction

## Slide 74: OK! OK! Now I am afraid!
What should I do?

## Slide 75: oil is your friend

## Slide 76: Oil is your friend

## Slide 77: opened drop: you have ~30 seconds!
oil

## Slide 78: oiled drop: you have ~3 hours
oil

## Slide 79: Water on surface?
Warkentin et al. J. Appl. Cryst. (2009). 42, 944–952

## Slide 80: Remove Excess

## Slide 81: Dabbing to remove excess
clean surface

## Slide 82: Dabbing to remove excess
clean surface

## Slide 83: Dabbing to remove excess
clean surface

## Slide 84: Dabbing to remove excess
clean surface

## Slide 85: Dabbing to remove excess
clean surface

## Slide 86: Dabbing to remove excess
clean surface

## Slide 87: Dabbing to remove excess
clean surface

## Slide 88: Crystal fishing demystified
“Lasso” method

## Slide 89: Crystal fishing demystified

## Slide 90: Crystal fishing demystified

## Slide 91: Crystal fishing demystified

## Slide 92: Crystal fishing demystified

## Slide 93: Crystal fishing demystified

## Slide 94: Crystal fishing demystified

## Slide 95: Crystal fishing demystified
“Soup Spoon” method

## Slide 96: Crystal fishing demystified

## Slide 97: Crystal fishing demystified

## Slide 98: Crystal fishing demystified

## Slide 99: Crystal fishing demystified

## Slide 100: Crystal fishing demystified

## Slide 101: Crystal fishing demystified

## Slide 102: plunge cooling
foam insulation
warm, moist air
cold N2
liquid N2
ice

## Slide 103: plunge cooling
cold N2
foam insulation
warm, moist air
liquid N2
ice

## Slide 104: Warkentin method
foam insulation
liquid N2
Warkentin (2006) J. Appl. Crystallogr. 39, 805-811.

## Slide 105: COMBINE cryoprotectants!
organic + hyperquenching
malonate + glycerol
“confusion principle”
~30% glycerol is not as good as:
5% glycerol +
5% PEG400 +
5% MPD +
5% sucrose +
5% sorbitol +
5% ethylene glycol

## Slide 106: COMBINE cryoprotectants!
organic + hyperquenching
malonate + glycerol
“confusion principle”
~30% glycerol is not as good as:
25% glycerol +
1% PEG400 +
1% MPD +
1% sucrose +
1% sorbitol +
1% ethylene glycol

## Slide 107: Pressure as a cryoprotectant
Thomanek et al. (1973)
Acta Cryst. A 29, 263-265.
Fig. 1. Equipment for freezing at 2500 atm. (1) Steel cylinder, (2) and (3) pistons which can be coupled to a hydraulic press, (4) Teflon cell, (5) vessel for liquid nitrogen, (6) steel tube used for pushing cell (4) out of cylinder (1), (7) steel rings. Scale is in mm. A-A : direction of the force.

## Slide 108: Pressure as a cryoprotectant
Kim et al. (2005) Acta Cryst. D 61, 881-890.
High-pressure cooling apparatus. (a) Sample pin. An oil-coated crystal in a cryoloop is inserted into one end (right) of a brass tube (2.5 cm long) and a
steel piano wire in the other end (left). (b) High-pressure tubing assembly in a LN2 container. A sample is loaded into the top of each 30 cm long tube
and is held in place by a magnet outside the tube. Three crystals can be pressure-cooled at a time.

## Slide 109: Pressure as a cryoprotectant
Balzers HPM 010 High Pressure Freezer The Bal-Tec HPM 010 is a high pressure freezing machine that is designed to freeze non-cryoprotected samples up to 0.5mm in thickness without significant ice crystal damage. Samples can then be processed for TEM using the freeze substitution protocol. These two methods are the state-of-the-art for TEM specimen preparation.
http://www.leica-microsystems.com/products/
electron-microscope-sample-preparation/
industrial-materials/cryo-preparation/
details/product/leica-em-pact2/

## Slide 110: Pressure as a cryoprotectant

## Slide 111: Response to dehydration
www.proteros.de

## Slide 112: Response to dehydration
www.proteros.de

## Slide 113: Response to dehydration
www.proteros.de

## Slide 114: Response to dehydration
www.proteros.de

## Slide 115: Response to dehydration
www.proteros.de

## Slide 116: Response to dehydration
www.proteros.de

## Slide 117: Response to dehydration
www.proteros.de

## Slide 118: Response to dehydration
www.proteros.de

## Slide 119: Ostwald Ripening
http://xray.bmc.uu.se/terese/tutorial6.html

## Slide 120: … but does it work for membrane proteins?
Efremov, R. G. & Sazanov, L. A. (2011)."Structure of the membrane domain of respiratory complex I", Nature 476, 414-420.
“To improve diffraction properties, crystals were slowly cooled to 4 C, placed into micro-dialysis buttons, and mother liquor was exchanged by dialysis for 0.1 M sodium acetate (pH 4.8), 0.15 M sodium tartrate (pH 5.0), 30% PEG4000, 0.1% sodium cholate and 12.5% glycerol over a period of 5 days.”
CCP4BB:
“We used it for a large membrane protein complex and diffraction improved from ~7 to 2.7 A. The crystal is fished out and put into mother liquor solution in the button, sealed with dialysis membrane and the button is then placed into about 5 mls of mother liquor with slightly higher PEG concentration. Then you just exchange outside buffer every day or so for solutions containing higher concentrations of PEG. We went from ~9 to 30 % PEG4000 in about a week. You can easily observe crystal under microscope and if it cracks - you went too far/too quickly with PEG and need to use a bit less next time. Also, this method allows you to control all other components of the dehydrating solution - we needed to decrease salt concentration at the same time as increasing PEG. You can also introduce/increase cryo-protectant concentration at the same time. With these crystals, otherwise excellent dehydration machines already mentioned did not work, possibly because the process had to be really slow.”

## Slide 121: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 122: X-ray transmission of materials
Depth into material (μm)
transmission
glass
protein
crystal
water
air

## Slide 123: X-ray scattering of materials
Differential cross section
(scattered photons/solid angle/incident photon/meter thickness)
 7.5 3.8 2.5 1.9 1.5
d-spacing (Ǻ)
water
25% glycerol
paratone-N oil
plastic
glass

## Slide 124: Crowfoot Cell

## Slide 125: Crowfoot Cell

## Slide 126: Crowfoot Cell
J. D. Bernal and D. Crowfoot, Nature (London) 133, 794 (1934).

## Slide 127
pinhole
mirror
microscope
SBS
format
crystallization
tray
Notes: Inspired by the ESRF microcrystal camera, the superbend endstations are all equipped with zero-paralax optics. The user sees their sample from the point of view of the x-ray beam. Sample alignment is not only more stable but more intuitive than an off-axis camera. Placing the crystal into the microscope crosshairs gaurantees that it will be hit by the beam.

## Slide 128
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 129
NatX-ray
CrystalQuick™ X
250 μm
~50 μm tape
Fluidigm
Topaz® DC
200 μm
PDMS
PDMS
MiTeGen
in-situ-1
100 μm
~50 μm tape
in-situ diffraction trays
CrystalDirect
~50 μm tape
25 μm
Microlytic
Crystal Former™
1000 μm
Notes: Next slide please

## Slide 130: Plate goniometers
Notes: The non-rotating “plate goniometer” (left) was developed last year. A new incarnation for taking rotation-camera data is now being developed (right). Either of these devices will accept most any crystallization tray that can be rotated 90 degrees to gravity and probe arbitrary points in each crystallization drop with a 50 um x-ray beam. Installing a plate goniometer takes ~30 minutes and the location ~300 mm downbeam from the “normal” protein crystallography sample mounting point makes this technology transferable to most any beamline.
Current status is that a 95% complete data set has been collected from a 50 um lysozyme crystal at room temperature, and trials are now underway to collect data sets from “real” crystals.

## Slide 131
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 133: MiTeGen RT cell
http://www.mitegen.com/products/micrort/micrort.shtml

## Slide 134: Summary
Don’t touch what you want to shoot
oil is your friend
do not bend
no sudden moves
Cross link?
Warkentin method
try room temp!
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_cryo_2017.pptx