## Slide 1: Acknowledgements
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_recipspace_2025.pptx
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R35 GM158447 to Holton
NIH NIAID P50 AI150476 to Krogan
NIH NIAID U19 AI171110 to Krogan
NIH NIGMS P30 GM124169 to Adams
DOE-BER IDAT to Hura
NIH NIGMS P41 GM103393 to Hodgson
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser
Paul Adams Greg Hura
Aina Cohen Keith Hodgson

## Slide 2: Reciprocal Space

## Slide 3: Reciprocal Space
. 1/distance
. λ = 2d sin(θ)
. Gaussian → Gaussian
. Lattice → lattice
. Duck → Blobs
Convolution → product
. Rotations same
. “angle space”
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_recipspace_2025.pptx

## Slide 4: X-ray data are 3D!

## Slide 5: Electric charge
-
-
-
-
-
-
+ + + + + +

## Slide 6: Electric field of a moving charge

## Slide 7: Electric field of a moving charge
accelerating charges
make
electromagnetic waves
(light)

## Slide 8
sample
detector
x-ray beam
scattering

## Slide 9
sample
detector
x-ray beam
scattering

## Slide 10
sample
detector
x-ray beam
scattering

## Slide 11
sample
detector
x-ray beam
scattering

## Slide 12
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 13
to source
to detector
d
d∙sin(θ)
θ
atom #1
atom #2
Bragg’s Law
nλ = 2d sin(θ)

## Slide 14
sample
x-ray beam
anomalous scattering
detector

## Slide 15
sample
detector
x-ray beam
anomalous scattering

## Slide 16
sample
x-ray beam
anomalous scattering
detector

## Slide 17
sample
detector
x-ray beam
anomalous scattering

## Slide 18
sample
detector
x-ray beam
anomalous scattering

## Slide 19
detector
sample
detector
x-ray beam
scattering

## Slide 20: nearBragg program
http://bl831.als.lbl.gov/~jamesh/nearBragg/
“assumption-free” total scattering
no Fourier Transform
no unit cells
no “mosaicity”
arbitrary “atoms”
arbitrary “source”
coherent or not

## Slide 23
scattering from a structure
sample
detector
beam center
+

## Slide 24
forward Fourier Transform
inverse Fourier Transform
no phase
+

## Slide 25
scattering from a structure
colored by phase
sample
detector
inverse Fourier Transform
+

## Slide 26
scattering from a lattice
colored by phase
sample
detector
beam center
+

## Slide 27
scattering from a lattice
colored by phase
sample
detector
beam center
+

## Slide 28
scattering from a lattice
colored by phase
sample
detector
beam center
+

## Slide 29
scattering from a crystal structure
colored by phase
sample
detector
beam center
+

## Slide 30: Muybridge’s galloping horse (1878)
Real space
reciprocal
space
“Time-resolved” diffraction
+

## Slide 31: Snapshot from single virus particle
TEM
2 keV LCLS 200 fs Mimi virus single-shot.
200 nm
Reconstructed image
Resolution 20nm
Seibert, et al. (2011). Nature 470, 78-81.
Notes: what limits single-particle resolution ?
get 100 times more photons/shot if correctly focussed beam
get 100 times more with submicron beam focus on CXI chamber
Problem – scattering goes from N^2 to N (Wilson statistics).
So use a-priori information – modelling Axel Brummer
Make beam smaller than jet to elliminate streak
31

## Slide 32: Realistic single-particle prediction
1012 photon/pulse
100 nm focus
+

## Slide 33: Realistic single-particle prediction
1012 photon/pulse
3 nm focus
+

## Slide 34: lysozyme: real and reciprocal
+
+

## Slide 35
False color intensity
sample
detector
Meaning of “Molecular Transform”
+

## Slide 36
False color intensity
sample
detector
Meaning of “Molecular Transform”
+

## Slide 37
Meaning of “Molecular Transform”
False color intensity
sample
detector
+

## Slide 38
False color intensity
sample
detector
Meaning of “Molecular Transform”
+

## Slide 39
False color intensity
sample
detector
Meaning of “Molecular Transform”

## Slide 40: Diffraction from a 3D lattice
real space
reciprocal space
+

## Slide 41: Diffraction from a 3D lattice
real space
reciprocal space
+

## Slide 42: Ewald Sphere
Ewald sphere
(h,k,l)

## Slide 43: Ewald Sphere
Ewald sphere
(h,k,l)
d*

## Slide 44: Ewald Sphere
Ewald sphere
spindle axis
(h,k,l)
d*

## Slide 45: Ewald Sphere
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 46: Ewald Sphere
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 47: Ewald Sphere
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)

## Slide 48: Ewald Sphere
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 49: Ewald Sphere
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
θ
λ = 2 d sin(θ)

## Slide 50: beam divergence
F(h,k,l)
F(0,0,0)
Ewald sphere
diffracted ray
d*
λ*
λ*

## Slide 51: beam divergence
Ewald sphere
λ*
λ*
F(0,0,0)
d*
diffracted ray

## Slide 52: Divergence Arndt & Wonacott (1977)

## Slide 53: divergence = 0 º

## Slide 54: divergence = 0.3 º

## Slide 55: spectral dispersion
Ewald sphere
diffracted ray
d*
λ*
λ*
F(h,k,l)
F(0,0,0)

## Slide 56: spectral dispersion
Ewald sphere
diffracted ray
λ’*
λ’*
F(h,k,l)
F(0,0,0)
d*

## Slide 57: dispersion = 0

## Slide 58: dispersion = 0.014% (Si 111)

## Slide 59: dispersion = 0.25% (CuKα)

## Slide 60: dispersion = 0.6%

## Slide 61: dispersion = 1.3%

## Slide 62: dispersion = 2.6%

## Slide 63: dispersion = 5.1%

## Slide 64: What if crystal is bent?

## Slide 65: What if crystal is bent?

## Slide 66
Ewald’s “mosaic” picture

## Slide 67
Ewald’s “mosaic” picture

## Slide 68
Ewald’s “mosaic” picture
What is
this stuff?

## Slide 69
Darwin’s original picture

## Slide 70
“mosaicity” with visible light

## Slide 71: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 72: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 73: mosaic spread = 0 º

## Slide 74: mosaic spread = 0.1º

## Slide 75: mosaic spread = 0.2º

## Slide 76: mosaic spread = 0.4º

## Slide 77: mosaic spread = 0.6º

## Slide 78: mosaic spread = 0.8º

## Slide 79: mosaic spread = 1.0º

## Slide 80: mosaic spread = 1.5º

## Slide 81: mosaic spread = 2.0º

## Slide 82: mosaic spread = 2.5º

## Slide 83: mosaic spread = 3.2º

## Slide 84: mosaic spread = 6.4º

## Slide 85: mosaic spread = 12.8º

## Slide 86: spot shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ’*
λ’*
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
Ewald sphere
λ*
λ*
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 87
source
detector
d
atom #1
atom #2
“near”-ly Bragg’s Law

## Slide 88
“crystal”
detector
x-ray beam
peak
intensity
integrated
intensity
mosaicity vs coherence length

## Slide 89: mosaicity vs coherence length
10 atoms
0.1 μm
50 atoms
0.5 μm
100 atoms
1 μm
200 atoms
2 μm
300 atoms
3 μm
400 atoms
4 μm
500 atoms
5 μm
1000 atoms
10 μm
position on detector (mm)
intensity (photons/SR/atom)

## Slide 90: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 91: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 92: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 93: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 94: mosaicity vs coherence length
B factor
mosaic
spread
intensity (photons/SR)
number of atoms in line

## Slide 95: “B” factors
ATOM 122 N LEU A 13 -3.244 25.808 19.998 1.00 16.96 N
ATOM 123 CA LEU A 13 -2.877 25.448 21.355 1.00 15.29 C
ATOM 124 C LEU A 13 -2.792 23.966 21.561 1.00 17.54 C
ATOM 125 O LEU A 13 -1.814 23.493 22.143 1.00 16.35 O
ATOM 126 CB LEU A 13 -3.907 26.164 22.268 1.00 18.72 C
ATOM 127 CG LEU A 13 -3.577 25.982 23.738 1.00 21.19 C
ATOM 128 CD1 LEU A 13 -2.283 26.820 24.019 1.00 19.43 C
ATOM 129 CD2 LEU A 13 -4.702 26.474 24.639 1.00 24.65 C
ATOM 130 N SER A 14 -3.677 23.149 20.979 1.00 15.96 N
ATOM 131 CA SER A 14 -3.646 21.711 21.061 1.00 18.26 C
ATOM 132 C SER A 14 -2.373 21.203 20.360 1.00 18.71 C
ATOM 133 O SER A 14 -1.747 20.315 20.930 1.00 17.47 O
ATOM 134 CB SER A 14 -4.875 21.077 20.419 1.00 17.62 C
ATOM 135 OG ASER A 14 -4.825 19.665 20.388 0.50 20.89 O
ATOM 136 OG BSER A 14 -6.027 21.408 21.164 0.50 18.67 O
ATOM 137 N LYS A 15 -2.045 21.772 19.215 1.00 18.03 N
ATOM 138 CA LYS A 15 -0.799 21.361 18.555 1.00 18.12 C
ATOM 139 C LYS A 15 0.446 21.707 19.351 1.00 18.81 C
ATOM 140 O LYS A 15 1.400 20.948 19.411 1.00 17.77 O
ATOM 141 CB LYS A 15 -0.700 22.034 17.177 1.00 14.49 C
ATOM 142 CG LYS A 15 -1.727 21.368 16.256 1.00 16.12 C
ATOM 143 CD LYS A 15 -1.663 22.147 14.936 1.00 19.40 C
ATOM 144 CE ALYS A 15 -2.725 21.614 13.986 0.50 17.42 C
ATOM 145 CE BLYS A 15 -1.750 21.211 13.750 0.50 17.01 C
ATOM 146 NZ ALYS A 15 -2.346 21.674 12.559 0.50 18.61 N
ATOM 147 NZ BLYS A 15 -3.052 20.513 13.741 0.50 18.76 N

## Slide 96: strong reflection

## Slide 97: weak reflection

## Slide 98: What is a "B factor"?

## Slide 99: What is a "B factor"?

## Slide 100: What is a "B factor"?

## Slide 101: What is a "B factor"?
order
order
disorder
B-factor

## Slide 102
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 103
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 104
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 105
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 106
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 107
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 108
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 109
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 110: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 111: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 112: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 113: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 114: B factor from image analysis
B = 500

## Slide 115: B factor from image analysis
B = 20

## Slide 116: Reciprocal Space
. 1/distance
. λ = 2d sin(θ)
. Gaussian → Gaussian
. Lattice → lattice
. Convolution → product
. Rotations same
. “angle space”
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_recipspace_2025.pptx

## Slide 117: The B factor
Bragg, W. H. (1914)."XCVII. The intensity of reflexion of X rays by crystals", Philosophical Magazine Series 6 27, 881-899. Published May 1 1914

## Slide 118: Temperature is not enough
Debye, P. J. W. (1914)."Interferenz von Röntgenstrahlen und Wärmebewegung", Annalen der Physik 348, 49-92.

## Slide 119: Dawn of the Age of Uncertainty

## Slide 120: Temperature is not enough
Debye, P. J. W. & Scherrer, P. (1918)."Atomic structure", Physikalische Zeitschrift 19, 474-483.
Scherrer
30
Debye
35

## Slide 121: 1928: the last straw for determinism
Davisson, C. J. (1928). "The diffraction of electrons by a crystal of nickel", Bell System Technical Journal, The 7, 90-105.
Davisson-Germer Experiment
Single electron interferes with itself.
Otherwise, diffraction cannot work!

## Slide 122: Resolution
http://bl831.als.lbl.gov/~jamesh/movies/resolution.mpeg

## Slide 123: Resolution: low-angle cutoff
http://bl831.als.lbl.gov/~jamesh/movies/lo_cut.mpeg

## Slide 124: R-factor
http://bl831.als.lbl.gov/~jamesh/movies/rfactor.mpeg

## Slide 125: Figure of Merit
http://bl831.als.lbl.gov/~jamesh/movies/dephase.mpeg

## Slide 126: Overloads
http://bl831.als.lbl.gov/~jamesh/movies/overloads.mpeg

## Slide 127: Completeness: missing wedge
http://bl831.als.lbl.gov/~jamesh/movies/osc.mpeg

## Slide 128: Completeness: random deletion
http://bl831.als.lbl.gov/~jamesh/movies/completeness.mpeg

## Slide 129
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 130
disorder
+ averaging
= poor resolution
Diffraction Take-Home Lesson:

## Slide 131: Reciprocal Space
. 1/distance
. λ = 2d sin(θ)
. Gaussian → Gaussian
. Lattice → lattice
. Convolution → product
. Rotations same
. “angle space”
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_recipspace_2025.pptx

## Slide 132: Laue’s diffraction photograph (not to be confused with Laue diffraction)
Friedrich, W., Knipping, P. &
Laue, M. (1913). "Interferenzerscheinungen bei Röntgenstrahlen", Annalen der Physik
346, 971-988.
ZnS
Ewald, P. (1979).
"A review of my papers on crystal optics 1912 to 1968", Acta Cryst. A 35, 1-9.
Submitted
June 8 1912
“In 1910, when I began work on my thesis, there was no quantitative proof for the internal periodicity of crystals. My teacher Sommerfeld had the idea that … a lattice, would produce observable double refraction”

## Slide 133: W. L. Bragg on Spot Shape
Bragg, W. L. (1912). “On the diffraction of short electromagnetic waves by a crystal” Proc. Cambridge Philos. Soc. 17, 43-57
nλ = 2d sin θ
23 years old