## Slide 1: PowerPoint File available:
http://bl831.als.lbl.gov/
~jamesh/powerpoint/
CSHL_tipsNtricks_2014.pptx

## Slide 2: Acknowledgements
Ken Frankel Chris Neilson Michael Blum Joe Ferrara
8.3.1 creator: Tom Alber
Center for Structure of Membrane Proteins
Membrane Protein Expression Center II
Center for HIV Accessory and Regulatory Complexes
W. M. Keck Foundation
Plexxikon, Inc.
M D Anderson CRC
University of California Berkeley
University of California San Francisco
National Science Foundation
University of California Campus-Laboratory Collaboration Grant
Henry Wheeler
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.

## Slide 3: Now What?
don’t forget: spin 180°

## Slide 4: Now What?
10 Å

## Slide 5: Ways to improve diffraction
New crystal form
Purify
  - add a column
  - heat shock
Bind something
  - Known ligand
  - Silver bullets
Change the clone
  - chop off floppy bits
  - homolog
  - Ala -> Lys mutants
Make Protein Sit Still!!!
Newman J. (2006) Acta Cryst. D62 27-31.

## Slide 6: Basic Principles
“Hell, there are NO RULES here - we're trying to accomplish something.”
Thomas A. Edison – inventor
“You’ve got to have an ASSAY.”
Arthur Kornberg – Nobel Laureate
“Control, control, you must learn CONTROL!”
Yoda – Jedi Master

## Slide 7: The Best Assay

## Slide 9: The Best Assay?

## Slide 10: What is the primary goal?
Resolution
  problem: disorder
  solution: make protein sit still
Phases
  problem: small difference
  solution: averaging

## Slide 11: strong reflection
What is “disorder”?

## Slide 12: weak reflection
What is “disorder”?

## Slide 13: What is “disorder”?

## Slide 14: What is “disorder”?

## Slide 15: What is “disorder”?

## Slide 16: What is “disorder”?
order
order
disorder
B-factor

## Slide 17: “B” factors
ATOM 122 N LEU A 13 -3.244 25.808 19.998 1.00 16.96 N
ATOM 123 CA LEU A 13 -2.877 25.448 21.355 1.00 15.29 C
ATOM 124 C LEU A 13 -2.792 23.966 21.561 1.00 17.54 C
ATOM 125 O LEU A 13 -1.814 23.493 22.143 1.00 16.35 O
ATOM 126 CB LEU A 13 -3.907 26.164 22.268 1.00 18.72 C
ATOM 127 CG LEU A 13 -3.577 25.982 23.738 1.00 21.19 C
ATOM 128 CD1 LEU A 13 -2.283 26.820 24.019 1.00 19.43 C
ATOM 129 CD2 LEU A 13 -4.702 26.474 24.639 1.00 24.65 C
ATOM 130 N SER A 14 -3.677 23.149 20.979 1.00 15.96 N
ATOM 131 CA SER A 14 -3.646 21.711 21.061 1.00 18.26 C
ATOM 132 C SER A 14 -2.373 21.203 20.360 1.00 18.71 C
ATOM 133 O SER A 14 -1.747 20.315 20.930 1.00 17.47 O
ATOM 134 CB SER A 14 -4.875 21.077 20.419 1.00 17.62 C
ATOM 135 OG ASER A 14 -4.825 19.665 20.388 0.50 20.89 O
ATOM 136 OG BSER A 14 -6.027 21.408 21.164 0.50 18.67 O
ATOM 137 N LYS A 15 -2.045 21.772 19.215 1.00 18.03 N
ATOM 138 CA LYS A 15 -0.799 21.361 18.555 1.00 18.12 C
ATOM 139 C LYS A 15 0.446 21.707 19.351 1.00 18.81 C
ATOM 140 O LYS A 15 1.400 20.948 19.411 1.00 17.77 O
ATOM 141 CB LYS A 15 -0.700 22.034 17.177 1.00 14.49 C
ATOM 142 CG LYS A 15 -1.727 21.368 16.256 1.00 16.12 C
ATOM 143 CD LYS A 15 -1.663 22.147 14.936 1.00 19.40 C
ATOM 144 CE ALYS A 15 -2.725 21.614 13.986 0.50 17.42 C
ATOM 145 CE BLYS A 15 -1.750 21.211 13.750 0.50 17.01 C
ATOM 146 NZ ALYS A 15 -2.346 21.674 12.559 0.50 18.61 N
ATOM 147 NZ BLYS A 15 -3.052 20.513 13.741 0.50 18.76 N

## Slide 18: “B” factors
B = 8π2 ux2
ux = RMS variation perpendicular to plane

## Slide 19: The B factor
Bragg, W. H. (1914)."XCVII. The intensity of reflexion of X rays by crystals", Philosophical Magazine Series 6 27, 881-899. Published May 1 1914

## Slide 20
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 21
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 22
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 23
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 24
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 25
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 26
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 27
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 29: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 30: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 31: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 32: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 33: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 34: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 35: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 36: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 37
Wavelength Does Not Matter!
crystal diameter (μm)
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 38
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry

## Slide 39
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 40
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 41: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 42: lysozyme: real and reciprocal

## Slide 43: lysozyme: thermal motion
RMS displacement from B factors

## Slide 44
Disorder
Trumps
Everything!
Diffraction Take-Home Lesson:

## Slide 45: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 46: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 47: Muybridge’s galloping horse (1878)

## Slide 48: realistic “crystal” of horses

## Slide 49: average structure: galloping horse

## Slide 50: average structure: 1-sigma contour

## Slide 51: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 52: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 53: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 54
Damage is done
by dose (MGy)
proportional to photons/area
not time
not heat

## Slide 55: No Damage in the Dark!
Experiment time (hours)
Peak absorbance (electrons)
4.6 5.0 5.4 5.8 6.2 6.6
0 5 10 15 20 25

## Slide 56: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 57: Rough values of energy quanta
1 MeV 100 GJ/mol Medical radiation therapy
100 keV 10 GJ/mol Medical imaging
10 keV 1 GJ/mol X-ray crystallography
1 keV 100 MJ/mol S and P K-edges
100 eV 10 MJ/mol “water window”
10 eV 1 MJ/mol C≡C bond
1 eV 100 kJ/mol C-C bond, visible light
100 meV 10 kJ/mol hydrogen bond
10 meV 1 kJ/mol heat (~300 K)

## Slide 58: Energy Transfer Analogy
37 C

## Slide 59: Types of radiation damage
Global
Specific

## Slide 60
Global damage
Howells, et al. (2009) J. Electron Spectrosc. Relat. Phenom. 170, 4-12.

## Slide 61: Types of radiation damage
Global
  scale factor
  B factor
Specific

## Slide 62: Global Damage: scale
accumulated dose (MGy)
normalized total intensity

## Slide 63: Types of radiation damage
Global
  scale factor
  B factor
Specific

## Slide 64: Global Damage: B factor
accumulated dose (MGy)
relative B factor
data taken from Kmetko et. al. 2006
~ 1.0 B/MGy

## Slide 65
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
resolution (Å)
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Global damage

## Slide 66
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Global damage
10 MGy/Å

## Slide 67: 10 MGy/Å
what the is a MGy?
http://bl831.als.lbl.gov/
damage_rates.pdf
Holton J. M. (2009) J. Synchrotron Rad. 16 133-42

## Slide 68
How long will my crystal last?
synch line type flux beamsize flux density dose max xtal min site
ph/s μm ph/μm2/s rate lifetime lifetime
ALS 4.2.2 MAD 2.2e11 75x80 3.7e+07 27.3 kGy/s 18 m 73 s
ALS 5.0.1 mono 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 5.0.2 MAD 8e11 100 1.0e+08 51.8 kGy/s 9.6 m 39 s
ALS 5.0.3 mono 1.7e11 100 2.2e+07 11 kGy/s 45 m 3 m
ALS 8.2.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 8.2.2 MAD 2.3e11 100 2.9e+07 14.9 kGy/s 34 m 2.2 m
ALS 8.3.1 MAD 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 8.3.1 typical 1.1e11 100 1.4e+07 10.3 kGy/s 48 m 3.2 m
ALS 12.3.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 12.3.1 ML 4.0e12 100 5.1e+08 513 kGy/s 58 s 3.9 s
APS 8-BM MAD 1e11 200 2.5e+06 1.27 kGy/s 6.6 h 26 m
APS 14-BM-C mono 5.8e10 200 1.4e+06 738 Gy/s 11 h 45 m
APS 14-BM-D MAD 3.3e9 200 8.2e+04 42 Gy/s 8.3 d 13 h
APS 14-ID-B MAD 6.0e10 200 1.5e+06 763 Gy/s 11 h 44 m
APS 17-BM MAD 1.1e11 200 2.8e+06 1.4 kGy/s 6 h 24 m
APS 17-ID MAD 2.3e11 200 5.8e+06 2.93 kGy/s 2.8 h 11 m
APS 19-BM MAD 2.0e11 70x60 4.8e+07 24.2 kGy/s 21 m 83 s
APS 19-ID MAD 1.3e13 80x40 4.1e+09 2.07 MGy/s 15 s 0.97 s
APS 19-ID typical 5.5e11 100x100 5.5e+07 28 kGy/s 18 m 71 s
APS 22-BM MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 23-ID-B MAD 1e13 75x25 5.3e+09 3.01 MGy/s 10 s 0.66 s
APS 23-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 24-ID-C MAD 1.3e13 20x60 1.1e+10 5.23 MGy/s 5.7 s 0.38 s
APS 24-ID-E MAD 0.5e13 20x100 2.5e+09 1.19 MGy/s 25 s 1.7 s
APS 31-ID MAD 2e12 70 4.1e+08 194 kGy/s 2.6 m 10 s

## Slide 69
D1/2 >> 1012 Gy
D1/2 ~ 10 Gy

## Slide 70: Dose-doubling concentration
Na | 44
Mg | 27
P | 9
S | 7
Cl | 5
K | 3.3
Ca | 2.7
Fe | 1.0
Cu | 0.67
Zn | 0.58
molar, at the Se edge based on RADDOSE
As | 0.44
Se | 0.42
Br | 2.9
I | 0.47
Gd | 0.21
Ta | 0.13
Pt | 0.17
Au | 0.16
Hg | 0.16
U | 0.23

## Slide 71: Dose-doubling concentration
Na | 44
Mg | 27
P | 9
S | 7
Cl | 5
K | 3.3
Ca | 2.7
Fe | 1.0
Cu | 0.67
Zn | 0.58
molar, at the Se edge based on RADDOSE
As | 0.44
Se | 0.42
Br | 2.9
I | 0.47
Gd | 0.21
Ta | 0.13
Pt | 0.17
Au | 0.16
Hg | 0.16
U | 0.23

## Slide 72: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific

## Slide 73: Riso vs dose
Riso (%)
change in dose (MGy)
data taken from Banumathi, et al. (2004) Acta Cryst. D 60, 1085-1093.

## Slide 74: Riso vs dose
Riso (%)
change in dose (MGy)
data taken from Banumathi, et al. (2004) Acta Cryst. D 60, 1085-1093.
Riso ≈ 0.7 %/MGy

## Slide 75
How long will my crystal last?
synch line type flux beamsize flux density dose max xtal min site
ph/s μm ph/μm2/s rate lifetime lifetime
ALS 4.2.2 MAD 2.2e11 75x80 3.7e+07 27.3 kGy/s 18 m 73 s
ALS 5.0.1 mono 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 5.0.2 MAD 8e11 100 1.0e+08 51.8 kGy/s 9.6 m 39 s
ALS 5.0.3 mono 1.7e11 100 2.2e+07 11 kGy/s 45 m 3 m
ALS 8.2.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 8.2.2 MAD 2.3e11 100 2.9e+07 14.9 kGy/s 34 m 2.2 m
ALS 8.3.1 MAD 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 8.3.1 typical 1.1e11 100 1.4e+07 10.3 kGy/s 48 m 3.2 m
ALS 12.3.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 12.3.1 ML 4.0e12 100 5.1e+08 513 kGy/s 58 s 3.9 s
APS 8-BM MAD 1e11 200 2.5e+06 1.27 kGy/s 6.6 h 26 m
APS 14-BM-C mono 5.8e10 200 1.4e+06 738 Gy/s 11 h 45 m
APS 14-BM-D MAD 3.3e9 200 8.2e+04 42 Gy/s 8.3 d 13 h
APS 14-ID-B MAD 6.0e10 200 1.5e+06 763 Gy/s 11 h 44 m
APS 17-BM MAD 1.1e11 200 2.8e+06 1.4 kGy/s 6 h 24 m
APS 17-ID MAD 2.3e11 200 5.8e+06 2.93 kGy/s 2.8 h 11 m
APS 19-BM MAD 2.0e11 70x60 4.8e+07 24.2 kGy/s 21 m 83 s
APS 19-ID MAD 1.3e13 80x40 4.1e+09 2.07 MGy/s 15 s 0.97 s
APS 19-ID typical 5.5e11 100x100 5.5e+07 28 kGy/s 18 m 71 s
APS 22-BM MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 23-ID-B MAD 1e13 75x25 5.3e+09 3.01 MGy/s 10 s 0.66 s
APS 23-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 24-ID-C MAD 1.3e13 20x60 1.1e+10 5.23 MGy/s 5.7 s 0.38 s
APS 24-ID-E MAD 0.5e13 20x100 2.5e+09 1.19 MGy/s 25 s 1.7 s
APS 31-ID MAD 2e12 70 4.1e+08 194 kGy/s 2.6 m 10 s

## Slide 76: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific
  depends on chemistry

## Slide 77
Holton (2009) J. Synchrotron Rad. 16 133-42
Specific damage rates
world records:
MGy reaction reference
~45 global damage Owen et al. (2006)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 78: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific
  depends on chemistry
  destroys phasing signal

## Slide 79: Specific damage
final, refined phases

## Slide 80: Specific damage
experimentally-obtained phases

## Slide 81
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.

## Slide 82
1.0
0.0
fraction
unconverted
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.

## Slide 83: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 84: Spot Shape
Ewald sphere
(h,k,l)

## Slide 85: Spot Shape
Ewald sphere
(h,k,l)
d*

## Slide 86: Spot Shape
Ewald sphere
spindle axis
(h,k,l)
d*

## Slide 87: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 88: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 89: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)

## Slide 90: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 91: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
θ
λ = 2 d sin(θ)

## Slide 92: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 93: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 94: mosaic spread = 0 º

## Slide 95: mosaic spread = 0.1º

## Slide 96: mosaic spread = 0.2º

## Slide 97: mosaic spread = 0.4º

## Slide 98: mosaic spread = 0.6º

## Slide 99: mosaic spread = 0.8º

## Slide 100: mosaic spread = 1.0º

## Slide 101: mosaic spread = 1.5º

## Slide 102: mosaic spread = 2.0º

## Slide 103: mosaic spread = 2.5º

## Slide 104: mosaic spread = 3.2º

## Slide 105: mosaic spread = 6.4º

## Slide 106: mosaic spread = 12.8º

## Slide 107: Radiation Damage
48 MGy
20 MGy
2 MGy

## Slide 108
~0 MGy

## Slide 109
5 MGy

## Slide 110
11 MGy

## Slide 111
16 MGy

## Slide 112
22 MGy

## Slide 113
26 MGy

## Slide 114: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 115
stress and strain
radiation damage = defects
What about
undamaged crystals?

## Slide 116: Purity is crucial!
McPherson, A., Malkin, A. J., Kuznetsov, Y. G. & Plomp, M. (2001)."Atomic force microscopy applications in macromolecular crystallography", Acta Cryst. D 57, 1053-1060.
not important for
initial hits
important for
resolution

## Slide 117: What can I improve?
Purity!
is 95% good enough? 99%?
Purity!
conformational (homogeneous)
Purity!
kinetic (stable over time)

## Slide 118: What can I improve?
add a column
fractional recrystallization
heat shock
mutate Lys
avoid stress
Newman J. (2006) Acta Cryst. D62 27-31.

## Slide 119: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 120
Ewald’s “mosaic” picture

## Slide 121
Ewald’s “mosaic” picture

## Slide 122
Ewald’s “mosaic” picture
What is
this stuff?

## Slide 123
Darwin’s original picture

## Slide 124
“mosaicity” with visible light

## Slide 125
source
detector
d
atom #1
atom #2
“near”-ly Bragg’s Law

## Slide 126
“crystal”
detector
x-ray beam
peak
intensity
integrated
intensity
mosaicity vs Wilson B

## Slide 127: mosaicity vs Wilson B
10 atoms
0.1 μm
50 atoms
0.5 μm
100 atoms
1 μm
200 atoms
2 μm
300 atoms
3 μm
400 atoms
4 μm
500 atoms
5 μm
1000 atoms
10 μm
position on detector (mm)
intensity (photons/SR/atom)

## Slide 128: mosaicity vs Wilson B
B factor
mosaic
spread
intensity (photons/SR)
number of atoms in line

## Slide 129
16 MGy

## Slide 130: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 132: Icky Skin Stuff

## Slide 133: Hampton crystal surgery tools

## Slide 134: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.
basically: no sudden moves!

## Slide 135: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 136: Vicker’s hardness
Tachibana et al. (1999) J. Cryst. Growth 198, 661-664.
Koizumi et al. (2009) Physical Review E 79, 61917.

## Slide 137: platy crystals

## Slide 138: platy crystals

## Slide 139: How many crystals do you see?
Shoot the crystal (singular)

## Slide 140: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 141: platy crystals

## Slide 142: platy crystals

## Slide 143: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 144: MiTeGen MicroMesh grids
http://www.mitegen.com/products/micromeshes/micromeshes.shtml

## Slide 145: platy crystals

## Slide 146: platy crystals

## Slide 147: platy crystals

## Slide 148: acupuncture needles

## Slide 149: acupuncture needles

## Slide 150: xtal stuck on tray
?

## Slide 151: xtal stuck on tray

## Slide 152: xtal stuck on tray

## Slide 153: xtal stuck on tray

## Slide 154: xtal stuck on tray

## Slide 155: xtal stuck on tray

## Slide 156: xtal stuck on tray

## Slide 157: MiTeGen MicroTools
http://www.mitegen.com/products/microtools/microtools_kit1.shtml

## Slide 158: MiTeGen MicroSaw
http://www.mitegen.com/products/microtools/microtools_kit1.shtml
10 μm thick!

## Slide 159: xtal stuck on tray

## Slide 160: xtal stuck on tray

## Slide 161: xtal stuck on tray

## Slide 162: xtal stuck on tray

## Slide 163: crystals too fragile? cross-link them!
Lusty (1999) J. Appl. Crystallogr. 32, 106-112.
McWhirter, et al. (1999) PNAS USA 96, 8408-8413.

## Slide 164: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 165: cryo assay 1 does your crystal “like” it?

## Slide 166: Osmolarity matching
Look up osmotic pressure of mother liquor in CRC Handbook of Physics and Chemistry, Section D-232. 11th column is O: Os/kg
Look up o.p. of cryoprotectant agent.
Modify conc. of mother liquor to minimize change in osmotic pressure.

## Slide 167: matching osmolarity

## Slide 168: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 169: Dielectric matching
Travers & Douzou (1970) J. of Phys. Chem. 74, 2243-2244.
Petsko (1975) J. Mol. Biol. 96, 381-388.
Douzou (1977) Cryobiochemistry. Academic Press.

## Slide 170: Tris buffer vs temperature
Temperature (C)
pH

## Slide 171: Tris buffer under cryo
Temperature (K)
pH*
Douzou (1977) Cryobiochemistry. Academic Press.

## Slide 172: matching dielectric const.

## Slide 173: matching dielectric const.

## Slide 174: matching dielectric const.

## Slide 175: matching dielectric const.

## Slide 176: My crystal “dissolved” in the oil!
no, it didn’t…

## Slide 177: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 178: ice = bad

## Slide 179: ice = bad

## Slide 180: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 181: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 182: cryo assay
does it “freeze clear”?
vs.

## Slide 183: You do not need a cryostream to check your cryo!
liquid N2

## Slide 184: clear drop, right?

## Slide 185: cubic ice
0.92 g/cm3

## Slide 186: hexagonal ice
0.92 g/cm3

## Slide 187: nano-crystalline cubic ice
~0.93 g/cm3

## Slide 188: amorphous ice
0.94 g/cm3

## Slide 189: annealing
easiest way to change your cryo
WATCH droplet melt before re-cooling
snapshots only!
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 190: annealing gone wrong

## Slide 191: annealing – in slo-mo

## Slide 192: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 193: opened drop: you have ~30 seconds!
equilibrated drop

## Slide 194: First diffraction from protein xtal
Bernal, J. & Crowfoot, D. (1934). "X-ray photographs of crystalline pepsin", Nature 133, 794-795.
1934

## Slide 195: Dehydration: 1934
100 μm
2 mm
= 1.5 μL
= 1.0 nL
10 μm
= 1.0 pL
and 2014?
1 μm
= 1.0 fL

## Slide 196
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 197
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 198
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 200: Non-isomorphism in lysozyme
RH 84.2% vs 71.9%
Riso = 44.5%
RMSD = 0.18 Å
3aw6
3aw7

## Slide 201: “same drop” ?

## Slide 202
Magdoff & Crick (1955) “Ribonuclease II. Accuracy of measurement and shrinkage”, Acta Cryst. 8, 461-8.
Crick & Magdoff (1956) “The theory of the method of isomorphous replacement for protein crystals”, Acta Cryst. 9, 901-8.

## Slide 203: Elastic deformation = non-isomorphism

## Slide 204: Elastic deformation = non-isomorphism

## Slide 205: Plastic deformation = poor diffraction

## Slide 206: Plastic deformation = poor diffraction

## Slide 207: Xtal5_t1 graph
Spot intensity

## Slide 208
Spot intensity

## Slide 209: How much H2 are we making?
Meents et al. (2010) claimed:
"400 molecules of H2 for every 12.5 keV photon“
= 3.3x10-7 mol/J
200 kGy to 100 um3 = 0.24 J
= 1.2x10-8 mol H2
100 um3 of water = 6.7x10-8 mol
→ 18% of water has reacted!

## Slide 210: OK! OK! Now I am afraid!
What should I do?

## Slide 211: oil is your friend

## Slide 212: opened drop: you have ~30 seconds!
oil

## Slide 213: oiled drop: you have ~3 hours
oil

## Slide 214: Dabbing to remove excess
clean surface

## Slide 215: Dabbing to remove excess
clean surface

## Slide 216: Dabbing to remove excess
clean surface

## Slide 217: Dabbing to remove excess
clean surface

## Slide 218: Dabbing to remove excess
clean surface

## Slide 219: Dabbing to remove excess
clean surface

## Slide 220: Dabbing to remove excess
clean surface

## Slide 221: Crystal fishing demystified
“Lasso” method

## Slide 222: Crystal fishing demystified

## Slide 223: Crystal fishing demystified

## Slide 224: Crystal fishing demystified

## Slide 225: Crystal fishing demystified

## Slide 226: Crystal fishing demystified

## Slide 227: Crystal fishing demystified

## Slide 228: Crystal fishing demystified
“Soup Spoon” method

## Slide 229: Crystal fishing demystified

## Slide 230: Crystal fishing demystified

## Slide 231: Crystal fishing demystified

## Slide 232: Crystal fishing demystified

## Slide 233: Crystal fishing demystified

## Slide 234: Crystal fishing demystified

## Slide 235: plunge cooling
foam insulation
warm, moist air
cold N2
liquid N2
ice

## Slide 236: plunge cooling
cold N2
foam insulation
warm, moist air
liquid N2
ice

## Slide 237: Warkentin method
foam insulation
liquid N2
Warkentin (2006) J. Appl. Crystallogr. 39, 805-811.

## Slide 238: COMBINE cryoprotectants!
organic + hyperquenching
malonate + glycerol
“confusion principle”
~30% glycerol is not as good as:
5% glycerol +
5% PEG400 +
5% MPD +
5% sucrose +
5% sorbitol +
5% ethylene glycol

## Slide 239: COMBINE cryoprotectants!
organic + hyperquenching
malonate + glycerol
“confusion principle”
~30% glycerol is not as good as:
25% glycerol +
1% PEG400 +
1% MPD +
1% sucrose +
1% sorbitol +
1% ethylene glycol

## Slide 240: Pressure as a cryoprotectant
Thomanek et al. (1973)
Acta Cryst. A 29, 263-265.
Fig. 1. Equipment for freezing at 2500 atm. (1) Steel cylinder, (2) and (3) pistons which can be coupled to a hydraulic press, (4) Teflon cell, (5) vessel for liquid nitrogen, (6) steel tube used for pushing cell (4) out of cylinder (1), (7) steel rings. Scale is in mm. A-A : direction of the force.

## Slide 241: Pressure as a cryoprotectant
Kim et al. (2005) Acta Cryst. D 61, 881-890.
High-pressure cooling apparatus. (a) Sample pin. An oil-coated crystal in a cryoloop is inserted into one end (right) of a brass tube (2.5 cm long) and a
steel piano wire in the other end (left). (b) High-pressure tubing assembly in a LN2 container. A sample is loaded into the top of each 30 cm long tube
and is held in place by a magnet outside the tube. Three crystals can be pressure-cooled at a time.

## Slide 242: Pressure as a cryoprotectant
Balzers HPM 010 High Pressure Freezer The Bal-Tec HPM 010 is a high pressure freezing machine that is designed to freeze non-cryoprotected samples up to 0.5mm in thickness without significant ice crystal damage. Samples can then be processed for TEM using the freeze substitution protocol. These two methods are the state-of-the-art for TEM specimen preparation.
http://www.leica-microsystems.com/products/
electron-microscope-sample-preparation/
industrial-materials/cryo-preparation/
details/product/leica-em-pact2/

## Slide 243: Pressure as a cryoprotectant

## Slide 244: Response to dehydration
www.proteros.de

## Slide 245: Response to dehydration
www.proteros.de

## Slide 246: Response to dehydration
www.proteros.de

## Slide 247: Response to dehydration
www.proteros.de

## Slide 248: Response to dehydration
www.proteros.de

## Slide 249: Response to dehydration
www.proteros.de

## Slide 250: Response to dehydration
www.proteros.de

## Slide 251: Response to dehydration
www.proteros.de

## Slide 252: Ostwald Ripening
http://xray.bmc.uu.se/terese/tutorial6.html

## Slide 253: … but does it work for membrane proteins?
Efremov, R. G. & Sazanov, L. A. (2011)."Structure of the membrane domain of respiratory complex I", Nature 476, 414-420.
“To improve diffraction properties, crystals were slowly cooled to 4 C, placed into micro-dialysis buttons, and mother liquor was exchanged by dialysis for 0.1 M sodium acetate (pH 4.8), 0.15 M sodium tartrate (pH 5.0), 30% PEG4000, 0.1% sodium cholate and 12.5% glycerol over a period of 5 days.”
CCP4BB:
“We used it for a large membrane protein complex and diffraction improved from ~7 to 2.7 A. The crystal is fished out and put into mother liquor solution in the button, sealed with dialysis membrane and the button is then placed into about 5 mls of mother liquor with slightly higher PEG concentration. Then you just exchange outside buffer every day or so for solutions containing higher concentrations of PEG. We went from ~9 to 30 % PEG4000 in about a week. You can easily observe crystal under microscope and if it cracks - you went too far/too quickly with PEG and need to use a bit less next time. Also, this method allows you to control all other components of the dehydrating solution - we needed to decrease salt concentration at the same time as increasing PEG. You can also introduce/increase cryo-protectant concentration at the same time. With these crystals, otherwise excellent dehydration machines already mentioned did not work, possibly because the process had to be really slow.”

## Slide 254: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 255: beam size vs xtal size
  Put your crystal into the beam

## Slide 256: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 257: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal

## Slide 258: shoot the whole crystal

## Slide 259: shoot the whole crystal

## Slide 260: shoot the whole crystal

## Slide 261: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal

## Slide 262: shoot nothing but the crystal

## Slide 263: shoot nothing but the crystal

## Slide 264: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 265: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!

## Slide 266: Background scattering

## Slide 267: Background scattering
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
real estate is
expensive
use it!

## Slide 268: Fine Slicing
Pflugrath, J. W. (1999)."The finer things in X-ray diffraction data collection", Acta Cryst. D 55, 1718-1725.
background
background

## Slide 269: Classes of error in MX
Dependence on signal
Time
none sqrt proportional
none
1/sqrt
1/prop.
CCD
Read-out
Photon
counting
Beam flicker
Shutter jitter
Sample vibration
Detector calibration
attenuation
partiality
Non-isomorphism
Radiation damage

## Slide 270: Optimal exposure time (faint spots)
thr Optimal exposure time for data set (s)
tref exposure time of reference image (s)
bgref background level near weak spots on
reference image (ADU)
bg0 ADC offset of detector (ADU)
bghr optimal background level (via thr)
σ0 rms read-out noise (ADU)
gain ADU/photon
m multiplicity of data set (including partials)
adjust exposure
so this is ~15

## Slide 271: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!
  The crystal must rotate

## Slide 272: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 273: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 274
anomalous signal
Crick, F. H. C. & Magdoff, B. S. (1956) Acta Crystallogr. 9, 901-908.
Hendrickson, W. A. & Teeter, M. M. (1981) Nature 290, 107-113.
# sites
MW (Da)
ΔF
F
≈ 1.2 f”
√
World record!
ΔF/F = 0.5%
Wang, Dauter & Dauter (2006) Acta Cryst. D 62, 1475-1483.

## Slide 275: Detector calibration: 7235 eV

## Slide 276: Detector calibration: 7247 eV

## Slide 277: Gadox calibration vs energy
photon energy (keV)
Relative absorption depth
same = good!
bad!

## Slide 278
Dan Schuette PhD Thesis (2008) Fig 6.22 page 198, Gruner Lab, Cornell University.
Pilatus is not immune!
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 279: Spatial Heterogeneity in Sharp Spot Sensitivity (SHSSS): Q315r vs Pilatus
3.5
3.0
2.5
2.0
1.5
1.0
0.5
average change in spot intensity (%)
distance between spots (mm)
0.1 1 10 100
Pilatus
Q315r
anomalous mates typically
> 100 mm apart
different
modules

## Slide 280: Fractional error
mult > (—)2
~3%
<ΔF/F>

## Slide 281
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 282: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
unacceptable
damage
unacceptable
read noise

## Slide 283: Data collection parameters:
16 crystals
360° each, inverse beam
7235 eV photon energy
< 1 MGy per xtal
Australian Synchrotron MX1
  35 kGy/s into 100 μm x 100 μm

## Slide 284
RESOLUTION COMPLETENESS R-FACTOR I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OF DATA observed Corr
9.17 99.1% 3.9% 257.47 3.9% 100.0* 91* 5.024 450
6.49 100.0% 5.2% 214.33 5.2% 100.0* 86* 3.836 882
5.30 100.0% 7.2% 165.13 7.2% 100.0* 76* 3.257 1175
4.59 100.0% 7.2% 175.42 7.3% 100.0* 67* 2.589 1403
4.10 99.9% 7.7% 174.13 7.7% 100.0* 59* 2.264 1594
3.74 99.9% 9.4% 143.09 9.4% 100.0* 49* 1.953 1783
3.47 100.0% 11.2% 120.17 11.2% 100.0* 39* 1.696 1942
3.24 100.0% 14.1% 91.14 14.1% 100.0* 30* 1.333 2103
3.06 99.9% 19.5% 65.79 19.5% 100.0* 23* 1.117 2214
2.90 99.9% 29.0% 44.85 29.1% 99.9* 17* 1.008 2369
2.77 99.9% 40.5% 32.58 40.6% 99.8* 11* 0.901 2493
2.65 99.9% 52.8% 25.16 52.9% 99.8* 10* 0.866 2605
2.54 100.0% 67.4% 19.47 67.6% 99.6* 2 0.804 2705
2.45 100.0% 88.9% 14.58 89.2% 99.2* 4 0.831 2859
2.37 100.0% 109.3% 9.97 109.7% 98.1* 5 0.829 2925
2.29 100.0% 138.2% 6.87 138.9% 96.1* 1 0.760 3037
2.22 100.0% 197.1% 4.03 198.6% 83.5* -1 0.721 3159
2.16 100.0% 227.3% 2.41 230.8% 46.9* -1 0.677 3224
2.10 61.2% 154.4% 1.28 163.6% 47.0* -2 0.660 1999
2.05 47.9% 170.1% 0.68 196.5% 25.7* 3 0.629 1578
total 93.3% 15.7% 54.30 15.8% 100.0* 12* 1.217 42499
140-fold multiplicity: 16 crystals, 360° each, inverse beam, 7235 eV

## Slide 285: 140-fold multiplicity
18 σ
Phased anomalous difference Fourier
16 σ

## Slide 286: 140-fold multiplicity
15σ = PO4
Phased anomalous difference Fourier

## Slide 287: 140-fold multiplicity
~2σ = Mg?
Phased anomalous difference Fourier

## Slide 288: 140-fold multiplicity
8.2σ = Mg?
DELFAN residual anomalous difference

## Slide 289: Discerning Na+ from Mg++
f’’ (electrons)
DELFAN peak height (σ)
Mg
Ne
Na
F
O
N

## Slide 290: 140-fold multiplicity
7.4σ = Na
DELFAN residual anomalous difference

## Slide 291: Suggested anomalous protocol:
2 wavelengths are better than 1
- (peak + inf)/2, and remote
MAD, not M-SAD!
360° in < 5 MGy
move detector
4X exposure
goto 2

## Slide 292: Summary
100 ADU/pixel
10 μm for lysozyme
~3% error per spot, 1%/MGy
7235 eV for S-SAD
“Attenu-wait”: dose slicing
http://bl831.als.lbl.gov/xtalsize.html
http://bl831.als.lbl.gov/~jamesh/mlfsom/
http://bl831.als.lbl.gov/~jamesh/powerpoint/ACMC_GBU_2013.ppt

## Slide 293: Summary
15 ADU/pixel
10 μm for lysozyme
~3% error per spot, 1%/MGy
8014 eV for S-SAD on Mar
“Attenu-wait”: dose slicing
http://bl831.als.lbl.gov/xtalsize.html
http://bl831.als.lbl.gov/~jamesh/mlfsom/
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_tipsNtricks_2014.pptx

## Slide 294: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 295: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 296: X-ray transmission of materials
Depth into material (μm)
transmission
glass
protein
crystal
water
air

## Slide 297: X-ray scattering of materials
Differential cross section
(scattered photons/solid angle/incident photon/meter thickness)
 7.5 3.8 2.5 1.9 1.5
d-spacing (Ǻ)
water
25% glycerol
paratone-N oil
plastic
glass

## Slide 298: naked xtal

## Slide 299: Crowfoot Cell

## Slide 300: Crowfoot Cell

## Slide 301: Crowfoot Cell
J. D. Bernal and D. Crowfoot, Nature (London) 133, 794 (1934).

## Slide 302: Fluidigm RT/cryo mount
“Diffraction Capable” chip
http://www.fluidigm.com/products/topaz-chips.html

## Slide 303: Plate goniometers
Notes: The non-rotating “plate goniometer” (left) was developed last year. A new incarnation for taking rotation-camera data is now being developed (right). Either of these devices will accept most any crystallization tray that can be rotated 90 degrees to gravity and probe arbitrary points in each crystallization drop with a 50 um x-ray beam. Installing a plate goniometer takes ~30 minutes and the location ~300 mm downbeam from the “normal” protein crystallography sample mounting point makes this technology transferable to most any beamline.
Current status is that a 95% complete data set has been collected from a 50 um lysozyme crystal at room temperature, and trials are now underway to collect data sets from “real” crystals.

## Slide 304
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 306: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 308
8000 Gy/s

## Slide 309: Example Data
lysozyme
50 μm beam
37 Gy/s (0.775 Å)
30s exposures at 20C
90° of data, 97% complete
I/ = 1.5 at 1.9 Å
Rmerge 18% (overall) 5% (low)
ΔB same as 20 min at 100K
B factor
-2
-4
-6
scale vs batch
2
1
0

## Slide 310: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 311: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 312: Every spot is an unpaired partial!
Ispot = k Ncells2
Ewald sphere
range

## Slide 313: Every spot is an unpaired partial!
Ewald sphere
range
Ispot = k Ncells1
Woolfson, M. M. (1997). An introduction to X-ray crystallography. Ch. 2 & 6

## Slide 314: Internal consistency of data
1,850,000 images
112,000 > 10 peaks
33,000 indexed
16,500 good preds
rigid-body:
Rcryst = 0.252
Rfree = 0.232

## Slide 315: what is “partiality”?
F(h,k,l)
Ewald sphere
λ1*
λ2*
F(0,0,0)
F(h,k,l)

## Slide 316: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 317: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 318: MiTeGen RT cell
http://www.mitegen.com/products/micrort/micrort.shtml

## Slide 319: Free-mounting system
http://www.proteros.de/

## Slide 320: Summary
assay, control and open mind
purity, purity, purity
oil is your friend
Warkentin method
try room temp!
http://bl831.als.lbl.gov/~jamesh/powerpoint/
CSHL_tipsNtricks_2014.pptx

## Slide 321: avoiding overlaps
c
c

## Slide 322: avoiding overlaps
c

## Slide 323: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 324: mosaic block = “coherence length”
James R. W. (1962) Optical Principles of the Diffraction of X rays. Ox Bow press.

## Slide 325
detector
sample
detector
x-ray beam
scattering