## Slide 1: PowerPoint File available:
http://bl831.als.lbl.gov/
~jamesh/powerpoint/
CSHL_tipsNtricks_2015.pptx

## Slide 2: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
Center for Structure of Membrane Proteins (CSMP)
Membrane Protein Expression Center II (MPEC)
Center for HIV Accessory and Regulatory Complexes (HARC)
UC Multicampus Research Programs and Initiatives (MRPI)
UCSF Program for Breakthrough Biomedical Research (PBBR) Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
M D Anderson CRC
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser John Spence
Chris Nielsen Clemens Schulze-Briese Aina Cohen Ana Gonzalez

## Slide 3: Now What?
don’t forget: spin 180°

## Slide 4: Now What?
10 Å

## Slide 5: Ways to improve diffraction
New crystal form
Purify
  - add a column
  - heat shock
Bind something
  - Known ligand
  - Silver bullets
Change the clone
  - chop off floppy bits
  - homolog
  - Ala -> Lys mutants
Make Protein Sit Still!!!
Newman J. (2006) Acta Cryst. D62 27-31.

## Slide 6: Basic Principles
“Hell, there are NO RULES here - we're trying to accomplish something.”
Thomas A. Edison – inventor
“You’ve got to have an ASSAY.”
Arthur Kornberg – Nobel Laureate
“Control, control, you must learn CONTROL!”
Yoda – Jedi Master

## Slide 7: The Best Assay

## Slide 9: The Best Assay?

## Slide 10: What is the primary goal?
Resolution
  problem: disorder
  solution: make protein sit still
Phases
  problem: small difference
  solution: averaging

## Slide 11: strong reflection
What is “disorder”?

## Slide 12: weak reflection
What is “disorder”?

## Slide 13: What is “disorder”?

## Slide 14: What is “disorder”?

## Slide 15: What is “disorder”?

## Slide 16: What is “disorder”?
order
order
disorder
B-factor

## Slide 17: “B” factors
ATOM 122 N LEU A 13 -3.244 25.808 19.998 1.00 16.96 N
ATOM 123 CA LEU A 13 -2.877 25.448 21.355 1.00 15.29 C
ATOM 124 C LEU A 13 -2.792 23.966 21.561 1.00 17.54 C
ATOM 125 O LEU A 13 -1.814 23.493 22.143 1.00 16.35 O
ATOM 126 CB LEU A 13 -3.907 26.164 22.268 1.00 18.72 C
ATOM 127 CG LEU A 13 -3.577 25.982 23.738 1.00 21.19 C
ATOM 128 CD1 LEU A 13 -2.283 26.820 24.019 1.00 19.43 C
ATOM 129 CD2 LEU A 13 -4.702 26.474 24.639 1.00 24.65 C
ATOM 130 N SER A 14 -3.677 23.149 20.979 1.00 15.96 N
ATOM 131 CA SER A 14 -3.646 21.711 21.061 1.00 18.26 C
ATOM 132 C SER A 14 -2.373 21.203 20.360 1.00 18.71 C
ATOM 133 O SER A 14 -1.747 20.315 20.930 1.00 17.47 O
ATOM 134 CB SER A 14 -4.875 21.077 20.419 1.00 17.62 C
ATOM 135 OG ASER A 14 -4.825 19.665 20.388 0.50 20.89 O
ATOM 136 OG BSER A 14 -6.027 21.408 21.164 0.50 18.67 O
ATOM 137 N LYS A 15 -2.045 21.772 19.215 1.00 18.03 N
ATOM 138 CA LYS A 15 -0.799 21.361 18.555 1.00 18.12 C
ATOM 139 C LYS A 15 0.446 21.707 19.351 1.00 18.81 C
ATOM 140 O LYS A 15 1.400 20.948 19.411 1.00 17.77 O
ATOM 141 CB LYS A 15 -0.700 22.034 17.177 1.00 14.49 C
ATOM 142 CG LYS A 15 -1.727 21.368 16.256 1.00 16.12 C
ATOM 143 CD LYS A 15 -1.663 22.147 14.936 1.00 19.40 C
ATOM 144 CE ALYS A 15 -2.725 21.614 13.986 0.50 17.42 C
ATOM 145 CE BLYS A 15 -1.750 21.211 13.750 0.50 17.01 C
ATOM 146 NZ ALYS A 15 -2.346 21.674 12.559 0.50 18.61 N
ATOM 147 NZ BLYS A 15 -3.052 20.513 13.741 0.50 18.76 N

## Slide 18: “B” factors
B = 8π2 ux2
ux = RMS variation perpendicular to plane

## Slide 19: The B factor
Bragg, W. H. (1914)."XCVII. The intensity of reflexion of X rays by crystals", Philosophical Magazine Series 6 27, 881-899. Published May 1 1914

## Slide 20
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 21
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 22
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 23
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 24
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 25
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 26
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 27
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 29: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 30: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 31: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 32: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 33: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 34: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 35: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 36: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 37: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 38
Wavelength Does Not Matter!
crystal diameter (μm)
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 39
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry

## Slide 40
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 41
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 42
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 43
Home Lab Resolution (Å)
Synchrotron Resolution (Å)
Predicting resolution limits

## Slide 44
Synchrotron Resolution (Å)
XFEL Resolution (Å)
Predicting resolution limits

## Slide 45
Disorder
Trumps
Everything!
Diffraction Take-Home Lesson:

## Slide 46: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 47: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 48: Muybridge’s galloping horse (1878)

## Slide 49: realistic “crystal” of horses

## Slide 50: average structure: galloping horse

## Slide 51: average structure: 1-sigma contour

## Slide 52: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 53: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 54: lysozyme: real and reciprocal

## Slide 55: lysozyme: thermal motion
RMS displacement from B factors

## Slide 56: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 57
Damage is done
by dose (MGy)
proportional to photons/area
not time
not heat

## Slide 58: No Damage in the Dark!
Experiment time (hours)
Peak absorbance (electrons)
4.6 5.0 5.4 5.8 6.2 6.6
0 5 10 15 20 25

## Slide 59: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 60: Rough values of energy quanta
1 MeV 100 GJ/mol Medical radiation therapy
100 keV 10 GJ/mol Medical imaging
10 keV 1 GJ/mol X-ray crystallography
1 keV 100 MJ/mol S and P K-edges
100 eV 10 MJ/mol “water window”
10 eV 1 MJ/mol C≡C bond
1 eV 100 kJ/mol C-C bond, visible light
100 meV 10 kJ/mol hydrogen bond
10 meV 1 kJ/mol heat (~300 K)

## Slide 61: Energy Transfer Analogy
37 C

## Slide 62: Types of radiation damage
Global
Specific

## Slide 63
Global damage
Howells, et al. (2009) J. Electron Spectrosc. Relat. Phenom. 170, 4-12.

## Slide 64: Types of radiation damage
Global
  scale factor
  B factor
Specific

## Slide 65: Global Damage: scale
accumulated dose (MGy)
normalized total intensity

## Slide 66: Types of radiation damage
Global
  scale factor
  B factor
Specific

## Slide 67: Global Damage: B factor
accumulated dose (MGy)
relative B factor
data taken from Kmetko et. al. 2006
~ 1.0 B/MGy

## Slide 68
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
resolution (Å)
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Global damage

## Slide 69
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Global damage
10 MGy/Å

## Slide 70: 10 MGy/Å
what the is a MGy?
http://bl831.als.lbl.gov/
damage_rates.pdf
Holton J. M. (2009) J. Synchrotron Rad. 16 133-42

## Slide 71
How long will my crystal last?
synch line type flux beamsize flux density dose max xtal min site
ph/s μm ph/μm2/s rate lifetime lifetime
ALS 4.2.2 MAD 2.2e11 75x80 3.7e+07 27.3 kGy/s 18 m 73 s
ALS 5.0.1 mono 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 5.0.2 MAD 8e11 100 1.0e+08 51.8 kGy/s 9.6 m 39 s
ALS 5.0.3 mono 1.7e11 100 2.2e+07 11 kGy/s 45 m 3 m
ALS 8.2.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 8.2.2 MAD 2.3e11 100 2.9e+07 14.9 kGy/s 34 m 2.2 m
ALS 8.3.1 MAD 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 8.3.1 typical 1.1e11 100 1.4e+07 10.3 kGy/s 48 m 3.2 m
ALS 12.3.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 12.3.1 ML 4.0e12 100 5.1e+08 513 kGy/s 58 s 3.9 s
APS 8-BM MAD 1e11 200 2.5e+06 1.27 kGy/s 6.6 h 26 m
APS 14-BM-C mono 5.8e10 200 1.4e+06 738 Gy/s 11 h 45 m
APS 14-BM-D MAD 3.3e9 200 8.2e+04 42 Gy/s 8.3 d 13 h
APS 14-ID-B MAD 6.0e10 200 1.5e+06 763 Gy/s 11 h 44 m
APS 17-BM MAD 1.1e11 200 2.8e+06 1.4 kGy/s 6 h 24 m
APS 17-ID MAD 2.3e11 200 5.8e+06 2.93 kGy/s 2.8 h 11 m
APS 19-BM MAD 2.0e11 70x60 4.8e+07 24.2 kGy/s 21 m 83 s
APS 19-ID MAD 1.3e13 80x40 4.1e+09 2.07 MGy/s 15 s 0.97 s
APS 19-ID typical 5.5e11 100x100 5.5e+07 28 kGy/s 18 m 71 s
APS 22-BM MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 23-ID-B MAD 1e13 75x25 5.3e+09 3.01 MGy/s 10 s 0.66 s
APS 23-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 24-ID-C MAD 1.3e13 20x60 1.1e+10 5.23 MGy/s 5.7 s 0.38 s
APS 24-ID-E MAD 0.5e13 20x100 2.5e+09 1.19 MGy/s 25 s 1.7 s
APS 31-ID MAD 2e12 70 4.1e+08 194 kGy/s 2.6 m 10 s

## Slide 73
D1/2 >> 1012 Gy
D1/2 ~ 10 Gy

## Slide 74: Dose-doubling concentration
Na | 44
Mg | 27
P | 9
S | 7
Cl | 5
K | 3.3
Ca | 2.7
Fe | 1.0
Cu | 0.67
Zn | 0.58
molar, at the Se edge based on RADDOSE
As | 0.44
Se | 0.42
Br | 2.9
I | 0.47
Gd | 0.21
Ta | 0.13
Pt | 0.17
Au | 0.16
Hg | 0.16
U | 0.23

## Slide 75: Dose-doubling concentration
Na | 44
Mg | 27
P | 9
S | 7
Cl | 5
K | 3.3
Ca | 2.7
Fe | 1.0
Cu | 0.67
Zn | 0.58
molar, at the Se edge based on RADDOSE
As | 0.44
Se | 0.42
Br | 2.9
I | 0.47
Gd | 0.21
Ta | 0.13
Pt | 0.17
Au | 0.16
Hg | 0.16
U | 0.23

## Slide 76: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific

## Slide 77: Riso vs dose
Riso (%)
change in dose (MGy)
data taken from Banumathi, et al. (2004) Acta Cryst. D 60, 1085-1093.

## Slide 78: Riso vs dose
Riso (%)
change in dose (MGy)
data taken from Banumathi, et al. (2004) Acta Cryst. D 60, 1085-1093.
Riso ≈ 0.7 %/MGy

## Slide 79: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific
  depends on chemistry

## Slide 80: Specific damage
final, refined phases

## Slide 81: Specific damage
experimentally-obtained phases

## Slide 82
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.

## Slide 83
1.0
0.0
fraction
unconverted
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.

## Slide 84
Holton (2009) J. Synchrotron Rad. 16 133-42
Specific damage rates
world records:
MGy reaction reference
~45 global damage Owen et al. (2006)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 86: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific
  depends on chemistry
  destroys phasing signal

## Slide 87: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 88: Spot Shape
Ewald sphere
(h,k,l)

## Slide 89: Spot Shape
Ewald sphere
(h,k,l)
d*

## Slide 90: Spot Shape
Ewald sphere
spindle axis
(h,k,l)
d*

## Slide 91: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 92: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 93: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)

## Slide 94: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 95: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
θ
λ = 2 d sin(θ)

## Slide 96: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 97: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 98: mosaic spread = 0 º

## Slide 99: mosaic spread = 0.1º

## Slide 100: mosaic spread = 0.2º

## Slide 101: mosaic spread = 0.4º

## Slide 102: mosaic spread = 0.6º

## Slide 103: mosaic spread = 0.8º

## Slide 104: mosaic spread = 1.0º

## Slide 105: mosaic spread = 1.5º

## Slide 106: mosaic spread = 2.0º

## Slide 107: mosaic spread = 2.5º

## Slide 108: mosaic spread = 3.2º

## Slide 109: mosaic spread = 6.4º

## Slide 110: mosaic spread = 12.8º

## Slide 111: Radiation Damage
48 MGy
20 MGy
2 MGy

## Slide 112
~0 MGy

## Slide 113
5 MGy

## Slide 114
11 MGy

## Slide 115
16 MGy

## Slide 116
22 MGy

## Slide 117
26 MGy

## Slide 118: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 119
stress and strain
radiation damage = defects
What about
undamaged crystals?

## Slide 120: Purity is crucial!
McPherson, A., Malkin, A. J., Kuznetsov, Y. G. & Plomp, M. (2001)."Atomic force microscopy applications in macromolecular crystallography", Acta Cryst. D 57, 1053-1060.
not important for
initial hits
important for
resolution

## Slide 121: What can I improve?
Purity!
is 95% good enough? 99%?
Purity!
conformational (homogeneous)
Purity!
kinetic (stable over time)

## Slide 122: What can I improve?
add a column
fractional recrystallization
heat shock
mutate Lys
avoid stress
Newman J. (2006) Acta Cryst. D62 27-31.

## Slide 123: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 124
Ewald’s “mosaic” picture

## Slide 125
Ewald’s “mosaic” picture

## Slide 126
Ewald’s “mosaic” picture
What is
this stuff?

## Slide 127
Darwin’s original picture

## Slide 128
“mosaicity” with visible light

## Slide 129
source
detector
d
atom #1
atom #2
“near”-ly Bragg’s Law

## Slide 130
“crystal”
detector
x-ray beam
peak
intensity
integrated
intensity
mosaicity vs Wilson B

## Slide 131: mosaicity vs Wilson B
10 atoms
0.1 μm
50 atoms
0.5 μm
100 atoms
1 μm
200 atoms
2 μm
300 atoms
3 μm
400 atoms
4 μm
500 atoms
5 μm
1000 atoms
10 μm
position on detector (mm)
intensity (photons/SR/atom)

## Slide 132: mosaicity vs Wilson B
B factor
mosaic
spread
intensity (photons/SR)
number of atoms in line

## Slide 133
16 MGy

## Slide 134: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 136: Icky Skin Stuff

## Slide 137: Hampton crystal surgery tools

## Slide 138: MiTeGen MicroTools
http://www.mitegen.com/products/microtools/microtools_kit1.shtml

## Slide 139: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.
basically: no sudden moves!

## Slide 140: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 141: Vicker’s hardness
Tachibana et al. (1999) J. Cryst. Growth 198, 661-664.
Koizumi et al. (2009) Physical Review E 79, 61917.

## Slide 142: platy crystals

## Slide 143: platy crystals

## Slide 144: How many crystals do you see?
Shoot the crystal (singular)

## Slide 145: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 146: platy crystals

## Slide 147: platy crystals

## Slide 148: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 149: MiTeGen MicroMesh grids
http://www.mitegen.com/products/micromeshes/micromeshes.shtml

## Slide 150: platy crystals

## Slide 151: platy crystals

## Slide 152: platy crystals

## Slide 153: acupuncture needles

## Slide 154: acupuncture needles

## Slide 155: xtal stuck on tray
?

## Slide 156: xtal stuck on tray

## Slide 157: xtal stuck on tray

## Slide 158: xtal stuck on tray

## Slide 159: xtal stuck on tray

## Slide 160: xtal stuck on tray

## Slide 161: xtal stuck on tray

## Slide 162: MiTeGen MicroSaw
http://www.mitegen.com/products/microtools/microtools_kit1.shtml
10 μm thick!

## Slide 163: xtal stuck on tray

## Slide 164: xtal stuck on tray

## Slide 165: xtal stuck on tray

## Slide 166: xtal stuck on tray

## Slide 167: crystals too fragile? cross-link them!
Lusty (1999) J. Appl. Crystallogr. 32, 106-112.
McWhirter, et al. (1999) PNAS USA 96, 8408-8413.

## Slide 168: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 169: cryo assay 1 does your crystal “like” it?

## Slide 170: Osmolarity matching
Look up osmotic pressure of mother liquor in CRC Handbook of Physics and Chemistry, Section D-232. 11th column is O: Os/kg
Look up o.p. of cryoprotectant agent.
Modify conc. of mother liquor to minimize change in osmotic pressure.

## Slide 171: matching osmolarity

## Slide 172: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 173: Dielectric matching
Travers & Douzou (1970) J. of Phys. Chem. 74, 2243-2244.
Petsko (1975) J. Mol. Biol. 96, 381-388.
Douzou (1977) Cryobiochemistry. Academic Press.

## Slide 174: Tris buffer vs temperature
Temperature (C)
pH

## Slide 175: Tris buffer under cryo
Temperature (K)
pH*
Douzou (1977) Cryobiochemistry. Academic Press.

## Slide 176: matching dielectric const.

## Slide 177: matching dielectric const.

## Slide 178: matching dielectric const.

## Slide 179: matching dielectric const.

## Slide 180: My crystal “dissolved” in the oil!
no, it didn’t…

## Slide 181: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 182: ice = bad

## Slide 183: ice = bad

## Slide 184: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 185: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 186: cryo assay
does it “freeze clear”?
vs.

## Slide 187: You do not need a cryostream to check your cryo!
liquid N2

## Slide 188: clear drop, right?

## Slide 189: cubic ice
0.92 g/cm3

## Slide 190: hexagonal ice
0.92 g/cm3

## Slide 191: nano-crystalline cubic ice
~0.93 g/cm3

## Slide 192: amorphous ice
0.94 g/cm3

## Slide 193: annealing
easiest way to change your cryo
WATCH droplet melt before re-cooling
snapshots only!
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 194: annealing gone wrong

## Slide 195: annealing – in slo-mo

## Slide 196: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 197: opened drop: you have ~30 seconds!
equilibrated drop

## Slide 198: First diffraction from protein xtal
Bernal, J. & Crowfoot, D. (1934). "X-ray photographs of crystalline pepsin", Nature 133, 794-795.
1934

## Slide 199: Dehydration: 1934
100 μm
2 mm
= 1.5 μL
= 1.0 nL
10 μm
= 1.0 pL
and 2015?
1 μm
= 1.0 fL

## Slide 200
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 201
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 202
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 204: Non-isomorphism in lysozyme
RH 84.2% vs 71.9%
Riso = 44.5%
RMSD = 0.18 Å
3aw6
3aw7

## Slide 205: “same drop” ?

## Slide 206
Magdoff & Crick (1955) “Ribonuclease II. Accuracy of measurement and shrinkage”, Acta Cryst. 8, 461-8.
Crick & Magdoff (1956) “The theory of the method of isomorphous replacement for protein crystals”, Acta Cryst. 9, 901-8.

## Slide 207: Elastic deformation = non-isomorphism

## Slide 208: Elastic deformation = non-isomorphism

## Slide 209: Plastic deformation = poor diffraction

## Slide 210: Plastic deformation = poor diffraction

## Slide 211: Xtal5_t1 graph
Spot intensity

## Slide 212
Spot intensity

## Slide 213: How much H2 are we making?
Meents et al. (2010) claimed:
"400 molecules of H2 for every 12.5 keV photon“
= 3.3x10-7 mol/J
200 kGy to 100 um3 = 0.24 J
= 1.2x10-8 mol H2
100 um3 of water = 6.7x10-8 mol
→ 18% of water has reacted!

## Slide 214: OK! OK! Now I am afraid!
What should I do?

## Slide 215: oil is your friend

## Slide 216: opened drop: you have ~30 seconds!
oil

## Slide 217: oiled drop: you have ~3 hours
oil

## Slide 218: Dabbing to remove excess
clean surface

## Slide 219: Dabbing to remove excess
clean surface

## Slide 220: Dabbing to remove excess
clean surface

## Slide 221: Dabbing to remove excess
clean surface

## Slide 222: Dabbing to remove excess
clean surface

## Slide 223: Dabbing to remove excess
clean surface

## Slide 224: Dabbing to remove excess
clean surface

## Slide 225: Crystal fishing demystified
“Lasso” method

## Slide 226: Crystal fishing demystified

## Slide 227: Crystal fishing demystified

## Slide 228: Crystal fishing demystified

## Slide 229: Crystal fishing demystified

## Slide 230: Crystal fishing demystified

## Slide 231: Crystal fishing demystified

## Slide 232: Crystal fishing demystified
“Soup Spoon” method

## Slide 233: Crystal fishing demystified

## Slide 234: Crystal fishing demystified

## Slide 235: Crystal fishing demystified

## Slide 236: Crystal fishing demystified

## Slide 237: Crystal fishing demystified

## Slide 238: Crystal fishing demystified

## Slide 239: plunge cooling
foam insulation
warm, moist air
cold N2
liquid N2
ice

## Slide 240: plunge cooling
cold N2
foam insulation
warm, moist air
liquid N2
ice

## Slide 241: Warkentin method
foam insulation
liquid N2
Warkentin (2006) J. Appl. Crystallogr. 39, 805-811.

## Slide 242: COMBINE cryoprotectants!
organic + hyperquenching
malonate + glycerol
“confusion principle”
~30% glycerol is not as good as:
5% glycerol +
5% PEG400 +
5% MPD +
5% sucrose +
5% sorbitol +
5% ethylene glycol

## Slide 243: COMBINE cryoprotectants!
organic + hyperquenching
malonate + glycerol
“confusion principle”
~30% glycerol is not as good as:
25% glycerol +
1% PEG400 +
1% MPD +
1% sucrose +
1% sorbitol +
1% ethylene glycol

## Slide 244: Pressure as a cryoprotectant
Thomanek et al. (1973)
Acta Cryst. A 29, 263-265.
Fig. 1. Equipment for freezing at 2500 atm. (1) Steel cylinder, (2) and (3) pistons which can be coupled to a hydraulic press, (4) Teflon cell, (5) vessel for liquid nitrogen, (6) steel tube used for pushing cell (4) out of cylinder (1), (7) steel rings. Scale is in mm. A-A : direction of the force.

## Slide 245: Pressure as a cryoprotectant
Kim et al. (2005) Acta Cryst. D 61, 881-890.
High-pressure cooling apparatus. (a) Sample pin. An oil-coated crystal in a cryoloop is inserted into one end (right) of a brass tube (2.5 cm long) and a
steel piano wire in the other end (left). (b) High-pressure tubing assembly in a LN2 container. A sample is loaded into the top of each 30 cm long tube
and is held in place by a magnet outside the tube. Three crystals can be pressure-cooled at a time.

## Slide 246: Pressure as a cryoprotectant
Balzers HPM 010 High Pressure Freezer The Bal-Tec HPM 010 is a high pressure freezing machine that is designed to freeze non-cryoprotected samples up to 0.5mm in thickness without significant ice crystal damage. Samples can then be processed for TEM using the freeze substitution protocol. These two methods are the state-of-the-art for TEM specimen preparation.
http://www.leica-microsystems.com/products/
electron-microscope-sample-preparation/
industrial-materials/cryo-preparation/
details/product/leica-em-pact2/

## Slide 247: Pressure as a cryoprotectant

## Slide 248: Response to dehydration
www.proteros.de

## Slide 249: Response to dehydration
www.proteros.de

## Slide 250: Response to dehydration
www.proteros.de

## Slide 251: Response to dehydration
www.proteros.de

## Slide 252: Response to dehydration
www.proteros.de

## Slide 253: Response to dehydration
www.proteros.de

## Slide 254: Response to dehydration
www.proteros.de

## Slide 255: Response to dehydration
www.proteros.de

## Slide 256: Ostwald Ripening
http://xray.bmc.uu.se/terese/tutorial6.html

## Slide 257: … but does it work for membrane proteins?
Efremov, R. G. & Sazanov, L. A. (2011)."Structure of the membrane domain of respiratory complex I", Nature 476, 414-420.
“To improve diffraction properties, crystals were slowly cooled to 4 C, placed into micro-dialysis buttons, and mother liquor was exchanged by dialysis for 0.1 M sodium acetate (pH 4.8), 0.15 M sodium tartrate (pH 5.0), 30% PEG4000, 0.1% sodium cholate and 12.5% glycerol over a period of 5 days.”
CCP4BB:
“We used it for a large membrane protein complex and diffraction improved from ~7 to 2.7 A. The crystal is fished out and put into mother liquor solution in the button, sealed with dialysis membrane and the button is then placed into about 5 mls of mother liquor with slightly higher PEG concentration. Then you just exchange outside buffer every day or so for solutions containing higher concentrations of PEG. We went from ~9 to 30 % PEG4000 in about a week. You can easily observe crystal under microscope and if it cracks - you went too far/too quickly with PEG and need to use a bit less next time. Also, this method allows you to control all other components of the dehydrating solution - we needed to decrease salt concentration at the same time as increasing PEG. You can also introduce/increase cryo-protectant concentration at the same time. With these crystals, otherwise excellent dehydration machines already mentioned did not work, possibly because the process had to be really slow.”

## Slide 258: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 259: beam size vs xtal size
  Put your crystal into the beam

## Slide 260: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 261: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal

## Slide 262: shoot the whole crystal

## Slide 263: shoot the whole crystal

## Slide 264: shoot the whole crystal

## Slide 265: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal

## Slide 266: shoot nothing but the crystal

## Slide 267: shoot nothing but the crystal

## Slide 268: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 269
X-ray beam size (μm)
Resolution (Å)
too big
too small
just right

## Slide 270: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!

## Slide 271: Background scattering

## Slide 272: Background scattering
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
real estate is
expensive
use it!

## Slide 273: Fine Slicing
Pflugrath, J. W. (1999)."The finer things in X-ray diffraction data collection", Acta Cryst. D 55, 1718-1725.
background
background

## Slide 274: Classes of error in MX
Dependence on signal
Time
none sqrt proportional
none
1/sqrt
1/prop.
CCD
Read-out
Photon
counting
Beam flicker
Shutter jitter
Sample vibration
Detector calibration
attenuation
partiality
Non-isomorphism
Radiation damage

## Slide 275: Optimal exposure time (faint spots)
thr Optimal exposure time for data set (s)
tref exposure time of reference image (s)
bgref background level near weak spots on
reference image (ADU)
bg0 ADC offset of detector (ADU)
bghr optimal background level (via thr)
σ0 rms read-out noise (ADU)
gain ADU/photon
m multiplicity of data set (including partials)
adjust exposure
so this is ~15

## Slide 276: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!
  The crystal must rotate

## Slide 277: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 278: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 279
anomalous signal
Crick, F. H. C. & Magdoff, B. S. (1956) Acta Crystallogr. 9, 901-908.
Hendrickson, W. A. & Teeter, M. M. (1981) Nature 290, 107-113.
# sites
MW (Da)
ΔF
F
≈ 1.2 f”
√
World record!
ΔF/F = 0.5%
Wang, Dauter & Dauter (2006) Acta Cryst. D 62, 1475-1483.

## Slide 280: Detector calibration: 7235 eV

## Slide 281: Detector calibration: 7247 eV

## Slide 282: Gadox calibration vs energy
photon energy (keV)
Relative absorption depth
same = good!
bad!

## Slide 283
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
~3x105 photon/pixel Pilatus detector
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 284: Spatial Heterogeneity in Sharp Spot Sensitivity (SHSSS): Q315r vs Pilatus
3.5
3.0
2.5
2.0
1.5
1.0
0.5
average change in spot intensity (%)
distance between spots (mm)
0.1 1 10 100
Pilatus
Q315r
anomalous mates typically
> 100 mm apart
different
modules

## Slide 285: Systematic error does not “average out”

## Slide 286: Fractional error
mult > (—)2
~3%
<ΔF/F>

## Slide 287
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 288: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
unacceptable
damage
unacceptable
read noise

## Slide 289: Data collection parameters:
16 crystals
360° each, inverse beam
7235 eV photon energy
< 1 MGy per xtal
Australian Synchrotron MX1
  35 kGy/s into 100 μm x 100 μm

## Slide 290
RESOLUTION COMPLETENESS R-FACTOR I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OF DATA observed Corr
9.17 99.1% 3.9% 257.47 3.9% 100.0* 91* 5.024 450
6.49 100.0% 5.2% 214.33 5.2% 100.0* 86* 3.836 882
5.30 100.0% 7.2% 165.13 7.2% 100.0* 76* 3.257 1175
4.59 100.0% 7.2% 175.42 7.3% 100.0* 67* 2.589 1403
4.10 99.9% 7.7% 174.13 7.7% 100.0* 59* 2.264 1594
3.74 99.9% 9.4% 143.09 9.4% 100.0* 49* 1.953 1783
3.47 100.0% 11.2% 120.17 11.2% 100.0* 39* 1.696 1942
3.24 100.0% 14.1% 91.14 14.1% 100.0* 30* 1.333 2103
3.06 99.9% 19.5% 65.79 19.5% 100.0* 23* 1.117 2214
2.90 99.9% 29.0% 44.85 29.1% 99.9* 17* 1.008 2369
2.77 99.9% 40.5% 32.58 40.6% 99.8* 11* 0.901 2493
2.65 99.9% 52.8% 25.16 52.9% 99.8* 10* 0.866 2605
2.54 100.0% 67.4% 19.47 67.6% 99.6* 2 0.804 2705
2.45 100.0% 88.9% 14.58 89.2% 99.2* 4 0.831 2859
2.37 100.0% 109.3% 9.97 109.7% 98.1* 5 0.829 2925
2.29 100.0% 138.2% 6.87 138.9% 96.1* 1 0.760 3037
2.22 100.0% 197.1% 4.03 198.6% 83.5* -1 0.721 3159
2.16 100.0% 227.3% 2.41 230.8% 46.9* -1 0.677 3224
2.10 61.2% 154.4% 1.28 163.6% 47.0* -2 0.660 1999
2.05 47.9% 170.1% 0.68 196.5% 25.7* 3 0.629 1578
total 93.3% 15.7% 54.30 15.8% 100.0* 12* 1.217 42499
140-fold multiplicity: 16 crystals, 360° each, inverse beam, 7235 eV

## Slide 291: 140-fold multiplicity
18 σ
Phased anomalous difference Fourier
16 σ

## Slide 292: 140-fold multiplicity
15σ = PO4
Phased anomalous difference Fourier

## Slide 293: 140-fold multiplicity
~2σ = Mg?
Phased anomalous difference Fourier

## Slide 294: 140-fold multiplicity
8.2σ = Mg?
DELFAN residual anomalous difference

## Slide 295: Discerning Na+ from Mg++
f’’ (electrons)
DELFAN peak height (σ)
Mg
Ne
Na
F
O
N

## Slide 296: 140-fold multiplicity
7.4σ = Na
DELFAN residual anomalous difference

## Slide 297: Suggested anomalous protocol:
2 wavelengths are better than 1
- (peak + inf)/2, and remote
MAD, not M-SAD!
360° in < 5 MGy
move detector
4X exposure
goto 2

## Slide 298: Summary
100 ADU/pixel
10 μm for lysozyme
~3% error per spot, 1%/MGy
7235 eV for S-SAD
“Attenu-wait”: dose slicing
http://bl831.als.lbl.gov/xtalsize.html
http://bl831.als.lbl.gov/~jamesh/mlfsom/
http://bl831.als.lbl.gov/~jamesh/powerpoint/ACMC_GBU_2013.ppt

## Slide 299: Summary
15 ADU/pixel
10 μm for lysozyme
~3% error per spot, 1%/MGy
8014 eV for S-SAD on Mar
“Attenu-wait”: dose slicing
http://bl831.als.lbl.gov/xtalsize.html
http://bl831.als.lbl.gov/xtallife.html
http://bl831.als.lbl.gov/~jamesh/mlfsom/
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_tipsNtricks_2015.pptx

## Slide 300: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 301: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 302: X-ray transmission of materials
Depth into material (μm)
transmission
glass
protein
crystal
water
air

## Slide 303: X-ray scattering of materials
Differential cross section
(scattered photons/solid angle/incident photon/meter thickness)
 7.5 3.8 2.5 1.9 1.5
d-spacing (Ǻ)
water
25% glycerol
paratone-N oil
plastic
glass

## Slide 304: naked xtal

## Slide 305: Crowfoot Cell

## Slide 306: Crowfoot Cell

## Slide 307: Crowfoot Cell
J. D. Bernal and D. Crowfoot, Nature (London) 133, 794 (1934).

## Slide 308: Fluidigm RT/cryo mount
“Diffraction Capable” chip
http://www.fluidigm.com/products/topaz-chips.html

## Slide 309: Plate goniometers
Notes: The non-rotating “plate goniometer” (left) was developed last year. A new incarnation for taking rotation-camera data is now being developed (right). Either of these devices will accept most any crystallization tray that can be rotated 90 degrees to gravity and probe arbitrary points in each crystallization drop with a 50 um x-ray beam. Installing a plate goniometer takes ~30 minutes and the location ~300 mm downbeam from the “normal” protein crystallography sample mounting point makes this technology transferable to most any beamline.
Current status is that a 95% complete data set has been collected from a 50 um lysozyme crystal at room temperature, and trials are now underway to collect data sets from “real” crystals.

## Slide 310
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 312: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 314
8000 Gy/s

## Slide 315: Example Data
lysozyme
50 μm beam
37 Gy/s (0.775 Å)
30s exposures at 20C
90° of data, 97% complete
I/ = 1.5 at 1.9 Å
Rmerge 18% (overall) 5% (low)
ΔB same as 20 min at 100K
B factor
-2
-4
-6
scale vs batch
2
1
0

## Slide 316: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 317: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 318: Every spot is an unpaired partial!
Ispot = k Ncells2
Ewald sphere
range

## Slide 319: Every spot is an unpaired partial!
Ewald sphere
range
Ispot = k Ncells1
Woolfson, M. M. (1997). An introduction to X-ray crystallography. Ch. 2 & 6

## Slide 320: Internal consistency of data
1,850,000 images
112,000 > 10 peaks
33,000 indexed
16,500 good preds
rigid-body:
Rcryst = 0.252
Rfree = 0.232

## Slide 321: what is “partiality”?
F(h,k,l)
Ewald sphere
λ1*
λ2*
F(0,0,0)
F(h,k,l)

## Slide 322: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 323: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 324: MiTeGen RT cell
http://www.mitegen.com/products/micrort/micrort.shtml

## Slide 325: Free-mounting system
http://www.proteros.de/

## Slide 326: Summary
assay, control and open mind
purity, purity, purity
oil is your friend
Warkentin method
try room temp!
http://bl831.als.lbl.gov/~jamesh/powerpoint/
CSHL_tipsNtricks_2015.pptx

## Slide 327: avoiding overlaps
c
c

## Slide 328: avoiding overlaps
c

## Slide 329: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 330: mosaic block = “coherence length”
James R. W. (1962) Optical Principles of the Diffraction of X rays. Ox Bow press.

## Slide 331
detector
sample
detector
x-ray beam
scattering

## Slide 334: Snapshot from single virus particle
TEM
2 keV LCLS 200 fs Mimi virus single-shot.
200 nm
Reconstructed image
Resolution 20nm
Seibert, et al. (2011). Nature 470, 78-81.
Notes: what limits single-particle resolution ?
get 100 times more photons/shot if correctly focussed beam
get 100 times more with submicron beam focus on CXI chamber
Problem – scattering goes from N^2 to N (Wilson statistics).
So use a-priori information – modelling Axel Brummer
Make beam smaller than jet to elliminate streak
334