## Slide 1: PowerPoint File available:
http://bl831.als.lbl.gov/
~jamesh/powerpoint/
CSHL_tipsNtricks_2016.pptx

## Slide 2: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
Center for Structure of Membrane Proteins (CSMP)
Membrane Protein Expression Center II (MPEC)
Center for HIV Accessory and Regulatory Complexes (HARC)
UC Multicampus Research Programs and Initiatives (MRPI)
UCSF Program for Breakthrough Biomedical Research (PBBR) Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
M D Anderson CRC
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser John Spence
Chris Nielsen Clemens Schulze-Briese Aina Cohen Ana Gonzalez

## Slide 3: Trick Question: What is the space group?
a = 63 b = 63 c = 63
α = 90 β = 90 γ = 90

## Slide 4: What you know when:
Autoindexing: Lattice (14)
Scaling: Point Group (43)
Refinement: Space Group (84)

## Slide 5: There are 16 different “beam centers”
Origin
Beam X
Beam Y

## Slide 6: There are 16 different “beam centers”
Origin
Beam Y
Beam X

## Slide 7: There are 16 different “beam centers”
Origin
Beam Y
Beam X

## Slide 8: There are 16 different “beam centers”
Origin
Beam X
Beam Y

## Slide 9: There are 16 different “beam centers”
Origin
Beam X
Beam Y
Cameraman
View
Beam
View

## Slide 10: There are 16 different “beam centers”
Origin?
Origin?
Origin?
Origin?
Origin?
Origin?
Origin?
Origin?

## Slide 11: There are 16 different “beam centers”
Xbeam, Ybeam
Ybeam, Xwidth – Xbeam
Xwidth-Xbeam, Ywidth-Ybeam
Ybeam, Xbeam
Xbeam, Ywidth-Ybeam
Xbeam, Ybeam-Ywidth
Xbeam, -Ybeam
Xwidth-Xbeam, Ybeam
Xwidth-Xbeam, Ywidth-Ybeam
Xwidth-Xbeam, Ybeam-Ywidth
Xwidth-Xbeam, -Ybeam
Xbeam, Ybeam
Xbeam, Ywidth-Ybeam
Xbeam, Ybeam-Ywidth
Xbeam, -Ybeam

## Slide 12: The “success rate” of structure determination
100 s/dataset
200 days/year
~150 beamlines
~26,000,000 datasets/year
9333 PDBs in 2015

## Slide 13: signal vs noise
“If you don’t have good data, then you have no data at all.”
-Sung-Hou Kim

## Slide 14: signal vs noise
easy
hard
impossible

## Slide 15: signal vs noise
easy
hard
impossible
threshold of “solvability”

## Slide 16: signal / noise = ?
CCD
Read-out
Photon
counting
Beam flicker
Shutter jitter
Sample vibration
Pile-up
Detector calibration
attenuation
partiality
Non-isomorphism
Radiation damage
Time
none sqrt proportional
none
1/sqrt
1/prop.

## Slide 17: signal vs noise
“If you don’t have good data, then you must learn statistics.”
-James Holton

## Slide 18: Adding noise

## Slide 19: Adding noise
12 + 12 = 1.42

## Slide 20: Adding noise
12 + 12 = 1.42
32 + 12 = 3.22
σtotal2 = σ12 + σ22

## Slide 21: Adding noise
12 + 12 = 1.42
32 + 12 = 3.22
σtotal2 = σ12 + σ22

## Slide 22: Adding noise
12 + 12 = 1.42
32 + 12 = 3.22
σtotal2 = σ12 + σ22

## Slide 23: Adding noise
12 + 12 = 1.42
32 + 12 = 3.22
102 + 12 = 10.052

## Slide 24: 100% SeMet incorporation
Trivial to solve

## Slide 25: 100% S -Met incorporation
Impossible to solve

## Slide 26: Phase Problem: Se vs S
1.0 - fraction Se
correlation coefficient

## Slide 27: Phase Problem: Se vs S
correlation coefficient
1.0 - fraction Se

## Slide 28: Phase Problem: Se vs S
correlation coefficient
1.0 - fraction Se

## Slide 29: Phase Problem: Se vs S
correlation coefficient
1.0 - fraction Se

## Slide 30: Phase Problem: Se vs S
correlation coefficient
1.0 - fraction Se

## Slide 31: MR simulation
Rmsd from perfect search model (Å)
corrupted model
Correlation coefficient to correct density

## Slide 32: The transitions are sharp!
How can we predict success/failure?
Know Thy Experiment

## Slide 33: Basic Principles
“Hell, there are NO RULES here - we're trying to accomplish something.”
Thomas A. Edison – inventor
“You’ve got to have an ASSAY.”
Arthur Kornberg – Nobel Laureate
“Control, control, you must learn CONTROL!”
Yoda – Jedi Master

## Slide 34: Where do photons go?
beamstop
Transmitted (98%)
Protein
1A x-rays

## Slide 35: Where do photons go?
beamstop
Transmitted (98%)
Protein
1A x-rays
2% total → error < 2%

## Slide 36: attenuation factor
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp(-μt)
IT
Ibeam
t
μ

## Slide 37: attenuation factor
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp(-μ(tin+ tout))
IT
Ibeam
t
tin
tout
A = = exp(-μt)
IT
Ibeam
μ

## Slide 38: attenuation factor
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp(-μ(tin+ tout))
IT
Ibeam
tin
tout
tin
tout
tin
tout
μ

## Slide 39: attenuation factor
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp[-μxtal(txi+ txo)
-μsolvent(tsi + tso)]
IT
Ibeam
μxtal
txi
txo
tsi
tso
txi
txo
tsi
tso
txi
txo
tsi
tso
μsolvent

## Slide 40: Decisions, Decisions, Decisions
Exposure time
Number of images
Wavelengths
Beam: size, flux, divergence, bandpass
Inverse beam?
Kappa? - overlaps
Multiple crystals? - non-isomorphism
Run Strategy

## Slide 41: Elastic scattering

## Slide 42: Elastic scattering

## Slide 43: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
Protein
1A x-rays

## Slide 44: Elastic scattering

## Slide 45: Inelastic scattering

## Slide 46: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
Protein
1A x-rays

## Slide 47: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays

## Slide 48: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 49: Photoelectric absorption

## Slide 50: Photoelectric absorption
e-
+

## Slide 51: Fluorescence
+

## Slide 52: Fluorescence
e-
+

## Slide 53: Metal identification

## Slide 54: Auger emission
+

## Slide 55: Auger emission
++
e-

## Slide 56: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 57: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 58: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 59: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
useful/absorbed energy: 7.3%
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 60: Photoelectric absorption

## Slide 61: Photoelectric absorption
e-
+

## Slide 62: Secondary ionization
e-

## Slide 63: Secondary ionization
e-
e-
+

## Slide 64: Excitation
e-

## Slide 65: Excitation
e-

## Slide 66: Excitation
e-

## Slide 67: Excitation

## Slide 68: Electron attachment
e-

## Slide 69: Electron attachment
-

## Slide 70: Sample atoms

## Slide 71: Sample atoms

## Slide 72: Primary ionization
e-
+

## Slide 73: Secondary ionizations
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+

## Slide 74: Ionization track
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 75: Ionization track
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 76: Ionization track

## Slide 77: Ionization track

## Slide 78: Ionization track
3 μm

## Slide 79: Ionization track
Linear Energy Transfer

## Slide 80: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 81: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
neutralization
e-
+

## Slide 82: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
neutralization
e-
+

## Slide 83: initial effects
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
neutralization
neutralization
+

## Slide 84: initial effects
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
attachment
+

## Slide 85: initial effects
e-
e-
e-
e-
-
e-
e-
+
+
+
+
+
+
attachment
+

## Slide 86: initial effects
e-
e-
e-
e-
-
e-
e-
+
+
+
+
+
+
attachment
attachment
+

## Slide 87: initial effects
e-
e-
-
e-
e-
+
+
+
+
+
+
-
-
+

## Slide 88: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 89: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+
solvation

## Slide 90: initial effects
-
e-
+
+
+
+
+
-
-
-
-
solvation
+

## Slide 91: Solvated electron
e-

## Slide 92: Solvated electron
e-

## Slide 95: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 96: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 97: initial effects
-
e-
+
+
+
+
-
-
-
+

## Slide 98: initial effects
-
e-
+
+
-
+

## Slide 99: initial effects
-
e-
+
+

## Slide 100: Excitation transfer

## Slide 101: Excitation transfer
UV photon

## Slide 102: Excitation transfer

## Slide 103: Excitation transfer
Förster transfer
r-6

## Slide 104: Excitation transfer

## Slide 105: t = 0 s

## Slide 106: t ≈ 10-14 s
-
e-
+
+

## Slide 107: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389

## Slide 108: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389
LCLS
ALS
bunch

## Slide 109: Ionization track
Heterogeneous reactions
Homogeneous reactions

## Slide 110: Rough values of energy quanta
1 MeV 100 GJ/mol Medical radiation therapy
100 keV 10 GJ/mol Medical imaging
10 keV 1 GJ/mol X-ray crystallography
1 keV 100 MJ/mol S and P K-edges
100 eV 10 MJ/mol “water window”
10 eV 1 MJ/mol C≡C bond
1 eV 100 kJ/mol C-C bond, visible light
100 meV 10 kJ/mol hydrogen bond
10 meV 1 kJ/mol heat (~300 K)

## Slide 111: Energy Transfer Analogy
37 C

## Slide 112
Damage is done
by dose (MGy)
proportional to photons/area
not time
not heat
Sliz P, Harrison SC & Rosenbaum G (2003). Structure 11, 13-19.
Garman EF & McSweeney SM (2006). J. Sync. Rad. 14, 1-3.
Owen RL, Rudino-Pinera E & Garman EF (2006). PNAS 103, 4912-4917.
Leiros et al. (2006). Acta Cryst. D 62, 125-132.
Holton JM (2007). J. Synch Rad. 14, 51-72.

## Slide 113: what the is a MGy?
http://bl831.als.lbl.gov/
damage_rates.pdf
Holton J. M. (2009) J. Synchrotron Rad. 16 133-42
1 MGy = 106 J/kg

## Slide 114
How long will my crystal last?
synch line type flux beamsize flux density dose max xtal min site
ph/s μm ph/μm2/s rate lifetime lifetime
ALS 4.2.2 MAD 2.2e11 75x80 3.7e+07 27.3 kGy/s 18 m 73 s
ALS 5.0.1 mono 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 5.0.2 MAD 8e11 100 1.0e+08 51.8 kGy/s 9.6 m 39 s
ALS 5.0.3 mono 1.7e11 100 2.2e+07 11 kGy/s 45 m 3 m
ALS 8.2.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 8.2.2 MAD 2.3e11 100 2.9e+07 14.9 kGy/s 34 m 2.2 m
ALS 8.3.1 MAD 9e11 70 2.3e+08 119 kGy/s 4.2 m 17 s
ALS 8.3.1 typical 6e11 70 1.6e+08 115 kGy/s 4.3 m 17 s
ALS 12.3.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 12.3.1 ML 4.0e12 100 5.1e+08 513 kGy/s 58 s 3.9 s
APS 8-BM MAD 1e11 200 2.5e+06 1.27 kGy/s 6.6 h 26 m
APS 14-BM-C mono 5.8e10 200 1.4e+06 738 Gy/s 11 h 45 m
APS 14-BM-D MAD 3.3e9 200 8.2e+04 42 Gy/s 8.3 d 13 h
APS 14-ID-B MAD 6.0e10 200 1.5e+06 763 Gy/s 11 h 44 m
APS 17-BM MAD 1.1e11 200 2.8e+06 1.4 kGy/s 6 h 24 m
APS 17-ID MAD 2.3e11 200 5.8e+06 2.93 kGy/s 2.8 h 11 m
APS 19-BM MAD 2.0e11 70x60 4.8e+07 24.2 kGy/s 21 m 83 s
APS 19-ID MAD 1.3e13 80x40 4.1e+09 2.07 MGy/s 15 s 0.97 s
APS 19-ID typical 5.5e11 100x100 5.5e+07 28 kGy/s 18 m 71 s
APS 22-BM MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 23-ID-B MAD 1e13 75x25 5.3e+09 3.01 MGy/s 10 s 0.66 s
APS 23-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 24-ID-C MAD 1.3e13 20x60 1.1e+10 5.23 MGy/s 5.7 s 0.38 s
APS 24-ID-E MAD 0.5e13 20x100 2.5e+09 1.19 MGy/s 25 s 1.7 s
APS 31-ID MAD 2e12 70 4.1e+08 194 kGy/s 2.6 m 10 s

## Slide 115: resolution dependence of global damage
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12

## Slide 116: resolution dependence of global damage
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
10 MGy/Å

## Slide 118
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 119
The number of photons you get
before a given crystal dies
is independent
of data collection time
1 um3 = 106 photons
http://www.nist.gov/pml/data/xcom/

## Slide 120
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry

## Slide 121
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 122
Home Lab Resolution (Å)
Synchrotron Resolution (Å)
Predicting resolution limits

## Slide 123
Synchrotron Resolution (Å)
XFEL Resolution (Å)
Predicting resolution limits

## Slide 124: B factor from image analysis
B = 500

## Slide 125: B factor from image analysis
B = 20

## Slide 126: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 127: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 128: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density: 1 sigma contour

## Slide 129: lysozyme: real and reciprocal

## Slide 130: lysozyme: thermal motion

## Slide 131: Proteins move! Your crystal may be trying to tell you something…
Beernink, Endrizzi, Alber & Schachman (1999). PNAS USA 96, 5388-5393.

## Slide 132: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 133: Now What?
don’t forget: spin 180°

## Slide 134: Now What?
10 Å

## Slide 135: Ways to improve diffraction
New crystal form
Purify
  - add a column
  - heat shock
Bind something
  - Known ligand
  - Silver bullets
Change the clone
  - chop off floppy bits
  - homolog
  - Ala -> Lys mutants
Make Protein Sit Still!!!
Newman J. (2006) Acta Cryst. D62 27-31.

## Slide 136: Basic Principles
“Hell, there are NO RULES here - we're trying to accomplish something.”
Thomas A. Edison – inventor
“You’ve got to have an ASSAY.”
Arthur Kornberg – Nobel Laureate
“Control, control, you must learn CONTROL!”
Yoda – Jedi Master

## Slide 137: The Best Assay

## Slide 139: The Best Assay?

## Slide 140: strong reflection
What is “disorder”?

## Slide 141: weak reflection
What is “disorder”?

## Slide 142: What is “disorder”?

## Slide 143: What is “disorder”?

## Slide 144: What is “disorder”?

## Slide 145: What is “disorder”?
order
order
disorder
B-factor

## Slide 146: “B” factors
ATOM 122 N LEU A 13 -3.244 25.808 19.998 1.00 16.96 N
ATOM 123 CA LEU A 13 -2.877 25.448 21.355 1.00 15.29 C
ATOM 124 C LEU A 13 -2.792 23.966 21.561 1.00 17.54 C
ATOM 125 O LEU A 13 -1.814 23.493 22.143 1.00 16.35 O
ATOM 126 CB LEU A 13 -3.907 26.164 22.268 1.00 18.72 C
ATOM 127 CG LEU A 13 -3.577 25.982 23.738 1.00 21.19 C
ATOM 128 CD1 LEU A 13 -2.283 26.820 24.019 1.00 19.43 C
ATOM 129 CD2 LEU A 13 -4.702 26.474 24.639 1.00 24.65 C
ATOM 130 N SER A 14 -3.677 23.149 20.979 1.00 15.96 N
ATOM 131 CA SER A 14 -3.646 21.711 21.061 1.00 18.26 C
ATOM 132 C SER A 14 -2.373 21.203 20.360 1.00 18.71 C
ATOM 133 O SER A 14 -1.747 20.315 20.930 1.00 17.47 O
ATOM 134 CB SER A 14 -4.875 21.077 20.419 1.00 17.62 C
ATOM 135 OG ASER A 14 -4.825 19.665 20.388 0.50 20.89 O
ATOM 136 OG BSER A 14 -6.027 21.408 21.164 0.50 18.67 O
ATOM 137 N LYS A 15 -2.045 21.772 19.215 1.00 18.03 N
ATOM 138 CA LYS A 15 -0.799 21.361 18.555 1.00 18.12 C
ATOM 139 C LYS A 15 0.446 21.707 19.351 1.00 18.81 C
ATOM 140 O LYS A 15 1.400 20.948 19.411 1.00 17.77 O
ATOM 141 CB LYS A 15 -0.700 22.034 17.177 1.00 14.49 C
ATOM 142 CG LYS A 15 -1.727 21.368 16.256 1.00 16.12 C
ATOM 143 CD LYS A 15 -1.663 22.147 14.936 1.00 19.40 C
ATOM 144 CE ALYS A 15 -2.725 21.614 13.986 0.50 17.42 C
ATOM 145 CE BLYS A 15 -1.750 21.211 13.750 0.50 17.01 C
ATOM 146 NZ ALYS A 15 -2.346 21.674 12.559 0.50 18.61 N
ATOM 147 NZ BLYS A 15 -3.052 20.513 13.741 0.50 18.76 N

## Slide 147: “B” factors
B = 8π2 ux2
ux = RMS variation perpendicular to plane

## Slide 148: The B factor
Bragg, W. H. (1914)."XCVII. The intensity of reflexion of X rays by crystals", Philosophical Magazine Series 6 27, 881-899. Published May 1 1914

## Slide 149
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 150
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 151
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 152
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 153
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 154
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 155
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 156
electron density (e-/Å3)
position (Å)
“B” factors

## Slide 158: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 159: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 160: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 161: A Fourier view of scattering
distance (Å)
density (ρ)
angle (°)
intensity

## Slide 162: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 163: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 164: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 165: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 166: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 167
Wavelength Does Not Matter!
crystal diameter (μm)
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 168
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry

## Slide 169
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 170
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 171
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 172
Home Lab Resolution (Å)
Synchrotron Resolution (Å)
Predicting resolution limits

## Slide 173
Synchrotron Resolution (Å)
XFEL Resolution (Å)
Predicting resolution limits

## Slide 174
Disorder
Trumps
Everything!
Diffraction Take-Home Lesson:

## Slide 175: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 176: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 177: Muybridge’s galloping horse (1878)

## Slide 178: realistic “crystal” of horses

## Slide 179: average structure: galloping horse

## Slide 180: average structure: 1-sigma contour

## Slide 181: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 182: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 183: lysozyme: real and reciprocal

## Slide 184: lysozyme: thermal motion
RMS displacement from B factors

## Slide 185: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 186
Damage is done
by dose (MGy)
proportional to photons/area
not time
not heat

## Slide 187: No Damage in the Dark!
Experiment time (hours)
Peak absorbance (electrons)
4.6 5.0 5.4 5.8 6.2 6.6
0 5 10 15 20 25

## Slide 188: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 189: Rough values of energy quanta
1 MeV 100 GJ/mol Medical radiation therapy
100 keV 10 GJ/mol Medical imaging
10 keV 1 GJ/mol X-ray crystallography
1 keV 100 MJ/mol S and P K-edges
100 eV 10 MJ/mol “water window”
10 eV 1 MJ/mol C≡C bond
1 eV 100 kJ/mol C-C bond, visible light
100 meV 10 kJ/mol hydrogen bond
10 meV 1 kJ/mol heat (~300 K)

## Slide 190: Energy Transfer Analogy
37 C

## Slide 191: Types of radiation damage
Global
Specific

## Slide 192
Global damage
Howells, et al. (2009) J. Electron Spectrosc. Relat. Phenom. 170, 4-12.

## Slide 193: Types of radiation damage
Global
  scale factor
  B factor
Specific

## Slide 194: Global Damage: scale
accumulated dose (MGy)
normalized total intensity

## Slide 195: Types of radiation damage
Global
  scale factor
  B factor
Specific

## Slide 196: Global Damage: B factor
accumulated dose (MGy)
relative B factor
data taken from Kmetko et. al. 2006
~ 1.0 B/MGy

## Slide 197
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
resolution (Å)
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Global damage

## Slide 198
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Global damage
10 MGy/Å

## Slide 199: 10 MGy/Å
what the is a MGy?
http://bl831.als.lbl.gov/
damage_rates.pdf
Holton J. M. (2009) J. Synchrotron Rad. 16 133-42

## Slide 200
How long will my crystal last?
synch line type flux beamsize flux density dose max xtal min site
ph/s μm ph/μm2/s rate lifetime lifetime
ALS 4.2.2 MAD 2.2e11 75x80 3.7e+07 27.3 kGy/s 18 m 73 s
ALS 5.0.1 mono 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 5.0.2 MAD 8e11 100 1.0e+08 51.8 kGy/s 9.6 m 39 s
ALS 5.0.3 mono 1.7e11 100 2.2e+07 11 kGy/s 45 m 3 m
ALS 8.2.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 8.2.2 MAD 2.3e11 100 2.9e+07 14.9 kGy/s 34 m 2.2 m
ALS 8.3.1 MAD 1.6e11 100 2.0e+07 10.4 kGy/s 48 m 3.2 m
ALS 8.3.1 typical 1.1e11 100 1.4e+07 10.3 kGy/s 48 m 3.2 m
ALS 12.3.1 MAD 1.8e11 100 2.3e+07 11.7 kGy/s 43 m 2.9 m
ALS 12.3.1 ML 4.0e12 100 5.1e+08 513 kGy/s 58 s 3.9 s
APS 8-BM MAD 1e11 200 2.5e+06 1.27 kGy/s 6.6 h 26 m
APS 14-BM-C mono 5.8e10 200 1.4e+06 738 Gy/s 11 h 45 m
APS 14-BM-D MAD 3.3e9 200 8.2e+04 42 Gy/s 8.3 d 13 h
APS 14-ID-B MAD 6.0e10 200 1.5e+06 763 Gy/s 11 h 44 m
APS 17-BM MAD 1.1e11 200 2.8e+06 1.4 kGy/s 6 h 24 m
APS 17-ID MAD 2.3e11 200 5.8e+06 2.93 kGy/s 2.8 h 11 m
APS 19-BM MAD 2.0e11 70x60 4.8e+07 24.2 kGy/s 21 m 83 s
APS 19-ID MAD 1.3e13 80x40 4.1e+09 2.07 MGy/s 15 s 0.97 s
APS 19-ID typical 5.5e11 100x100 5.5e+07 28 kGy/s 18 m 71 s
APS 22-BM MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID MAD 7e12 80x40 2.2e+09 1.23 MGy/s 24 s 1.6 s
APS 22-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 23-ID-B MAD 1e13 75x25 5.3e+09 3.01 MGy/s 10 s 0.66 s
APS 23-ID typical 1.5e12 80 2.3e+08 119 kGy/s 4.2 m 17 s
APS 24-ID-C MAD 1.3e13 20x60 1.1e+10 5.23 MGy/s 5.7 s 0.38 s
APS 24-ID-E MAD 0.5e13 20x100 2.5e+09 1.19 MGy/s 25 s 1.7 s
APS 31-ID MAD 2e12 70 4.1e+08 194 kGy/s 2.6 m 10 s

## Slide 202
D1/2 >> 1012 Gy
D1/2 ~ 10 Gy

## Slide 203: Dose-doubling concentration
Na | 44
Mg | 27
P | 9
S | 7
Cl | 5
K | 3.3
Ca | 2.7
Fe | 1.0
Cu | 0.67
Zn | 0.58
molar, at the Se edge based on RADDOSE
As | 0.44
Se | 0.42
Br | 2.9
I | 0.47
Gd | 0.21
Ta | 0.13
Pt | 0.17
Au | 0.16
Hg | 0.16
U | 0.23

## Slide 204: Dose-doubling concentration
Na | 44
Mg | 27
P | 9
S | 7
Cl | 5
K | 3.3
Ca | 2.7
Fe | 1.0
Cu | 0.67
Zn | 0.58
molar, at the Se edge based on RADDOSE
As | 0.44
Se | 0.42
Br | 2.9
I | 0.47
Gd | 0.21
Ta | 0.13
Pt | 0.17
Au | 0.16
Hg | 0.16
U | 0.23

## Slide 205: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific

## Slide 206: Riso vs dose
Riso (%)
change in dose (MGy)
data taken from Banumathi, et al. (2004) Acta Cryst. D 60, 1085-1093.

## Slide 207: Riso vs dose
Riso (%)
change in dose (MGy)
data taken from Banumathi, et al. (2004) Acta Cryst. D 60, 1085-1093.
Riso ≈ 0.7 %/MGy

## Slide 208: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific
  depends on chemistry

## Slide 209: Specific damage
final, refined phases

## Slide 210: Specific damage
experimentally-obtained phases

## Slide 211
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.

## Slide 212
1.0
0.0
fraction
unconverted
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.

## Slide 213
Holton (2009) J. Synchrotron Rad. 16 133-42
Specific damage rates
world records:
MGy reaction reference
~45 global damage Owen et al. (2006)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 215: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific
  depends on chemistry
  destroys phasing signal

## Slide 216: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 217: Spot Shape
Ewald sphere
(h,k,l)

## Slide 218: Spot Shape
Ewald sphere
(h,k,l)
d*

## Slide 219: Spot Shape
Ewald sphere
spindle axis
(h,k,l)
d*

## Slide 220: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 221: Spot Shape
Ewald sphere
spindle axis
Φ circle
(h,k,l)

## Slide 222: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)

## Slide 223: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*

## Slide 224: Spot Shape
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
d*
λ*
λ*
θ
λ = 2 d sin(θ)

## Slide 225: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted ray
(h,k,l)
λ*
λ*
d*
d*

## Slide 226: mosaic spread
Ewald sphere
spindle axis
Φ circle
diffracted rays
(h,k,l)
d*
d*

## Slide 227: mosaic spread = 0 º

## Slide 228: mosaic spread = 0.1º

## Slide 229: mosaic spread = 0.2º

## Slide 230: mosaic spread = 0.4º

## Slide 231: mosaic spread = 0.6º

## Slide 232: mosaic spread = 0.8º

## Slide 233: mosaic spread = 1.0º

## Slide 234: mosaic spread = 1.5º

## Slide 235: mosaic spread = 2.0º

## Slide 236: mosaic spread = 2.5º

## Slide 237: mosaic spread = 3.2º

## Slide 238: mosaic spread = 6.4º

## Slide 239: mosaic spread = 12.8º

## Slide 240: Radiation Damage
48 MGy
20 MGy
2 MGy

## Slide 241
~0 MGy

## Slide 242
5 MGy

## Slide 243
11 MGy

## Slide 244
16 MGy

## Slide 245
22 MGy

## Slide 246
26 MGy

## Slide 247: What Causes Disorder?
Function
Radiation damage
Mosaicity
Strain
Xtal abuse
Dehydration

## Slide 248
stress and strain
radiation damage = defects
What about
undamaged crystals?

## Slide 249: Purity is crucial!
McPherson, A., Malkin, A. J., Kuznetsov, Y. G. & Plomp, M. (2001)."Atomic force microscopy applications in macromolecular crystallography", Acta Cryst. D 57, 1053-1060.
not important for
initial hits
important for
resolution

## Slide 250: What can I improve?
Purity!
is 95% good enough? 99%?
Purity!
conformational (homogeneous)
Purity!
kinetic (stable over time)

## Slide 251: What can I improve?
add a column
fractional recrystallization
heat shock
mutate Lys
avoid stress
Newman J. (2006) Acta Cryst. D62 27-31.

## Slide 252: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 253
Ewald’s “mosaic” picture

## Slide 254
Ewald’s “mosaic” picture

## Slide 255
Ewald’s “mosaic” picture
What is
this stuff?

## Slide 256
Darwin’s original picture

## Slide 257
“mosaicity” with visible light

## Slide 258
source
detector
d
atom #1
atom #2
“near”-ly Bragg’s Law

## Slide 259
“crystal”
detector
x-ray beam
peak
intensity
integrated
intensity
mosaicity vs Wilson B

## Slide 260: mosaicity vs Wilson B
10 atoms
0.1 μm
50 atoms
0.5 μm
100 atoms
1 μm
200 atoms
2 μm
300 atoms
3 μm
400 atoms
4 μm
500 atoms
5 μm
1000 atoms
10 μm
position on detector (mm)
intensity (photons/SR/atom)

## Slide 261: mosaicity vs Wilson B
B factor
mosaic
spread
intensity (photons/SR)
number of atoms in line

## Slide 262
16 MGy

## Slide 263: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 265: Icky Skin Stuff

## Slide 266: Hampton crystal surgery tools

## Slide 267: MiTeGen MicroTools
http://www.mitegen.com/products/microtools/microtools_kit1.shtml

## Slide 268: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.
basically: no sudden moves!

## Slide 269: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 270: Vicker’s hardness
Tachibana et al. (1999) J. Cryst. Growth 198, 661-664.
Koizumi et al. (2009) Physical Review E 79, 61917.

## Slide 271: platy crystals

## Slide 272: platy crystals

## Slide 273: How many crystals do you see?
Shoot the crystal (singular)

## Slide 274: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 275: platy crystals

## Slide 276: platy crystals

## Slide 277: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 278: MiTeGen MicroMesh grids
http://www.mitegen.com/products/micromeshes/micromeshes.shtml

## Slide 279: platy crystals

## Slide 280: platy crystals

## Slide 281: platy crystals

## Slide 282: acupuncture needles

## Slide 283: acupuncture needles

## Slide 284: xtal stuck on tray
?

## Slide 285: xtal stuck on tray

## Slide 286: xtal stuck on tray

## Slide 287: xtal stuck on tray

## Slide 288: xtal stuck on tray

## Slide 289: xtal stuck on tray

## Slide 290: xtal stuck on tray

## Slide 291: MiTeGen MicroSaw
http://www.mitegen.com/products/microtools/microtools_kit1.shtml
10 μm thick!

## Slide 292: xtal stuck on tray

## Slide 293: xtal stuck on tray

## Slide 294: xtal stuck on tray

## Slide 295: xtal stuck on tray

## Slide 296: crystals too fragile? cross-link them!
Lusty (1999) J. Appl. Crystallogr. 32, 106-112.
McWhirter, et al. (1999) PNAS USA 96, 8408-8413.

## Slide 297: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 298: cryo assay 1 does your crystal “like” it?

## Slide 299: Osmolarity matching
Look up osmotic pressure of mother liquor in CRC Handbook of Physics and Chemistry, Section D-232. 11th column is O: Os/kg
Look up o.p. of cryoprotectant agent.
Modify conc. of mother liquor to minimize change in osmotic pressure.

## Slide 300: matching osmolarity

## Slide 301: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 302: Dielectric matching
Travers & Douzou (1970) J. of Phys. Chem. 74, 2243-2244.
Petsko (1975) J. Mol. Biol. 96, 381-388.
Douzou (1977) Cryobiochemistry. Academic Press.

## Slide 303: Tris buffer vs temperature
Temperature (C)
pH

## Slide 304: Tris buffer under cryo
Temperature (K)
pH*
Douzou (1977) Cryobiochemistry. Academic Press.

## Slide 305: matching dielectric const.

## Slide 306: matching dielectric const.

## Slide 307: matching dielectric const.

## Slide 308: matching dielectric const.

## Slide 309: My crystal “dissolved” in the oil!
no, it didn’t…

## Slide 310: Xtal Abuse
physical contact
don’t touch the part you intend to shoot
osmotic shock
equilibrate, or calculate matching solution
changes in dielectric constant
Petsko (1975) J. Mol. Biol. 96, 381-388.
cooled density mismatch
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 311: ice = bad

## Slide 312: ice = bad

## Slide 313: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 314: stress and strain
intensity
resolution (Å)
 10 5 3 2.7 2.5 2.0 1.8 1.5

## Slide 315: cryo assay
does it “freeze clear”?
vs.

## Slide 316: You do not need a cryostream to check your cryo!
liquid N2

## Slide 317: clear drop, right?

## Slide 318: cubic ice
0.92 g/cm3

## Slide 319: hexagonal ice
0.92 g/cm3

## Slide 320: nano-crystalline cubic ice
~0.93 g/cm3

## Slide 321: amorphous ice
0.94 g/cm3

## Slide 322: annealing
easiest way to change your cryo
WATCH droplet melt before re-cooling
snapshots only!
Juers & Matthews (2004) Acta Cryst. D 60, 412-421.

## Slide 323: annealing gone wrong

## Slide 324: annealing – in slo-mo

## Slide 325: What Causes Disorder?
Function
Radiation damage
Mosaicity > ~3 μm
Strain < ~3 μm
Xtal abuse
Dehydration

## Slide 326: opened drop: you have ~30 seconds!
equilibrated drop

## Slide 327: First diffraction from protein xtal
Bernal, J. & Crowfoot, D. (1934). "X-ray photographs of crystalline pepsin", Nature 133, 794-795.
1934

## Slide 328: Dehydration: 1934
100 μm
2 mm
= 1.5 μL
= 1.0 nL
10 μm
= 1.0 pL
and 2016?
1 μm
= 1.0 fL

## Slide 329
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 330
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 331
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 333: Non-isomorphism in lysozyme
RH 84.2% vs 71.9%
Riso = 44.5%
RMSD = 0.18 Å
3aw6
3aw7

## Slide 334: “same drop” ?

## Slide 335
Magdoff & Crick (1955) “Ribonuclease II. Accuracy of measurement and shrinkage”, Acta Cryst. 8, 461-8.
Crick & Magdoff (1956) “The theory of the method of isomorphous replacement for protein crystals”, Acta Cryst. 9, 901-8.

## Slide 336: Elastic deformation = non-isomorphism

## Slide 337: Elastic deformation = non-isomorphism

## Slide 338: Plastic deformation = poor diffraction

## Slide 339: Plastic deformation = poor diffraction

## Slide 340: Xtal5_t1 graph
Spot intensity

## Slide 341
Spot intensity

## Slide 342: How much H2 are we making?
Meents et al. (2010) claimed:
"400 molecules of H2 for every 12.5 keV photon“
= 3.3x10-7 mol/J
200 kGy to 100 um3 = 0.24 J
= 1.2x10-8 mol H2
100 um3 of water = 6.7x10-8 mol
→ 18% of water has reacted!

## Slide 343: OK! OK! Now I am afraid!
What should I do?

## Slide 344: oil is your friend

## Slide 345: opened drop: you have ~30 seconds!
oil

## Slide 346: oiled drop: you have ~3 hours
oil

## Slide 347: Dabbing to remove excess
clean surface

## Slide 348: Dabbing to remove excess
clean surface

## Slide 349: Dabbing to remove excess
clean surface

## Slide 350: Dabbing to remove excess
clean surface

## Slide 351: Dabbing to remove excess
clean surface

## Slide 352: Dabbing to remove excess
clean surface

## Slide 353: Dabbing to remove excess
clean surface

## Slide 354: Crystal fishing demystified
“Lasso” method

## Slide 355: Crystal fishing demystified

## Slide 356: Crystal fishing demystified

## Slide 357: Crystal fishing demystified

## Slide 358: Crystal fishing demystified

## Slide 359: Crystal fishing demystified

## Slide 360: Crystal fishing demystified

## Slide 361: Crystal fishing demystified
“Soup Spoon” method

## Slide 362: Crystal fishing demystified

## Slide 363: Crystal fishing demystified

## Slide 364: Crystal fishing demystified

## Slide 365: Crystal fishing demystified

## Slide 366: Crystal fishing demystified

## Slide 367: Crystal fishing demystified

## Slide 368: plunge cooling
foam insulation
warm, moist air
cold N2
liquid N2
ice

## Slide 369: plunge cooling
cold N2
foam insulation
warm, moist air
liquid N2
ice

## Slide 370: Warkentin method
foam insulation
liquid N2
Warkentin (2006) J. Appl. Crystallogr. 39, 805-811.

## Slide 371: COMBINE cryoprotectants!
organic + hyperquenching
malonate + glycerol
“confusion principle”
~30% glycerol is not as good as:
5% glycerol +
5% PEG400 +
5% MPD +
5% sucrose +
5% sorbitol +
5% ethylene glycol

## Slide 372: COMBINE cryoprotectants!
organic + hyperquenching
malonate + glycerol
“confusion principle”
~30% glycerol is not as good as:
25% glycerol +
1% PEG400 +
1% MPD +
1% sucrose +
1% sorbitol +
1% ethylene glycol

## Slide 373: Pressure as a cryoprotectant
Thomanek et al. (1973)
Acta Cryst. A 29, 263-265.
Fig. 1. Equipment for freezing at 2500 atm. (1) Steel cylinder, (2) and (3) pistons which can be coupled to a hydraulic press, (4) Teflon cell, (5) vessel for liquid nitrogen, (6) steel tube used for pushing cell (4) out of cylinder (1), (7) steel rings. Scale is in mm. A-A : direction of the force.

## Slide 374: Pressure as a cryoprotectant
Kim et al. (2005) Acta Cryst. D 61, 881-890.
High-pressure cooling apparatus. (a) Sample pin. An oil-coated crystal in a cryoloop is inserted into one end (right) of a brass tube (2.5 cm long) and a
steel piano wire in the other end (left). (b) High-pressure tubing assembly in a LN2 container. A sample is loaded into the top of each 30 cm long tube
and is held in place by a magnet outside the tube. Three crystals can be pressure-cooled at a time.

## Slide 375: Pressure as a cryoprotectant
Balzers HPM 010 High Pressure Freezer The Bal-Tec HPM 010 is a high pressure freezing machine that is designed to freeze non-cryoprotected samples up to 0.5mm in thickness without significant ice crystal damage. Samples can then be processed for TEM using the freeze substitution protocol. These two methods are the state-of-the-art for TEM specimen preparation.
http://www.leica-microsystems.com/products/
electron-microscope-sample-preparation/
industrial-materials/cryo-preparation/
details/product/leica-em-pact2/

## Slide 376: Pressure as a cryoprotectant

## Slide 377: Response to dehydration
www.proteros.de

## Slide 378: Response to dehydration
www.proteros.de

## Slide 379: Response to dehydration
www.proteros.de

## Slide 380: Response to dehydration
www.proteros.de

## Slide 381: Response to dehydration
www.proteros.de

## Slide 382: Response to dehydration
www.proteros.de

## Slide 383: Response to dehydration
www.proteros.de

## Slide 384: Response to dehydration
www.proteros.de

## Slide 385: Ostwald Ripening
http://xray.bmc.uu.se/terese/tutorial6.html

## Slide 386: … but does it work for membrane proteins?
Efremov, R. G. & Sazanov, L. A. (2011)."Structure of the membrane domain of respiratory complex I", Nature 476, 414-420.
“To improve diffraction properties, crystals were slowly cooled to 4 C, placed into micro-dialysis buttons, and mother liquor was exchanged by dialysis for 0.1 M sodium acetate (pH 4.8), 0.15 M sodium tartrate (pH 5.0), 30% PEG4000, 0.1% sodium cholate and 12.5% glycerol over a period of 5 days.”
CCP4BB:
“We used it for a large membrane protein complex and diffraction improved from ~7 to 2.7 A. The crystal is fished out and put into mother liquor solution in the button, sealed with dialysis membrane and the button is then placed into about 5 mls of mother liquor with slightly higher PEG concentration. Then you just exchange outside buffer every day or so for solutions containing higher concentrations of PEG. We went from ~9 to 30 % PEG4000 in about a week. You can easily observe crystal under microscope and if it cracks - you went too far/too quickly with PEG and need to use a bit less next time. Also, this method allows you to control all other components of the dehydrating solution - we needed to decrease salt concentration at the same time as increasing PEG. You can also introduce/increase cryo-protectant concentration at the same time. With these crystals, otherwise excellent dehydration machines already mentioned did not work, possibly because the process had to be really slow.”

## Slide 387: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 388: beam size vs xtal size
  Put your crystal into the beam

## Slide 389: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 390: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal

## Slide 391: shoot the whole crystal

## Slide 392: shoot the whole crystal

## Slide 393: shoot the whole crystal

## Slide 394: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal

## Slide 395: shoot nothing but the crystal

## Slide 396: shoot nothing but the crystal

## Slide 397: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air

## Slide 398
X-ray beam size (μm)
Resolution (Å)
too big
too small
just right

## Slide 399: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!

## Slide 400: Background scattering

## Slide 401: Background scattering
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
$100,000.00
real estate is
expensive
use it!

## Slide 402: Fine Slicing
Pflugrath, J. W. (1999)."The finer things in X-ray diffraction data collection", Acta Cryst. D 55, 1718-1725.
background
background

## Slide 403: Classes of error in MX
Dependence on signal
Time
none sqrt proportional
none
1/sqrt
1/prop.
CCD
Read-out
Photon
counting
Beam flicker
Shutter jitter
Sample vibration
Detector calibration
attenuation
partiality
Non-isomorphism
Radiation damage

## Slide 404: Optimal exposure time (faint spots)
thr Optimal exposure time for data set (s)
tref exposure time of reference image (s)
bgref background level near weak spots on
reference image (ADU)
bg0 ADC offset of detector (ADU)
bghr optimal background level (via thr)
σ0 rms read-out noise (ADU)
gain ADU/photon
m multiplicity of data set (including partials)
adjust exposure
so this is ~15

## Slide 405: beam size vs xtal size
  Put your crystal into the beam
  Shoot the whole crystal
  Shoot nothing but the crystal
  Back off!
  The crystal must rotate

## Slide 406: Get thee to a microbeam?
Evans et al. (2011)."Macromolecular microcrystallography", Crystallography Reviews 17, 105-142.

## Slide 407: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 408
anomalous signal
Crick, F. H. C. & Magdoff, B. S. (1956) Acta Crystallogr. 9, 901-908.
Hendrickson, W. A. & Teeter, M. M. (1981) Nature 290, 107-113.
# sites
MW (Da)
ΔF
F
≈ 1.2 f”
√
World record!
ΔF/F = 0.5%
Wang, Dauter & Dauter (2006) Acta Cryst. D 62, 1475-1483.

## Slide 409: Detector calibration: 7235 eV

## Slide 410: Detector calibration: 7247 eV

## Slide 411: Gadox calibration vs energy
photon energy (keV)
Relative absorption depth
same = good!
bad!

## Slide 412
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
~3x105 photon/pixel Pilatus detector
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 413: Spatial Heterogeneity in Sharp Spot Sensitivity (SHSSS): Q315r vs Pilatus
3.5
3.0
2.5
2.0
1.5
1.0
0.5
average change in spot intensity (%)
distance between spots (mm)
0.1 1 10 100
Pilatus
Q315r
anomalous mates typically
> 100 mm apart
different
modules

## Slide 414: Systematic error does not “average out”

## Slide 415: Fractional error
mult > (—)2
~3%
<ΔF/F>

## Slide 416
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 417: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
unacceptable
damage
unacceptable
read noise

## Slide 418: Data collection parameters:
16 crystals
360° each, inverse beam
7235 eV photon energy
< 1 MGy per xtal
Australian Synchrotron MX1
  35 kGy/s into 100 μm x 100 μm

## Slide 419
RESOLUTION COMPLETENESS R-FACTOR I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OF DATA observed Corr
9.17 99.1% 3.9% 257.47 3.9% 100.0* 91* 5.024 450
6.49 100.0% 5.2% 214.33 5.2% 100.0* 86* 3.836 882
5.30 100.0% 7.2% 165.13 7.2% 100.0* 76* 3.257 1175
4.59 100.0% 7.2% 175.42 7.3% 100.0* 67* 2.589 1403
4.10 99.9% 7.7% 174.13 7.7% 100.0* 59* 2.264 1594
3.74 99.9% 9.4% 143.09 9.4% 100.0* 49* 1.953 1783
3.47 100.0% 11.2% 120.17 11.2% 100.0* 39* 1.696 1942
3.24 100.0% 14.1% 91.14 14.1% 100.0* 30* 1.333 2103
3.06 99.9% 19.5% 65.79 19.5% 100.0* 23* 1.117 2214
2.90 99.9% 29.0% 44.85 29.1% 99.9* 17* 1.008 2369
2.77 99.9% 40.5% 32.58 40.6% 99.8* 11* 0.901 2493
2.65 99.9% 52.8% 25.16 52.9% 99.8* 10* 0.866 2605
2.54 100.0% 67.4% 19.47 67.6% 99.6* 2 0.804 2705
2.45 100.0% 88.9% 14.58 89.2% 99.2* 4 0.831 2859
2.37 100.0% 109.3% 9.97 109.7% 98.1* 5 0.829 2925
2.29 100.0% 138.2% 6.87 138.9% 96.1* 1 0.760 3037
2.22 100.0% 197.1% 4.03 198.6% 83.5* -1 0.721 3159
2.16 100.0% 227.3% 2.41 230.8% 46.9* -1 0.677 3224
2.10 61.2% 154.4% 1.28 163.6% 47.0* -2 0.660 1999
2.05 47.9% 170.1% 0.68 196.5% 25.7* 3 0.629 1578
total 93.3% 15.7% 54.30 15.8% 100.0* 12* 1.217 42499
140-fold multiplicity: 16 crystals, 360° each, inverse beam, 7235 eV

## Slide 420: 140-fold multiplicity
18 σ
Phased anomalous difference Fourier
16 σ

## Slide 421: 140-fold multiplicity
15σ = PO4
Phased anomalous difference Fourier

## Slide 422: 140-fold multiplicity
~2σ = Mg?
Phased anomalous difference Fourier

## Slide 423: 140-fold multiplicity
8.2σ = Mg?
DELFAN residual anomalous difference

## Slide 424: Discerning Na+ from Mg++
f’’ (electrons)
DELFAN peak height (σ)
Mg
Ne
Na
F
O
N

## Slide 425: 140-fold multiplicity
7.4σ = Na
DELFAN residual anomalous difference

## Slide 426: Suggested anomalous protocol:
2 wavelengths are better than 1
- (peak + inf)/2, and remote
MAD, not M-SAD!
360° in < 5 MGy
move detector
4X exposure
goto 2

## Slide 427: Summary
100 ADU/pixel
10 μm for lysozyme
~3% error per spot, 1%/MGy
7235 eV for S-SAD
“Attenu-wait”: dose slicing
http://bl831.als.lbl.gov/xtalsize.html
http://bl831.als.lbl.gov/~jamesh/mlfsom/
http://bl831.als.lbl.gov/~jamesh/powerpoint/ACMC_GBU_2013.ppt

## Slide 428: Summary
15 ADU/pixel
10 μm for lysozyme
~3% error per spot, 1%/MGy
8014 eV for S-SAD on Mar
“Attenu-wait”: dose slicing
http://bl831.als.lbl.gov/xtalsize.html
http://bl831.als.lbl.gov/xtallife.html
http://bl831.als.lbl.gov/~jamesh/mlfsom/
http://bl831.als.lbl.gov/~jamesh/powerpoint/CSHL_tipsNtricks_2016.pptx

## Slide 429: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 430: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 431: X-ray transmission of materials
Depth into material (μm)
transmission
glass
protein
crystal
water
air

## Slide 432: X-ray scattering of materials
Differential cross section
(scattered photons/solid angle/incident photon/meter thickness)
 7.5 3.8 2.5 1.9 1.5
d-spacing (Ǻ)
water
25% glycerol
paratone-N oil
plastic
glass

## Slide 433: naked xtal

## Slide 434: Crowfoot Cell

## Slide 435: Crowfoot Cell

## Slide 436: Crowfoot Cell
J. D. Bernal and D. Crowfoot, Nature (London) 133, 794 (1934).

## Slide 437: Fluidigm RT/cryo mount
“Diffraction Capable” chip
http://www.fluidigm.com/products/topaz-chips.html

## Slide 438: Plate goniometers
Notes: The non-rotating “plate goniometer” (left) was developed last year. A new incarnation for taking rotation-camera data is now being developed (right). Either of these devices will accept most any crystallization tray that can be rotated 90 degrees to gravity and probe arbitrary points in each crystallization drop with a 50 um x-ray beam. Installing a plate goniometer takes ~30 minutes and the location ~300 mm downbeam from the “normal” protein crystallography sample mounting point makes this technology transferable to most any beamline.
Current status is that a 95% complete data set has been collected from a 50 um lysozyme crystal at room temperature, and trials are now underway to collect data sets from “real” crystals.

## Slide 439
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 441: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 443
8000 Gy/s

## Slide 444: Example Data
lysozyme
50 μm beam
37 Gy/s (0.775 Å)
30s exposures at 20C
90° of data, 97% complete
I/ = 1.5 at 1.9 Å
Rmerge 18% (overall) 5% (low)
ΔB same as 20 min at 100K
B factor
-2
-4
-6
scale vs batch
2
1
0

## Slide 445: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 446: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 447: Every spot is an unpaired partial!
Ispot = k Ncells2
Ewald sphere
range

## Slide 448: Every spot is an unpaired partial!
Ewald sphere
range
Ispot = k Ncells1
Woolfson, M. M. (1997). An introduction to X-ray crystallography. Ch. 2 & 6

## Slide 449: Internal consistency of data
1,850,000 images
112,000 > 10 peaks
33,000 indexed
16,500 good preds
rigid-body:
Rcryst = 0.252
Rfree = 0.232

## Slide 450: what is “partiality”?
F(h,k,l)
Ewald sphere
λ1*
λ2*
F(0,0,0)
F(h,k,l)

## Slide 451: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 452: Why harvest at all?
Radiation damage
  10-100x reduced at ~100 K
Background scatter
    tray >> xtal
Timing
    nothing lasts forever
Shipping
    cryo samples are glass beads

## Slide 453: MiTeGen RT cell
http://www.mitegen.com/products/micrort/micrort.shtml

## Slide 454: Free-mounting system
http://www.proteros.de/

## Slide 455: Summary
assay, control and open mind
purity, purity, purity
oil is your friend
Warkentin method
try room temp!
http://bl831.als.lbl.gov/~jamesh/powerpoint/
CSHL_tipsNtricks_2015.pptx

## Slide 456: avoiding overlaps
c
c

## Slide 457: avoiding overlaps
c

## Slide 458: At the beamline…
Resolution
  problem: background
  solution: use as few pixels as possible
Phases
  problem: fractional errors
  solution: use as many pixels as possible

## Slide 459: mosaic block = “coherence length”
James R. W. (1962) Optical Principles of the Diffraction of X rays. Ox Bow press.

## Slide 460
detector
sample
detector
x-ray beam
scattering

## Slide 463: Snapshot from single virus particle
TEM
2 keV LCLS 200 fs Mimi virus single-shot.
200 nm
Reconstructed image
Resolution 20nm
Seibert, et al. (2011). Nature 470, 78-81.
Notes: what limits single-particle resolution ?
get 100 times more photons/shot if correctly focussed beam
get 100 times more with submicron beam focus on CXI chamber
Problem – scattering goes from N^2 to N (Wilson statistics).
So use a-priori information – modelling Axel Brummer
Make beam smaller than jet to elliminate streak
463