## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
UC Multicampus Research Programs and Initiatives (MRPI)
NIH NIGMS R01 GM124149
NIH NIGMS P50 GM082250
NIH NIGMS P30 GM124169
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Paul Adams John Tainer
Chris Nielsen Clemens Schulze-Briese Aina Cohen Ana Gonzalez

## Slide 2
als-enable.lbl.gov

## Slide 3: ALS-ENABLE site and data access
Applying for beamtime
Data archiving
Data portal

## Slide 4
ber
structural
bio
portal.org

## Slide 5: What is ALS Beamline 8.3.1 ?
Macromolecular Crystallography (MX)
  MAD, 1x1012 ph/s, Pilatus 6M
  Technology development
    Room temp, Elves, multi-crystal
  Staff: Holton, Meigs, Tanamachi, Classen
Landmark and highly productive facility
  1st ALS SuperBend beamline – constructed 2001
  1 of 10 in USA with >1000 PDBs/10 years running
    Others: 2 at SSRL, 7 at APS
  8% of all membrane protein structures
  996 distinct users from 57 institutions
  1511 structures, 636 pubs, 227 high-impact
Meigs
Tanamachi
Classen
Notes: ALS 8.3.1 is a very productive facility. Our focus is on maximizing efficiency of the user experience.
The MRPI funds are not just to maintain this facility, but to upgrade it. The new detector is 50x faster, more sensitive and more accurate than the existing detector, and an optics upgrade will match these capabilities.
We will exceed the modern standard of screening and data collection by offering completely automated mail-in raster-based screening
This will position ALS 8.3.1 as the centerpiece of structural biology for the UC system

## Slide 6: It’s Official

## Slide 7: 8.3.1 Recent Improvements
Dectris Pilatus3 6M installation - May 2016
  25 Hz framing, 2 ms dead time, previously 0.3 Hz
  0.8% calibration error, previously 2.5%
Complete control system update
  Shutterless data collection
  “Rastering” automated sample alignment
  Screening Tab workflow for efficient sample evaluation
  Coming soon: Raster centering for unattended operation
Overhaul of data archiving infrastructure
  LTO4 to LTO6, support USB3 user hard drives
First remote data collection – Apr 2017

## Slide 8
Pilatus3 S 6M
Pixel Array
Detector
6x106 pixels
$0.15/each
Single-photon
counting
25 Hz images

## Slide 9: ALS 8.3.1 data collection history
images x 106

## Slide 10
voltron
“petabyte”

## Slide 11: Shutterless rastering now available
Membrane
protein crystal
X-ray beam
ice

## Slide 12
BLU-ICE “screening tab” ready for testing

## Slide 13: ALS robots
5.0.2
5.0.1
5.0.3
MBC 4.2.2
ACTOR
8.2.2
8.3.1
Cool Hand Luke
8.2.1
12.3.1 SIBYLS
ACTOR
Berkeley
Auto-
Mounter
ALS MX robots
Stanford
Auto-
Mounter

## Slide 14: Pin compatibility
SLAC
ALS
SPINE

## Slide 15: SuperTong

## Slide 16: What if we didn’t have to choose?
Caltech
SSRL
Yale
Oxford
SPring-8
SPINE
MiTeGen RT
Syrrx
H. magnetic
H. hybrid
H. copper
H. screw cap
H. colored
Hampton screw cap
Hampton magnetic

## Slide 17: “infinite capacity” sample carousel

## Slide 18: Carousel open

## Slide 21
pinhole
mirror
microscope
SBS
format
crystallization
tray
Notes: Inspired by the ESRF microcrystal camera, the superbend endstations are all equipped with zero-paralax optics. The user sees their sample from the point of view of the x-ray beam. Sample alignment is not only more stable but more intuitive than an off-axis camera. Placing the crystal into the microscope crosshairs gaurantees that it will be hit by the beam.

## Slide 22
NatX-ray
CrystalQuick™ X
250 μm
~50 μm tape
Fluidigm
Topaz® DC
200 μm
PDMS
PDMS
MiTeGen
in-situ-1
100 μm
~50 μm tape
in-situ diffraction trays
CrystalDirect
~50 μm tape
25 μm
Microlytic
Crystal Former™
1000 μm
Notes: Next slide please

## Slide 23: scattering/absorptoin “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
Optimum: support thickness = crystal thickness

## Slide 24: Match crystal to beam
X-ray beam size (μm)
Resolution (Å)
too big
too small
just right

## Slide 25: “8-shooter” adjustable beam size
rotary
pinholes:
300
100
75
50
30
25
15

## Slide 26: Crystal lifetime vs pinhole
pinhole (µm) | beam size | Cryo (min) | Room T (s)
100 | 60x80 | 4 | 1.7
75 | 60x78 | 5 | 2.0
50 | 60x54 | 8 | 3.4
30 | 54x34 | 6 | 2.3
20 | 44x24 | 6 | 2.4
15 | 40x19 | 7 | 2.8
10 | 34x14 | 10 | 4.1

## Slide 27
Holton (2009) J. Synchrotron Rad. 16 133-42
Radiation Damage World Records
MGy reaction reference
~45 global damage Owen et al. (2006)
10/Å global damage Howells et al. (2009)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
4 R-C-COOH Garman et al. (2015)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
~1? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.06 putidaredoxin Corbett et al. (2007)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 28
Holton & Frankel (2010) Acta D 66 393-408.
Will my experiment work?

## Slide 29: Optimal exposure time (anomalous on a PAD)
time
intensity
2.03 ms

## Slide 30: Optimal exposure time (anomalous on a PAD)
tmad Optimal exposure time (s)
tro read-out time (s)
2.03 ms on Pilatus3 S
0.95 ms on Pilatus3 X
Pilatus S
>0.2 s/frame
Upgrade:
>0.1 s/frame
8.3.1 is too
hot for Pilatus
Attenuate for MAD

## Slide 31: % exposure_time.com
The last tune up was at 11111.0 eV (1.11587 A) convergance: 2 x 0.35
with Dose Rate 47280 Gy/s
Based on a Dose Rate of 4.73e+04 Grays/Sec at 2 mRad with slits 100.00% flux, the Dose Rate now at 2.0000 mRad, or 100.00% flux, is 4.73e+04 Grays/Sec
What is the current, or expected dose rate (Gy/s) [4.73e+04] : -->
Expected 1/2 life dose of typical protein crystals
Native 2e+7
MAD 5e+6
S SAD 3e+6
Br/I/RNA 1e+6
RT 2e+5
What is the Max total dose YOU want: [2e+7] -->
Total time for dataset must not exceed 422.8 seconds
How many frames will be in this data set [1800]: -->
Based on these parameters, the exposure time can be up to 0.235 seconds/frame, or 4.73e+04 Gy/s

## Slide 32
1% high
average
1% low
Relative Pixel
Calibration
ALS 8.3.1
Pilatus3 6M
0.9793 Å x-rays
RMS = 0.8%

## Slide 33
Required signal-to-noise (I/σ)
Solve-able proteins (%)
CCD
old Pilatus
Goal
Threshold of a revolution in phasing
8.3.1’s Pilatus

## Slide 34: S-SAD merging 20 xtals
Knott et al. (2017). "Guide-bound CRISPR-Cas13a." Nature S&MB online

## Slide 35
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
F+ | 52.3965 | 57.5371 | 48.523 | 47.5964 | 34.153 | 48.9106 | 70.3415 | 52.7871 | 59.3327 | 50.0622
F- | 46.3965 | 51.5371 | 42.523 | 41.5964 | 28.153 | 42.9106 | 64.3415 | 46.7871 | 53.3327 | 44.0622
observation
intensity
Systematic vs random error

## Slide 36: ALS 8.3.1 capabilities
200s data sets in shutterless mode
Support for room temperature
in-situ screening from trays
15-100 μm beam sizes
True BLU-ICE interface
Excellent detector calibration
Infinite capacity sample carousel
Automated data backup
Remote operation

## Slide 37: How do I get time on ALS 8.3.1?
Check for available shifts on the schedule:
http://bl831.als.lbl.gov/
Contact Jane Tanamachi!
JTanamachi@LBL.GOV
510-495-2404
No proposals, no reviews, no kidding

## Slide 38: BL8.3.1 online schedule

## Slide 39: ALS 8.3.1 beam time allocation
PRT Member | allocation | Details
General Users | 25% | Mandated by DOE
Staff | 9% | development & testing
Plexxikon | 5% | 5-year contract just renewed
UC | 36% total | 7.2% each
UCSF | 25% | Sandler, ETAC & NIH
Total | 600 shifts | 200 days/year

## Slide 40: Please Acknowledge!
UCOP MRPI grant MR‐15‐328599
and the “Program for Breakthrough Biomedical Research (PBBR), which is partially funded by the Sandler Foundation”
NIH grants: P50 GM082250
R01 GM124149
P30 GM124169

## Slide 41: Multi-bend Achromat (MBA) gradual bend = smaller beam
ALS
https://als.lbl.gov/als-u/als-u-approach/

## Slide 42: Multi-bend Achromat (MBA) gradual bend = smaller beam
ALS
ALS-U
https://als.lbl.gov/als-u/als-u-approach/

## Slide 43: Multi-bend Achromat (MBA) gradual bend = smaller beam
https://als.lbl.gov/als-u/als-u-approach/

## Slide 44: Multi-bend Achromat (MBA) gradual bend = smaller beam
https://als.lbl.gov/als-u/als-u-approach/

## Slide 45: ALS-U priority: soft X-rays
Se Met

## Slide 46: Flux at 8.3.1 before & after “upgrade”
1.4e12
1.3e12
1.1e12
1.0e12
8.5e11
7.1e11
5.7e11
4.3e11
2.9e11
1.4e11
Photons/s on sample
6% better
needs justification
15%-30% worse
Will happen if
we remain quiet
Right now

## Slide 47: ALS-U: July 2024
~$300M project
$5M awarded FY17 (Critical Decision 0)
$30M awarded FY18 (CD1)
CD2 is next. DOE Instructions:
  “Prioritize bend beamline and super bend investment taking into consideration realignment team access, resource limitations, and beamline scientific productivity and competitiveness in a post ALS-U synchrotron environment, due June 1, 2019.”
Feb 13 2019 9am Workshop: BioSci @ ALS
LBL Building 15 Room 235CR
  https://lbl.zoom.us/J/5104864225

## Slide 48: What is the “best” beam size?

## Slide 49: “dose contrast” effects
before

## Slide 50: “dose contrast” effects
after

## Slide 51: “dose contrast” effects

## Slide 52: “dose contrast” effects

## Slide 53
~0 MGy

## Slide 54
5 MGy

## Slide 55
11 MGy

## Slide 56
16 MGy

## Slide 57
22 MGy

## Slide 58
26 MGy

## Slide 59: “rastering” to find the crystal
Membrane
protein crystal
X-ray beam
ice

## Slide 60: “rastering” for flat dose

## Slide 61: “rastering” for virtual beam

## Slide 62: How many images?
360° / 0.1° * ( 100 µm / 1 µm )2
= 36x106
28,000 ph/image

## Slide 63: The Entropy Limit
= log2(Npixels) * flux * tsample * 1.2x10-5
minimum data rate with no information loss
Npixels = 4150*4371 for Eiger
flux = photons/s onto the sample
tsample = sample thickness in µm
1.2x10-5 = 10-4 cm/µm * cross section of oxygen (0.2 cm2/g)
* density of protein crystal (1.2 g/cm3 )
* ~1/2 of total scattering intersects detector
E.G. 3.4 GByte/s for 1012 photons/s and 100 µm thick
bits
s

## Slide 64: How to loose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast

## Slide 65: How long will it take?
Damage & diffraction = flux / area
Gy/s = ph/s /2000 / um2
Example: 30 MGy, 1 mm2 area, flux= 1012 ph/s
1x1 μm beam: 60 ms
100x100 μm beam: 600 s x 10x10 shots =
1x1 mm beam: 60,000 s x 1 shot = 17 hours
1013 ph/s → 1.7 h/mm2
Holton (2009)."beginner's guide rad dam", J. Synch. Rad. 16, 133-142.
17 hours
x 1000x1000 shots =
17 hours
1013 ph/s @ RT → 40 s/mm2

## Slide 66: Summary
ALS 8.3.1 at your service
Native SAD phasing
In-situ screening of trays
Remote operation
ALS-U: get involved!
Future: “painting” with X-rays
http://bl831.als.lbl.gov/~jamesh/powerpoint/
HARC_screening_2019.pptx