## Slide 1: Global “success rate” of structure determination
100 s/dataset
200 days/year
~150 beamlines
~26,000,000 datasets/year
~10,000 PDBs in 2018
0.04% “success”

## Slide 2: What went wrong?
Number | Description | Percent
682712 | Images (~10 TB) | 
3331 | Data sets | 47% ph
709 | High quality data | 21%
322 | Same as published (PDB) | 46%
123 | Published form, non-iso | 17%
45 | Known struct, Unk form | 6%
219 | Unique and unsolvable | 31%
MAD/SAD data 2001 - 2006

## Slide 3: MAD/SAD datasets
Riso vs PDB deposit
best Rcryst after rigid-body refinement
Published
non-isomorphous
Unsolved

## Slide 4: What went wrong?
Number | Description | Percent
219 | Unique but unsolvable | 57%
36 | twinned | 16%
MAD/SAD data 2001 - 2006
45 | Unpublished forms | 100%
6 | twinning | 13%
13 | Pseudo-translation | 29%
211/148k | Twinning in PDB | 0.14%

## Slide 6: What is your problem?
Structure won’t solve
  Radiation damage
  Solution: better detector
  Solution: average over more sample
Resolution is too poor
  Disorder – lattice, molecule, function
  Solution: screening
R-factor is too high
  Disorder – lattice, molecule, function
  Solution: better models
Common stumbling blocks in structural biology

## Slide 7: Minimal-complexity macromolecular model
Rwork = 0.0309
Rfree = 0.0678
vs Fsim
Problem: diverges with more cycles

## Slide 8: “R-factor Gap” small vs macro molecules
R1 < 2*Rsigma
Publication criterion for chemical crystallography:
R1 = Fo vs Fc for I/σ(I) > 3
Rsigma = <σ(I)>/<I>
There are no PDB entries that pass this test!
Holton, Classen, Tainer (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 9: Why low R factors matter
Rwork = 0.0390
Rfree = 0.0498
0.5 electron
change
visible!

## Slide 10
Holton (2009) J. Synchrotron Rad. 16 133-42
Radiation Damage World Records
MGy reaction reference
~45 global damage Owen et al. (2006)
10/Å global damage Howells et al. (2009)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
4 R-C-COOH Garman et al. (2015)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
~1? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.06 putidaredoxin Corbett et al. (2007)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 11: Specific damage
final, refined phases

## Slide 12
Global damage
Howells, et al. (2009) J. Electron Spectrosc. Relat. Phenom. 170, 4-12.

## Slide 13
Holton & Frankel (2010) Acta D 66 393-408.
Will my experiment work?

## Slide 14: ALS 8.3.1 – MX for IDAT
Hardware capabilities
  Pilatus3 6M = raster, shutterless, S-SAD
  Upgraded mirror = 4.5X flux – 200 s datasets
  Routine physiological temperature data collection
  Universal sample compatibility
BLU-ICE: Software collaboration with SLAC
  shutterless, raster, helical, automation
  GPU-based image interpretation & simulation
  Robust multi-crystal merge
Data management
  Eternal image archive (LTO6, USB3, NetApp)
  Retrospective data analysis = steers methods dev

## Slide 15: “The flattest thing we have ever seen”
Old mirror: 800 nRad
New mirror: < 200 nRad
Dec 17 2014
Flux at
460%
- LBNL Metrology Group

## Slide 16: ALS 8.3.1 / 12.3.1 optics
Superbend
Plane
Parabolic
mirror
Torroidal
mirror
Si(111)
monochromator
Protein Crystal
pinhole
Scatter
guard
divergence
slits
MacDowell et. al. (2004) J. Sync. Rad. 11 447-455
Dectris Pilatus3 6M
Notes: Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 17
Pilatus3 S 6M
Pixel Array
Detector
6x106 pixels
$0.15/each
Single-photon
counting
25 Hz images

## Slide 18: ALS 8.3.1 data collection history
images x 106

## Slide 19: Shutterless rastering now available
Membrane
protein crystal
X-ray beam
ice

## Slide 20
1% high
average
1% low
Relative Pixel
Calibration
ALS 8.3.1
Pilatus3 6M
0.9793 Å x-rays
RMS = 0.8%

## Slide 21: S-SAD merging 20 xtals
Knott et al. (2017). "Guide-bound CRISPR-Cas13a." Nature S&MB 24: 825

## Slide 22: Multi- micro crystal challenge
http://bl831.als.lbl.gov/~jamesh/challenge/microfocus/
5 µm xtals
5 µm beam
~ 5 img / xtal
P212121
XDS thinks:
P422

## Slide 23: Cell clustering: 100 datasets
Reality:
Perfect isomorphism
(simulated data)

## Slide 24: Pin compatibility
SLAC
ALS
SPINE

## Slide 25: SuperTong

## Slide 26: Broad compatibility fosters collaboration
Caltech
SSRL
Yale
Oxford
SPring-8
SPINE
MiTeGen RT
Syrrx
H. magnetic
H. hybrid
H. copper
H. screw cap
H. colored
Hampton screw cap
Hampton magnetic

## Slide 27: “infinite capacity” sample carousel

## Slide 28
pinhole
mirror
microscope
SBS
format
crystallization
tray
Notes: Inspired by the ESRF microcrystal camera, the superbend endstations are all equipped with zero-paralax optics. The user sees their sample from the point of view of the x-ray beam. Sample alignment is not only more stable but more intuitive than an off-axis camera. Placing the crystal into the microscope crosshairs gaurantees that it will be hit by the beam.

## Slide 29
NatX-ray
CrystalQuick™ X
250 μm
~50 μm tape
Fluidigm
Topaz® DC
200 μm
PDMS
PDMS
MiTeGen
in-situ-1
100 μm
~50 μm tape
in-situ diffraction trays
CrystalDirect
~50 μm tape
25 μm
Microlytic
Crystal Former™
1000 μm
Notes: Next slide please

## Slide 30: Inline x-ray radiography
X-ray

## Slide 31: Inline x-ray radiography
visible light

## Slide 32: Automatic and Unattended Optical Re-Alignment (AUORA)
~12 s mount→shutter Accuracy: ~2 pix ~1-2 °

## Slide 33: Solving the problems:
fast, accurate & big detector
optimal dose rate for room temperature
Broad sample holder compatibility
Rastering: robust crystal centering
CBOXAR: X-ray contrast to find crystal
AUORA: key to inter-beamline migration
First-principles simulators of diffraction
robust multi-crystal combination