## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
Center for Structure of Membrane Proteins (CSMP)
Membrane Protein Expression Center II (MPEC)
Center for HIV Accessory and Regulatory Complexes (HARC)
UC Multicampus Research Programs and Initiatives (MRPI)
UCSF Program for Breakthrough Biomedical Research (PBBR) Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
M D Anderson CRC
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser John Spence
Chris Nielsen Clemens Schulze-Briese Aina Cohen Ana Gonzalez

## Slide 2: Grand Challenges in Structural Biology
Phase Problem
spots, but no maps
Amplitude Problem
    Crystals, but no spots
R-factor Gap
    Can’t/shouldn’t publish

## Slide 3: Grand Challenges in Structural Biology
Phase Problem
systematic error
Amplitude Problem
    disorder
R-factor Gap
    models

## Slide 4: Grand Challenges in Structural Biology
Phase Problem
systematic error
Amplitude Problem
    disorder
R-factor Gap
    models

## Slide 5
Required signal-to-noise (I/σ)
Solve-able proteins (%)
CCD
& early PADs
new PADs
(uncalibrated)
Goal
Threshold of a revolution in phasing

## Slide 6: Can you count to 1,000,000 ?
= 0.1%
sqrt(1,000,000)
1,000,000
= 3%
sqrt(1,000)
1,000
> 1000 is a waste!
photon
spot
Theoretically:
In reality:
ISa ~ 33
Rmeas ≈ 0.1% ?
ISa = 1000
Rmeas = ≈ 3%

## Slide 7
Source of error | realistic simulation | No SHSSS | Perfect detector
Photon counting | + | + | +
Shutter jitter | + | + | -
Beam flicker | + | + | -
Sample absorption | + | + | -
Radiation damage | + | + | -
Imperfect spindle | + | + | -
vignette | + | + | -
Corner correction | + | + | -
SHSSS | + | - | -
Rmeas (∞-10 Å) | 2.8% | 0.7% | 0.7%
I/σ asymptotic | 26.8 | 74.2 | 81.0
Threshold of a revolution in phasing
Holton et al (2014) "R-factor gap", FEBS Journal 281, 4046-4060.

## Slide 8
Spot centroid position (pixels)
Relative spot intensity
Spatial Heterogeneity in Sharp Spot Sensitivity

## Slide 9: SHSSS! The dominant source of error for anomalous difference measurements
Spatial
Heterogeneity in
Sharp
Spot
Sensitivity
Flat
Field

## Slide 10: SHSSS! The dominant source of error for anomalous difference measurements
Spatial
Heterogeneity in
Sharp
Spot
Sensitivity
Flat
Field
90%
110%
x 1.11 =
x 0.91 =
100%
100%

## Slide 11: SHSSS! The dominant source of error for anomalous difference measurements
Spatial
Heterogeneity in
Sharp
Spot
Sensitivity
Sharp
Spot
20%
110%
x 1.11 =
x 0.91 =
100%
22%

## Slide 12: SHSSS! The dominant source of error for anomalous difference measurements
Spatial
Heterogeneity in
Sharp
Spot
Sensitivity
Sharp
Spot
90%
30%
x 1.11 =
x 0.91 =
27.3%
100%
Integral: 127.3

## Slide 13: SHSSS! The dominant source of error for anomalous difference measurements
Spatial
Heterogeneity in
Sharp
Spot
Sensitivity
Sharp
Spot
20%
110%
x 1.11 =
x 0.91 =
100%
22.2%
Integral: 122.2

## Slide 14: SHSSS! The dominant source of error for anomalous difference measurements
Spatial
Heterogeneity in
Sharp
Spot
Sensitivity
Sharp
Spot
90%
30%
x 1.11 =
x 0.91 =
27.3%
100%
Integral: 127.3

## Slide 15
Gd edge-contrast map of ADSC Q315r detector
10% high
average
10% low

## Slide 16: Gadox calibration vs energy
photon energy (keV)
Relative absorption depth
same = good!
bad!

## Slide 17: Pilatus: 1-module shift

## Slide 18
Pilatus: 1-module shift

## Slide 19
Pilatus: 1-module shift

## Slide 20
Pilatus: 1-module shift - aligned

## Slide 21
3% high
average
3% low
Pilatus: 1-module shift - ratio

## Slide 22
3.5
3.0
2.5
2.0
1.5
1.0
0.5
SHSSS
Systematic component of Rsseparate (%)
distance between spots (mm)
0.1 1 10 100
CCD detector
anomalous mates are always on
different modules
different
modules
Pilatus
SN113
Pilatus
SN001

## Slide 23
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
Native element phasing requires better detectors
~3x105 photon/pixel Pilatus detector

## Slide 24: Systematic error does not “average out”

## Slide 25
RESOLUTION COMPLETENESS R-FACTOR I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OF DATA observed Corr
9.17 99.1% 3.9% 257.47 3.9% 100.0* 91* 5.024 450
6.49 100.0% 5.2% 214.33 5.2% 100.0* 86* 3.836 882
5.30 100.0% 7.2% 165.13 7.2% 100.0* 76* 3.257 1175
4.59 100.0% 7.2% 175.42 7.3% 100.0* 67* 2.589 1403
4.10 99.9% 7.7% 174.13 7.7% 100.0* 59* 2.264 1594
3.74 99.9% 9.4% 143.09 9.4% 100.0* 49* 1.953 1783
3.47 100.0% 11.2% 120.17 11.2% 100.0* 39* 1.696 1942
3.24 100.0% 14.1% 91.14 14.1% 100.0* 30* 1.333 2103
3.06 99.9% 19.5% 65.79 19.5% 100.0* 23* 1.117 2214
2.90 99.9% 29.0% 44.85 29.1% 99.9* 17* 1.008 2369
2.77 99.9% 40.5% 32.58 40.6% 99.8* 11* 0.901 2493
2.65 99.9% 52.8% 25.16 52.9% 99.8* 10* 0.866 2605
2.54 100.0% 67.4% 19.47 67.6% 99.6* 2 0.804 2705
2.45 100.0% 88.9% 14.58 89.2% 99.2* 4 0.831 2859
2.37 100.0% 109.3% 9.97 109.7% 98.1* 5 0.829 2925
2.29 100.0% 138.2% 6.87 138.9% 96.1* 1 0.760 3037
2.22 100.0% 197.1% 4.03 198.6% 83.5* -1 0.721 3159
2.16 100.0% 227.3% 2.41 230.8% 46.9* -1 0.677 3224
2.10 61.2% 154.4% 1.28 163.6% 47.0* -2 0.660 1999
2.05 47.9% 170.1% 0.68 196.5% 25.7* 3 0.629 1578
total 93.3% 15.7% 54.30 15.8% 100.0* 12* 1.217 42499
140-fold multiplicity: 16 crystals, 360° each, inverse beam, 7235 eV

## Slide 26: 140-fold multiplicity
18 σ
Phased anomalous difference Fourier
16 σ

## Slide 27: 140-fold multiplicity
15σ = PO4
Phased anomalous difference Fourier

## Slide 28: 140-fold multiplicity
~2σ = Mg?
Phased anomalous difference Fourier

## Slide 29: 140-fold multiplicity
8.2σ = Mg?
DELFAN residual anomalous difference

## Slide 30
A
B
Metal site: is it Mg++ ? Or Na+ ?
Position (Å)
Electron density (e-/ Å3)

## Slide 31
f’’ (electrons)
DELFAN peak height (σ)
Mg
Ne
Na
F
O
N
Metal site: is it Mg++ ? Or Na+ ?

## Slide 32
Photon Energy (eV)
Anomalous f” (electrons)
2472.7 2473.5
Bohic et al. Anal. Chem. 2008; 80(24):9557. doi: 10.1021/ac801817k

## Slide 33
Required signal-to-noise (I/σ)
Solve-able proteins (%)
Single-spot limit
CCD
& early PAD

## Slide 34: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation correction
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 35
wavelength dependence
crystal diameter (μm)
Å
Å
Damage limited crystal size (synchrotron)

## Slide 36: Where do photons go?
beamstop
97%
transmitted
1 Å x-rays
attenuation correction
error cannot be > ~3%
100 μm
thick
protein

## Slide 37: Where do photons go?
beamstop
2%
transmitted
5 Å x-rays
attenuation correction
error can be ~98%
100 μm
thick
protein

## Slide 38: Where do photons go?
beamstop
96%
transmitted
5 Å x-rays
attenuation correction
error cannot be > ~4%
1 μm
thick
protein

## Slide 39: “sweet spot” for sample size ?
2 Å
2sin(90°)
3 Å
2sin(90°)
S
P
Mg
Na
C
F
N
O
Cl
Ar
K
Ca
Ne
Se
4 Å
2sin(90°)

## Slide 40: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 41: The “partiality problem”
0.006°
1 μm xtal
1 Å x-rays

## Slide 42: New damage at high fluence?
Abbey et al. (2012)."Femtosecond X-ray Laser induced transient electronic phase change observed in fullerene C60", arXiv:1209.5168.

## Slide 43
Ewald sphere 2
diffracted ray
λ*
λ*
θ
1
Ewald sphere
λ*
(h,k,l)
diffracted ray
λ*
θ
d*
(-h,-k,-l)
d*

## Slide 44
h,k,l
-h,-k,-l
Detector
Detector
Detector
Detector
λ = 5 Å
sample
injector
Si(111)
52.87deg
Si(111)
Si(111)
Si(111)
Si(111)
Si(111)
2 Multilayer mirrors
d=2nm, W/B4C
KB Horiz focus
KB vertical focus
~ 1m
Notes: Proposed 5-crystal monochromator for colliding-beam crystallography. The generation of two opposing Ewald spheres means that for every h,k,l index reflected from the protein crystal, the Friedel mate is reflected in the opposite direction, allowing for very accurate anomalous difference measurements. The wavelength need not be set precisely at the sulfur or phosphorous edge, but merely at a wavelength where the f” of those elements are strong. For fs-class pulses, the distances above will have to be precise to withing ~3 microns, and for accurate reproduction of the partiality of the Friedel mates, the angular precision of the colliding beams must be within ~1% of the sample crystal’s rocking width, or ~100 microrads.

## Slide 45: Fractional error
mult > (—)2
~3%
<ΔF/F>

## Slide 46: Fractional error at XFEL
mult > (—)2
~100%
<ΔF/F>
Gd lyso: ΔF/F = 8.7% → mult = 132

## Slide 47: Non-isomorphism in lysozyme
RH 84.2% vs 71.9%
Riso = 44.5%
RMSD = 0.18 Å
PDB:
3aw6
3aw7
Δa = 0.8%

## Slide 48: Scattering/absorption “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
~ 50 mm He
≈ 370 mm water vapor @ 4C

## Slide 49: Alternative tools?
Assume:
50% absorption: 1 mJ/xtal
Zero-dose extrapolation
Linear to half-reaction point (5% error)
XFEL worthy?
Size (μm) | D1/2 (MGy) | example
30 | 30 | Cryo MX
118 | 0.5 | PS II
160 | 0.2 | RT MX
350 | 0.02 | Myoglobin

## Slide 50: Grand Challenges in Structural Biology
Phase Problem
spots, but no maps
Amplitude Problem
    Crystals, but no spots
R-factor Gap
    Can’t/shouldn’t publish

## Slide 51: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 52: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 53: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation factor
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 54
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
resolution (Å)
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Cryo damage

## Slide 55
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
Cryo damage
10 MGy/Å

## Slide 56
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry

## Slide 57
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 58
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 59
Home Lab Resolution (Å)
Synchrotron Resolution (Å)
Predicting resolution limits

## Slide 60
Synchrotron Resolution (Å)
XFEL Resolution (Å)
Predicting resolution limits

## Slide 61
X-ray beam size (μm)
Resolution (Å)
too big
too small
just right

## Slide 62
Disorder
Trumps
Everything!
Diffraction Take-Home Lesson:

## Slide 63: lysozyme: real and reciprocal

## Slide 64: lysozyme: thermal motion

## Slide 65: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 66: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average intensity

## Slide 67: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 68: Supporting a model with data

## Slide 69: Grand Challenges in Structural Biology
Phase Problem
spots, but no maps
Amplitude Problem
    Crystals, but no spots
R-factor Gap
    Can’t/shouldn’t publish

## Slide 70: Is this good enough?
dmax = 4.5 Å
Rcryst = 27%
Rfree = 38%

## Slide 71: Is this good enough?
3a8n 4.5 Å Rmerge = 0.15 R/Rfree = 0.306/0.396
1grz 5 Å Rmerge = 0.052 R/Rfree = 0.369/0.428
1qzv 4.44 Å Rmerge = 0.099 R/Rfree = 0.41/0.42

## Slide 72: Is this good enough?
1hvu 4.75 Å Rmerge = 0.064 R/Rfree = 0.34/0.413
2r6e 5.02 Å Rmerge = 0.058 R/Rfree = 0.394/0.397
1n8e 4.5 Å Rmerge = 0.138 R/Rfree = 0.415/0.416

## Slide 73: R-factor Gap?
Holton et al. (2014). FEBS J. 281, 4046-60.
R1 < 2*Rsigma
Publication criterion for chemical crystallography:
R1 = Fo vs Fc for I/σ(I) > 3
Rsigma = <σ(I)>/<I>
There are no PDB entries that pass this test!

## Slide 74: “R-factor Gap” for macromolecules
Rmerge = 3%
Rwork = 20%
Rfree = 24%
Experimental
error
“systematic”
error
20% of carbon atom = 1.2 e-
5% of carbon atom = 0.3 e-
Closing the R-factor gap will enable study of 1-electron changes

## Slide 75: The R-factor Gap
MLFSOM
Elves
Rmerge = 6%
Rcryst = 17%
Rfree = 20%
multi-conformer PDB file
1H87
Holton, Classen, Frankel & Tainer (2014)."The R-factor gap in macromolecular crystallography: an untapped potential for insights on accurate structures", FEBS J. 281, 4046-4060.

## Slide 76: The R-factor Gap
MLFSOM
Elves
Rmerge = 6%
Rcryst = 7%
Rfree = 8%
multi-conformer PDB file
1H87
Holton, Classen, Frankel & Tainer (2014)."The R-factor gap in macromolecular crystallography: an untapped potential for insights on accurate structures", FEBS J. 281, 4046-4060.

## Slide 77: The R-factor Gap
MLFSOM
Elves
Rmerge = 6%
Rcryst = 7%
Rfree = 8%
single-conformer PDB file
1H87; conf “A”
Holton, Classen, Frankel & Tainer (2014)."The R-factor gap in macromolecular crystallography: an untapped potential for insights on accurate structures", FEBS J. 281, 4046-4060.

## Slide 78: “R-factor Gap” for macromolecules
MX data quality is not limiting
Hypotheses:
  Hidden systematic error?
  Model-building problem?
  Representation problem?

## Slide 79: Molecular Dynamics Simulation
1aho
Scorpion toxin
0.96 Å resolution
64 residues
Solvent: H20 + acetate
Cerutti et al. (2010).J. Phys. Chem. B 114, 12811-12824.
using real
crystal’s lattice

## Slide 80: 30 conformers from 24,000

## Slide 81: Electron density from 24,000 conformers

## Slide 82: Electron density from 24,000 conformers

## Slide 83: 2Fsim-Fcalc and Fsim-Fcalc maps
1.0 Å data
Rcryst= 0.137
Rfree = 0.159
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc

## Slide 84: 2Fsim-Fcalc and (Fsim Φsim) - (Fcalc Φcalc) maps
1 “sigma” 2Fsim-Fc
Fright – (2Fsim-Fc)
1.0 Å data
Rcryst= 0.137
Rfree = 0.159

## Slide 85: Regular model with real data!
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc
1.0 Å data
Rcryst= 0.116
Rfree = 0.135

## Slide 86: MD: predicted density for one atom

## Slide 87: How many conformers are there?
Answer: 40
Rcryst = 0.0506
Rfree = 0.0556
vs Fsim

## Slide 88: How many conformers are there?
Answer: 8
Rcryst = 0.0297
Rfree = 0.0293
vs Fsim

## Slide 89: How many conformers are there?
Rcryst = 0.0441
Rfree = 0.0516
vs Fsim
Answer: 2-14

## Slide 90: How many conformers are there?
Rcryst = 0.1546
Rfree = 0.1749
vs Fobs
1aho:
Rcryst = 0.1630
Rfree = n/d
Answer: 1-7

## Slide 91: How many conformers are there?
All difference
features
are in
the solvent!
real data

## Slide 92: How “rough” is the solvent?
Rcryst = 0.0309
Rfree = 0.0678
vs Fsim

## Slide 93: RISM model for “bulk” solvent
Method | Rwork | Rfree
Default refmac5: flat bulk solvent | .1784 | .1898
RISM – self-consistent density field based on electrostatics | .1640 | .1808
Explicit MD solvent, protein fixed | .1523 | .1690
RISM – protein fixed multi-conformer weighted | .1578 | .1739
Explicit – protein fixed multi-conformer weighted | .1440 | .1666

## Slide 94: Grand Challenges in Structural Biology
Phase Problem
“true” multiplicity detector calibration
SINBAD for XFEL S-SAD?
Amplitude Problem
Disorder > everything Revolution in sample handling?
deconvolute non-isomorphism?
R-factor Gap
1 electron changes? 2D data vs 4D models?
http://bl831.als.lbl.gov/~jamesh/powerpoint/Janelia_thresholds_2015.pptx

## Slide 95: What good are low energies?
Carbon 284
Nitrogen 402
Oxygen 537
Fluorine 685
Neon 866
Sodium 1072
Magnesium 1304
Aluminum 1559
Silicon 1838
Phosphorous 2148
Sulfur 2475
Chlorine 2825
Argon 3205
Potassium 3610
Calcium 4041
Scandium 4495

## Slide 96
scattering from a crystal structure
False color intensity
sample
detector

## Slide 97
scattering from a crystal structure
False color intensity
sample
detector

## Slide 98
scattering from a crystal structure
False color intensity
sample
detector