## Slide 1: ALS BL 8.3.1
First Light!
June 8 2001
Tom-A-Tron
L
B
E
R

## Slide 2: Measured success rate: ALS 8.3.1
images x 106
1250
1000
750
500
250
0
PDB entries
Notes: Of the 1275 PDB deposits involving ALS 8.3.1, 1038 of them mention a data collection date. The timeline between collection and deposition for each PDB entry is shown in blue. For example, in April 2004 only 46 PDBs had been deposited, but the data for 252 had already been collected. The red line indicates the cumulative number of images collected at a given date. The kink in the red line in mid-2003 is coincident with an optics upgrade that tripled the flux. In 2014 another flux upgrade brought another factor of 4.5.

## Slide 3: The 100 structure/year club
PDBs | Sync | BL | Flux
2829 | APS | 19-ID | 1.3E+13
2110 | NSLS | X29A | 2.9E+11
1830 | APS | 22-ID | 7.0E+12
1651 | SLS | X06SA | 4.0E+12
1517 | SLS | X10SA | 2.5E+12
1475 | ESRF | ID29 | 1.0E+13
1447 | SSRF | BL17U | 4.0E+12
1384 | ESRF | ID14-4 | 5.0E+12
PDBs | Sync | BL | Flux
1384 | ESRF | ID14-4 | 5.0E+12
1362 | ESRF | ID23-1 | 4.0E+12
1285 | SSRL | BL11-1 | 4.0E+11
1282 | APS | 24-ID-C | 1.3E+13
1153 | ESRF | ID14-1 | 1.0E+11
1137 | SSRL | BL9-2 | 7.0E+11
1122 | ALS | 8.3.1 | 1.8E+11
1042 | APS | 17-ID | 7.0E+11
1026 | NSLS | X25 | 2.4E+11
USA
Europe
Decommissioned
8% of all membrane
protein structures!

## Slide 4: BL 8.3.1 User Science Highlights
Rosenberg OS, Dovala D, Li X, Connolly L, Bendebury A, Finer-Moore J, Holton J, Cheng Y, Stroud RM & Cox JS (2015)."Substrates Control Multimerization and Activation of the Multi-Domain ATPase Motor of Type VII Secretion", Cell 161, 501

## Slide 5: BL 8.3.1 User Science Highlights
Lang PT, Holton JM, Fraser JS & Alber T (2014)."Protein structural ensembles are revealed by redefining X-ray electron density noise", Proc. Nat. Acad. Sci. USA 111, 237.

## Slide 6: BL 8.3.1 User Science Highlights
Zhang C, Spevak W, Zhang Y, Burton EA, Ma Y, Habets G, et al. (2015) “RAF inhibitors that evade paradoxical MAPK pathway activation” Nature. 526, 583-6.

## Slide 7: 8.3.1 beam time distribution 2010
26.5%
Staff/Development
9%
Chart: 
| General User | Staff | UCSF | UCB | Plexxicon | MD Anderson
Sales | 25 | 9 | 26.5 | 26.5 | 8 | 5
General User
Program
25%
26.5%
26.5%
UC Berkeley
8%
5%
9%
Plexxikon

## Slide 8: BL8.3.1 Beam Time Allocation (%)
Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Gen. Users | 25 | 25 | 25 | 25 | 25 | 25
R&D | 9 | 9 | 9 | 9 | 9 | 9
Plexxikon | 10 | 8 | 8 | 6 | 6 | 6
MD Anderson | 10 | 5 | 3 | 5 | 8 | 8
UCSF | 23 | 26.5 | 27.5 | 27.5 | 26 | 18.5
UCB | 23 | 26.5 | 27.5 | 27.5 | 26 | 9.7
Total | 100 | 100 | 100 | 100 | 100 | 100

## Slide 9: BL8.3.1 PRT member contributions ($k)
Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Gen. Users | 0 | 0 | 0 | 0 | 0 | 0
R&D | 0 | 0 | 0 | 0 | 0 | 0
Plexxikon | 250 | 250 | 250 | 125 | 125 | 125
MD Anderson | 116 | 75 | 75 | 130 | 130 | 130
UCSF | 180 | 180 | 180 | 180 | 180 | 967
UCB | 0 | 0 | 0 | 0 | 0 | 248
Total | 546 | 505 | 505 | 435 | 435 | 1585

## Slide 10: BL8.3.1 Non-salary direct costs ($k)
Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
general Purchases | 89 | 24 | 66 | 13 | 16 | 24
Cryojet | 37 |  |  |  |  | 
New Computers | 30 |  |  |  |  | 
New M1 mirror |  |  |  |  | 105 | 
M1 mirror mount |  |  |  |  | 60 | 
Mono access |  |  |  |  | 5 | 

## Slide 11: BL8.3.1 Staff Effort
Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
sci: James Holton | 0.9 | 0.9 | 0.9 | 0.9 | 0.6 | 0.75
tec: George Meigs | 0.9 | 0.9 | 0.9 | 0.9 | 1.0 | 1.0
adm: Jane Tanamachi | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Total | 2.00 | 2.00 | 2.00 | 2.00 | 1.80 | 1.95

## Slide 12: BL8.3.1 Publication Record
Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Refereed | 48 | 38 | 47 | 48 | 36 | 15
High Impact | 20 | 16 | 16 | 16 | 16 | 5

## Slide 13: BL8.3.1 Financial Support: 2016
Award | dates | source
$2,578,000 | 01/01/15 – 12/31/18 | MRPI: University of California Office of the President (not renewable, no overhead)
$357,492 | 12/15/14 – 12/15/16 | UCSF-PBBR: Program for Breakthrough Biomedical Research (not renewable)
$750,000 | 08/22/14 – 09/30/19 | National Institutes of Health Inter-Agency Agreement (non renewable)
$625,000 | 05/01/12 – 04/30/16 | Plexxikon Inc.
$130,000 | 08/12/15 – 08/11/16 | M. D. Anderson Cancer Research Center
Planned: |  | 
$6,567,804 | 04/01/16 – 03/31/21 | NIH P41 – X-ray Structural Biology Resource
$500,000 | 05/01/16 – 04/30/21 | Plexxikon Inc.
$620,000 | 08/12/16 – 08/11/18 | M. D. Anderson Cancer Research Center

## Slide 14: BL8.3.1 PRT member contributions ($k)
Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Gen. Users | 0 | 0 | 0 | 0 | 0 | 0
R&D | 0 | 0 | 0 | 0 | 0 | 0
Plexxikon | 250 | 250 | 250 | 125 | 125 | 125
MD Anderson | 116 | 75 | 75 | 130 | 130 | 130
UCSF | 180 | 180 | 180 | 180 | 180 | 967
UCB | 0 | 0 | 0 | 0 | 0 | 248
Total | 546 | 505 | 505 | 435 | 435 | 1585

## Slide 15: BL8.3.1 Beam Time Allocation (%)
Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Gen. Users | 25 | 25 | 25 | 25 | 25 | 25
R&D | 9 | 9 | 9 | 9 | 9 | 9
Plexxikon | 10 | 8 | 8 | 6 | 6 | 6
MD Anderson | 10 | 5 | 3 | 5 | 8 | 8
UCSF | 23 | 26.5 | 27.5 | 27.5 | 26 | 18.5
UCB | 23 | 26.5 | 27.5 | 27.5 | 26 | 9.7
Total | 100 | 100 | 100 | 100 | 100 | 100

## Slide 16: 8.3.1 beam time distribution: 2016
26.5%
Staff/Development
9%
Chart: 
| General User | Staff | UCSF | UCB | UCLA | UCI | UCD | UCSD | Plexxikon | MD Anderson
Sales | 25 | 9 | 18.5 | 9.7 | 6.2 | 6.2 | 6.2 | 6.2 | 5 | 8
General User
Program
25%
9.7%
18.5%
UC Berkeley
6%
9%
Plexxikon
5%
6.2%
6.2%
6.2%
6.2%
UC Davis
UC Santa Cruz
UCLA
UC Irvine

## Slide 17: Grand Challenges in Structural Biology for the 21st Century
Phase Problem
native elements - universally
Amplitude Problem
    Improving resolution
R-factor Gap
    Publishing / being right

## Slide 18: Grand Challenges in Structural Biology for the 21st Century
Phase Problem
detector calibration
Amplitude Problem
    disorder
R-factor Gap
    Limited representation

## Slide 19: Grand Challenges in Structural Biology for the 21st Century
Phase Problem
detector calibration
Amplitude Problem
    disorder
R-factor Gap
    Limited representation

## Slide 20
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
~3x105 photon/pixel
Pilatus: subtract smooth baseline

## Slide 21
Source of error | realistic simulation | No SHSSS | Perfect detector
Photon counting | + | + | +
Shutter jitter | + | + | -
Beam flicker | + | + | -
Sample absorption | + | + | -
Radiation damage | + | + | -
Imperfect spindle | + | + | -
vignette | + | + | -
Corner correction | + | + | -
SHSSS | + | - | -
Rmeas (∞-10 Å) | 2.8% | 0.7% | 0.7%
I/σ asymptotic | 26.8 | 74.2 | 81.0
SHSSS: necessary and sufficient
Holton et al (2014) "R-factor gap", FEBS Journal 281, 4046-4060.

## Slide 22
Required signal-to-noise (I/σ)
Solve-able proteins (%)
Current
technology
Goal
Threshold of a revolution in phasing

## Slide 23: ALS 8.3.1: The 6th detector

## Slide 24: Grand Challenges in Structural Biology
Phase Problem
Calibrate it out boost the signal average over it
Amplitude Problem
R-factor Gap
http://bl831.als.lbl.gov/~jamesh/powerpoint/Janelia_thresholds_2015.pptx

## Slide 25: Grand Challenges in Structural Biology
Phase Problem
Calibrate it out boost the signal average over it
Amplitude Problem
R-factor Gap
http://bl831.als.lbl.gov/~jamesh/powerpoint/Janelia_thresholds_2015.pptx

## Slide 26
Photon Energy (eV)
Anomalous f” (electrons)
2472.7 2473.5
Bohic et al. Anal. Chem. 2008; 80(24):9557. doi: 10.1021/ac801817k

## Slide 27: “sweet spot” for sample size ?
2 Å
2sin(90°)
3 Å
2sin(90°)
S
P
Mg
Na
C
F
N
O
Cl
Ar
K
Ca
Ne
Se
4 Å
2sin(90°)

## Slide 28: ALS-U: Small, soft beams

## Slide 29: ALS-U: Small, soft beams
Diamond
($100, reusable)

## Slide 30: ALS-U: Small, soft beams
Diamond
($100, reusable)
oil

## Slide 31: ALS-U: Small, soft beams
Diamond
($100, reusable)
oil

## Slide 32: ALS-U: Small, soft beams
oil
λ=2d sinθ
2.5 Å data
with 5 Å X-rays
Only analytic absorption correction:
International Tables for Crystallography, Vol. C, 2nd ed., chapter 6.3

## Slide 33
Ewald sphere 2
diffracted ray
λ*
λ*
θ
1
Ewald sphere
λ*
(h,k,l)
diffracted ray
λ*
θ
d*
(-h,-k,-l)
d*

## Slide 34
h,k,l
-h,-k,-l
Detector
Detector
Detector
Detector
λ = 5 Å
sample
injector
Si(111)
52.87deg
Si(111)
Si(111)
Si(111)
Si(111)
Si(111)
2 Multilayer mirrors
d=2nm, W/B4C
KB Horiz focus
KB vertical focus
~ 1m
Notes: Proposed 5-crystal monochromator for colliding-beam crystallography. The generation of two opposing Ewald spheres means that for every h,k,l index reflected from the protein crystal, the Friedel mate is reflected in the opposite direction, allowing for very accurate anomalous difference measurements. The wavelength need not be set precisely at the sulfur or phosphorous edge, but merely at a wavelength where the f” of those elements are strong. For fs-class pulses, the distances above will have to be precise to withing ~3 microns, and for accurate reproduction of the partiality of the Friedel mates, the angular precision of the colliding beams must be within ~1% of the sample crystal’s rocking width, or ~100 microrads.

## Slide 35: Grand Challenges in Structural Biology
Phase Problem
Calibrate it out boost the signal average over it
Amplitude Problem
R-factor Gap
http://bl831.als.lbl.gov/~jamesh/powerpoint/Janelia_thresholds_2015.pptx

## Slide 36: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 0.18 Å

## Slide 37
h,k,l | structure factors (F) |  |  | 
 | #1 | #2 | #3 | #4
5,3,4 | 523.7 | 559.8 | 579.9 | 603.2
5,4,4 | 168.2 | 166.6 | 177.2 | 196.1
5,5,4 | 34.9 | 26.4 | 19.2 | 17.3
6,1,4 | 305.7 | 301.1 | 298.1 | 296.3
6,2,4 | 353.0 | 353.9 | 356.2 | 366.9
6,3,4 | 300.9 | 285.3 | 273.5 | 259.4
6,3,5 | 223.8 | 226.3 | 234.6 | 251.4
… | … | … | … | …
X-ray Data Sets
h,k,l | 100% | 17 % | 13 % | 9 %
 | 1st | 2nd | 3rd | 4th
5,3,4 | -1.46 | -0.02 | 1.84 | -0.72
5,4,4 | -0.88 | -0.29 | -0.34 | 0.15
5,5,4 | -0.42 | -0.65 | 1.02 | 1.47
6,1,4 | -0.90 | -0.85 | 1.44 | -0.40
6,2,4 | -1.20 | -0.37 | 0.67 | 0.01
6,3,4 | -0.75 | 0.31 | 0.48 | 0.00
6,3,5 | -0.75 | -0.85 | 0.72 | -0.82
… | … | … | … | …
data
set
Singular value decomp.
SVD
vector
value
Singular values & vectors
Correlation
Coefficients
-0.68
CC2
CC3
CC1
CC1 CC2 CC3
data set #1
Data sets
Positioned
in
“Correlation
Space”
-0.24
data set #2
data set #3
0.32 …

## Slide 38: Grand Challenges in Structural Biology
Phase Problem
detector calibration
Amplitude Problem
    disorder
R-factor Gap
    Limited representation

## Slide 39: The Amplitude Problem
10 Å

## Slide 40: lysozyme: real and reciprocal

## Slide 41: lysozyme: thermal motion

## Slide 42: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 43: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 44
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 45: B factor from image analysis
B = 500

## Slide 46: B factor from image analysis
B = 20

## Slide 47
Dissecting the Amplitude Problem
purify
protein
grow
crystal
cryo
MX
micro
beam
XFEL
traditional
approach
AUORA
auto optical
re-alignment
B factor
low

## Slide 48
pinhole
prism
microscope
Styrofoam™ backlight
backstop
Zero-parallax simplifies alignment

## Slide 49: Zero-parallax simplifies alignment
visible light

## Slide 50: Zero-parallax simplifies alignment
X-ray

## Slide 51
MX
area
detector
beam center
3%
2%
1%
0
crystal in loop
Cu foil
X-ray excited
fluorescent
X-ray source
x-ray beam
Cone-Beam Online X-ray
Absorption Radiography
(CBOXAR)

## Slide 52
Dissecting the Amplitude Problem
purify
protein
grow
crystal
cryo
MX
micro
beam
XFEL
traditional
approach
AUORA
auto optical
re-alignment
CBOXAR
& raster
B factor
low

## Slide 53: “rastering” to find the crystal
Membrane
protein crystal
X-ray beam
ice

## Slide 54: “8-shooter” adjustable beam size
rotary
pinholes:
300
100
75
50
30
25
10
“small”

## Slide 55: “The flattest thing we have ever seen”
Old mirror: 800 nRad
New mirror: < 200 nRad
Dec 17 2014
Flux at
460%
- LBNL Metrology Group

## Slide 56: Low cost, portable rastering solution
Sample crystal
In cryo-loop
(not to scale)
New
CMOS detector
($70,000)
20 frames/s
photon/noise = 2
Existing MX detector
0.4 frames/s
Photon/noise = 0.4
Existing
Retractable
Front cover
http://researchdetectors.com/cmos_1m.html
Collaboration: 8.3.1 and MBC beamlines

## Slide 57: Pin compatibility
SLAC
ALS
SPINE

## Slide 58: SuperTong

## Slide 59: Hampton Pin
SuperTong

## Slide 60: Syrrx Pin
SuperTong

## Slide 61: plastic Pin
SuperTong

## Slide 62: Yale Pin
SuperTong

## Slide 63: SuperTong
SuperTong

## Slide 64: “infinite capacity” sample carousel

## Slide 65
Dissecting the Amplitude Problem
purify
protein
grow
crystal
cryo
MX
micro
beam
traditional
approach
high
in-situ MX
Control for handling
B factor
XFEL
AUORA
auto optical
re-alignment
CBOXAR
& raster
low

## Slide 66
Notes: non-rotating tray goniometer stage installed in ALS 8.3.1. Note that the “normal” cryo-pin goniometer on the left is still in place and a brass flight tube has been added to contain the air scatter from the main beam on its way to the tray goniometer.

## Slide 67
Dissecting the Amplitude Problem
purify
protein
grow
crystal
cryo
MX
micro
beam
+
traditional
approach
high
in-situ MX
Control for handling
XFEL
Rapid RT
high multiplicity
RT MX
Control for cryo
B factor
AUORA
auto optical
re-alignment
CBOXAR
& raster
low

## Slide 68
Dissecting the Amplitude Problem
purify
protein
grow
crystal
cryo
MX
micro
beam
design
new clone /
conditions
+
-
traditional
approach
high
low
XFP
xtal packing
interfaces
in-situ MX
Control for handling
RT MX
Control for cryo
B factor
XFEL
XFEL
Rapid RT
high multiplicity
AUORA
auto optical
re-alignment
CBOXAR
& raster

## Slide 69
Dissecting the Amplitude Problem
purify
protein
grow
crystal
cryo
MX
micro
beam
design
new clone /
conditions
+
-
traditional
approach
high
low
SAXS
order/disorder
In solution
XFP
xtal packing
interfaces
in-situ MX
Control for handling
RT MX
Control for cryo
B factor
XFEL
XFEL
Rapid RT
high multiplicity
AUORA
auto optical
re-alignment
CBOXAR
& raster

## Slide 70: Grand Challenges in Structural Biology
Phase Problem
detector calibration
Amplitude Problem
    disorder
R-factor Gap
    Limited representation

## Slide 71: “R-factor Gap” for macromolecules
MLFSOM
Elves
Rmerge = 6%
Rwork = 7%
Rfree = 8%
single-conformer PDB file
1H87; conf “A”
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 72: nearBragg program
http://bl831.als.lbl.gov/~jamesh/nearBragg/
“assumption-free” total scattering
no Fourier Transform
no unit cells
no “mosaicity”
arbitrary “atoms”
arbitrary “source”
coherent or not

## Slide 73: Simulation of diffuse scatter
http://bl831.als.lbl.gov/example_data_sets/Illuin/lyso_DS

## Slide 74: fastBragg program
http://bl831.als.lbl.gov/~jamesh/fastBragg/
Optimized for nanocrystals
Square or round
Takes h,k,l and F
Supports 1 unit cell
no “mosaicity”
arbitrary “source”
arbitrary “phi” steps

## Slide 75: Simulation of XFEL stills
real

## Slide 76: Simulation of XFEL stills
fake

## Slide 77: Simulation of XFEL stills
phiz
phiy
phiz
phix
phix
phiy
VS
real

## Slide 78: Si(111) vs multilayers
0.014%
Si(111)
1%
multilayer
4 Å
1.9 Å
resolution
spectral
dispersion

## Slide 79: Is it Real? Or is it MLFSOM
simulated
real

## Slide 80: Global Challenge: Se phasing
Trivial to solve
100% SeMet incorporation
MLFSOM
simulation

## Slide 81: Global Challenge: Se phasing
Impossible to solve
100% S -Met incorporation
MLFSOM
simulation

## Slide 82: Global Challenge → new software

## Slide 83: New software → benefits users

## Slide 84
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 87: Grand Challenges in Structural Biology
Phase Problem
Calibrate it out boost the signal average over it
Non-isomorphism phasing (NIP)
Amplitude Problem
Disorder > everything Dissect sample prep
“Meta-beamline”
R-factor Gap
1 electron =chemistry validate dynamics
2D data vs 4D models
http://bl831.als.lbl.gov/~jamesh/powerpoint/MOU_831_2016.pptx

## Slide 88: Concluding remarks
8.3.1 finances stabilizing
Need new scientist
Poised for major hardware upgrades
Pilatus, multilayer
Focus on biggest problems
Phases, amplitudes, systematics