## Slide 1: A Second Golden Age of Structural Biology
The Last
Å

## Slide 2: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R01 GM124149
NIH NIGMS P50 AI150476
NIH NIGMS P30 GM124169
NIH NIGMS R01 GM117126
DOE-BER Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
NIH NIGMS P41 GM103393
NSF DBI-1625906
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Nevan Krogan
Paul Adams John Tainer Greg Hura Nick Sauter
Aina Cohen Art Lyubimov Jeney Wierman

## Slide 3: Structural Biology in 10 years…

## Slide 4: COVID vaccine
PDBID: 6vsb
Feb 10, 2020
3.5 Å cryoEM

## Slide 5: Porcine Coronavirus Impact

## Slide 6
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC7184994/
https://jamanetwork.com/.../jamanetwo.../fullarticle/2767009

## Slide 7: There is no feline coronavirus vaccine
https://journals.asm.org/doi/epdf/10.1128/jvi.64.3.1407-1409.1990
candidate
vaccine
control
1990
(not yet)

## Slide 8
https://www.explainxkcd.com/wiki/index.php/2400:_Statistics
2021

## Slide 9: key structural dynamical insight
https://cen.acs.org/pharmaceuticals/vaccines/tiny-tweak-behind-COVID-19/98/i38

## Slide 10
novocaine
1901 1902 1903 1904 1905 1906 1907 1908 1909 1910
1911 1912 1913 1914 1915 1916 1917 1918 1919 1920
1921 1922 1923 1924 1925 1926 1927 1928 1929 1930
Word War I
Pandemic
electron
X-ray
diffraction
Neutron
“Nature
of chem
Bond”
Curie
Genes on
Chromasomes
penicillin (1941)
mass
spec
e-
scope
DNA
conv.
plasma
Pavlov
insulin
Vitamin K
Svedberg
Titanic
hormones
X-rays
bakelite
victrola
relativity
tunguska
Bohr
USSR
Lucy
“how-to”
kleenex
Russia
vs
Ukra
polymer
Vitamin A
“giant
hereditary
molecule”

## Slide 11
1911 1912 1913 1914 1915 1916 1917 1918 1919 1920
1921 1922 1923 1924 1925 1926 1927 1928 1929 1930
Word War I
Pandemic
Neutron
X-ray
diffraction
“Nature
of chem
Bond”
Curie
insulin
penicillin
mass
spec
e-
scope
vitamins
Svedberg
Titanic
Bohr
BBC
USSR
kleenex
Lucy
“how-to”
Russia
vs
Ukra
1931 1932 1933 1934 1935 1936 1937 1938 1939 1940
plexiglas
Hindenberg

## Slide 12
2001 2002 2003 2004 2005 2006 2007 2008 2009 2010
2011 2012 2013 2014 2015 2016 2017 2018 2019 2020
2021 2022 2023 2024 2025 2026 2027 2028 2029 2030
iPhone
Pandemic
APS-U
ALS-U
Pandemic
16k PDBs: Protein Structure Initiative ->
AlphaFold2
AlphaFold
Diamond & Soleil
PSI ends
100k
PDBs
150k
PDBs
cryoEM
ribosome
Quasi
Xtals
9/11
iPod
firefox
wikipedia
LHC
Pandemic
iPad
H2O
CRISPR
CASP15
pluto
Rosetta
zika
grav wave

## Slide 13: Cancer Moonshot – ideas?

## Slide 14
gross world product
CARES + HEROES Acts
USA Federal Budget (2019)
USA health care (2018)
Apple Inc. (2018)
3 yr∙life∙salary cancer & heart
USA Department of Defense
NASA Apollo program (adj $)
National Institutes of Health
mentions "cancer"
80 T
5.0 T
4.5 T
3.6 T
1 T
~1 T
700 G
300 G
45 G
5.6 G
What is a trillion dollars?

## Slide 15: A trillion dollars for NIH
Fund all applications (5 yr)
1000 XFELs & 105 Titan Krios
$10 M / biologist
  PI, postdoc, student, tech
Q: would that solve
all your problems?
?

## Slide 16: Critical Challenges in Structural Biology
$$$
Predicting crystallization outcomes
Getting crystals to diffract better
Is the ligand there or not?
Anisotropic diffraction
Radiation damage
Phase problem
Metals (anaerobic)
What is “resolution”
Serial crystallography (processing)
Non-isomorphism & multi-crystal methods
?

## Slide 17: How to end a pandemic?
Re < 1
Until # cases < 1
i.e. 90% effective for ~16 weeks
Need ~109 tests/day

## Slide 18: Seven billion tests for seven billion dollars (How to end a pandemic in 16 weeks)
Problem
$1000/test is infeasible
PPE
Centralization -> logistics
Specialized equipment
Specialized skills
Antibodies unreliable?
Solution
$1 test
Self-test
decentralize
Pre-distributed hw
YouTube training
Robust reagents

## Slide 19
Excitation stage
Sample
holder
Emission
stage
Final ball
lens
2nd filter
AAA
battery
cutting
guide
sample
cover
AA battery
cutting guide
Focal
spot at
sample
Massively Manufacturable Fluorimeter

## Slide 20
Blue
filter
1 cm
dia.
acrylic
ball bearing
sample
Green
filter
Rubber gasket
(disk with hole in middle)
1/2” ID black rubber tubing
3/8” ID black rubber tubing
lens
CMOS sensor
flash
LED
smart
phone
lens
CMOS sensor
flash
LED
smart
phone

## Slide 21: Optics for < $1 ?
6 mm dia glass beads
$0.001 / each
https://www.amazon.com/gp/product/B074C4FPWK/

## Slide 22: Goals of Methods Development
Impossible → Expensive
Expensive → Cheaper
  Difficult → Easier

## Slide 23: Critical Challenges in Structural Biology
$$$
Predicting crystallization outcomes
Getting crystals to diffract better
Is the ligand there or not?
Anisotropic diffraction
Radiation damage
Phase problem
Metals (anaerobic)
What is “resolution”
Serial crystallography (processing)
Non-isomorphism & multi-crystal methods

## Slide 24: If I had a trillion dollars …
Re-do all structures in PDB
Buy Google
Buy Facebook
10 zettaflops
Success? → impact?
$ 500 M
$ 131 B
$ 527 B
$ 335 B
$ 1.0 T
Predict crystallization conditions
from sequence
10x

## Slide 25: If I had a trillion dollars …
1021 flops ( $0.03 / Gflop )
5 CPU*min per guess: (autobuild)
2 phase values / hkl
1 year run time
89 hkls = 1027 combinations
50 Å cell, P212121 → 10 Å resolution
Success? → impact?
Solve Phase Problem
(brute force)

## Slide 26: Magic Microscope
Visualize a single molecule
spatial resolution 1 Å
temporal resolution: ~100 fs
Watch same molecule indefinitely
No damage to molecule/patient
Ability to tap / tug
Handheld & common
Q: what would you look at first?
Q2: how long before end of disease?
second

## Slide 27: The last Å between prediction and observation

## Slide 28: R-factor Gap small vs macro molecules
R1 < 2*Rsigma
Publication criterion for chemical crystallography:
R1 = Fo vs Fc for I/σ(I) > 3
Rsigma = <σ(I)>/<I>
There are no PDB entries that pass this test!
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 29
Rwork = 0.04
Rfree = 0.05
dmin = 3.5 Å
6σ = 1 e-
Simulation:
Realistic noise
“perfect” model
Hydrogen: visible at 3.5 Å resolution!

## Slide 30: Is it Real? Or is it MLFSOM
simulated
real
Holton et al (2014) "R-factor gap", FEBS Journal 281, 4046-4060.

## Slide 31
Big Question:
Why doesn’t this work
with real data?

## Slide 32: The last Å between prediction and observation

## Slide 35: Right answer
R = 0.8%
rms bond = 0.0002

## Slide 36: Crossed chains
R = 7.07%
rms bond = 0.001

## Slide 37: high x-ray weight
R = 1.2%
rms bond = 0.06

## Slide 38: Right answer
R = 0.8%
rms bond = 0.0002

## Slide 39: Crossed chains (real data)

## Slide 40: What if … ?
Exactly two conformations
50:50
Geometry/energy excellent
Solvent model-able
Can correct assignments be found?
If so, what would Rfree be?
  ~4%

## Slide 41
flipme.pdb
control
Flip_1
Flip_2
Refine
Score & Sort
Multiply together:
Rwork Clashscore
VdW_Energy Cβdev
Worst & average Z-scores:
rama rotamer
sin(ω)
bonds angles planes
Chirals dihedrals
Flip_3 …
Flip_4 …

## Slide 42
Rwork: 0.1226
Rfree: 0.1385
bond: 0.0319
Angle: 3.57
MoPro: 2.12
Clash: 6.52
Cβdev: 11
Rota: 2.78
Rama: 1.61

## Slide 43
Rwork: 0.1107
Rfree: 0.1250
bond: 0.024
Angle: 4.11
MoPro: 0.89
Clash: 0.54
Cβdev: 1
Rota: 0.93
Rama: 0

## Slide 44
Take home:
Ensemble refinement gets tangled
Fixing this could reveal true ensemble
not fixing it means: stuck forever

## Slide 45: Non-isomorphism
is annoying
Caused by:
rad dam
humidity
temperature
Growth conditions
Cryo-cooling
Everything
means you:
can’t merge
can’t
add
can’t
subtract

## Slide 46: Cell clustering: 100 datasets
Reality:
Perfect isomorphism
(simulated data)
Holton, J. (2019). Acta Cryst. D 75, 113-122.

## Slide 47
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.
Same structure, different cell

## Slide 48
Same structure, different cell
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 49
Uniform stretch
5% change → 0%

## Slide 50
5% change → 0%
Uniform stretch

## Slide 51: Hygrostatic gradients
loop
jet
high
water activity
low

## Slide 52: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 1.70 Å
RMSD = 0.18 Å LSQ

## Slide 53: 3aw6

## Slide 54: 3aw6 3aw7

## Slide 55
Periodic Spatial Distortion Vector Field

## Slide 56: 3aw6 3aw7

## Slide 57: 3aw6, 3aw7, “bent” 3aw6

## Slide 58: 3aw7, “bent” 3aw6

## Slide 59: 3aw7

## Slide 60: “bent” 3aw7

## Slide 61: 3aw6

## Slide 62
Fobs-Fobs difference
3σ 1.8 Å
“unbent”

## Slide 63
Fobs-Fobs difference
3σ 1.8 Å
old way

## Slide 64
Take home:
Non-isomorphism
is correctable
(in real space)

## Slide 65: Downloading “map bender”

## Slide 66: 0 Gy

## Slide 67: 100 MGy

## Slide 68: What is the dose?
50 MGy ?

## Slide 69: Systematic error: Illumination contrast appears to “reverse” damage
0.35 MGy
Cys6
Cys127
Room temperature high-dose rate series
de la Mora, et al. (2020) PNAS USA 117, 4142-4151

## Slide 70: False “Damage reversal”: from beam profile
X-ray beam
crystal

## Slide 71: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 72: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 73: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 74: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 75: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 76: False “Damage reversal”: from drift
X-ray beam
crystal

## Slide 77: Systematic error: Illumination contrast appears to “reverse” damage
Room temperature high-dose rate series
de la Mora, et al. (2020) PNAS USA 117, 4142-4151
occupancy
time
0
1
observed
cold
hot

## Slide 78
Holton (2009) J. Synchrotron Rad. 16 133-42
Radiation Damage World Records
MGy reaction reference
~45 global damage Owen et al. (2006)
10/Å global damage Howells et al. (2009)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
4 R-C-COOH Garman et al. (2015)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
~1? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.06 putidaredoxin Corbett et al. (2007)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 79
Take home:
“dose contrast”
makes rad dam
Hard to correct

## Slide 80: “rastering” to find the crystal
Membrane
protein crystal
X-ray beam
ice

## Slide 81: “painting” for flat dose

## Slide 82: “painting” for virtual beam

## Slide 83: Painting with X-rays
0°
img_000045

## Slide 84: Painting with X-rays
0.2°
img_000100

## Slide 85: Painting with X-rays
30°
img_015000

## Slide 86: Painting with X-rays
90°
img_045000

## Slide 87: Painting with X-rays
360°
img_180000

## Slide 88: Painting with X-rays
1080°
img_540000

## Slide 89: Beam Shape Dichotomy
Flat-top beam
  Uniform dose in illuminated region
  Sharp edges: sensitive to drift
Gaussian beam
  Softer edges
  High dose contrast
Best of both?
  “dose flattening”

## Slide 90: How many images?
360° / 0.1° * ( 100 µm / 1 µm )2
= 36x106
28,000 photons/image

## Slide 91: Lossless data rate
The 1.2e-5 scattered photons per incident photon can be derived form the cross section of oxygen (0.2 cm^2/g) and the rough density of protein crystals (1.2 g/cm^3), and the fact that about half of all scattered photons hit a flat detector: 0.2*1.2*1e-4/2 = 1.155e-5 That is, flux*thickness*1.2e-5 is the rate of photon arrivals and log2(pixels) is the number of bits required to store the location of one photon in the entropy-limited regime. Lossless compression cannot be better than this because individual photon arrivals are genuinely random.
bits
s
= log2(pixels) * flux * thick * 1.2x10-5
where: bits/s = entropy-limited compressed data rate
pixels = number of pixels in the detector
flux = photons/s onto the sample thick = sample thickness in microns
EG: 1e12 ph/s * 100um thick = 3.4 GBytes/s

## Slide 92: How to lose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over profile area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast, drift, read-out gap

## Slide 93: Dose slicing: is that a spot?

## Slide 94: Dose slicing: is that a spot?

## Slide 95: Dose slicing: is that a spot?

## Slide 96: Dose slicing: is that a spot?

## Slide 97: Dose slicing: is that a spot?

## Slide 98: Dose slicing: is that a spot?

## Slide 99
photons
0
4
time
photons
0
4
photons
0
4
time
photons
0
4
Single Photons Carry Information
About Radiation Damage

## Slide 100
Take home:
“dose flattening”
makes rad dam
correctable
(if we can use weak images)

## Slide 101: Magic Microscope
Visualize a single molecule
spatial resolution 1 Å
temporal resolution: ~100 fs
Watch same molecule indefinitely
No damage to molecule/patient
Ability to tap / tug
Handheld & common
Q: what would you look at first?
Q2: how long before end of disease?
second

## Slide 102: Second Golden Age of Structural Biology
Biology priority
The Last Å
Trillion-dollar scale
stepping stones