## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
UC Multicampus Research Programs and Initiatives (MRPI)
NIH NIGMS R01 GM124149
NIH NIGMS P30 GM124169
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Paul Adams John Tainer
Chris Nielsen Clemens Schulze-Briese Aina Cohen Ana Gonzalez

## Slide 2: Painting with X-rays
Virtual beams to match any sample
(Some assembly required)

## Slide 3: Beam size?

## Slide 4: “dose contrast” effects
before

## Slide 5: “dose contrast” effects
after

## Slide 6: “dose contrast” effects

## Slide 7: “dose contrast” effects

## Slide 8: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 9: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 10: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 11: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 12: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 13: Exponential spot fading: flat dose
integrated spot intensity
dose (MGy)

## Slide 14: No dose flattening: damage repair?
Absorbed Dose (MGy)
Fraction Se-Met undamaged
25mM SeMet in 50 mM bis-tris
0.0 0.2 0.4 0.6 0.8 1.0
0 100 200 300 400 500
Half-dose = 10 ± 0.4 MGy
25% threhalose
Half-dose = 17.0 ± 0.7 MGy
25% glycerol
Reverse half-dose = 93 ± 5 MGy
Drift!

## Slide 15: Gaussian beam
50% of flux
the other 50%

## Slide 16: Collimated beam
100% of flux
0%

## Slide 17: Falling into “the drift”
normalized photons/area
position relative to beam center (μm)

## Slide 18: Falling into “the drift”
normalized photons/area
position relative to beam center (μm)

## Slide 19: Beam Shape Dichotomy
Flat-top beam
  Uniform dose in illuminated region
  Sharp edges: most sensitive to drift
Gaussian beam
  No sharp edges
  High dose contrast
Best of both?
  “dose flattening”

## Slide 20: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 21: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 22: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 23: Dose contrast: differential expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 24
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 25
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 26
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 27
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 28
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 29
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 30
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 31
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 32
Flux density (x106 ph/µm2)
dose flattening: two shots
FWHM
0.849 FWHM
Position (FWHM)
beam1
beam2

## Slide 33
Chart: 
Flux density (x106 ph/µm2)
dose flattening: 3 shots
Position (FWHM)
0.798 FWHM

## Slide 34
Chart: 
Flux density (x106 ph/µm2)
dose flattening: 3 shots
Position (FWHM)
0.781 FWHM
12%

## Slide 35
Flux density (x106 ph/µm2)
dose flattening: 5 shots
Position (FWHM)
0.656 FWHM

## Slide 36
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
1.0 FWHM
12%

## Slide 37
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
0.9 FWHM
4.5%

## Slide 38
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
0.8 FWHM
1.5%

## Slide 39
~0 MGy

## Slide 40
5 MGy

## Slide 41
11 MGy

## Slide 42
16 MGy

## Slide 43
22 MGy

## Slide 44
26 MGy

## Slide 45
In 2D: hexagonal pattern
Position (FWHM)
122%
exposure
0.9 FWHM
0.3%
0.2%
0.1%
0
-0.1%
-0.2%
-0.3%
Avg dose = 180% peak

## Slide 46
In 2D: hexagonal pattern
Position (FWHM)
100%
exposure
0.89 FWHM
3%
2%
1%
0
-1%
-2%
-3%
Avg dose = 164% peak

## Slide 47
In 2D: moving train
Position (FWHM)
Avg dose = 120% +/- 1.5% peak
0.8 FWHM

## Slide 48: “rastering” to find the crystal
Membrane
protein crystal
X-ray beam
ice

## Slide 49: “rastering” for flat dose

## Slide 50: “rastering” for virtual beam

## Slide 51: Sample is 3D

## Slide 52: 3D mapping of sample

## Slide 53: Sample is 3D

## Slide 54: 2-motor scans offset data
phi
position
360°
0°

## Slide 55: 2-motor scans offset data
phi
position
360°
0°

## Slide 56: “rastering” for flat dose

## Slide 57: How many images?
360° / 0.1° * ( 100 µm / 1 µm )2
= 36x106
28,000 ph/image

## Slide 58: The Entropy Limit
= log2(Npixels) * flux * tsample * 1.2x10-5
minimum data rate with no information loss
Npixels = 4150*4371 for Eiger
flux = photons/s onto the sample
tsample = sample thickness in µm
1.2x10-5 = 10-4 cm/µm * cross section of oxygen (0.2 cm2/g)
* density of protein crystal (1.2 g/cm3 )
* ~1/2 of total scattering intersects detector
E.G. 34 GByte/s for 1013 photons/s and 100 µm thick
bits
s

## Slide 59: How to loose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast

## Slide 60: How long will it take?
Damage & diffraction = flux / area
Gy/s = ph/s /2000 / um2
Example: 30 MGy, 1 mm2 area, flux= 1012 ph/s
1x1 μm beam: 60 ms
100x100 μm beam: 600 s x 10x10 shots =
1x1 mm beam: 60,000 s x 1 shot = 17 hours
1013 ph/s → 1.7 h/mm2
Holton (2009)."beginner's guide rad dam", J. Synch. Rad. 16, 133-142.
17 hours
x 1000x1000 shots =
17 hours
1013 ph/s @ RT → 40 s/mm2

## Slide 61
The number of photons scattered
before crystal is dead
is independent
of flux & time
1 um3 = 105 photons (roomT)
1 um3 = 106 photons (synch)
1 um3 = 108 photons (XFEL)
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009
(synch)

## Slide 62: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
low
completeness
too much
read noise

## Slide 63: Dose slicing: is that a spot?

## Slide 64: Dose slicing: is that a spot?

## Slide 65: Dose slicing: is that a spot?

## Slide 66: Dose slicing: is that a spot?

## Slide 67: Dose slicing: is that a spot?

## Slide 68: Dose slicing: is that a spot?

## Slide 69: What if?
You only have a few small crystals…
Should you:
  Collect 360° from each?
  Collect 10° from each at 36x exposure?
  Glue 36 xtals together, then collect 360° ?

## Slide 70
Chart: 
Resolution (Å)
CC vs right answer
“true” resolution limit

## Slide 71
Dose slice collection scenario |  | 
fine | coarse | glue
3.17700 | 3.14057 | 3.17604
“true” resolution vs strategy
301,640,334 photons/xtal

## Slide 72: How to loose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over profile area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast, drift, read-out gap

## Slide 73: Summary
“dose contrast” avoided with flat beams
0.8 FWHM = very flat
data beam can be virtual
Don’t fall into “the drift”!
Long exposures = lossy compression
Rastering as data collection?
http://bl831.als.lbl.gov/~jamesh/powerpoint/
RD10_painting_2018.pptx