## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R01 GM124149 NIAID P50 AI150476
NIH NIGMS P30 GM124169 R01 GM117126
DOE-BER Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc. Relay Therapeutics
NIH NIGMS P30 GM133894, NSF DBI-1625906
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser
Paul Adams John Tainer Greg Hura Nick Sauter
Aina Cohen Jenny Wierman Art Lyubimov Sabine Hollatz
http://bl831.als.lbl.gov/~jamesh/powerpoint/RD11_noniso_2020.pptx

## Slide 2: Non-isomorphism
ancient enemy? or blessing in disguise?

## Slide 3: Non-isomorphism
is annoying
Caused by:
rad dam
humidity
temperature
Growth conditions
Cryo-cooling
Everything
means you:
can’t merge
can’t
add
can’t
subtract

## Slide 4
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.
Same structure, different cell

## Slide 5
Same structure, different cell
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 6
Uniform stretch
5% change → 0%

## Slide 7
5% change → 0%
Uniform stretch

## Slide 8
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 9
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 10: Cell clustering: 100 datasets
Reality:
Perfect isomorphism
(simulated data)
Holton, J. (2019). Acta Cryst. D 75, 113-122.

## Slide 11
Take home:
Cell change ≠ nonisomorphism

## Slide 12: Micro-focus challenge
Holton, J. (2019). Acta Cryst. D 75, 113-122.
5 µm xtals
5 µm beam
~ 5 img / xtal
P212121
XDS thinks:
P422

## Slide 13
Magdoff & Crick (1955) “Ribonuclease II. Accuracy of measurement and shrinkage”, Acta Cryst. 8, 461-8.
Crick & Magdoff (1956) “The theory of the method of isomorphous replacement for protein crystals”, Acta Cryst. 9, 901-8.

## Slide 14
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 15
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 16
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 18: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 1.70 Å
RMSD = 0.18 Å

## Slide 19: Elastic deformation = non-isomorphism

## Slide 20: Elastic deformation = non-isomorphism

## Slide 21
Take home:
Molecular movement
might be functionally relevant

## Slide 22: Non-isomorphism in lysozyme
RH 84.2% vs 71.9%
Riso = 44.5%
RMSD = 0.18 Å

## Slide 23: Plastic deformation = poor diffraction

## Slide 24: Plastic deformation = poor diffraction

## Slide 25: First diffraction from protein xtal
Bernal, J. & Crowfoot, D. (1934). "X-ray photographs of crystalline pepsin", Nature 133, 794-795.
1934

## Slide 26: Dehydration: 1934
100 μm
2 mm
= 1.5 μL
= 1.0 nL
10 μm
= 1.0 pL
and 2020?
1 μm
= 1.0 fL

## Slide 27: opened drop: you have ~30 seconds!
equilibrated drop

## Slide 28: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
~ 50 mm He
≈ 370 mm sat water vapor @ 4C
Optimum: support thickness = crystal thickness

## Slide 29: Hygrostatic gradients
loop
jet
high
water activity
low

## Slide 30
Take home:
Worry about humidity

## Slide 31
Take home:
Worry about everything

## Slide 32: 3aw6

## Slide 33: 3aw6 3aw7

## Slide 34: 3aw6, 3aw7, “bent” 3aw6

## Slide 35: 3aw7, “bent” 3aw6

## Slide 36: 3aw6

## Slide 37: “bent” 3aw7

## Slide 38: 3aw7

## Slide 39
Take home:
Align maps before subtraction

## Slide 40: Fo – Fo map
5ws6 - 5ws5
Suga, M., et al., site of O=O bond formation in PSII
caught by XFEL. Nature, 2017. 543: p. 131.

## Slide 41: Fo – Fo map
5ws6 - 5ws5

## Slide 42
Major caveat:
Map “sigma” is meaningless
how to avoid sharp edges?

## Slide 43: “map bender” procedure
Convert to fractional coordinates
Basis functions: spatial sin waves

## Slide 44: Basis function 1 0 0

## Slide 45: “map bender” procedure
Convert to fractional coordinates
Basis functions: spatial sin waves
  Repeats with unit cell
  Low-order h,k,l indices first
Fit function to Δx vs x,y,z across P1 cell
Repeat with Δy, Δz
Apply to PDB file and interpolate map grid
Usually 3-5 orders comparable to LSQ

## Slide 47: Downloading “map bender”

## Slide 48: Bragg’s “minimum wavelength principle”
Perutz (1985). “Early Days of Cryst…” Methods in Enzymology, Vol. 114, 3-18.
Bragg & Perutz (1952)."external form haemoglobin I", Acta Cryst. 5, 277-283.

## Slide 49: DMMULTI – fake data 4 deg rotation: 8 “xtals”: before
CC = 0.02

## Slide 50
CC = 0.8
DMMULTI – fake data 4 deg rotation: 8 “xtals”: after

## Slide 51: S-SAD merging 20 xtals
Knott et al. (2017). "Guide-bound CRISPR-Cas13a." Nature S&MB 24, 825
20 xtals

## Slide 52
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
F+ | 52.3965 | 57.5371 | 48.523 | 47.5964 | 34.153 | 48.9106 | 70.3415 | 52.7871 | 59.3327 | 50.0622
F- | 46.3965 | 51.5371 | 42.523 | 41.5964 | 28.153 | 42.9106 | 64.3415 | 46.7871 | 53.3327 | 44.0622
observation
intensity
Systematic vs random error

## Slide 53: URLs & Summary
Cell does not always tell
Damage, humidity & everything else
May reveal function
Align before subtract
Ignore & merge?
https://bl831.als.lbl.gov/~jamesh/powerpoint/
RD11_noniso_2020.pptx
https://git.bl831.als.lbl.gov/jamesh/map-bender

## Slide 54: damage repair?
Absorbed Dose (MGy)
Fraction Se-Met undamaged
25mM SeMet in 50 mM bis-tris
0.0 0.2 0.4 0.6 0.8 1.0
0 100 200 300 400 500
Half-dose = 10 ± 0.4 MGy
25% threhalose
Half-dose = 17.0 ± 0.7 MGy
25% glycerol
Reverse half-dose = 93 ± 5 MGy
Drift!

## Slide 55: False “Damage reversal”: from drift
X-ray beam
crystal

## Slide 56: False “Damage reversal”: from beam profile
X-ray beam
crystal

## Slide 57: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 58: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 59: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 60: False “Damage reversal”: from beam profile
Cold beam
Hot beam
crystal

## Slide 61: Gaussian beam
50% of flux
the other 50%

## Slide 62: Gaussian beam
50% of flux
6.3%
25% of flux
12.5 % of flux
6.3 % of flux

## Slide 63: Collimated beam
100% of flux
0%

## Slide 64: Non-Gaussian beam

## Slide 65: Reaction progression
Chart: 
| 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3
atom1 | 1 | 0.6 | 0.368 | 0.223 | 0.135 | 0.08 | 0.05


Stuff still un-reacted
“true”, unweighted dose of single voxel

## Slide 66: “fading” weight
Chart: 
| 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3
atom1 | 1 | 0.6 | 0.368 | 0.223 | 0.135 | 0.08 | 0.05


Contribution relative to starting value
“true”, unweighted dose of single voxel

## Slide 67: “hit rate” weight
xtal

## Slide 68: “hit rate” weight

## Slide 69: “hit rate” weight
xtal

## Slide 70: “hit rate” weight
xtal

## Slide 71: Illumination contrast appears to “reverse” damage
0.35 MGy
Cys6
Cys127
Room temperature high-dose rate series
de la Mora, et al. (2020) PNAS USA 117, 4142-4151

## Slide 72: What is the dose?

## Slide 73: What is the dose?

## Slide 74: What is the dose?

## Slide 75: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 76: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 77: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 78: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 79: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 80: Exponential spot fading: flat dose
integrated spot intensity
dose (MGy)

## Slide 81: Beam Shape Dichotomy
Flat-top beam
  Uniform dose in illuminated region
  Sharp edges: most sensitive to drift
Gaussian beam
  No sharp edges
  High dose contrast
Best of both?
  “dose flattening”

## Slide 82
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 83
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 84
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 85
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 86
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 87
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 88
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 89
Flux density (x106 ph/µm2)
dose flattening: two shots
Position (FWHM)
beam1
beam2

## Slide 90
Flux density (x106 ph/µm2)
dose flattening: two shots
FWHM
0.849 FWHM
Position (FWHM)
beam1
beam2

## Slide 91
Chart: 
Flux density (x106 ph/µm2)
dose flattening: 3 shots
Position (FWHM)
0.798 FWHM

## Slide 92
Chart: 
Flux density (x106 ph/µm2)
dose flattening: 3 shots
Position (FWHM)
0.781 FWHM
12%

## Slide 93
Flux density (x106 ph/µm2)
dose flattening: 5 shots
Position (FWHM)
0.656 FWHM

## Slide 94
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
1.0 FWHM
12%

## Slide 95
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
0.9 FWHM
4.5%

## Slide 96
Flux density (x106 ph/µm2)
dose flattening: shot train
Position (FWHM)
0.8 FWHM
1.5%

## Slide 97: Summary
“dose contrast” avoided with dose flattening
0.8 FWHM = very flat
http://bl831.als.lbl.gov/~jamesh/powerpoint/
RD11_noniso_2020.pptx

## Slide 98: Multi-crystal merge preparation
Take each pair of datasets
“othercell” to find all possible re-indexings
Apply all re-indexing operators in turn
Evaluate best agreement (R, CC)
Cluster by acceptable distance (20-30%)
Re-index clusters to common lattice
Apply xscale_isocluster, CODGAS, others?

## Slide 99: Multi-crystal problem
< 20% = merge
% diff
% diff
% diff
% diff

## Slide 100: Multi-crystal problem
< 20% = merge
comparisons
= (sets2 )/2
* symops
Need
HPC

## Slide 101: Trick Question: What is the space group?
a = 63 b = 63 c = 63
α = 90 β = 90 γ = 90

## Slide 102: Pitfalls: sub-space groups
P622
What else?
P6122 P6522 P6222 P6422 P6322
P6 P61 P65 P62 P64 P63
P312 P321 P3112 P3121 P3212 P3221
P3 P31 P32
P2 P21 C2 C222 C2221
P1

## Slide 103: Multi-crystal strategies
Kendrew et al. (1960) "Structure of Myoglobin” Nature 185, 422-427.

## Slide 104: Multi-crystal strategies
Kendrew et al. (1960) "Structure of Myoglobin” Nature 185, 422-427.