## Slide 1: Acknowledgements
SIBYLS: Scott Classen John Tainer
ALS 8.3.1 creator: Tom Alber
8.3.1 PRT head: Jamie Cate
Integrated Diffraction Analysis Technologies (IDAT)
Center for Structure of Membrane Proteins (CSMP)
Membrane Protein Expression Center II (MPEC)
Center for HIV Accessory and Regulatory Complexes (HARC)
W. M. Keck Foundation
Plexxikon, Inc.
M D Anderson CRC
University of California Berkeley
University of California San Francisco
University of California Campus-Laboratory Collaboration Grant
Henry Wheeler
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.

## Slide 2: What is a “streak camera”?

## Slide 3: What is a “streak camera”?

## Slide 4: Same total photons, different detectors
Integrated photons in spot
Exposure time (seconds) for 1° osc
100 20 10 6.7 5
Incident beam transmittance (%)

## Slide 5: Same total photons, different detectors
Integrated photons in spot
Exposure time (seconds) for 1° osc
100 20 10 6.7 5
Incident beam transmittance (%)

## Slide 6: What could be better than photon-counting?
Count rate (photons/s)
phi position (degrees)
Dead times:
1000 ns Oxford
200 ns Pilatus

## Slide 7: What could be better than photon-counting?
Count rate (photons/s)
phi position (degrees)
Dead times:
1000 ns Oxford
200 ns Pilatus

## Slide 10: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 11: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 12: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 13: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 14: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 15: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 16: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 17: xtal24big
Real time still at 674 kGy/s

## Slide 18: Double-tap: no dark progression at 675 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 19: Double-tap: no dark progression at 675 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 20: xtal12
Double tap: 0.4 s on + 1 s off + on again

## Slide 21: xtal13
Double tap: 0.4 s on + 1 s off + on again

## Slide 22: xtal13
Double tap: 0.4 s on + 1 s off + on again

## Slide 23: xtal14
Double tap: 0.4 s on + 1 s off + on again

## Slide 24: Xtal15 slow
Double tap lite: 5 s on + 12.6 s off + on again

## Slide 25: Xtal15 fast
Double tap lite: 5 s on + 12.6 s off + on again

## Slide 26: Individual spots at 44.3 kGy/s
Intensity (photons)
Time (seconds)

## Slide 27: Individual spots at 44.3 kGy/s
Intensity (photons)
Time (seconds)

## Slide 28: Individual spots at 44.3 kGy/s
Intensity (photons)
Time (seconds)

## Slide 29: Slow wiggle

## Slide 30: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 31: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 32: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 33: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 34: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 35: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 36: Xtal12 before & after
morphological dose-rate effect?
110 kGy/s
720 kGy/s

## Slide 37: Xtal4_t1
Solvent “reaction” at 764 kGy/s

## Slide 38: xtal4_t2
Solvent “reaction” at 764 kGy/s

## Slide 39: xtal5_t1
Crystal “shrinks?” at 764 kGy/s

## Slide 40: xtal5_t2
Crystal “shrinks?” at 764 kGy/s

## Slide 41: xtal16

## Slide 42: xtal17

## Slide 43: xtal18

## Slide 44: Xtal24big_t2

## Slide 45: How much H2 are we making?
Meents et al. (2010) claimed:
"400 molecules of H2 for every 12.5 keV photon“
= 3.3x10-7 mol/J
200 kGy to 100 um3 = 0.24 J
= 1.2x10-8 mol H2
100 um3 of water = 6.7x10-8 mol
→ 18% of water has reacted!

## Slide 46: Xtal5_t1 graph

## Slide 47: Xtal5_t1 graph
Spot intensity
seconds

## Slide 48: Room Temperature Damage (powder)
dose (kGy)
sin(θ)/λ
fraction of starting intensity

## Slide 49: Cryo Temperature Damage (powder)
dose (MGy)
sin(θ)/λ
fraction of starting intensity

## Slide 50: Room temperature damage rate
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 51: Room temperature damage rate
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 52: Room temperature damage rate
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 53: Room temperature damage rate
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 54: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 55: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 56: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 57: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)