## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
UC Multicampus Research Programs and Initiatives (MRPI)
UCSF Program for Breakthrough Biomedical Research (PBBR)
one-time NIH-DOE Inter-agency agreement (IAA)
GM117126 to Sauter (DIALS)
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser
Nick Sauter John Tainer Aina Cohen Ana Gonzalez

## Slide 2: PowerPoint File available:
http://bl831.als.lbl.gov/
~jamesh/powerpoint/
Ringberg_xfel_2017.pptx

## Slide 3: At-scale diffraction simulation
simulated
real
MLFSOM
Holton et al (2014) “R-factor gap", FEBS Journal 281, 4046-4060.

## Slide 4: Systematic Error vs Random Noise

## Slide 5
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 6: XFEL: “fit” simulation to reality
Dispersion
Divergence
Mosaicity
Wavelength
Unit cell parameters (3)
Crystal orientation (3)
Mosaic domain size (3)
Beam center (2)
Beam direction (2)
Detector distance

## Slide 7: Simulation of XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 8
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 9
phiz
Simulation of XFEL still
phiy
phiz
phix
phix
phiy
VS
real

## Slide 10
Angle about y axis (°)
Fraction pixels predicted
Fitting individual “mosaic domains”
Best of
262,140 trials

## Slide 11: 3-domain Simulation of XFEL still

## Slide 12
Real XFEL still

## Slide 13: 1-domain Simulation of XFEL still

## Slide 14: The “Lorentz zone”

## Slide 15: Coming Soon in CCTBX / DIALS!
At-scale simulation coupled to
data processing
https://github.com/cctbx

## Slide 16: Diffraction Simulators
1. MLFSOM
- rotation data with maximum realism in noise
2. nearBragg
- first-principles scattering from atoms in space
3. nanoBragg
- optimized for nanocrystal/single-particle stills
4. nonBragg
- non-crystalline, centrosymmetric (SAXS)

## Slide 17: Diffraction Simulators
1. MLFSOM
- rotation data with maximum realism in noise
2. nearBragg
- first-principles scattering from atoms in space
3. nanoBragg
- optimized for nanocrystal/single-particle stills
4. nonBragg
- non-crystalline, centrosymmetric (SAXS)

## Slide 18: What if…
we knew everything?
  how would we store it?
we had a hotter beam?
we had more coherence?
we had a perfect detector?
…
we knew what we are doing wrong?

## Slide 19: What if…
we knew everything?
  how would we store it?
we had a hotter beam?
we had more coherence?
we had a perfect detector?
…
we knew what we are doing wrong?

## Slide 20: nonBragg extracts background
Flux
Exposure
Density
Thickness
Gain, offset
spot remover

## Slide 21
Pick-up tool mark
Bragg
glitch
oxygen
inclusions
“tree rings”
1% high
average
1% low
~3x105 photon/pixel
Pilatus: subtract smooth baseline

## Slide 22
Required signal-to-noise (I/σ)
Solve-able proteins (%)
Current
technology
Goal
Threshold of a revolution in phasing

## Slide 23
FOM from “dm”
Correlation to final map
Phasing success vs Figure of Merit
Hunter et al. (2016)."Selenium anomalous phasing XFEL", Nature Comm. 7, 13388.
http://cxidb.org/id54-SfjMJjaBny/id-54.html http://cxidb.org/id55-BWuBDSUrBy/id-55.html
Adjusting:
Solvent content
Resolution
SDfac Sdadd
Cycles of dm
“mode”
“scheme”
NCS radius
NCS cycles
Phase blur

## Slide 24: Diffraction Simulators
1. MLFSOM
- rotation data with maximum realism in noise
2. nearBragg
- first-principles scattering from atoms in space
3. nanoBragg
- optimized for nanocrystal/single-particle stills
4. nonBragg
- non-crystalline, centrosymmetric (SAXS)

## Slide 25: nanoBragg program
http://bl831.als.lbl.gov/~jamesh/nanoBragg/
Optimized for nanocrystals
Square or round
Takes h,k,l and F
Supports 1 unit cell
explicit “mosaicity”
arbitrary source
explicit “phi” steps

## Slide 26: square

## Slide 27: round

## Slide 28: non-isomorphism
Another way to peek
between the spots:

## Slide 29
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.
Same structure, different cell

## Slide 30
Same structure, different cell
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 31
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 32
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 33
Uniform stretch
5% change → 0%

## Slide 34
5% change → 0%
Uniform stretch

## Slide 35
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 36
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 37
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 38
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 40: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 0.18 Å

## Slide 41: Dehydration: 1934
100 μm
2 mm
= 1.5 μL
= 1.0 nL
10 μm
= 1.0 pL
and 2017?
1 μm
= 1.0 fL

## Slide 42: Hygrostatic gradients
loop
jet
high
water activity
low

## Slide 43
h,k,l | structure factors (F) |  |  | 
 | #1 | #2 | #3 | #4
5,3,4 | 523.7 | 559.8 | 579.9 | 603.2
5,4,4 | 168.2 | 166.6 | 177.2 | 196.1
5,5,4 | 34.9 | 26.4 | 19.2 | 17.3
6,1,4 | 305.7 | 301.1 | 298.1 | 296.3
6,2,4 | 353.0 | 353.9 | 356.2 | 366.9
6,3,4 | 300.9 | 285.3 | 273.5 | 259.4
6,3,5 | 223.8 | 226.3 | 234.6 | 251.4
… | … | … | … | …
X-ray Data Sets
h,k,l | 100% | 17 % | 13 % | 9 %
 | 1st | 2nd | 3rd | 4th
5,3,4 | -1.46 | -0.02 | 1.84 | -0.72
5,4,4 | -0.88 | -0.29 | -0.34 | 0.15
5,5,4 | -0.42 | -0.65 | 1.02 | 1.47
6,1,4 | -0.90 | -0.85 | 1.44 | -0.40
6,2,4 | -1.20 | -0.37 | 0.67 | 0.01
6,3,4 | -0.75 | 0.31 | 0.48 | 0.00
6,3,5 | -0.75 | -0.85 | 0.72 | -0.82
… | … | … | … | …
data
set
Singular value decomp.
SVD
vector
value
Singular values & vectors
Correlation
Coefficients
-0.68
CC2
CC3
CC1
CC1 CC2 CC3
data set #1
Data sets
Positioned
in
“Correlation
Space”
-0.24
data set #2
data set #3
0.32 …

## Slide 45
Correlation to 2nd & 3rd singular vectors
Structure factor (electrons)

## Slide 46
Correlation to 2nd & 3rd singular vectors
Structure factor (electrons)

## Slide 47
Correlation to 2nd & 3rd singular vectors
Structure factor (electrons)

## Slide 48: Bragg’s “minimum wavelength principle”
Perutz (1985). “Early Days of Cryst…” Methods in Enzymology, Vol. 114, 3-18.
Bragg & Perutz (1952)."external form haemoglobin I", Acta Cryst. 5, 277-283.

## Slide 49: DMMULTI – fake data 4 deg rotation: 8 “xtals”: before
CC = 0.02

## Slide 50
CC = 0.8
DMMULTI – fake data 4 deg rotation: 8 “xtals”: after

## Slide 51: What if…
we knew everything?
  how would we store it?
we had a hotter beam?
we had more coherence?
we had a perfect detector?
…
we knew what we are doing wrong?

## Slide 52
The number of photons scattered
before crystal is dead
is independent
of data collection time
1 um3 = 105 photons (roomT)
1 um3 = 106 photons (synch)
1 um3 = 108 photons (XFEL)
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009
(synch)

## Slide 53
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry

## Slide 54
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 55: B factor from image analysis
B = 500

## Slide 56: B factor from image analysis
B = 20

## Slide 57: What if…
You only have a few small crystals?
Should you:
  Collect 360° from each?
  Collect 10° from each at 36x exposure?
  Glue 36 xtals together, then collect 360° ?
  Glue together and do 12960° ?
  http://bl1231.als.lbl.gov/~jamesh/dose_slice/results.html

## Slide 58: Dose slicing
crystal’s useful life
N
photons
N
photons
N
photons
unacceptable
damage
unacceptable
read noise

## Slide 59: Dose slicing: is that a spot?

## Slide 60: Dose slicing: is that a spot?

## Slide 61: Dose slicing: is that a spot?

## Slide 62: Dose slicing: is that a spot?

## Slide 63: Dose slicing: is that a spot?

## Slide 64: Dose slicing: is that a spot?

## Slide 65
Resolution (Å)
CC vs right answer
“true” resolution limit

## Slide 66
Dose slice collection scenario |  |  | 
fine | coarse | glue | Glue & fine
3.17700 | 3.14057 | 3.17604 | 3.12086
“true” resolution vs strategy
301,640,334 photons/xtal

## Slide 67
processing procedure | resolution limit |  |  | 
 | fine | coarse | glue | glue&fine
XDS/XSCALE | 3.17700 | 3.14057 | 3.17604 | 3.12086
XDS/aimless | 3.16251 | 3.15922 | 3.16675 | 3.12162
XDS/noscale | 3.27289 | 3.15617 | 3.38929 | 3.12162
MOSFLM-defaults | x | x | x | x
MOSFLM-cheat | 3.19755 | 3.18166 | 3.20354 | 3.19755
HKL2000-defaults | x | x | x | x
HKL2000-expert | 3.21803 | 3.12646 | 3.11551 | 3.21803
HKL2000-cheat | 3.16119 | 3.10338 | 3.10338 | 3.16300
DIALS-defaults | x | x | 3.42125 | x
DIALS-expert | 3.10296 | 3.09547 | 3.07653 | 3.08465
d*Trek | ? | ? | 4.34076 | ?
EVAL15 | 3.14352 | 3.10383 | 3.09936 | 3.14105
EVAL15-sadabs | 3.13920 | 3.10797 | 3.10171 | 3.13700

## Slide 68
Number of counts/pixel
frequency
Gaussian vs Poisson distributions
Long-term average:
1 photon/pixel

## Slide 69
Number of counts/pixel
frequency
Central limit theorem fails on weak images
Expect: ~6
“9-sigma outliers”
On 6x106 pixel detector
at 1 photon/pixel

## Slide 70: Optimum resolution cutoff is:
Too optimistic: add nothing but noise
Too pessimistic: series-termination error
Happy medium?
Simulate:
  Random atoms, compute F2
  Add Gaussian noise, RMS = 1
  Truncate
  Subtract “right” map, RMS difference

## Slide 76: Optimum resolution cutoff is:
0.0 Å

## Slide 77: Diffraction Simulators
1. MLFSOM
- rotation data with maximum realism in noise
2. nearBragg
- first-principles scattering from atoms in space
3. nanoBragg
- optimized for nanocrystal/single-particle stills
4. nonBragg
- non-crystalline, centrosymmetric (SAXS)

## Slide 78: nearBragg program
http://bl831.als.lbl.gov/~jamesh/nearBragg/
“assumption-free” total scattering
no Fourier Transform
no unit cells
no “mosaicity”
arbitrary “atoms”
arbitrary “source”
coherent or not

## Slide 81: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 82: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 83: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 84: Meaning of “coherence length”
http://bl831.als.lbl.gov/~jamesh/nearBragg/collision/

## Slide 85
False color intensity
sample
detector
Meaning of “Molecular Transform”

## Slide 86
False color intensity
sample
detector
Meaning of “Molecular Transform”

## Slide 87
Meaning of “Molecular Transform”
False color intensity
sample
detector

## Slide 88
False color intensity
sample
detector
Meaning of “Molecular Transform”

## Slide 89: Realistic single-particle prediction
1012 photon/pulse
100 nm focus

## Slide 90: Realistic single-particle prediction
1012 photon/pulse
3 nm focus

## Slide 91: lysozyme: real and reciprocal

## Slide 92: lysozyme: thermal motion

## Slide 93: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 94: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 95: Getting around averaging: Single-image model refinement?

## Slide 96: “R-factor Gap” for macromolecules
R1 < 2*Rsigma
Publication criterion for chemical crystallography:
R1 = Fo vs Fc for I/σ(I) > 3
Rsigma = <σ(I)>/<I>
There are no PDB entries that pass this test!
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 97: What if…
we knew everything?
  how would we store it?
we had a hotter beam?
we had more coherence?
we had a perfect detector?
…
we knew what we are doing wrong?

## Slide 98: MD simulation: 30 conformers from 24,000
Cerutti et al. (2010).J. Phys. Chem. B 114, 12811-12824.

## Slide 99: Electron density from 24,000 conformers

## Slide 100: 2Fsim-Fcalc and Fsim-Fcalc maps
1.0 Å data
Rcryst= 0.137
Rfree = 0.159
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc

## Slide 101: 2Fsim-Fcalc and (Fsim Φsim) - (Fcalc Φcalc) maps
1 “sigma” 2Fsim-Fc
Fright – (2Fsim-Fc)
1.0 Å data
Rcryst= 0.137
Rfree = 0.159

## Slide 102: 30 conformers from 24,000

## Slide 103: How many conformers are there?
Rcryst = 0.0441
Rfree = 0.0516
vs Fsim
Answer: 2-14

## Slide 104: How many conformers are there?
Rcryst = 0.1546
Rfree = 0.1749
vs Fobs
1aho:
Rcryst = 0.1630
Rfree = n/d
Answer: 1-7

## Slide 105: How many conformers are there?
All difference
features
are in
the solvent!
real data

## Slide 106: Combined multi-conformer & explicit solvent
Rwork = 0.0309
Rfree = 0.0678
vs Fsim
Problem: diverges with more cycles

## Slide 107: Status of macromolecular representation:
Even if we start with the “right answer”
it will blow up.
Half the error is in the solvent,
and 20%2 - 14%2 = 14%2

## Slide 108: RISM model for “bulk” solvent
Method | Rwork | Rfree
Default refmac5: flat bulk solvent | .1784 | .1898
RISM – self-consistent density field based on electrostatics | .1640 | .1808
Explicit MD solvent, protein fixed | .1523 | .1690
RISM – protein fixed multi-conformer weighted | .1578 | .1739
Explicit – protein fixed multi-conformer weighted | .1440 | .1666

## Slide 109: Crowded-atom refinement
position
Electron density

## Slide 110: At-scale simulation
Partiality
  no spherical chickens
Phasing
  Threshold of a S-SAD revolution?
  Se at LCLS w 200,000 DM jobs
Non-isomorphism
  foe or friend? Get around averaging?
dose slicing
  how low can you go?
R-factor Gap
  The “right answer” is unstable
Resolution: optimum cutoff is 0 Å
http://bl831.als.lbl.gov/~jamesh/
powerpoint/Ringberg_xfel_2017.pptx

## Slide 111: The Future of Structural Biology
grand challenge for the 21st century
We need
better
models
We need
better
data

## Slide 112: URL Summary
Averaging is good for phasing
Averaging + disorder destroys resolution
Averaging + isomorphism = good for resolution
Humidity = isomorphism
Dose-slice with EIGER
The future = better models for “disorder”
http://bl831.als.lbl.gov/~jamesh/powerpoint/
Ringberg_xfel_2017.pptx
http://bl831.als.lbl.gov/xtalsize.html
http://bl831.als.lbl.gov/xtallife.html

## Slide 113: Grand Challenges in Structural Biology
Phase Problem
Better detector calibration
non-isomorphism phasing?
Amplitude Problem
    Revolution in sample handling
    Get around averaging (better models)
R-factor Gap
    Better models for “disorder” (function)
    If we had right answer, it would blow up!

## Slide 114: How to install: nearBragg
wget http://bl831.als.lbl.gov/
~jamesh/nearBragg/nearBragg.c
gcc –o nearBragg nearBragg.c –lm
./nearBragg
usage: nearBragg -file atom_list.txt
options:
-file filename.txt text file containing point scatterer coordinates in Angstrom relative to the origin.
-distance from origin to detector center in mm
-detsize detector size in mm. may also use -detsize_x -detsize_y
-detpixels detector size in pixels. may also use -detpixels_x -detpixels_y
-pixel detector pixel size in mm.

## Slide 115: How to run: nearBragg for single particle
egrep “^ATOM|^HETAT” lysozyme.pdb |\
awk ‘{print substr($0,31,36)}’ |\
cat >! atoms.txt
wget bl831.als.lbl.gov/~jamesh/nearBragg/rotate.awk
./rotate.awk -v phix=10 -v phiy=20 -v phiz=30 atoms.txt >! rotated.txt
nearBragg –atoms rotated.txt -lambda 1 -distance 1000 -detsize 100 -fluence 1e32
(200s)
adxv intimage.img

## Slide 116: How to run: nearBragg for single particle
egrep “^ATOM|^HETAT” lysozyme.pdb |\
awk ‘{print substr($0,31,36)}’ |\
cat >! atoms.txt
wget bl831.als.lbl.gov/~jamesh/nearBragg/rotate.awk
./rotate.awk -v phix=10 -v phiy=20 -v phiz=30 atoms.txt >! rotated.txt
nearBragg –atoms rotated.txt -lambda 1 -distance 1000 -detsize 100 -fluence 1e32
(200s)
adxv intimage.img

## Slide 117: How to run: nearBragg for single particle
egrep “^ATOM|^HETAT” lysozyme.pdb |\
awk ‘{print substr($0,31,36)}’ |\
cat >! atoms.txt
wget bl831.als.lbl.gov/~jamesh/nearBragg/rotate.awk
./rotate.awk -v phix=10 -v phiy=20 -v phiz=30 atoms.txt >! rotated.txt
nearBragg –atoms rotated.txt -lambda 1 -distance 1000 -detsize 100 -fluence 1e32
(200s)
adxv noiseimage.img

## Slide 118: How to run: nanoBragg for single particle
pdbset xyzin lysozyme.pdb xyzout bigcell.pdb << EOF
CELL 250 250 250 90 90 90
SPACEGROUP 1
EOF
phenix.fmodel bigcell.pdb high_resolution=10 k_sol=0.35 b_sol=46.5 mask.solvent_radius=0.5 mask.shrink_truncation_radius=0.16
mtz_to_P1hkl.com bigcell.pdb.mtz
nanoBragg –cell 250 250 250 90 90 90 –misset 10 20 30 -hkl P1.hkl -lambda 1 -distance 1000 -detsize 100 -fluence 1e32 -N 1
adxv noiseimage.img

## Slide 119: How to run: nanoBragg for single particle
pdbset xyzin lysozyme.pdb xyzout bigcell.pdb << EOF
CELL 250 250 250 90 90 90
SPACEGROUP 1
EOF
phenix.fmodel bigcell.pdb high_resolution=10 k_sol=0.35 b_sol=46.5 mask.solvent_radius=0.5 mask.shrink_truncation_radius=0.16
mtz_to_P1hkl.com bigcell.pdb.mtz
nanoBragg –cell 250 250 250 90 90 90 –misset 10 20 30 -hkl P1.hkl -lambda 1 -distance 1000 -detsize 100 -fluence 1e32 -N 1
adxv noiseimage.img

## Slide 120: How to run: nonBragg for SAXS
pdbset xyzin lysozyme.pdb xyzout bigcell.pdb << EOF
CELL 250 250 250 90 90 90
SPACEGROUP 1
EOF
phenix.fmodel bigcell.pdb high_resolution=10 k_sol=0.35 b_sol=46.5 mask.solvent_radius=0.5 mask.shrink_truncation_radius=0.16
mtz_to_stol.com bigcell.pdb.mtz
nonBragg -stol mtz.stol -lambda 1 -dispersion 0 \
-distance 1000 -detsize 100 -pixel 0.172 \
-flux 1e13 -thick 1.2 -MW 14000 -density 0.01
adxv noiseimage.img

## Slide 121: How to run: nonBragg for SAXS
pdbset xyzin lysozyme.pdb xyzout bigcell.pdb << EOF
CELL 250 250 250 90 90 90
SPACEGROUP 1
EOF
phenix.fmodel bigcell.pdb high_resolution=10 k_sol=0.35 b_sol=46.5 mask.solvent_radius=0.5 mask.shrink_truncation_radius=0.16
mtz_to_stol.com bigcell.pdb.mtz
nonBragg -stol mtz.stol -lambda 1 -dispersion 0 \
-distance 1000 -detsize 100 -pixel 0.172 \
-flux 1e13 -thick 1.2 -MW 14000 -density 0.01
adxv noiseimage.img

## Slide 122
Simulation of XFEL stills
Beam center from autoindexing
Sauter (2015). JSR 22, 239.

## Slide 123
Simulation of XFEL stills
Beam center from autoindexing
Sauter (2015). JSR 22, 239.
Color is
time

## Slide 124: Elastic deformation = non-isomorphism

## Slide 125: Elastic deformation = non-isomorphism

## Slide 126: Plastic deformation = poor diffraction

## Slide 127: Plastic deformation = poor diffraction

## Slide 128: How do you model solvent?
Rwork = 0.0309
Rfree = 0.0678
vs Fsim
Problem: diverges with more cycles

## Slide 129: Phasing vs data volume
Chart: 
| 50 | 60 | 70 | 80 | 90 | 100
CC | 0.6574 | 0.6814 | 0.7258 | 0.7409 | 0.7625 | 0.7721
Chart: 
| 50 | 60 | 70 | 80 | 90 | 100
peak/sigma | 19.64 | 21.28 | 22.08 | 22.15 | 23.52 | 24.14
Fraction of data (%)
Correlation to final map
Anomalous Peak/RMS

## Slide 130
Holton (2009) J. Synchrotron Rad. 16 133-42
Radiation Damage
World Records
MGy reaction reference
~45 global damage Owen et al. (2006)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
4 R-C-COOH Garman et al. (2015)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
~1? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.06 putidaredoxin Corbett et al. (2007)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 131
Synchrotron Resolution (Å)
XFEL Resolution (Å)
Predicting resolution limits

## Slide 132: The R-factor Gap
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 133: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
~ 50 mm He
≈ 370 mm sat water vapor @ 4C
Optimum: support thickness = crystal thickness

## Slide 134: Can radiation damage be “outrun”?

## Slide 135: Dose-rate effect at Room Temp?
Warkentin M, Badeau R, Hopkins JB, Mulichak AM, Keefe LJ & Thorne RE (2012)."Global radiation damage at 300 and 260 K with dose rates approaching 1 MGy s-1", Acta Cryst. D 68, 124-133.
Owen RL, Axford D, Nettleship JE, Owens RJ, Robinson JI, Morgan AW, Dore AS, Lebon G, Tate CG, Fry EE, Ren J, Stuart DI & Evans G (2012)."Outrunning free radicals in room-temperature macromolecular crystallography", Acta Cryst. D 68, 810-818.

## Slide 136: Pilatus pile-up for RT MX? same photons, different speeds
Sum of 193 shots with
193-fold attenuation
SLOW

## Slide 137: Pilatus pile-up for RT MX? same photons, different speeds
1 shot with
no attenuation
FAST

## Slide 138: Pilatus pile-up for RT MX? same photons, different speeds

## Slide 139: Do we expect this with protein?
Mosaic spread (η) < 0.02°
20°/s rotation
50x50x50 μm lysozyme crystal
Istill = 0.07*(F/mosaic)2
F=130 → 3e6 photons/s/spot
Max Eiger count rate = 3e6 photons/s/spot
35% of Fs > 130 (lysozyme @ 2.0 Å)
45% under-counting expected

## Slide 140: What is a “streak camera”?

## Slide 141: What is a “streak camera”?
0.1 mm/pixel
= 4 ms/pixel
25 mm/s

## Slide 144: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)
0
Same xtal, different spots

## Slide 145: Double-tap: no dark progression at 675 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 146: Xtal5_t1 graph

## Slide 147: How much H2 are we making?
Meents et al. (2010) claimed:
"400 molecules of H2 for every 12.5 keV photon“
= 3.3x10-7 mol/J
200 kGy to 100 um3 = 0.24 J
= 1.2x10-8 mol H2
100 um3 of water = 6.7x10-8 mol
→ 18% of water has reacted!

## Slide 148: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)