## Slide 1: The Future of Structural Biology
10 Å

## Slide 2: What is the structure of “disorder” ?
a grand challenge for structural biology in the 21st century

## Slide 3: Anything is possible … with the right tools.

## Slide 4: Big Question:
When a horse gallops, is there ever a moment where all four hooves leave the ground?
AD 1872

## Slide 5: Muybridge’s multi-camera

## Slide 6: Muybridge’s galloping horse (1878)

## Slide 7: not enough signal

## Slide 8: brighter light

## Slide 9: even brighter

## Slide 10: very bright light

## Slide 11: a “crystal” of horses

## Slide 12: realistic “crystal” of horses

## Slide 13: average structure: galloping horse

## Slide 14: 21st Century Big Question: how do biomolecules work?
Beernink, Endrizzi, Alber & Schachman (1999). PNAS USA 96, 5388-5393.

## Slide 15: Averaging destroys resolution
10 Å

## Slide 16: Promise of Single-molecule Imaging
R. Neutze et al., Nature 406, pp. 752-757 (2000)

## Slide 17: lysozyme: real and reciprocal

## Slide 18: lysozyme: thermal motion

## Slide 19: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 20: Muybridge’s galloping horse (1878)
Real space
reciprocal
Diffract and Destroy

## Slide 21: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 22: Muybridge’s galloping horse (1878)
Real space
reciprocal
Sum(intensity) – Sum(density) = diffuse scatter

## Slide 23: Muybridge’s galloping horse (1878)
Real space
reciprocal
Fincoh – Fcoherent with density phases

## Slide 24: Muybridge’s galloping horse (1878)
Real space
reciprocal
RMS variation in density

## Slide 25: Supporting a model with data

## Slide 26: That’ll be in 20 years What can we do now?

## Slide 27: Molecular Dynamics Simulation
1aho
Scorpion toxin
0.96 Å resolution
64 residues
Solvent: H20 + acetate
Cerutti et al. (2010).J. Phys. Chem. B 114, 12811-12824.
using real
crystal’s lattice

## Slide 28: 30 conformers from 24,000

## Slide 29: Electron density from 24,000 conformers

## Slide 30: Electron density from 24,000 conformers

## Slide 31: Molecular Dynamics vs Observation
Fsim
Fcalc
Rcryst= 0.137
refined_vs_Fsim.pdb
1aho 64-residue scorpion toxin in water to 1.0 Å resolution

## Slide 32: Molecular Dynamics vs Observation
Fobs
1aho.cif
1aho.pdb
Fsim
Fcalc
Fcalc
Rcryst= 0.137
Rcryst= 0.116
Rfree = 0.69
refined_vs_Fsim.pdb
LSQ rmsd = 0.43Å
rmsd = 1.05 Å
1aho 64-residue scorpion toxin in water to 1.0 Å resolution
Rfree = 0.48 to 4 Å
Rfree =

## Slide 33: Molecular Dynamics vs Observation
RMSD
1.05 Å

## Slide 34: Molecular Dynamics vs Observation
RMSD
0.45 Å
aligned

## Slide 35: Molecular Dynamics vs Observation
Sodium acetate trihydrate
5 atoms
3 waters
0.9 Å resolution
C2/c
Rvault = 0.03

## Slide 36: Molecular Dynamics vs Observation
fav8
8 residues
4 waters
1.0 Å resolution
P1

## Slide 37: Molecular Dynamics vs Observation
Fobs
fav8.fcf
fav8.cif
Fsim
Fcalc
Fcalc
Rcryst= 0.13
Rcryst= 0.16
Rfree= 0.23
refined_vs_Fsim.pdb
LSQ rmsd = 0.091Å & 0.15 Å
rmsd = 0.20 Å
“fav8” 8-residue aromatic peptide with 4 waters to 1.0 Å resolution
R1 = 0.041
With 4σ cutoff!
Rfree = 0.20 to 2Å

## Slide 38: MD-predicted water structure
Simulated
density
Janowski et al (2013) JACS 135, 7938-7948

## Slide 39: MD-predicted water structure
Simulated
density
2mFo-DFc
Janowski et al (2013) JACS 135, 7938-7948

## Slide 40: MD-predicted Val rotamer
Janowski et al (2013) JACS 135, 7938-7948

## Slide 41: MD-predicted Val rotamer
confs | Rwork | Rfree
one | 4.11% | 5.84%
A & B | 3.89% | 5.53%
Janowski et al (2013) JACS 135, 7938-7948

## Slide 42: Ringer: systematic map sampling
Lang et al. (2010) Protein Sci. 19, 1420-31.
Fraser, et al. (2009) Nature 462, 669-73.

## Slide 43: Ringer: systematic map sampling
electron density (e-/Å3)
χ1 angle (degrees)

## Slide 44: Ringer: systematic map sampling
electron density (e-/Å3)
χ1 angle (degrees)

## Slide 45: Ringer: systematic map sampling
electron density (e-/Å3)
χ1 angle (degrees)

## Slide 46: Ringer: systematic map sampling
electron density (e-/Å3)
χ1 angle (degrees)

## Slide 47: Disorder is not noise

## Slide 48: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 49: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 50: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 51: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 52: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 53: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 54: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 55: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 56: "error bar" for electron density
fractional coordinate
electron density (e-/Å3)
Refinement
Against
Perturbed
Input
Data
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 57: How does the “error” compare to “sigma”?
Electron Number Density (e-/Å3)
normalized counts
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 58: How does the “error” compare to “sigma”?
Electron Number Density (e-/Å3)
normalized counts
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 59: 1 “sigma” is not a good criterion
Electron Number Density (e-/Å3)
normalized counts
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 60: Molecular Dynamics Simulation
1aho
Scorpion toxin
0.96 Å resolution
64 residues
Solvent: H20 + acetate
Cerutti et al. (2010).J. Phys. Chem. B 114, 12811-12824.
using real
crystal’s lattice

## Slide 61: MLFSOM simulation

## Slide 62: Electron density from 24,000 conformers

## Slide 63: 2Fsim-Fcalc and Fsim-Fcalc maps
1.0 Å data
Rcryst= 0.137
Rfree = 0.159
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc

## Slide 64: 2Fsim-Fcalc and (Fsim Φsim) - (Fcalc Φcalc) maps
1 “sigma” 2Fsim-Fc
Fright – (2Fsim-Fc)
1.0 Å data
Rcryst= 0.137
Rfree = 0.159

## Slide 65: Regular model with real data!
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc
1.0 Å data
Rcryst= 0.116
Rfree = 0.135

## Slide 66: Independent estimates of F000
--
PDB | Method | F000 | diff
3DKE | Matthews et. al. (2008) | 121700 | +6.7%
 | END map estimate | 130500 | 
2NVH | Matthews et. al. (2006) | 92800 | +3.0%
 | END map estimate | 95656 | 
1AHO | Cerutti et. al. (2010) | 23177 | -5.0%
 | END map estimate | 22020 | 
Lang et al. (2014) PNAS USA 111, 237-242.

## Slide 67: Detector calibration: 7247 eV
target:
oil
distance:
900 mm
2θ: 12°

## Slide 68: Detector calibration: 7235 eV
target:
oil
distance:
900 mm
2θ: 12°

## Slide 69: Detector calibration: ALS 8.3.1

## Slide 70: Detector calibration errors: detector 2

## Slide 71: Detector calibration errors: detector 3

## Slide 72: Detector calibration errors
Dan Schuette PhD Thesis (2008) Fig 6.22 page 198, Gruner Lab, Cornell University.
Pixel arrays are not immune!

## Slide 73: Detector calibration
photon energy (keV)
calibration error (%)
good!
good!
bad!

## Slide 74
7247 eV

## Slide 75
7235 eV

## Slide 76: Detector calibration
7223 eV

## Slide 77
RESOLUTION COMPLETENESS R-FACTOR I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OF DATA observed Corr
9.17 99.1% 3.9% 257.47 3.9% 100.0* 91* 5.024 450
6.49 100.0% 5.2% 214.33 5.2% 100.0* 86* 3.836 882
5.30 100.0% 7.2% 165.13 7.2% 100.0* 76* 3.257 1175
4.59 100.0% 7.2% 175.42 7.3% 100.0* 67* 2.589 1403
4.10 99.9% 7.7% 174.13 7.7% 100.0* 59* 2.264 1594
3.74 99.9% 9.4% 143.09 9.4% 100.0* 49* 1.953 1783
3.47 100.0% 11.2% 120.17 11.2% 100.0* 39* 1.696 1942
3.24 100.0% 14.1% 91.14 14.1% 100.0* 30* 1.333 2103
3.06 99.9% 19.5% 65.79 19.5% 100.0* 23* 1.117 2214
2.90 99.9% 29.0% 44.85 29.1% 99.9* 17* 1.008 2369
2.77 99.9% 40.5% 32.58 40.6% 99.8* 11* 0.901 2493
2.65 99.9% 52.8% 25.16 52.9% 99.8* 10* 0.866 2605
2.54 100.0% 67.4% 19.47 67.6% 99.6* 2 0.804 2705
2.45 100.0% 88.9% 14.58 89.2% 99.2* 4 0.831 2859
2.37 100.0% 109.3% 9.97 109.7% 98.1* 5 0.829 2925
2.29 100.0% 138.2% 6.87 138.9% 96.1* 1 0.760 3037
2.22 100.0% 197.1% 4.03 198.6% 83.5* -1 0.721 3159
2.16 100.0% 227.3% 2.41 230.8% 46.9* -1 0.677 3224
2.10 61.2% 154.4% 1.28 163.6% 47.0* -2 0.660 1999
2.05 47.9% 170.1% 0.68 196.5% 25.7* 3 0.629 1578
total 93.3% 15.7% 54.30 15.8% 100.0* 12* 1.217 42499
140-fold multiplicity: 16 crystals, 360° each, inverse beam, 7235 eV

## Slide 78: 140-fold multiplicity
8.2σ = Mg?
DELFAN residual anomalous difference
data Courtesy of Tom Peat & Janet Newman

## Slide 79: Discerning Na+ from Mg++
f’’ (electrons)
DELFAN peak height (σ)
Mg
Ne
Na
F
O
N

## Slide 80: 140-fold multiplicity
7.4σ = Na
DELFAN residual anomalous difference
data Courtesy of Tom Peat & Janet Newman

## Slide 81
Great! We have lots of crystals
but we have a problem with
non-isomorphism

## Slide 82
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 83
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 84
Johnson’s ratio
Structure factor (e-)
Non-isomorphism in lysozyme

## Slide 86
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 87: Non-isomorphism in lysozyme
RH 84.2% vs 71.9%
Riso = 44.5%
RMSD = 0.18 Å

## Slide 88: Non-isomorphism = dehydration?
= 1 nL
100 μm

## Slide 89: Elastic deformation = non-isomorphism

## Slide 90: Elastic deformation = non-isomorphism

## Slide 91: Plastic deformation = poor diffraction

## Slide 92: Plastic deformation = poor diffraction

## Slide 93: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)
8.3.1
12.3.1

## Slide 94
Beamline | 8.3.1 |  | 12.3.1 | 
Lattice | New | Old | New | Old
Horiz FWHM (μm) | 60 | 137 | 59 | 121
Vert FWHM (μm) | 176 | 183 | 105 | 109
Flux (1011 Ph/s) | 3.0 | 2.1 | 3.2 | 2.0
Flicker (%/√Hz) | 0.37 | 0.66 | n/d | 0.37
aperture | 100 μm round |  | 100 μm square | 
Unattenuated No aperture |  |  |  | 
120 μm Cu |  |  |  | 
apertures open to 400 μm
11.1 keV, convergence slits “wide” (3 x 0.3 mRad), pixel = 0.83 μm, FWHM from knife edge

## Slide 95: Knife edge scans
3 mm
curve fit to integral
add residual to differentiated curve
¼” tungsten carbide ball

## Slide 96: 8.3.1 12.3.1

## Slide 97: ALS 8.3.1 optics
ADSC Quantum 315r
Superbend
Pt & Rh
on invar
Plane
Parabolic
M1 mirror
Pt & Rh
on Si
Torroidal
M2 mirror
two flat
Si(111)
monochromator
Protein Crystal
100 μm
aperture
Scatter
guard
convergence
angle slits
MacDowell et. al. (2004) J. Sync. Rad. 11 447-455
Notes: 97
Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 98: ALS 12.3.1 optics
ADSC Quantum 315r
Superbend
Pt & Rh
on invar
Plane
Parabolic
M1 mirror
Pt & Rh
on Si
Torroidal
M2 mirror
two flat
Si(111)
monochromator
Protein Crystal
100 μm
aperture
Scatter
guard
convergence
angle slits
MacDowell et. al. (2004) J. Sync. Rad. 11 447-455
Notes: 98
Most notable acheivements are high brightness with very little “wasted” light. The discovery made by Howard Padmore? At ALS showed that a 2:1 demagnification cancels nearly all of the spherical abberations in the parabolic/torroid system. 30-50% of the total x-ray intensity passes through the 100um pinhole. The flux through the 100um pinhole at the superbend beamlines is comparable to that of the 5.0.2 wiggler or an APS bending magnet, but only 150 Watts of power must be dissipated by the beamline optics. In contrast, wiggler beamlines must disipate kilowatts. The optics here are much simpler and not exotic in any way. The system is stable and robust. There is never a need to re-focus the beam at a new wavelength. Only a 2-minute automatic tuneup is recommended for very large energy changes (more than 1-2 keV).

## Slide 99: Carbon on mono xtal

## Slide 100: Carbon on mono xtal

## Slide 101: Si(111) vs multilayers
0.014%
Si(111)
1%
multilayer
4 Å
1.9 Å
resolution
spectral
dispersion

## Slide 102: Wide-bandpass MX?
Mono | Si(111) | multilayer | Difference (%) | good
Energy (eV) | 11111 | 12027.5 | +8.2 | Same
Scale | 1.0000 | 1.0964 | +9.6 | Yes
Rmerge (%) | 7.5 | 8.4 | +12 | No
Ranom (%) | 5.6 | 5.5 | -1.8 | Same
I/sd | 13.2 | 12.3 | -6.8 | Same
I/sd (1.5Å) | 2.3 | 1.8 | -21.7 | No
Ano Patt | 5.96 | 4.75 | -20.3 | Same
Ano Phased | 41 | 39.33 | -4.1 | Same
FOM | 0.238 | 0.192 | -19.3 | Same
CC | 0.555 | 0.647 | -6.1 | Yes
Rcryst (%) | 26.70 | 26.48 | -0.2 | Same
Ligand peak | 8.213 | 8.250 | +0.4 | Same

## Slide 103: Adjustable bandpass
Si(111)
Si(111)
Existing mono
Ge(11 1 1)
Ge(11 1 1)
3 mm
16.26°
d = 0.51 Å
2θ = 147.478°
For 12660 eV
6 mm
0.0007 % (8 hours)

## Slide 104: Adjustable bandpass
Si(111)
Si(111)
Existing mono
3 mm
Ge(11 1 1)
Ge(11 1 1)
0.014 % (30 min)

## Slide 105: Adjustable bandpass
ML
ML
Existing mono
3 mm
Ge(11 1 1)
Ge(11 1 1)
1 % (~1 second)

## Slide 106: Adjustable bandpass
Existing mono
Ge(11 1 1)
Ge(11 1 1)
3 mm
16.26°
d = 0.51 Å
2θ = 147.478°
For 12660 eV
6 mm
ML
ML
0.0007 % (8 hours)

## Slide 107: Measuring bandpass
Si(111)
Si(111)
~32.5°
d = 0.51 Å
2θ = 147.478°
For 12660 eV
PIN diode
vertical
divergence
< 5 arcsec
(24 μRad)
15 μm
pinhole
Ge(11 1 1)
Chart: Photon energy (eV)

## Slide 108: Measuring bandpass
~32.5°
d = 0.51 Å
2θ = 147.478°
For 12660 eV
PIN diode
vertical
divergence
< 5 arcsec
(24 μRad)
15 μm
pinhole
Ge(11 1 1)
Chart: Photon energy (eV)
Si(333)
Si(333)
Al
absorber

## Slide 109: Measuring bandpass
Vortex
Chart: Photon energy (eV)
Se
vertical
divergence
< 5 arcsec
(24 μRad)
15 μm
pinhole
Si(333)
Si(333)
Al
absorber

## Slide 110: The Future of Structural Biology
Multi-crystal data sets
There is “life” below 1 σ
Averaging destroys resolution
structures of the future must be 4D

## Slide 111: 100 fs damage “threshold”
Lomb et al. (2011) Phys Rev B 84, 214111

## Slide 112: Single-molecule imaging result
200 nm
Resolution ~2 mm
2.5 eV 0.1 s Michelin P255/70R18 LTX A/S 112T BSW
to what
resolution
is this
interesting?
Notes: what limits single-particle resolution ?
get 100 times more photons/shot if correctly focussed beam
get 100 times more with submicron beam focus on CXI chamber
Problem – scattering goes from N^2 to N (Wilson statistics).
So use a-priori information – modelling Axel Brummer
Make beam smaller than jet to elliminate streak
112

## Slide 113: Snapshot from single virus particle
TEM
2 keV LCLS 200 fs Mimi virus single-shot.
200 nm
Reconstructed image
Resolution 20nm
Seibert, et al. (2011). Nature 470, 78-81.
Notes: what limits single-particle resolution ?
get 100 times more photons/shot if correctly focussed beam
get 100 times more with submicron beam focus on CXI chamber
Problem – scattering goes from N^2 to N (Wilson statistics).
So use a-priori information – modelling Axel Brummer
Make beam smaller than jet to elliminate streak
113

## Slide 114: Beam Flicker
time (seconds)
normalized flux

## Slide 115: Beam Flicker
time (seconds)
normalized flux
pinhole
removed

## Slide 116: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 117: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 118: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 119: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 120: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 121: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 122: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 123: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 124: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 125: Beam Flicker
1/f noise or “flicker noise”
comes from everything

## Slide 126: Minimum exposure time
Exposure time (ms)
Overall I/σ(I)
Same dose
for each
data set

## Slide 127: Optimal exposure time (faint spots)
thr Optimal exposure time for data set (s)
tref exposure time of reference image (s)
bgref background level near weak spots on
reference image (ADU)
bg0 ADC offset of detector (ADU)
bghr optimal background level (via thr)
σ0 rms read-out noise (ADU)
gain ADU/photon
m multiplicity of data set (including partials)
adjust exposure
so this is ~100