## Slide 1: “Success rate” of structures
~2500 datasets/year
~100 PDBs/year

## Slide 2: Why do structures fail?
Overlaps
Radiation Damage
Signal to noise

## Slide 3: Why do structures fail?
Overlaps
Radiation Damage
Signal to noise

## Slide 4: Types of radiation damage
Global
Specific

## Slide 5: Global Damage: scale
accumulated dose (MGy)
normalized total intensity

## Slide 6: Global Damage: scale
accumulated dose (MGy)
normalized total intensity

## Slide 7: Types of radiation damage
Global
  scale factor
  B factor
Specific

## Slide 8: Global Damage: B factor
accumulated dose (MGy)
relative B factor
data taken from Kmetko et. al. 2006
~ 1.0 B/MGy

## Slide 9: Global Damage: scale
accumulated dose (MGy)
normalized total intensity

## Slide 10: Radiation Damage Model
accumulated dose (MGy)
normalized total intensity
1.0 B/MGy

## Slide 11: resolution dependence of global damage
http://bl831.als.lbl.gov/~jamesh/ribo_blast/
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12

## Slide 12: resolution dependence of global damage
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12

## Slide 13: resolution dependence of global damage
resolution (Å)
maximum tolerable dose (MGy)
1 2 3 5 7 10 20 40 70 100
1
10
100
103
Howells et al. (2009) J. Electron. Spectrosc. Relat. Phenom. 170 4-12
10 MGy/Å

## Slide 14: Radiation Damage Model
I - average observed spot intensity
I0 - intensity of “undamaged” spot
dose - absorbed dose (MGy)
H - 10 MGy/Å
d - resolution of spot (Å)
I = I0 exp(-ln(2) )
global (lattice) damage
dose
d∙H

## Slide 15: Radiation Damage Model
I - average observed spot intensity
I0 - intensity of “undamaged” spot
dose - absorbed dose (MGy)
H - 10 MGy/Å
d - resolution of spot (Å)
I = I0 exp(-ln(2) )
global (lattice) damage
dose
d∙H
10 MGy/Å

## Slide 16: Radiation Damage Model
accumulated dose (MGy)
normalized total intensity

## Slide 17: Radiation Damage Model
accumulated dose (MGy)
normalized total intensity

## Slide 18: Radiation Damage Model
accumulated dose (MGy)
relative B factor
data taken from Kmetko et. al. 2006

## Slide 19: Radiation Damage Model
accumulated dose (MGy)
relative B factor
data taken from Kmetko et. al. 2006

## Slide 20: Radiation Damage Model
accumulated dose (MGy)
relative B factor
data taken from Kmetko et. al. 2006

## Slide 21: 10 MGy/Å
what the is a MGy?
http://bl831.als.lbl.gov/
damage_rates.pdf
Holton J. M. (2009) J. Synchrotron Rad. 16 133-42

## Slide 22
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Theoretical limit:
Holton J. M. and Frankel K. A. (2010) Acta D in press

## Slide 23
Holton & Frankel (2010) Acta D 66 393-408.

## Slide 24: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific

## Slide 25: Riso vs dose
Riso (%)
change in dose (MGy)
data taken from Banumathi, et al. (2004) Acta Cryst. D 60, 1085-1093.

## Slide 26: Riso vs dose
Riso (%)
change in dose (MGy)
data taken from Banumathi, et al. (2004) Acta Cryst. D 60, 1085-1093.
Riso ≈ 0.7 %/MGy

## Slide 27: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific
  depends on chemistry

## Slide 28: Specific damage
final, refined phases

## Slide 29: Types of radiation damage
Global
  scale factor
  B factor
  non-isomorphism
Specific
  depends on chemistry
  destroys phasing signal

## Slide 30: Specific damage
experimentally-obtained phases

## Slide 31
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.

## Slide 32
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.
must be same phi value!
1
0
-CH2-Se-CH3
-CH2 Se-CH3

## Slide 33: Damage faster than photon hits!
fluence (1015 photons/mm2)
Fraction unconverted
25mM SeMet in 25% glycerol
0.0 0.2 0.4 0.6 0.8 1.0
0 50 100 150 200 250 300 350 400
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.
-CH2-Se-CH3
-CH2 Se-CH3

## Slide 34: Damage faster than photon hits!
fluence (1015 photons/mm2)
Fraction unconverted
25mM SeMet in 25% glycerol
0.0 0.2 0.4 0.6 0.8 1.0
0 50 100 150 200 250 300 350 400
fraction of Se atoms hit
Holton, J. M. (2007) J. Synch. Rad. 14, 51-72.
50% Se atoms hit
100% Se-C bonds broken
-CH2-Se-CH3
-CH2 Se-CH3

## Slide 36
Holton (2009) J. Synchrotron Rad. 16 133-42
Specific damage rates
world records:
MGy reaction reference
~45 global damage Owen et al. (2006)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.02 Fe in myoglobin Denisov et al. (2007)

## Slide 37
Fraction SeMet remaining
Dose (MGy)
Dose (MGy)
Fraction SeMet remaining
Dose (MGy)
Fraction SeMet remaining
+drift
+ drift
burn
&
probe
pinhole

## Slide 38: No Damage in the Dark!
Experiment time (hours)
Peak absorbance (electrons)
4.6 5.0 5.4 5.8 6.2 6.6
0 5 10 15 20 25

## Slide 39: Same experiment vs dose
Absorbed Dose (MGy)
Fraction unconverted
0.0 0.2 0.4 0.6 0.8 1.0
0 20 40 60 80 100
radiation damage is
FAST!

## Slide 40: How can solid-state reactions be so fast?
e-
e-
example: electric current

## Slide 41: Where do photons go?
beamstop
Transmitted (98%)
Protein
1A x-rays

## Slide 42: Photonuclear absorption

## Slide 43: Photonuclear absorption

## Slide 44: Elastic scattering

## Slide 45: Elastic scattering

## Slide 46: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
Protein
1A x-rays

## Slide 47: Elastic scattering

## Slide 48: Inelastic scattering

## Slide 49: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
Protein
1A x-rays

## Slide 50: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays

## Slide 51: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 52: Photoelectric absorption

## Slide 53: Photoelectric absorption
e-
+

## Slide 54: Fluorescence
+

## Slide 55: Fluorescence
e-
+

## Slide 56: Auger emission
+

## Slide 57: Auger emission
++
e-

## Slide 58: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 59: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (99%)
Absorbed (~0%)

## Slide 60: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 61: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
useful/absorbed energy: 7.3%
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 62: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (97%)
useful/absorbed energy: 7.6%
inelastic scattering (5%)
Photoelectric (88%)
SelenoProtein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 63: Where do photons go?
beamstop
elastic scattering (2%)
Transmitted (91%)
useful/absorbed energy: 5.1%
inelastic scattering (2%)
Photoelectric (96%)
SelenoProtein
0.92A x-rays
Re-emitted (57%)
Absorbed (44%)
Re-emitted (99%)
Absorbed (~0%)
just above the edge

## Slide 64: Where do photons go?
beamstop
elastic scattering (2%)
Transmitted (90%)
useful/absorbed energy: 5.1%
inelastic scattering (2%)
Photoelectric (96%)
SelenoProtein
0.97A x-rays
Re-emitted (60%)
Absorbed (40%)
Re-emitted (99%)
Absorbed (~0%)
far above the edge

## Slide 65: Photoelectric absorption

## Slide 66: Photoelectric absorption
e-
+

## Slide 67: Secondary ionization
e-

## Slide 68: Secondary ionization
e-
e-
+

## Slide 69: Excitation
e-

## Slide 70: Excitation
e-

## Slide 71: Excitation
e-

## Slide 72: Excitation

## Slide 73: Electron attachment
e-

## Slide 74: Electron attachment
-

## Slide 75: Sample atoms

## Slide 76: Sample atoms

## Slide 77: Primary ionization
e-
+

## Slide 78: Secondary ionizations
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+

## Slide 79: Ionization track
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 80: Ionization track
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 81: Ionization track

## Slide 82: Ionization track

## Slide 83: Ionization track
3 μm

## Slide 84: Ionization track
Linear Energy Transfer

## Slide 85: Ionization track
initial effects

## Slide 86: Ionization track
Homogeneous reactions
initial effects

## Slide 87: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
e-
+

## Slide 88: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
+
neutralization
e-
+

## Slide 89: initial effects
e-
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
+
+
neutralization
e-
+

## Slide 90: initial effects
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
neutralization
neutralization
+

## Slide 91: initial effects
e-
e-
e-
e-
e-
e-
e-
+
+
+
+
+
+
attachment
+

## Slide 92: initial effects
e-
e-
e-
e-
-
e-
e-
+
+
+
+
+
+
attachment
+

## Slide 93: initial effects
e-
e-
e-
e-
-
e-
e-
+
+
+
+
+
+
attachment
attachment
+

## Slide 94: initial effects
e-
e-
-
e-
e-
+
+
+
+
+
+
-
-
+

## Slide 95: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 96: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+
solvation

## Slide 97: initial effects
-
e-
+
+
+
+
+
-
-
-
-
solvation
+

## Slide 98: Solvated electron
e-

## Slide 99: Solvated electron
e-

## Slide 102: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 103: initial effects
-
e-
+
+
+
+
+
-
-
-
-
+

## Slide 104: initial effects
-
e-
+
+
+
+
-
-
-
+

## Slide 105: initial effects
-
e-
+
+
-
+

## Slide 106: initial effects
-
e-
+
+

## Slide 107: Excitation transfer

## Slide 108: Excitation transfer
UV photon

## Slide 109: Excitation transfer

## Slide 110: Excitation transfer
Förster transfer
r-6

## Slide 111: Excitation transfer

## Slide 112: t = 0 s

## Slide 113: t ≈ 10-15 s
-
e-
+
+

## Slide 114: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389

## Slide 115: Ionization track
Heterogeneous reactions
Homogeneous reactions

## Slide 116: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389

## Slide 117: Timescales of radiation damage
Garret et. al. (2005) Chem. Rev. 105, 355-389
LCLS
ALS
bunch

## Slide 118: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (98%)
useful/absorbed energy: 7.3%
inelastic scattering (7%)
Photoelectric (87%)
Protein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 119: Where do photons go?
beamstop
elastic scattering (6%)
Transmitted (97%)
useful/absorbed energy: 7.6%
inelastic scattering (5%)
Photoelectric (88%)
SelenoProtein
1A x-rays
Re-emitted (~0%)
Absorbed (99%)
Re-emitted (99%)
Absorbed (~0%)

## Slide 120: Where do photons go?
beamstop
elastic scattering (2%)
Transmitted (91%)
useful/absorbed energy: 5.1%
inelastic scattering (2%)
Photoelectric (96%)
SelenoProtein
0.92A x-rays
Re-emitted (57%)
Absorbed (44%)
Re-emitted (99%)
Absorbed (~0%)
just above the edge

## Slide 121: Where do photons go?
beamstop
elastic scattering (2%)
Transmitted (90%)
useful/absorbed energy: 5.1%
inelastic scattering (2%)
Photoelectric (96%)
SelenoProtein
0.97A x-rays
Re-emitted (60%)
Absorbed (40%)
Re-emitted (99%)
Absorbed (~0%)
far above the edge

## Slide 122: Rough values of energy quanta
1 MeV 100 GJ/mol Medical radiation therapy
100 keV 10 GJ/mol Medical imaging
10 keV 1 GJ/mol X-ray crystallography
1 keV 100 MJ/mol S and P K-edges
100 eV 10 MJ/mol “water window”
10 eV 1 MJ/mol C≡C bond
1 eV 100 kJ/mol C-C bond, visible light
100 meV 10 kJ/mol hydrogen bond
10 meV 1 kJ/mol heat (~300 K)

## Slide 123: Energy Transfer Analogy
37 C

## Slide 124
Damage is done
by dose
energy/mass
not time
not heat

## Slide 125: what the is a MGy?
http://bl831.als.lbl.gov/
damage_rates.pdf
Holton J. M. (2009) J. Synchrotron Rad. 16 133-42

## Slide 126: Things that affect dose
flux
beam size
  photons/area matters
heavy atoms
  ~2x for 100 mM
if all others are equal!

## Slide 127: Dose-doubling concentration
Na | 44
Mg | 27
P | 9
S | 7
Cl | 5
K | 3.3
Ca | 2.7
Fe | 1.0
Cu | 0.67
Zn | 0.58
molar, at the Se edge based on RADDOSE
As | 0.44
Se | 0.42
Br | 2.9
I | 0.47
Gd | 0.21
Ta | 0.13
Pt | 0.17
Au | 0.16
Hg | 0.16
U | 0.23

## Slide 128: Dose-doubling concentration
Na | 44
Mg | 27
P | 9
S | 7
Cl | 5
K | 3.3
Ca | 2.7
Fe | 1.0
Cu | 0.67
Zn | 0.58
molar, at the Se edge based on RADDOSE
As | 0.44
Se | 0.42
Br | 2.9
I | 0.47
Gd | 0.21
Ta | 0.13
Pt | 0.17
Au | 0.16
Hg | 0.16
U | 0.23

## Slide 129
How does “dose” connect to damage?
A simple case…

## Slide 130
D1/2 >> 1012 Gy
D1/2 ~ 10 Gy

## Slide 131: Sodium Chloride is Immortal!
D1/2 > 1 GGy

## Slide 132: Sodium acetate trihydrate
D1/2 = 15 MGy
resolution: 0.92 Å
avg B: ~ 0
R/Rfree: ~4%
C2/c

## Slide 133: Interesting spots: (1,1,4) 2.1 Å
integrated spot intensity
dose (MGy)
phase reversal!

## Slide 134: lowest-angle spot: (1,1,4) 2.1 Å
integrated spot intensity
dose (MGy)

## Slide 135: Brightest spot: (0,0,4) 2.4 Å
integrated spot intensity
dose (MGy)

## Slide 136: Brightest spot: (0,0,4) 2.4 Å
integrated spot intensity
dose (MGy)

## Slide 137: BEWARE: XDS will re-scale data!
******************************************************************************
CORRECTION PARAMETERS FOR THE STANDARD ERROR OF REFLECTION INTENSITIES
******************************************************************************
The variance v0(I) of the intensity I obtained from counting statistics is
replaced by v(I)=a*(v0(I)+b*I^2). The model parameters a, b are chosen to
minimize the discrepancies between v(I) and the variance estimated from
sample statistics of symmetry related reflections. This model implicates
an asymptotic limit ISa=1/SQRT(a*b) for the highest I/Sigma(I) that the
experimental setup can produce (Diederichs (2010) Acta Cryst D66, 733-740).
Often the value of ISa is reduced from the initial value ISa0 due to systematic
errors showing up by comparison with other data sets in the scaling procedure.
(ISa=ISa0=-1 if v0 is unknown for a data set.)
a b ISa ISa0 INPUT DATA SET
7.021E+00 2.058E-04 26.31 28.49 wedge1/XDS_ASCII.HKL
1.338E+01 5.984E-05 35.34 32.63 wedge2/XDS_ASCII.HKL
1.996E+01 6.606E-05 27.54 23.96 wedge3/XDS_ASCII.HKL
FACTOR TO PLACE ALL DATA SETS TO AN APPROXIMATE ABSOLUTE SCALE 0.3470E+00
(ASSUMING A PROTEIN WITH 50% SOLVENT)

## Slide 138: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 139: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 140: “Cleanup beam” method for flat dose profile
normalized photons/area
position relative to beam center (μm)

## Slide 141
~0 MGy

## Slide 142
5 MGy

## Slide 143
11 MGy

## Slide 144
16 MGy

## Slide 145
22 MGy

## Slide 146
26 MGy

## Slide 147: crystal expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 148: crystal expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 149: crystal expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 150: crystal expansion
Protein crystal in sucrose, NaWO4 and oil

## Slide 151: Distention of cryo with dose

## Slide 152: Distention of cryo with dose
before

## Slide 153: Distention of cryo with dose
after

## Slide 154: Distention of cryo with dose

## Slide 155: crystal expansion
48 MGy
20 MGy
2 MGy

## Slide 156: NaAc·3H2O crystal thaw

## Slide 157: Sum of all spot intensities
sum of all integrated spot intensities
dose (MGy)

## Slide 158: Sum of all spot intensities
sum of all integrated spot intensities
dose (MGy)

## Slide 159: lowest-angle spot: (1,1,0) 7.7 Å
integrated spot intensity
dose (MGy)

## Slide 160: Interesting spots: (2,6,1) 1.6 Å
integrated spot intensity
dose (MGy)

## Slide 161: Interesting spots: (3,3,-3) 2.3 Å
integrated spot intensity
dose (MGy)

## Slide 162: Interesting spots: (6,2,-5) 1.6 Å
integrated spot intensity
dose (MGy)

## Slide 163: Interesting spots: (3,3,-5) 1.76 Å
integrated spot intensity
dose (MGy)

## Slide 164: Interesting spots: (2,0,0) 5.7 Å
integrated spot intensity
dose (MGy)

## Slide 165: refinement R factors
refinement R factor (%)
dose (MGy)

## Slide 189: difference map peaks
worst peak height (sigma)
dose (MGy)

## Slide 190
Reaction #1
water “rotation”

## Slide 191
~0 MGy

## Slide 192
2.3 MGy

## Slide 193
4.5 MGy

## Slide 194
6.8 MGy

## Slide 195
9.0 MGy

## Slide 196
11 MGy

## Slide 197
14 MGy

## Slide 198
16 MGy

## Slide 199
18 MGy

## Slide 200
21 MGy

## Slide 201
23 MGy

## Slide 202
25 MGy

## Slide 203
27 MGy

## Slide 204
29 MGy

## Slide 205
32 MGy

## Slide 206
34 MGy

## Slide 207
36 MGy

## Slide 208
38 MGy

## Slide 209
41 MGy

## Slide 210
43 MGy

## Slide 211
45 MGy

## Slide 212
48 MGy

## Slide 213: Occupancy refinement
dose (MGy)
refined occupancy
error bars by F

## Slide 214: Occupancy refinement
dose (MGy)
refined occupancy
error bars by F

## Slide 215: hydroxide ion electron density
Mair, S. (1978)."The electron distribution of the hydroxide ion in lithium hydroxide", Acta Cryst. A 34, 542-547.

## Slide 216
Reaction #2
acetate “bump”

## Slide 242: Occupancy refinement
dose (MGy)
refined occupancy
error bars by F

## Slide 243: Occupancy refinement
dose (MGy)
electrons
error bars by F

## Slide 244
Reaction #3 ?
hydrogen loss ?

## Slide 245: Occupancy refinement
dose (MGy)
error bars by F
electrons

## Slide 246: Occupancy refinement
dose (MGy)
error bars by F
electrons

## Slide 269: Occupancy refinement
dose (MGy)
error bars by F
electrons

## Slide 270: Overall Scale Factor
dose (MGy)
scale from phenix.refine

## Slide 271: Occupancy refinement
dose (MGy)
error bars by F
electrons

## Slide 272: "error bar" for electron density
structure factor (e-/cell)
spot index

## Slide 273: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 274: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 275: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 276: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 277: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 278: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 279: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 280: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 281: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 282: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 283: "error bar" for electron density
structure factor (e-/cell)
spot index
fractional coordinate
electron density (e-/Å3)

## Slide 284: "error bar" for electron density
fractional coordinate
electron density (e-/Å3)
Refinement
Against
Perturbed
Input
Data

## Slide 285: Occupancy refinement
dose (MGy)
error bars by F
electrons

## Slide 286: Occupancy refinement
dose (MGy)
error bars by  ~ |Fobs-Fcalc|
electrons

## Slide 287: Can radiation damage be “outrun”?

## Slide 288: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 289: Dose-rate effect at Room Temp?
Warkentin M, Badeau R, Hopkins JB, Mulichak AM, Keefe LJ & Thorne RE (2012)."Global radiation damage at 300 and 260 K with dose rates approaching 1 MGy s-1", Acta Cryst. D 68, 124-133.
Owen RL, Axford D, Nettleship JE, Owens RJ, Robinson JI, Morgan AW, Dore AS, Lebon G, Tate CG, Fry EE, Ren J, Stuart DI & Evans G (2012)."Outrunning free radicals in room-temperature macromolecular crystallography", Acta Cryst. D 68, 810-818.

## Slide 290: Pilatus pile-up for RT MX? same photons, different speeds
Sum of 193 shots with
193-fold attenuation

## Slide 291: Pilatus pile-up for RT MX? same photons, different speeds
1 shot with
no attenuation

## Slide 292: Pilatus pile-up for RT MX? same photons, different speeds

## Slide 293: Pilatus pile-up for RT MX? same photons, different speeds
20 deg/s
0.016 deg
mosaic

## Slide 294: Pilatus pile-up for RT MX? same photons, different speeds

## Slide 295: Attenu-wait: same photons, different time
Integrated photons in spot
Exposure time (seconds) for 1° osc
100 20 10 6.7 5
Incident beam transmittance (%)

## Slide 296: Attenu-wait: same photons, different time
Integrated photons in spot
Exposure time (seconds) for 1° osc
100 20 10 6.7 5
Incident beam transmittance (%)

## Slide 297: What could be better than photon-counting?
Count rate (photons/s)
phi position (degrees)

## Slide 298: What could be better than photon-counting?
Count rate (photons/s)
phi position (degrees)
Dead times:
1000 ns Oxford
200 ns Pilatus

## Slide 299: What is a “streak camera”?

## Slide 300: What is a “streak camera”?
0.1 mm/pixel
= 4 ms/pixel
25 mm/s

## Slide 303: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)
0
Same xtal, different spots

## Slide 304: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)
0
Same xtal, different spots

## Slide 305: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)
0
Same xtal, different spots

## Slide 306: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)
0
Same xtal, different spots

## Slide 307: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)
0
Same xtal, different spots

## Slide 308: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)
0
Same xtal, different spots

## Slide 309: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)
0
Same xtal, different spots

## Slide 310: xtal24big
Real time at 674 kGy/s

## Slide 311: xtal12
Double tap: 0.4 s on + 1 s off + on again

## Slide 312: Double-tap: no dark progression at 675 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 313: Double-tap: no dark progression at 675 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 314: xtal14
Double tap: 0.4 s on + 1 s off + on again

## Slide 315: Xtal15 slow
Double tap lite: 5 s on + 12.6 s off + on again

## Slide 316: Xtal15 fast
Double tap lite: 5 s on + 12.6 s off + on again

## Slide 317: Individual spots at 44.3 kGy/s
Intensity (photons)
Time (seconds)

## Slide 318: Individual spots at 44.3 kGy/s
Intensity (photons)
Time (seconds)

## Slide 319: Individual spots at 44.3 kGy/s
Intensity (photons)
Time (seconds)

## Slide 320: Wiggle to get fulls
Ewald sphere

## Slide 321: Slow wiggle

## Slide 322: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 323: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 324: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 325: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 326: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 327: Dose rate: same hkl, same xtal
Intensity (photons)
Dose (kGy)

## Slide 328: Xtal12 before & after
morphological dose-rate effect?
110 kGy/s
720 kGy/s

## Slide 329: Xtal4_t1
Solvent “reaction” at 764 kGy/s

## Slide 330: xtal4_t2
Solvent “reaction” at 764 kGy/s

## Slide 331: xtal13
Double tap: 0.4 s on + 1 s off + on again

## Slide 332: xtal13
Double tap: 0.4 s on + 1 s off + on again

## Slide 333: How much H2 are we making?
Meents et al. (2010) claimed:
"400 molecules of H2 for every 12.5 keV photon“
= 3.3x10-7 mol/J
200 kGy to 100 um3 = 0.24 J
= 1.2x10-8 mol H2
100 um3 of water = 6.7x10-8 mol
→ 18% of water has reacted!

## Slide 334: xtal5_t1
Crystal “shrinks?” at 764 kGy/s

## Slide 335: xtal5_t2
Crystal “shrinks?” at 764 kGy/s

## Slide 336: Xtal5_t1 graph
Spot intensity
seconds

## Slide 337: Xtal4_t1
No bubbles? 764 kGy/s

## Slide 338: Xtal5_t1 graph

## Slide 339: Summary
Same D1/2 at ~700 and ~70 kGy/s
No dark progression
Delay in beam = delay in bubbles
Shrinkage suggests “radio-dessication”

## Slide 340: Room Temperature Damage (powder)
dose (kGy)
sin(θ)/λ
fraction of starting intensity

## Slide 341: Cryo Temperature Damage (powder)
dose (MGy)
sin(θ)/λ
fraction of starting intensity

## Slide 342: Room temperature damage rate
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 343: Room temperature damage rate
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 344: Room temperature damage rate
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 345: Room temperature damage rate
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 346: Room temperature damage rates
dose rate (kGy/s)
dose at half intensity (MGy)

## Slide 347: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 348: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 349: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 350: xtal16

## Slide 351: xtal17

## Slide 352: xtal18

## Slide 353: Xtal24big_t2

## Slide 354: Summary
Same D1/2 at ~700 and ~70 kGy/s
No dark progression
Delay in beam = delay in bubbles
Shrinkage suggests “radio-dessication”