## Slide 1: Acknowledgements
ALS 8.3.1 creator: Tom Alber
Integrated Diffraction Analysis Technologies (IDAT)
Center for Structure of Membrane Proteins (CSMP)
Membrane Protein Expression Center II (MPEC)
Center for HIV Accessory and Regulatory Complexes (HARC)
W. M. Keck Foundation
Plexxikon, Inc.
M D Anderson CRC
University of California Berkeley
University of California San Francisco
University of California Campus-Laboratory Collaboration Grant
Henry Wheeler
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Chris Neilson Aina Cohen Ana Gonzalez Mike Soltis

## Slide 2: The Tool: LSLS II vs LCLS
High rep rate
  GDVN jet no longer “wasting” sample
  Containerless = low bg = resolution
  Splash-over limit?
Lower J/pulse
  Avoid high field damage?
More stable
  Lower jitter & flicker
  Sharper spots
Long λ performance
  Native element phasing
  Match to sample size

## Slide 3: Grand Challenges in Structural Biology
Phase Problem
spots, but no maps
Amplitude Problem
    Crystals, but no spots
R-factor Gap
    Can’t/shouldn’t publish

## Slide 4: Averaging doesn’t always reduce error

## Slide 5
May learn more about detectors than planned
~3x105 photon/pixel Pilatus detector Black to white is a 2% range

## Slide 6
Gadolinium edge contrast map of fiber-coupled CCD detector. Black to white is a 20% range.
May learn more about detectors than planned

## Slide 7: The Tool: LSLS II vs LCLS
High rep rate
  GDVN jet no longer “wasting” sample
  Containerless = low bg = resolution
  Splash-over limit?
Lower J/pulse
  Avoid high field damage?
More stable
  Lower jitter & flicker
  Sharper spots
Long λ performance
  Native element phasing
  Match to sample size

## Slide 8: New damage at high fluence?
Abbey et al. (2012)."Femtosecond X-ray Laser induced transient electronic phase change observed in fullerene C60", arXiv:1209.5168.

## Slide 9: Dose-rate dependence of damage
dose rate (kGy/s)
maximum useful dose (MGy)

## Slide 10: Alternative tools?
Assume:
50% absorption: 1 mJ/xtal
Zero-dose extrapolation
Linear to half-reaction point (5% error)
XFEL worthy?
Size (μm) | D1/2 (MGy) | example
30 | 30 | Cryo MX
118 | 0.5 | PS II
160 | 0.2 | RT MX
350 | 0.02 | Myoglobin

## Slide 11: Grand Challenges in Structural Biology
Phase Problem
spots, but no maps
Amplitude Problem
    Crystals, but no spots
R-factor Gap
    Can’t/shouldn’t publish

## Slide 12: Fractional error
mult > (—)2
~3%
<ΔF/F>

## Slide 13: Fractional error at XFEL
mult > (—)2
~100%
<ΔF/F>
Gd lyso: ΔF/F = 8.7% → mult = 132

## Slide 14: The “partiality problem”
0.006°
1 μm xtal
1 Å x-rays

## Slide 15
The true nature of “mosaic spread”
Lovelace JJ, Murphy CR, Pahl R, Brister K & Borgstahl GEO (2006)."Tracking reflections through cryogenic cooling with topography", J. Appl. Cryst. 39, 425-432.
Any function can be approximated by a family of Gaussians

## Slide 16
Two-color experiment (ca 1914)
20 eV

## Slide 17: Non-isomorphism in lysozyme
RH 84.2% vs 71.9%
Riso = 44.5%
RMSD = 0.18 Å
PDB:
3aw6
3aw7
Δa = 0.8%

## Slide 18
h,k,l
-h,-k,-l
Detector
Detector
Detector
Detector
λ = 5 Å
sample
injector
Si(111)
52.87deg
Si(111)
Si(111)
Si(111)
Si(111)
Si(111)
2 Multilayer mirrors
d=2nm, W/B4C
KB Horiz focus
KB vertical focus
~ 1m
Notes: Proposed 5-crystal monochromator for colliding-beam crystallography. The generation of two opposing Ewald spheres means that for every h,k,l index reflected from the protein crystal, the Friedel mate is reflected in the opposite direction, allowing for very accurate anomalous difference measurements. The wavelength need not be set precisely at the sulfur or phosphorous edge, but merely at a wavelength where the f” of those elements are strong. For fs-class pulses, the distances above will have to be precise to withing ~3 microns, and for accurate reproduction of the partiality of the Friedel mates, the angular precision of the colliding beams must be within ~1% of the sample crystal’s rocking width, or ~100 microrads.

## Slide 19: The Tool: LSLS II vs LCLS
High rep rate
  GDVN jet no longer “wasting” sample
  Containerless = low bg = resolution
  Splash-over limit?
Lower J/pulse
  Avoid high field damage?
More stable
  Lower jitter & flicker
  Sharper spots
Long λ performance
  Native element phasing
  Match to sample size

## Slide 20: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation correction
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 21
wavelength dependence
crystal diameter (μm)
Å
Å
Damage limited crystal size (synchrotron)

## Slide 22: attenuation correction
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp(-μt)
IT
Ibeam
t
μ

## Slide 23: attenuation correction
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp(-μ(tin+ tout))
IT
Ibeam
t
tin
tout
A = = exp(-μt)
IT
Ibeam
μ

## Slide 24: attenuation correction
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp(-μ(tin+ tout))
IT
Ibeam
tin
tout
tin
tout
tin
tout
μ

## Slide 25: attenuation correction
Bouguer, P. (1729). Essai d'optique sur la gradation de la lumière.
Lambert, J. H. (1760). Photometria: sive De mensura et gradibus luminis, colorum et umbrae. E. Klett.
Beer, A. (1852)."Bestimmung der Absorption des rothen Lichts in farbigen Flüssigkeiten", Ann. Phys. Chem 86, 78-90.
A = = exp[-μxtal(txi+ txo)
-μsolvent(tsi + tso)]
IT
Ibeam
μxtal
txi
txo
tsi
tso
txi
txo
tsi
tso
txi
txo
tsi
tso
μsolvent

## Slide 26: Where do photons go?
beamstop
97%
transmitted
1 Å x-rays
attenuation correction
error cannot be > ~3%
100 μm
thick
protein

## Slide 27: Where do photons go?
beamstop
2%
transmitted
5 Å x-rays
attenuation correction
error can be ~98%
100 μm
thick
protein

## Slide 28: Where do photons go?
beamstop
96%
transmitted
5 Å x-rays
attenuation correction
error cannot be > ~4%
1 μm
thick
protein

## Slide 29: “sweet spot” for sample size ?
2 Å
2sin(90°)
3 Å
2sin(90°)
S
P
Mg
Na
C
F
N
O
Cl
Ar
K
Ca
Ne
Se
4 Å
2sin(90°)

## Slide 30: Grand Challenges in Structural Biology
Phase Problem
spots, but no maps
Amplitude Problem
    Crystals, but no spots
R-factor Gap
    Can’t/shouldn’t publish

## Slide 31: Darwin’s Formula
Ispot - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
A - attenuation correction
F0 - structure factor at T = 0
B - Debye-Waller-Ott factor
s - 0.5/d-spacing
C. G. Darwin (1914)
P A | F0e-Bs2 |2
Ispot = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 32
Disorder
Trumps
Everything!
Diffraction Take-Home Lesson:

## Slide 33: lysozyme: real and reciprocal

## Slide 34: lysozyme: thermal motion

## Slide 35: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 36: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average intensity

## Slide 37: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 38: Supporting a model with data

## Slide 39: Grand Challenges in Structural Biology
Phase Problem
spots, but no maps
Amplitude Problem
    Crystals, but no spots
R-factor Gap
    Can’t/shouldn’t publish

## Slide 40: Is this good enough?
dmax = 4.5 Å
Rcryst = 27%
Rfree = 38%

## Slide 41: Is this good enough?
3a8n 4.5 Å Rmerge = 0.15 R/Rfree = 0.306/0.396
1grz 5 Å Rmerge = 0.052 R/Rfree = 0.369/0.428
1qzv 4.44 Å Rmerge = 0.099 R/Rfree = 0.41/0.42

## Slide 42: Is this good enough?
1hvu 4.75 Å Rmerge = 0.064 R/Rfree = 0.34/0.413
2r6e 5.02 Å Rmerge = 0.058 R/Rfree = 0.394/0.397
1n8e 4.5 Å Rmerge = 0.138 R/Rfree = 0.415/0.416

## Slide 43: R-factor Gap?
Holton et al. (2014). FEBS J. 281, 4046-60.
R1 < 2*Rsigma
Publication criterion for chemical crystallography:
R1 = Fo vs Fc for I/σ(I) > 3
Rsigma = <σ(I)>/<I>
There are no PDB entries that pass this test!

## Slide 44: The R-factor Gap
MLFSOM
Elves
Rmerge = 6%
Rcryst = 17%
Rfree = 20%
multi-conformer PDB file
1H87
Holton, Classen, Frankel & Tainer (2014)."The R-factor gap in macromolecular crystallography: an untapped potential for insights on accurate structures", FEBS J. 281, 4046-4060.

## Slide 45: The R-factor Gap
MLFSOM
Elves
Rmerge = 6%
Rcryst = 7%
Rfree = 8%
multi-conformer PDB file
1H87
Holton, Classen, Frankel & Tainer (2014)."The R-factor gap in macromolecular crystallography: an untapped potential for insights on accurate structures", FEBS J. 281, 4046-4060.

## Slide 46: The R-factor Gap
MLFSOM
Elves
Rmerge = 6%
Rcryst = 7%
Rfree = 8%
single-conformer PDB file
1H87; conf “A”
Holton, Classen, Frankel & Tainer (2014)."The R-factor gap in macromolecular crystallography: an untapped potential for insights on accurate structures", FEBS J. 281, 4046-4060.

## Slide 47: Molecular Dynamics Simulation
1aho
Scorpion toxin
0.96 Å resolution
64 residues
Solvent: H20 + acetate
Cerutti et al. (2010).J. Phys. Chem. B 114, 12811-12824.
using real
crystal’s lattice

## Slide 48: 30 conformers from 24,000

## Slide 49: Electron density from 24,000 conformers

## Slide 50: Electron density from 24,000 conformers

## Slide 51: 2Fsim-Fcalc and Fsim-Fcalc maps
1.0 Å data
Rcryst= 0.137
Rfree = 0.159
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc

## Slide 52: 2Fsim-Fcalc and (Fsim Φsim) - (Fcalc Φcalc) maps
1 “sigma” 2Fsim-Fc
Fright – (2Fsim-Fc)
1.0 Å data
Rcryst= 0.137
Rfree = 0.159

## Slide 53: Regular model with real data!
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc
1.0 Å data
Rcryst= 0.116
Rfree = 0.135

## Slide 54: MD: predicted density for one atom

## Slide 55: How many conformers are there?
Answer: 40
Rcryst = 0.0506
Rfree = 0.0556
vs Fsim

## Slide 56: How many conformers are there?
Answer: 8
Rcryst = 0.0297
Rfree = 0.0293
vs Fsim

## Slide 57: How many conformers are there?
Rcryst = 0.0441
Rfree = 0.0516
vs Fsim
Answer: 2-14

## Slide 58: How many conformers are there?
Rcryst = 0.1546
Rfree = 0.1749
vs Fobs
1aho:
Rcryst = 0.1630
Rfree = n/d
Answer: 1-7

## Slide 59: How many conformers are there?
All difference
features
are in
the solvent!
real data

## Slide 60: How “rough” is the solvent?
Rcryst = 0.0309
Rfree = 0.0678
vs Fsim

## Slide 61: Grand Challenges in Structural Biology
Phase Problem
“true” multiplicity
optimum size
SINBAD for non-isomorphism?
Amplitude Problem
Disorder trumps everything
Revolution in sample handling?
R-factor Gap
2D data vs 4D models?
http://bl831.als.lbl.gov/~jamesh/powerpoint/SLAC_LCLS2_2015.pptx

## Slide 62: What good are low energies?
Carbon 284
Nitrogen 402
Oxygen 537
Fluorine 685
Neon 866
Sodium 1072
Magnesium 1304
Aluminum 1559
Silicon 1838
Phosphorous 2148
Sulfur 2475
Chlorine 2825
Argon 3205
Potassium 3610
Calcium 4041
Scandium 4495

## Slide 63: 140-fold multiplicity
SUBSET OF INTENSITY DATA WITH SIGNAL/NOISE >= -3.0 AS FUNCTION OF RESOLUTION
RESOLUTION NUMBER OF REFLECTIONS COMPLETENESS R-FACTOR R-FACTOR COMPARED I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OBSERVED UNIQUE POSSIBLE OF DATA observed expected Corr
9.17 188919 1061 1071 99.1% 3.9% 4.8% 188919 257.47 3.9% 100.0* 91* 5.024 450
6.49 356827 1933 1933 100.0% 5.2% 5.5% 356827 214.33 5.2% 100.0* 86* 3.836 882
5.30 466503 2515 2515 100.0% 7.2% 7.0% 466503 165.13 7.2% 100.0* 76* 3.257 1175
4.59 548405 2974 2974 100.0% 7.2% 6.6% 548405 175.42 7.3% 100.0* 67* 2.589 1403
4.10 615117 3353 3355 99.9% 7.7% 6.7% 615117 174.13 7.7% 100.0* 59* 2.264 1594
3.74 684947 3734 3737 99.9% 9.4% 8.3% 684947 143.09 9.4% 100.0* 49* 1.953 1783
3.47 743557 4051 4051 100.0% 11.2% 10.1% 743557 120.17 11.2% 100.0* 39* 1.696 1942
3.24 799722 4366 4366 100.0% 14.1% 13.9% 799722 91.14 14.1% 100.0* 30* 1.333 2103
3.06 839252 4598 4603 99.9% 19.5% 20.2% 839252 65.79 19.5% 100.0* 23* 1.117 2214
2.90 891398 4904 4908 99.9% 29.0% 31.7% 891398 44.85 29.1% 99.9* 17* 1.008 2369
2.77 931622 5148 5151 99.9% 40.5% 44.8% 931622 32.58 40.6% 99.8* 11* 0.901 2493
2.65 969629 5384 5387 99.9% 52.8% 58.8% 969629 25.16 52.9% 99.8* 10* 0.866 2605
2.54 997213 5574 5574 100.0% 67.4% 76.0% 997213 19.47 67.6% 99.6* 2 0.804 2705
2.45 1031222 5889 5889 100.0% 88.9% 101.2% 1031222 14.58 89.2% 99.2* 4 0.831 2859
2.37 788617 6008 6008 100.0% 109.3% 125.5% 788617 9.97 109.7% 98.1* 5 0.829 2925
2.29 614145 6252 6252 100.0% 138.2% 161.4% 614145 6.87 138.9% 96.1* 1 0.760 3037
2.22 470283 6481 6481 100.0% 197.1% 231.7% 470283 4.03 198.6% 83.5* -1 0.721 3159
2.16 259836 6629 6631 100.0% 227.3% 268.7% 259831 2.41 230.8% 46.9* -1 0.677 3224
2.10 36259 4169 6807 61.2% 154.4% 169.4% 36229 1.28 163.6% 47.0* -2 0.660 1999
2.05 13567 3372 7037 47.9% 170.1% 187.0% 13503 0.68 196.5% 25.7* 3 0.629 1578
total 12247040 88395 94730 93.3% 15.7% 16.4% 12246941 54.30 15.8% 100.0* 12* 1.217 42499
16 crystals, 360° each, inverse beam, 7235 eV AS MX1

## Slide 64
RESOLUTION COMPLETENESS R-FACTOR I/SIGMA R-meas CC(1/2) Anomal SigAno Nano
LIMIT OF DATA observed Corr
9.17 99.1% 3.9% 257.47 3.9% 100.0* 91* 5.024 450
6.49 100.0% 5.2% 214.33 5.2% 100.0* 86* 3.836 882
5.30 100.0% 7.2% 165.13 7.2% 100.0* 76* 3.257 1175
4.59 100.0% 7.2% 175.42 7.3% 100.0* 67* 2.589 1403
4.10 99.9% 7.7% 174.13 7.7% 100.0* 59* 2.264 1594
3.74 99.9% 9.4% 143.09 9.4% 100.0* 49* 1.953 1783
3.47 100.0% 11.2% 120.17 11.2% 100.0* 39* 1.696 1942
3.24 100.0% 14.1% 91.14 14.1% 100.0* 30* 1.333 2103
3.06 99.9% 19.5% 65.79 19.5% 100.0* 23* 1.117 2214
2.90 99.9% 29.0% 44.85 29.1% 99.9* 17* 1.008 2369
2.77 99.9% 40.5% 32.58 40.6% 99.8* 11* 0.901 2493
2.65 99.9% 52.8% 25.16 52.9% 99.8* 10* 0.866 2605
2.54 100.0% 67.4% 19.47 67.6% 99.6* 2 0.804 2705
2.45 100.0% 88.9% 14.58 89.2% 99.2* 4 0.831 2859
2.37 100.0% 109.3% 9.97 109.7% 98.1* 5 0.829 2925
2.29 100.0% 138.2% 6.87 138.9% 96.1* 1 0.760 3037
2.22 100.0% 197.1% 4.03 198.6% 83.5* -1 0.721 3159
2.16 100.0% 227.3% 2.41 230.8% 46.9* -1 0.677 3224
2.10 61.2% 154.4% 1.28 163.6% 47.0* -2 0.660 1999
2.05 47.9% 170.1% 0.68 196.5% 25.7* 3 0.629 1578
total 93.3% 15.7% 54.30 15.8% 100.0* 12* 1.217 42499
140-fold multiplicity: 16 crystals, 360° each, inverse beam, 7235 eV

## Slide 65: 140-fold multiplicity
18 σ
Phased anomalous difference Fourier
data Courtesy of Tom & Janet
16 σ

## Slide 66: 140-fold multiplicity
15σ = PO4
Phased anomalous difference Fourier
data Courtesy of Tom & Janet

## Slide 67: 140-fold multiplicity
~2σ = Mg?
Phased anomalous difference Fourier
data Courtesy of Tom & Janet

## Slide 68: 140-fold multiplicity
8.2σ = Mg?
DELFAN residual anomalous difference
data Courtesy of Tom & Janet

## Slide 69: Discerning Na+ from Mg++
f’’ (electrons)
DELFAN peak height (σ)
Mg
Ne
Na
F
O
N

## Slide 70: The Tool: LSLS II vs LCLS
Higher rep rate: 5 kHz vs 120 Hz
Coherent power:
200 W X-rays max
1 MHz with lower power
Self-seeding at lower energy -
Lower energy < 200eV - 5 keV vs 9.5 keV
Lower enerfy/pulse
Higher energy up to 25 keV
More stable beam 10x

## Slide 71: Molecular Dynamics Simulation
1aho
Scorpion toxin
0.96 Å resolution
64 residues
Solvent: H20 + acetate
Cerutti et al. (2010).J. Phys. Chem. B 114, 12811-12824.
using real
crystal’s lattice

## Slide 72: 30 conformers from 24,000

## Slide 73: Electron density from 24,000 conformers

## Slide 74: Electron density from 24,000 conformers

## Slide 75: 2Fsim-Fcalc and Fsim-Fcalc maps
1.0 Å data
Rcryst= 0.137
Rfree = 0.159
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc

## Slide 76: 2Fsim-Fcalc and (Fsim Φsim) - (Fcalc Φcalc) maps
1 “sigma” 2Fsim-Fc
Fright – (2Fsim-Fc)
1.0 Å data
Rcryst= 0.137
Rfree = 0.159

## Slide 77: Regular model with real data!
1 “sigma” 2Fsim-Fc
2.5 “sigma” Fsim-Fc
1.0 Å data
Rcryst= 0.116
Rfree = 0.135

## Slide 78: Darwin’s Formula
I(hkl) - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
(1+cos2(2θ) -Pfac∙cos(2Φ)sin2(2θ))/2
A - attenuation correction
exp(-μxtal∙lpath)
F(hkl) - structure amplitude (electrons)
C. G. Darwin (1914)
P A | F(hkl) |2
I(hkl) = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 79: Darwin’s Formula
I(hkl) - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
(1+cos2(2θ) -Pfac∙cos(2Φ)sin2(2θ))/2
A - attenuation correction
exp(-μxtal∙lpath)
F(hkl) - structure amplitude (electrons)
C. G. Darwin (1914)
P A | F(hkl) |2
I(hkl) = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 80: Greenhough-Helliwell Formula
ΔΦ - reflecting range (radians)
2η - mosaic spread (radians)
L - Lorentz factor (speed/speed)
θ - Bragg angle
λ - x-ray wavelength
Δλ - wavelength spread
γHV - horizontal and vertical
beam divergence (radians)
Greenhough & Helliwell (1983)
ΔΦ = L sin2θ (2η + Δλ/λ tanθ)
+ ((L2sin22θ - 1)γH2 + γV2)1/2

## Slide 81: Greenhough-Helliwell Formula
ΔΦ - reflecting range (radians)
2η - mosaic spread (radians)
L - Lorentz factor (speed/speed)
θ - Bragg angle
λ - x-ray wavelength
Δλ - wavelength spread
γHV - horizontal and vertical
beam divergence (radians)
Greenhough & Helliwell (1983)
ΔΦ = L sin2θ (2η + Δλ/λ tanθ)
+ ((L2sin22θ - 1)γH2 + γV2)1/2

## Slide 82: Darwin’s Formula
I(hkl) - photons/spot (fully-recorded)
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
Vxtal - volume of crystal (in m3)
Vcell - volume of unit cell (in m3)
λ - x-ray wavelength (in meters!)
ω - rotation speed (radians/s)
L - Lorentz factor (speed/speed)
P - polarization factor
(1+cos2(2θ) -Pfac∙cos(2Φ)sin2(2θ))/2
A - attenuation correction
exp(-μxtal∙lpath)
F(hkl) - structure amplitude (electrons)
C. G. Darwin (1914)
P A | F(hkl) |2
I(hkl) = Ibeam re2
Vxtal
Vcell
λ3 L
ωVcell

## Slide 83: The “nanocrystal advantage”
Ispot = k Ncells
Ewald sphere
range
2

## Slide 84: Fraunhofer’s Formula
Ipixel - photons/pixel/s
Ibeam - incident (photons/s/m2 )
re - classical electron radius (2.818x10-15 m)
hkl - index of pixel (a·(up+us)/λ)
a - orientation (recip. cell vectors)
up,us - unit vector pointing at pixel,source
λ - x-ray wavelength (in meters!)
N - number of cells (each direction)
Ω - solid angle of pixel (steradian)
P - polarization factor
(1+cos2(2θ) -Pfac∙cos(2Φ)sin2(2θ))/2
A - attenuation correction
exp(-μxtal∙lpath)
F(hkl) - structure amplitude (electrons)
see: Kirian et al. (2010)
P A | F(hkl) |2
sin(πN·hkl)
sin(π·hkl)
Ipixel = Ibeam re2 Ω
2

## Slide 85: fastBragg
P A | F(hkl) |2
sin(πN·hkl)
sin(π·hkl)
Ipixel = Ibeam re2 Ω
http://bl831.als.lbl.gov/~jamesh/fastBragg/

## Slide 86
Bragg, James & Bosanquet (1921). Philos. Mag. Ser. 6, 41, 309–337.

## Slide 87: What is “partiality”?
Ewald sphere

## Slide 88: What is “partiality”?
Ewald sphere

## Slide 89: nearBragg program
http://bl831.als.lbl.gov/~jamesh/nearBragg/
“assumption-free” total scattering
no Fourier Transform
no unit cells
no “mosaicity”
arbitrary “atoms”
arbitrary “source”
coherent or not

## Slide 90: square

## Slide 91: round

## Slide 92: Classes of error in MX
Dependence on signal
Time
none sqrt proportional
none
1/sqrt
1/prop.
CCD
Read-out
Photon
counting
Beam flicker
Shutter jitter
Sample vibration
Detector calibration
attenuation
partiality
Non-isomorphism
Radiation damage

## Slide 93
scattering from a crystal structure
False color intensity
sample
detector

## Slide 94
scattering from a crystal structure
False color intensity
sample
detector

## Slide 95
scattering from a crystal structure
False color intensity
sample
detector

## Slide 96: Classes of error in MX
Dependence on signal
Time
none sqrt proportional
none
1/sqrt
1/prop.
CCD
Read-out
Photon
counting
Beam flicker
Shutter jitter
Sample vibration
Detector calibration
attenuation
partiality
Non-isomorphism
Radiation damage