## Slide 1: User-Focused: Transitioning to serial and time-resolved modes
Why don’t (your friends) always use serial mode to collect data?
What question(s) would you answer with time-resolved data?
What forum would be best for communicating “gripes”? Email? Social? Anonymous?
What forum would be best for communicating results?

## Slide 2
Why not use serial?
Kabsch nXDS Acta Cryst. (2014). D70, 2204–2216
Rotation mode
Serial stills mode
same images

## Slide 3: Talking points
Why don’t (your friends) always use serial mode to collect data?
What question(s) would you answer with time-resolved data?
What forum would be best for communicating “gripes”? Email? Social? Anonymous?
What forum would be best for communicating results?

## Slide 4: Limiting factors in Serial Crystallography
Texture
Non-isomorphism
Tangling

## Slide 5
phiz
Simulation fit to XFEL still
phiy
phiz
phix
phix
phiy
VS
real
https://pmc.ncbi.nlm.nih.gov/articles/PMC11801403/
“texture”

## Slide 6: 3-cluster texture simulation

## Slide 7
Real XFEL still
Lyubimov et al. (2016).
eLife 5, e18740.

## Slide 8: Mosaic (1-cluster texture) simulation

## Slide 9
The true nature of “mosaic spread”
Lovelace JJ, Murphy CR, Pahl R, Brister K & Borgstahl GEO (2006)."Tracking reflections through cryogenic cooling with topography", J. Appl. Cryst. 39, 425-432.
Any function can be approximated by a family of Gaussians

## Slide 10
3 domains within 1°

## Slide 11
3 domains within 0.2°

## Slide 12: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 13: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 14: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
I/σ | 32 (1.1) | 19 (1.2)
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 15: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
I/σ | 32 (1.1) | 19 (1.2)
CC1/2 | 99 (69) | 99 (58)
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 16: Texture sufficient for poor stats
texture | 1 cluster | 3 clusters
Rtrue* | 4% | 16%
Rmerge | 23% | 66%
I/σ | 32 (1.1) | 19 (1.2)
CC1/2 | 99 (69) | 99 (58)
resolution | 1.55 | 1.94
500 images Results from iota: cctbx & prime
*Agreement with F value fed into simulation

## Slide 17
Chart: 
| -52.098599999999998 | -52.0319 | -51.965299999999999 | -51.898600000000002 | -52.440399999999997 | -52.373699999999999 | -52.307099999999998 | -52.240400000000001 | -52.322600000000001 | -52.255899999999997 | -52.189300000000003 | -52.122599999999998
domain 1 | 0.18748 | 0.18794 | 0.1884 | 0.188
domain 2 | 0.18826 | 0.1884 | 0.18776 | 0.18688
domain 3 | 0.18712 | 0.18775 | 0.1884 | 0.18726
Angle about y axis (°)
Fraction pixels predicted
Fitting multiple clusters is stable!
Best of
262,140 trials

## Slide 18: Prediction:
Incorporating texture
in serial data processing will
reduce image count requirement
from ~1e4 to ~100
Why? Because rotation data lack texture error

## Slide 19: Limiting factors in Serial Crystallography
Texture
Non-isomorphism
Tangling

## Slide 20: non-isomorphism

## Slide 21
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.
Same structure, different cell

## Slide 22
Same structure, different cell
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 23
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 24
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 25
Uniform stretch
5% change → 0% R

## Slide 26
5% change → 0% R
Uniform stretch

## Slide 27: non-isomorphism correction must:
be periodic
be continuous
preserve scale & zoom
preserve bonds, angles

## Slide 28: “map bender” procedure
Convert to fractional coordinates
Basis functions: spatial sin waves

## Slide 29: Basis function 1 0 0

## Slide 30: “map bender” procedure
Convert to fractional coordinates
Basis functions: spatial sin waves
  Repeats with unit cell
  Low-order h,k,l indices first
Fit function to Δx vs x,y,z across P1 cell
Repeat with Δy, Δz
Apply to PDB file and interpolate map grid
Usually 3-5 orders comparable to LSQ

## Slide 32: 3aw6

## Slide 33: 3aw6 3aw7

## Slide 34: 3aw6, 3aw7, “bent” 3aw6

## Slide 35: 3aw7, “bent” 3aw6

## Slide 36: 3aw6

## Slide 37: “bent” 3aw7

## Slide 38: 3aw7

## Slide 39
Simple
diff
map
unbent
diff
map

## Slide 40: Prediction:
Correcting non-isomorphism
will allow
infinite averaging
allowing arbitrary signal/noise
Why? Because it works for cryoEM

## Slide 41: Limiting factors in Serial Crystallography
Texture
Non-isomorphism
Tangling

## Slide 42
Local Minimum
Ground Truth
What do you mean, “tangled”?

## Slide 43
Ala39
wE=18.2
-0.3σ
-0.2σ
0.8σ
angle
N-Cα
bond
A B conformers
Sim challenge data

## Slide 44
Ala39
wE=63.5
-9σ
+11σ
5σ
angle
N-Cα
bond
A B conformers
Sim challenge data: “otw39”
It’s a TRAP!

## Slide 45
A
B
A
B
B
A
It takes two to tangle
Chemical
strain
density
fit
energy
tangled
barrier
untangled

## Slide 46: Molecular Dynamics of crystals
65
60
55
50
45
40
35
Rfree (%)
Time (ns)
unrestrained
restrained

## Slide 47: Less than 2% of atoms need restraints
1.8%
1 10 100 1000 10000 1e5 1e6
Sorted atom count
Restraint weight (kcal/Å2)
?
7
6
5
4
3
2
1
0
Rfree = 27%
no X-ray term!

## Slide 48: Most-challenged restraint

## Slide 49: Talking points
Why is Python so slow?