## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1: TomAlberTron
NIH NIGMS R01 GM124149
NIH NIAID P50 AI150476
NIH NIGMS P30 GM124169
DOE-BER Integrated Diffraction Analysis Technologies (IDAT)
NIH NIGMS P30 GM133894
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Nevan Krogan
Paul Adams John Tainer Greg Hura Nick Sauter
Aina Cohen Art Lyubimov Jeney Wierman
http://bl831.als.lbl.gov/~jamesh/powerpoint/UCLA_summit_2023.pptx

## Slide 2: Systematic Errors! … and how to eliminate them
Resolution
Non-isomorphism
Radiation Damage
Rwork vs Rsigma

## Slide 3: R-factor Gap small vs macro molecules
R1 < 2*Rsigma
Publication criterion for chemical crystallography:
R1 = Fo vs Fc for I/σ(I) > 3
Rsigma = <σ(I)>/<I>

## Slide 4: R-factor Gap
Rwork < 2*Rmerge
Publication criterion ? :
There are no PDB entries
that pass this test!
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 5
Rwork = 0.04
Rfree = 0.05
dmin = 3.5 Å
6σ = 1 e-
Simulation:
Realistic noise
“perfect” model
Hydrogen: visible at 3.5 Å resolution!

## Slide 6
Rwork: 0.0823
Rfree: 0.1106
reso: 1.0 Å
6σ
Real Data

## Slide 7
Rwork: 0.0823
Rfree: 0.1106
bond: 0.014 Å
angle: 1.92°
6σ
MoPro: 1.15
Clash: 0.49
Cβdev: 20
Rota: 1.7%
Rama: 0.03%
reso: 1.0 Å
1.2 σ

## Slide 8
0.2 σ
reso: 1.0 Å
Rwork: 0.0823
Rfree: 0.1106

## Slide 9: Why does ensemble refinement suck? (3 parameters/observation and Rwork still high!)

## Slide 10
structure factor (F)
spot index (h)
Fitting data

## Slide 11
structure factor (F)
spot index (h)
Fitting data

## Slide 12
structure factor (F)
spot index (h)
Fitting data

## Slide 13
structure factor (F)
spot index (h)
Fitting data

## Slide 14
Rwork: 0.0823
Rfree: 0.1106
bond: 0.014 Å
angle: 1.92°
6σ
MoPro: 1.15
Clash: 0.49
Cβdev: 20
Rota: 1.7%
Rama: 0.03%
reso: 1.0 Å
3 parameters
per observation!

## Slide 15
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.
Fo-Fc difference map peak height
Model building: real vs sim data

## Slide 16: Model building: real vs sim data
Holton et al. (2014) "The R-factor gap", FEBS J. 281, 4046-4060.

## Slide 17: Why does ensemble refinement suck? (3 parameters/observation and Rwork still high!) The chains are “tangled”

## Slide 18: Right answer
R = 0.8%
rms bond = 0.0002
simplest possible chain tangle

## Slide 19: swap assignments
R = 0.8%
rms bond = 0.04

## Slide 20: Refine – low x-ray weight
R = 14.3%
rms bond = 0.0002

## Slide 21: Refine – step 61
R = 6.8%
rms bond = 0.001

## Slide 22: Refine – step 62
R = 5.7%
rms bond = 0.003

## Slide 23: swap assignments
R = 1.2%
rms bond = 0.06
simplest possible chain tangle

## Slide 24: default refinement
R = 7.07%
rms bond = 0.001
simplest possible chain tangle

## Slide 25: Right answer
R = 0.8%
rms bond = 0.0002
simplest possible chain tangle

## Slide 28: What if … ?
Exactly two conformations
50:50
Geometry/energy excellent
Solvent model-able
Can correct assignments be found?
If so, what would Rfree be?
  ~4%

## Slide 29
flipme.pdb
control
Flip_1
Flip_2
Refine
Score & Sort
Multiply together:
Rwork Clashscore
VdW_Energy Cβdev
Worst & average Z-scores:
rama rotamer
sin(ω)
bonds angles planes
Chirals dihedrals
Flip_3 …
Flip_4 …

## Slide 30
Rwork: 0.1226
Rfree: 0.1385
bond: 0.0319
Angle: 3.57
MoPro: 2.12
Clash: 6.52
Cβdev: 11
Rota: 2.78
Rama: 1.61

## Slide 31
Rwork: 0.1107
Rfree: 0.1250
bond: 0.024
Angle: 4.11
MoPro: 0.89
Clash: 0.54
Cβdev: 1
Rota: 0.93
Rama: 0

## Slide 32
Rwork: 0.0815
Rfree: 0.0805
bond: 0.0101
Angle: 1.83
MoPro: 0.72
Clash: 0
Cβdev: 0
Rota: 0
Rama: 0

## Slide 33
Rwork: 0.0815
Rfree: 0.0805
bond: 0.0101
Angle: 1.83
MoPro: 0.72
Clash: 0
Cβdev: 0
Rota: 0
Rama: 0

## Slide 34
Take home:
Single-electron changes
are visible at 3.5 Å
(but only if Rfree ~ 5%)

## Slide 35: Systematic Errors! … and how to eliminate them
Resolution
Non-isomorphism
Radiation Damage
Rwork vs Rsigma

## Slide 36: Zero-dose extrapolation
Diederichs Acta Cryst (2003, 2006, 2009 )

## Slide 37
Holton (2009) J. Synchrotron Rad. 16 133-42
Radiation Damage World Records
MGy reaction reference
~45 global damage Owen et al. (2006)
10/Å global damage Howells et al. (2009)
5 Se-Met Holton (2007)
4 Hg-S Ramagopal et al. (2004)
4 R-C-COOH Garman et al. (2015)
3 S-S Murray et al. (2002)
1 Br-RNA Olieric et al. (2007)
~1? Cl-C ???
0.5 Mn in PS II Yano et al. (2005)
0.06 putidaredoxin Corbett et al. (2007)
0.02 Fe in myoglobin Denisov et al. (2007)
e-/Å2
300keV
25
5
2.7
2.2
2.2
1.7
0.6
0.6
0.3
0.03
0.01
e-/Å2
200keV
18
4
2
1.6
1.6
1.2
0.4
0.4
0.2
0.024
0.008

## Slide 38: Beam Shape Dichotomy
Flat-top beam
  Uniform dose in illuminated region
  High background (poor resolution)
Gaussian beam
  Softer edges
  High dose contrast (distortion)
Best of both?
  “dose flattening”

## Slide 40: 0 Gy

## Slide 41: 100 MGy

## Slide 42: What is the dose?
50 MGy ?

## Slide 43
Take home:
“dose contrast”
makes rad dam
Hard to correct

## Slide 44: “rastering” to find the crystal
Membrane
protein crystal
X-ray beam
ice

## Slide 45: “rastering” for flat dose

## Slide 46: “rastering” for virtual beam

## Slide 47
phi
position along crystal
360°
0°
Old way: shoot and scoot

## Slide 48
phi
position along crystal
360°
0°
Old way: shoot and scoot

## Slide 49
phi
position along crystal
360°
0°
Old way: shoot and scoot

## Slide 50
phi
position along crystal
360°
0°
phi
1080°
0°
Painting mode: raster as collection

## Slide 51
phi
position along crystal
360°
0°
phi
1080°
0°
Painting mode: raster as collection

## Slide 52
phi
position along crystal
360°
0°
phi
1080°
0°
Painting mode: raster as collection

## Slide 53
phi
position along crystal
360°
0°
phi
1080°
0°
Painting mode: raster as collection

## Slide 54: How many images?
360° / 0.1° * ( 100 µm / 1 µm )2
= 36x106
28,000 photons/image

## Slide 55: Lossless data rate
The 1.2e-5 scattered photons per incident photon can be derived form the cross section of oxygen (0.2 cm^2/g) and the rough density of protein crystals (1.2 g/cm^3), and the fact that about half of all scattered photons hit a flat detector: 0.2*1.2*1e-4/2 = 1.155e-5 That is, flux*thickness*1.2e-5 is the rate of photon arrivals and log2(pixels) is the number of bits required to store the location of one photon in the entropy-limited regime. Lossless compression cannot be better than this because individual photon arrivals are genuinely random.
bits
s
= log2(pixels) * flux * thick * 1.2x10-5
where: bits/s = entropy-limited compressed data rate
pixels = number of pixels in the detector
flux = photons/s onto the sample thick = sample thickness in microns
EG: 1e12 ph/s * 100um thick = 3.4 GBytes/s

## Slide 56: How to lose information
long exposures
  >1 photon/image = order of arrivals
Wide phi slice
  sum over angle
Large beams
  sum over profile area
Pink/divergent beam
  sum over lambda/angle
Background
  non-crystal stuff
Systematics
  Dose contrast, drift, read-out gap

## Slide 57: Dose slicing: is that a spot?

## Slide 58: Dose slicing: is that a spot?

## Slide 59: Dose slicing: is that a spot?

## Slide 60: Dose slicing: is that a spot?

## Slide 61: Dose slicing: is that a spot?

## Slide 62: Dose slicing: is that a spot?

## Slide 63
photons
0
4
time
photons
0
4
photons
0
4
time
photons
0
4
Single Photons Carry Information
About Radiation Damage

## Slide 64
Take home:
rad dam is
correctable
(if we can use weak images)

## Slide 65: Systematic Errors! … and how to eliminate them
Resolution
Non-isomorphism
Radiation Damage
Rwork vs Rsigma

## Slide 66
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.
Same structure, different cell

## Slide 67
Same structure, different cell
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 68: Non-isomorphism
is annoying
Caused by:
rad dam
humidity
temperature
Growth conditions
Cryo-cooling
Everything
means you:
can’t merge
can’t
add
can’t
subtract

## Slide 69: Cell clustering: 100 datasets
Reality:
Perfect isomorphism
(simulated data)
Holton, J. (2019). Acta Cryst. D 75, 113-122.

## Slide 70
Uniform stretch
5% change → 0%

## Slide 71
5% change → 0%
Uniform stretch

## Slide 72: Hygrostatic gradients
loop
jet
high
water activity
low

## Slide 73: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 1.70 Å
RMSD = 0.18 Å LSQ

## Slide 74: 3aw6

## Slide 75: 3aw6 3aw7

## Slide 76
Periodic Spatial Distortion Vector Field

## Slide 77: 3aw6 3aw7

## Slide 78: 3aw6, 3aw7, “bent” 3aw6

## Slide 79: 3aw7, “bent” 3aw6

## Slide 80: 3aw7

## Slide 81: “bent” 3aw7

## Slide 82: 3aw6

## Slide 83
Fobs-Fobs difference
3σ 1.8 Å
“unbent”

## Slide 84
Fobs-Fobs difference
3σ 1.8 Å
old way

## Slide 85
Take home:
Non-isomorphism
is correctable
(in real space)

## Slide 86: Systematic Errors! … and how to eliminate them
Resolution
Non-isomorphism
Radiation Damage
Rwork vs Rsigma

## Slide 87: Optimum resolution cutoff is:
Too optimistic: add nothing but noise
Too pessimistic: series-termination error
Happy medium?
Simulate:
  Random atoms, compute F2
  Add Gaussian noise, RMS = 1
  Convert back to F (French-Wilson Truncate)
  Subtract “right” map, RMS difference

## Slide 88
Chart: 
| 0.8 | 0.81 | 0.82 | 0.83 | 0.84 | 0.85 | 0.86 | 0.87 | 0.88 | 0.89 | 0.9 | 0.91 | 0.92 | 0.93 | 0.94 | 0.95 | 0.96 | 0.97 | 0.98 | 0.99 | 1 | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.08 | 1.0900000000000001 | 1.1000000000000001 | 1.1100000000000001 | 1.1200000000000001 | 1.1299999999999999 | 1.1399999999999999 | 1.1499999999999999 | 1.1599999999999999 | 1.17 | 1.18 | 1.19 | 1.2 | 1.21 | 1.22 | 1.23 | 1.24 | 1.25 | 1.26 | 1.27 | 1.28 | 1.29 | 1.3
total error | 0.0063854 | 0.006377 | 0.0063704 | 0.0063613 | 0.0063546 | 0.0063466 | 0.006339 | 0.0063331 | 0.0063281 | 0.0063218 | 0.0063169 | 0.0063122 | 0.0063076 | 0.0063035 | 0.0062986 | 0.0062952 | 0.006292 | 0.0062882 | 0.0062851 | 0.0062825 | 0.0062808 | 0.0062806 | 0.0062829 | 0.0062871 | 0.0063049 | 0.0063317 | 0.0063768 | 0.006453 | 0.00655 | 0.0067899 | 0.006935 | 0.0072772 | 0.0075335 | 0.0079267 | 0.0082267 | 0.0085917 | 0.0090308 | 0.0096403 | 0.010142 | 0.010578 | 0.011234 | 0.011798 | 0.012663 | 0.013292 | 0.013934 | 0.014784 | 0.015263 | 0.016206 | 0.01711 | 0.01817 | 0.018793
series termination | 0.0001167 | 0.00014118 | 0.00016693 | 0.00020738 | 0.00024052 | 0.00028835 | 0.00034393 | 0.00040287 | 0.00046367 | 0.00054497 | 0.00062312 | 0.00072092 | 0.00082139 | 0.00091787 | 0.0010631 | 0.0011963 | 0.0013389 | 0.0015127 | 0.0017075 | 0.0019087 | 0.0021401 | 0.0023446 | 0.0026241 | 0.0028107 | 0.0031805 | 0.0034765 | 0.0037849 | 0.0041158 | 0.0044212 | 0.0049665 | 0.0052371 | 0.0057965 | 0.0061838 | 0.0067416 | 0.0071474 | 0.0076234 | 0.0081753 | 0.0089132 | 0.0095026 | 0.010003 | 0.010739 | 0.011361 | 0.012297 | 0.012969 | 0.013647 | 0.014539 | 0.015036 | 0.016012 | 0.016942 | 0.018027 | 0.018662
noise in data | 0.0063844 | 0.0063755 | 0.0063682 | 0.0063579 | 0.0063501 | 0.0063401 | 0.0063297 | 0.0063203 | 0.0063111 | 0.0062983 | 0.0062861 | 0.0062709 | 0.0062539 | 0.0062363 | 0.0062082 | 0.0061804 | 0.0061479 | 0.0061034 | 0.0060487 | 0.0059854 | 0.0059049 | 0.0058264 | 0.0057085 | 0.0056237 | 0.0054437 | 0.0052917 | 0.0051318 | 0.0049697 | 0.0048324 | 0.0046297 | 0.0045459 | 0.0043996 | 0.0043026 | 0.0041691 | 0.0040733 | 0.0039623 | 0.0038365 | 0.0036725 | 0.0035436 | 0.0034402 | 0.0032968 | 0.0031835 | 0.0030235 | 0.002914 | 0.0028109 | 0.0026816 | 0.0026168 | 0.0024966 | 0.0023891 | 0.0022725 | 0.0022113
Resolution cutoff (Å)
Error in map (rms e-)
Optimal resolution cutoff

## Slide 89
Chart: 
| 0.8 | 0.81 | 0.82 | 0.83 | 0.84 | 0.85 | 0.86 | 0.87 | 0.88 | 0.89 | 0.9 | 0.91 | 0.92 | 0.93 | 0.94 | 0.95 | 0.96 | 0.97 | 0.98 | 0.99 | 1 | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.08 | 1.0900000000000001 | 1.1000000000000001 | 1.1100000000000001 | 1.1200000000000001 | 1.1299999999999999 | 1.1399999999999999 | 1.1499999999999999 | 1.1599999999999999 | 1.17 | 1.18 | 1.19 | 1.2 | 1.21 | 1.22 | 1.23 | 1.24 | 1.25 | 1.26 | 1.27 | 1.28 | 1.29 | 1.3
total error | 0.011234 | 0.011798 | 0.012663 | 0.013292 | 0.013934 | 0.014784 | 0.015263 | 0.016206 | 0.01711 | 0.01817 | 0.018793
CC1/2 | 0.00027543 | 0.0009316 | 0.0011407 | 0.00093939 | -0.00085547 | 8.519e-05 | 0.0017707 | 0.0018655 | 0.00044742 | -0.00083644 | -8.9753e-05 | -0.0012856 | -0.0022441 | -0.0011232 | -0.0006217 | -0.00063863 | 0.00039935 | 0.0020736 | 0.0023749 | 0.001991 | 0.0015254 | 0.0011874 | 0.0012966 | 0.0070442 | 0.010659 | 0.014306 | 0.021539 | 0.031659 | 0.044804 | 0.054608 | 0.085054 | 0.10512 | 0.15123 | 0.19219 | 0.24658 | 0.30221 | 0.374 | 0.43569 | 0.50225 | 0.58077 | 0.63948 | 0.71345 | 0.75573 | 0.79925 | 0.8353 | 0.86091 | 0.89448 | 0.91138 | 0.92903 | 0.94132 | 0.95425
CCtrue | -0.0018739 | -0.0009566 | 0.00078927 | -0.00047161 | 0.00086676 | 0.0013379 | 0.00021407 | 0.001888 | 0.0027656 | 0.0036656 | 0.0050632 | 0.0063693 | 0.0067999 | 0.010765 | 0.013871 | 0.01712 | 0.023754 | 0.030523 | 0.038896 | 0.047732 | 0.06188 | 0.078774 | 0.090571 | 0.11775 | 0.13935 | 0.1692 | 0.20286 | 0.24067 | 0.29172 | 0.32687 | 0.40014 | 0.43863 | 0.51218 | 0.56571 | 0.62646 | 0.68068 | 0.73761 | 0.77832 | 0.81873 | 0.8591 | 0.88409 | 0.9127 | 0.92782 | 0.94254 | 0.95429 | 0.96199 | 0.97176 | 0.97663 | 0.98146 | 0.98479 | 0.98825
Resolution cutoff (Å)
Correlation Coefficient
Optimal resolution cutoff

## Slide 90
Chart: 
| 0.8 | 0.81 | 0.82 | 0.83 | 0.84 | 0.85 | 0.86 | 0.87 | 0.88 | 0.89 | 0.9 | 0.91 | 0.92 | 0.93 | 0.94 | 0.95 | 0.96 | 0.97 | 0.98 | 0.99 | 1 | 1.01 | 1.02 | 1.03 | 1.04 | 1.05 | 1.06 | 1.07 | 1.08 | 1.0900000000000001 | 1.1000000000000001 | 1.1100000000000001 | 1.1200000000000001 | 1.1299999999999999 | 1.1399999999999999 | 1.1499999999999999 | 1.1599999999999999 | 1.17 | 1.18 | 1.19 | 1.2 | 1.21 | 1.22 | 1.23 | 1.24 | 1.25 | 1.26 | 1.27 | 1.28 | 1.29 | 1.3
total error | 0.011234 | 0.011798 | 0.012663 | 0.013292 | 0.013934 | 0.014784 | 0.015263 | 0.016206 | 0.01711 | 0.01817 | 0.018793
CC1/2 | 0.00027543 | 0.0009316 | 0.0011407 | 0.00093939 | -0.00085547 | 8.519e-05 | 0.0017707 | 0.0018655 | 0.00044742 | -0.00083644 | -8.9753e-05 | -0.0012856 | -0.0022441 | -0.0011232 | -0.0006217 | -0.00063863 | 0.00039935 | 0.0020736 | 0.0023749 | 0.001991 | 0.0015254 | 0.0011874 | 0.0012966 | 0.0070442 | 0.010659 | 0.014306 | 0.021539 | 0.031659 | 0.044804 | 0.054608 | 0.085054 | 0.10512 | 0.15123 | 0.19219 | 0.24658 | 0.30221 | 0.374 | 0.43569 | 0.50225 | 0.58077 | 0.63948 | 0.71345 | 0.75573 | 0.79925 | 0.8353 | 0.86091 | 0.89448 | 0.91138 | 0.92903 | 0.94132 | 0.95425
CCtrue | -0.0018739 | -0.0009566 | 0.00078927 | -0.00047161 | 0.00086676 | 0.0013379 | 0.00021407 | 0.001888 | 0.0027656 | 0.0036656 | 0.0050632 | 0.0063693 | 0.0067999 | 0.010765 | 0.013871 | 0.01712 | 0.023754 | 0.030523 | 0.038896 | 0.047732 | 0.06188 | 0.078774 | 0.090571 | 0.11775 | 0.13935 | 0.1692 | 0.20286 | 0.24067 | 0.29172 | 0.32687 | 0.40014 | 0.43863 | 0.51218 | 0.56571 | 0.62646 | 0.68068 | 0.73761 | 0.77832 | 0.81873 | 0.8591 | 0.88409 | 0.9127 | 0.92782 | 0.94254 | 0.95429 | 0.96199 | 0.97176 | 0.97663 | 0.98146 | 0.98479 | 0.98825
CC* | 0.023467 | 0.043145 | 0.047737 | 0.043325 | 0 | 0.013052 | 0.059457 | 0.061026 | 0.029907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.028256 | 0.064333 | 0.068837 | 0.063041 | 0.055192 | 0.048703 | 0.05089 | 0.11828 | 0.14523 | 0.16795 | 0.20535 | 0.24774 | 0.29286 | 0.32181 | 0.39595 | 0.43617 | 0.51257 | 0.56782 | 0.62898 | 0.68128 | 0.73783 | 0.77906 | 0.81772 | 0.8572 | 0.88323 | 0.91256 | 0.92783 | 0.94256 | 0.95408 | 0.9619 | 0.97175 | 0.97654 | 0.98143 | 0.98477 | 0.98823
Resolution cutoff (Å)
Correlation Coefficient
Optimal resolution cutoff

## Slide 91
Chart: 
log( intensity )
Wilson Plot
2.2 1.6 1.3 1.1 1.0 0.9 0.85 0.8 0.75 0.7
resolution (Å)
8
2

## Slide 92: Optimum resolution cutoff is:
0.0 Å

## Slide 93: But my reviewer says…
Rmerge in high-resolution bin is >100% !
Answer: this is expected

## Slide 94: Expected Rmerge as Iobs → 0

## Slide 95
Average value
Averaging Gaussian error
Number of samples averaged

## Slide 96
Average value
Averaging Gauss/Gauss error
Number of samples averaged

## Slide 97
Average outer-shell Rmerge
Rmerge at the resolution limit in PDB
Year

## Slide 98: Summary
Low counts/image is the future
Non-isomorphism is correctable
Untangling improves models
Hydrogens at 3.5 Å
http://bl831.als.lbl.gov/~jamesh/
powerpoint/UCLA_summit_2023.pptx