## Slide 1: Acknowledgements
UCSF LBNL SLAC
ALS 8.3.1 creator: Tom Alber
UC Multicampus Research Programs and Initiatives (MRPI)
UCSF Program for Breakthrough Biomedical Research (PBBR)
one-time NIH-DOE Inter-agency agreement (IAA)
Integrated Diffraction Analysis Technologies (IDAT)
Plexxikon, Inc.
M D Anderson CRC
Synchrotron Radiation Structural Biology Resource (SLAC)
The Advanced Light Source is supported by the Director, Office of Science, Office of Basic Energy Sciences, Materials Sciences Division, of the US Department of Energy under contract No. DE-AC02-05CH11231 at Lawrence Berkeley National Laboratory.
Robert Stroud James Fraser Aina Cohen Ana Gonzalez
Axel Brunger Monarin Uervirojnangkoorn Artem Lyubimov Nick Sauter

## Slide 2: Systematic Error vs Random Noise

## Slide 3: Reducing error with averaging
mult > (—)2
error
<ΔF/F>

## Slide 4: Partiality > 25% error per spot!
Kabsch W (2014)."Processing of X-ray snapshots from crystals in random orientations", Acta Cryst D 70, 2204-2216.

## Slide 5: The “partiality problem”
0.006°
1 μm xtal
1 Å x-rays

## Slide 6: Multiplicity required to phase
Monte Carlo
  100% /obs → 10,000 fold
nXDS
  25% /obs → 625 fold
Synchrotron
  3% /obs → 9 fold
  Assuming ΔF/F ~ 1%
Beam time:
$2/s

## Slide 7: Can’t we just rotate the crystal?
1 μm
1°
100 fs
= 90 km/s
9 nm
17.26 km/s
(90 km/s)2
0.5 μm
= 1.5 x 1015 G
= 0.5 nN

## Slide 8: Can’t we just rotate the crystal?
NO
Why do we want to rotate the crystal?

## Slide 9: The “nanocrystal advantage”
Ispot = k Ncells
Ewald sphere
range
2
caveat: 100% error!

## Slide 10: What is “partiality”?
Ewald sphere

## Slide 11: What is “partiality”?
Ewald sphere

## Slide 12
Real XFEL still

## Slide 13: fastBragg program
http://bl831.als.lbl.gov/~jamesh/fastBragg/
Optimized for nanocrystals
Square or round
Takes h,k,l and F
Supports 1 unit cell
no “mosaicity”
arbitrary “source”
arbitrary “phi” steps

## Slide 14: “fit” simulation to reality
Dispersion
Divergence
Mosaicity
Wavelength
Unit cell parameters (3)
Crystal orientation (3)
Mosaic domain size (3)
Beam center (2)
Beam direction (2)
Detector distance

## Slide 15: Simulation of XFEL stills

## Slide 16: Simulation of XFEL stills

## Slide 17
phiz
Simulation of XFEL stills
phiy
phiz
phix
phix
phiy
VS
real

## Slide 18
Angle about y axis (°)
CC to observed spots
Fitting individual “mosaic domains”
Best of
262,140 trials

## Slide 19: The “Lorentz zone”

## Slide 20: The “partiality problem”
0.006°
1 μm xtal
1 Å x-rays
Lovelace et al. (2006)."topography", J. Appl. Cryst. 39, 425-432.

## Slide 21: mosaic spread
Ewald sphere
diffracted ray
F(h,k,l)
d*
λ*
λ*
F(0,0,0)

## Slide 22: mosaic spread
Ewald sphere
diffracted ray
λ*
λ*
d*
d*
F(h,k,l)
F(0,0,0)

## Slide 23: mosaic spread = 0 º

## Slide 24: mosaic spread = 0.1º

## Slide 25: mosaic spread = 0.2º

## Slide 26: mosaic spread = 0.4º

## Slide 27: mosaic spread = 0.6º

## Slide 28: mosaic spread = 0.8º

## Slide 29: mosaic spread = 1.0º

## Slide 30: mosaic spread = 1.5º

## Slide 31: mosaic spread = 2.0º

## Slide 32: mosaic spread = 2.5º

## Slide 33: mosaic spread = 3.2º

## Slide 34: mosaic spread = 6.4º

## Slide 35: mosaic spread = 12.8º

## Slide 36: beam divergence
F(h,k,l)
F(0,0,0)
Ewald sphere
diffracted ray
d*
λ*
λ*

## Slide 37: beam divergence
Ewald sphere
λ*
λ*
F(0,0,0)
d*
diffracted ray

## Slide 38: divergence = 0 º

## Slide 39: divergence = 0.3 º

## Slide 40: spectral dispersion
Ewald sphere
diffracted ray
d*
λ*
λ*
F(h,k,l)
F(0,0,0)

## Slide 41: spectral dispersion
Ewald sphere
diffracted ray
λ’*
λ’*
F(h,k,l)
F(0,0,0)
d*

## Slide 42: dispersion = 0

## Slide 43: dispersion = 0.014% (Si 111)

## Slide 44: dispersion = 0.25% (CuKα)

## Slide 45: dispersion = 0.6%

## Slide 46: dispersion = 1.3%

## Slide 47: dispersion = 2.6%

## Slide 48: dispersion = 5.1%

## Slide 49: spot shape
Ewald sphere
diffracted ray
d*
λ’*
λ’*
Ewald sphere
diffracted ray
d*
λ*
λ*
diffracted ray
d*
Ewald sphere
λ*
λ*
Ewald sphere
diffracted rays
d*
d*

## Slide 50: 0 mrad, 0.0% bw

## Slide 51: 1 mrad, 0.1% bw

## Slide 52
Simulation of XFEL stills
Beam center from autoindexing
Sauter (2015). JSR 22, 239.

## Slide 53
Simulation of XFEL stills
Beam center from autoindexing
Sauter (2015). JSR 22, 239.
Color is
time

## Slide 54: Sanity check on beam position?
~1000 m
0.3 m
100 μm
~1 m
pinhole

## Slide 55: Can’t we just widen the bandpass?

## Slide 56: Si(111) vs multilayers
0.014%
Si(111)
1%
multilayer
4 Å
1.9 Å
resolution
spectral
dispersion

## Slide 57: Wide-bandpass MX?
Mono | Si(111) | multilayer | Difference (%) | good
Energy (eV) | 11111 | 12027.5 | +8.2 | Same
Scale | 1.0000 | 1.0964 | +9.6 | Yes
Rmerge (%) | 7.5 | 8.4 | +12 | No
Ranom (%) | 5.6 | 5.5 | -1.8 | Same
I/sd | 13.2 | 12.3 | -6.8 | Same
I/sd (1.5Å) | 2.3 | 1.8 | -21.7 | No
Ano Patt | 5.96 | 4.75 | -20.3 | Same
Ano Phased | 41 | 39.33 | -4.1 | Same
FOM | 0.238 | 0.192 | -19.3 | Same
CC | 0.555 | 0.647 | -6.1 | Yes
Rcryst (%) | 26.70 | 26.48 | -0.2 | Same
Ligand peak | 8.213 | 8.250 | +0.4 | Same

## Slide 58: Wide bandpass reveals mosaicity from a still
Snell EH, Weisgerber S, Helliwell JR, Holzer K & Schroer K (1995)."Improvements in lysozyme protein crystal perfection through microgravity growth", Acta crystallographica. Section D, Biological crystallography 51, 1099-1102.
low mosaic
high mosaic
Δradial = 2ηD/cos22θ

## Slide 59: Narrow bandpass does not improve anomalous signal
Chart: Photon energy (eV)
| 12656 | 12657 | 12658 | 12658.1 | 12658.2 | 12658.6 | 12658.9 | 12659 | 12659.1 | 12659.2 | 12659.3 | 12659.4 | 12659.6 | 12659.7 | 12659.9 | 12660.4 | 12660.5 | 12660.6 | 12661 | 12656 | 12657 | 12658 | 12658.1 | 12658.2 | 12658.6 | 12658.9 | 12659 | 12659.1 | 12659.2 | 12659.3 | 12659.4 | 12659.6 | 12659.7 | 12659.9 | 12660.4 | 12660.5 | 12660.6 | 12661
I(+) | 159900 | 171800 | 190300 | 193800 | 195000 | 228800 | 232700 | 240200 | 253200 | 241400 | 260200 | 267800 | 243300 | 256400 | 251000 | 260200 | 233100 | 234600 | 247000
I(-) | 131500 | 100900 | 81560 | 76100 | 83960 | 69860 | 50120 | 60980 | 74270 | 66830 | 85140 | 76810 | 82330 | 69980 | 103800 | 106000 | 89630 | 108800 | 110400
vertical
divergence
(240 μRad)
100 μm
pinhole
Si(333)
Si(333)
Al
absorber
1rb5
h,k,l = 5,5,0

## Slide 60
Photon Energy (eV)
Anomalous f” (electrons)
2472.7 2473.5
Bohic et al. Anal. Chem. 2008; 80(24):9557. doi: 10.1021/ac801817k

## Slide 61: S-MAD Sample size Dilemma

## Slide 62
Ewald sphere 2
diffracted ray
λ*
λ*
θ
1
Ewald sphere
λ*
(h,k,l)
diffracted ray
λ*
θ
d*
(-h,-k,-l)
d*

## Slide 63
h,k,l
-h,-k,-l
Detector
Detector
Detector
Detector
λ = 5 Å
sample
injector
Si(111)
52.87deg
Si(111)
Si(111)
Si(111)
Si(111)
Si(111)
2 Multilayer mirrors
d=2nm, W/B4C
KB Horiz focus
KB vertical focus
~ 1m
Notes: Proposed 5-crystal monochromator for colliding-beam crystallography. The generation of two opposing Ewald spheres means that for every h,k,l index reflected from the protein crystal, the Friedel mate is reflected in the opposite direction, allowing for very accurate anomalous difference measurements. The wavelength need not be set precisely at the sulfur or phosphorous edge, but merely at a wavelength where the f” of those elements are strong. For fs-class pulses, the distances above will have to be precise to withing ~3 microns, and for accurate reproduction of the partiality of the Friedel mates, the angular precision of the colliding beams must be within ~1% of the sample crystal’s rocking width, or ~100 microrads.

## Slide 64: “sweet spot” for sample size ?
2 Å
2sin(90°)
3 Å
2sin(90°)
S
P
Mg
Na
C
F
N
O
Cl
Ar
K
Ca
Ne
Se
4 Å
2sin(90°)

## Slide 65: ALS-U: Small, soft beams

## Slide 66: ALS-U: Small, soft beams
Diamond
($100, reusable)

## Slide 67: ALS-U: Small, soft beams
Diamond
($100, reusable)
oil ?

## Slide 68: ALS-U: Small, soft beams
Diamond
($100, reusable)
oil ?

## Slide 69: ALS-U: Small, soft beams
oil ?
λ=2d sinθ
2.5 Å data
with 5 Å X-rays
Only analytic absorption correction:
International Tables for Crystallography, Vol. C, 2nd ed., chapter 6.3

## Slide 70: Pilatus pile-up for RT MX: same photons, different speeds
Collaboroators:
Aina Cohen
Ana Gonzalez

## Slide 71: Pilatus pile-up for RT MX: same photons, different speeds
Collaboroators:
Aina Cohen
Ana Gonzalez

## Slide 72: Pilatus pile-up for RT MX: same photons, different speeds
Collaboroators:
Aina Cohen
Ana Gonzalez

## Slide 73: What are these?

## Slide 74: X-ray scattering “rules”:
1 μm crystal ≈ 1 μm water
≈ 1 μm plastic
≈ 0.1 μm glass
≈ 1000 μm air
~ 50 mm He
≈ 370 mm sat water vapor @ 4C
Optimum: support thickness = crystal thickness

## Slide 75
The number of photons scattered
before crystal is dead
is independent
of data collection time
1 um3 = 105 photons (roomT)
1 um3 = 106 photons (synch)
1 um3 = 108 photons (XFEL)
Henderson, 1990; Gonzalez & Nave, 1994; Glaeser et al., 2000; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006; Garman & McSweeney, 2006; Garman & Nave, 2009; Holton, 2009
(synch)

## Slide 76
Where:
IDL - average damage-limited intensity (photons/hkl) at a given resolution
105 - converting R from μm to m, re from m to Å, ρ from g/cm3 to kg/m3 and MGy to Gy
re - classical electron radius (2.818 x 10-15 m/electron)
h - Planck’s constant (6.626 x 10-34 J∙s)
c - speed of light (299792458 m/s)
fdecayed - fractional progress toward completely faded spots at end of data set
ρ - density of crystal (~1.2 g/cm3)
R - radius of the spherical crystal (μm)
λ - X-ray wavelength (Å)
fNH - the Nave & Hill (2005) dose capture fraction (1 for large crystals)
nASU - number of proteins in the asymmetric unit
Mr - molecular weight of the protein (Daltons or g/mol)
VM - Matthews’s coefficient (~2.4 Å3/Dalton)
H - Howells’s criterion (10 MGy/Å)
θ - Bragg angle
a2 - number-averaged squared structure factor per protein atom (electron2)
Ma - number-averaged atomic weight of a protein atom (~7.1 Daltons)
B - average (Wilson) temperature factor (Å2)
μ - attenuation coefficient of sphere material (m-1)
μen - mass energy-absorption coefficient of sphere material (m-1)
Self-calibrated damage limit
Holton & Frankel (2010) Acta D 66 393-408.
No flux
No symmetry

## Slide 77
Crystal diameter (micron)
Resolution (Å)
B = 0
B = 20
B = 60
B = 170
B = 330
B = 560
B = 850
Bigger is better, but not by much

## Slide 78: B factor from image analysis
B = 500

## Slide 79: B factor from image analysis
B = 20

## Slide 80
Home Lab Resolution (Å)
Synchrotron Resolution (Å)
Predicting resolution limits

## Slide 81
Synchrotron Resolution (Å)
XFEL Resolution (Å)
Predicting resolution limits

## Slide 82: Muybridge’s galloping horse (1878)
Real space
reciprocal
“Time-resolved” diffraction

## Slide 83: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density

## Slide 84: Muybridge’s galloping horse (1878)
Real space
reciprocal
Average electron density: 1 sigma contour

## Slide 85: lysozyme: real and reciprocal

## Slide 86: lysozyme: thermal motion

## Slide 87: URL Summary
25% error from partiality
Phasing limited by relative error
Resolution limited by disorder
“wet vacuum” for bio samples?
Conventional PAD at XFEL?
How do we make our molecules sit still?
http://bl831.als.lbl.gov/~jamesh/powerpoint/
UCSF_partiality_2016.pptx
http://bl831.als.lbl.gov/~jamesh/bin_stuff/
http://bl831.als.lbl.gov/~jamesh/mlfsom/

## Slide 88: How much H2 are we making?
Meents et al. (2010) claimed:
"400 molecules of H2 for every 12.5 keV photon“
= 3.3x10-7 mol/J
200 kGy to 100 um3 = 0.24 J
= 1.2x10-8 mol H2
100 um3 of water = 6.7x10-8 mol
→ 18% of water has reacted!

## Slide 89: xtal5_t1
Crystal “shrinks?” at 764 kGy/s

## Slide 90: xtal5_t2
Crystal “shrinks?” at 764 kGy/s

## Slide 91: Xtal5_t1 graph
Spot intensity
seconds

## Slide 92: Xtal4_t1
No bubbles? 764 kGy/s

## Slide 93: Xtal5_t1 graph