## Slide 1: non-isomorphism

## Slide 2
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.
Same structure, different cell

## Slide 3
Same structure, different cell
0.5% cell change → 15%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 4
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 5
Same cell, rotated protein
0.5° rotation → 16%
Crick & Magdoff (1956) “theory method isomorphous replacement”, Acta Cryst. 9, 901-8.

## Slide 6
Uniform stretch
5% change → 0%

## Slide 7
5% change → 0%
Uniform stretch

## Slide 8: Non-isomorphism in lysozyme
RH: 84.2%
vs 71.9%
Riso = 44.5%
3aw6
3aw7
Δcell = 0.7 %
RMSD = 1.70 Å
RMSD = 0.18 Å

## Slide 9: “map bender” procedure
Convert to fractional coordinates
Basis functions: spatial sin waves

## Slide 10: Basis function 1 0 0

## Slide 11: “map bender” procedure
Convert to fractional coordinates
Basis functions: spatial sin waves
  Repeats with unit cell
  Low-order h,k,l indices first
Fit function to Δx vs x,y,z across P1 cell
Repeat with Δy, Δz
Apply to PDB file and interpolate map grid
Usually 3-5 orders comparable to LSQ

## Slide 13: 3aw6

## Slide 14: 3aw6 3aw7

## Slide 15: 3aw6, 3aw7, “bent” 3aw6

## Slide 16: 3aw7, “bent” 3aw6

## Slide 17: 3aw6

## Slide 18: “bent” 3aw7

## Slide 19: 3aw7

## Slide 20: Structure Factor Equation
Fhkl = fatom exp(-2π i (hx + ky + lz))
Σ
= fatom (-2π i hx) exp(-2π i (hx + ky + lz))
Σ
dFhkl
dx

## Slide 21: Bragg’s “minimum wavelength principle”
Perutz (1985). “Early Days of Cryst…” Methods in Enzymology, Vol. 114, 3-18.
Bragg & Perutz (1952)."external form haemoglobin I", Acta Cryst. 5, 277-283.

## Slide 22: DMMULTI – fake data 4 deg rotation: 8 “xtals”: before
CC = 0.02

## Slide 23
CC = 0.8
DMMULTI – fake data 4 deg rotation: 8 “xtals”: after

## Slide 24
h,k,l | structure factors (F) |  |  | 
 | #1 | #2 | #3 | #4
5,3,4 | 523.7 | 559.8 | 579.9 | 603.2
5,4,4 | 168.2 | 166.6 | 177.2 | 196.1
5,5,4 | 34.9 | 26.4 | 19.2 | 17.3
6,1,4 | 305.7 | 301.1 | 298.1 | 296.3
6,2,4 | 353.0 | 353.9 | 356.2 | 366.9
6,3,4 | 300.9 | 285.3 | 273.5 | 259.4
6,3,5 | 223.8 | 226.3 | 234.6 | 251.4
… | … | … | … | …
X-ray Data Sets
h,k,l | 100% | 17 % | 13 % | 9 %
 | 1st | 2nd | 3rd | 4th
5,3,4 | -1.46 | -0.02 | 1.84 | -0.72
5,4,4 | -0.88 | -0.29 | -0.34 | 0.15
5,5,4 | -0.42 | -0.65 | 1.02 | 1.47
6,1,4 | -0.90 | -0.85 | 1.44 | -0.40
6,2,4 | -1.20 | -0.37 | 0.67 | 0.01
6,3,4 | -0.75 | 0.31 | 0.48 | 0.00
6,3,5 | -0.75 | -0.85 | 0.72 | -0.82
… | … | … | … | …
data
set
Singular value decomp.
SVD
vector
value
Singular values & vectors
Correlation
Coefficients
-0.68
CC2
CC3
CC1
CC1 CC2 CC3
data set #1
Data sets
Positioned
in
“Correlation
Space”
-0.24
data set #2
data set #3
0.32 …

## Slide 26
Correlation to 2nd & 3rd singular vectors
Structure factor (electrons)

## Slide 27
Correlation to 2nd & 3rd singular vectors
Structure factor (electrons)

## Slide 28
Correlation to 2nd & 3rd singular vectors
Structure factor (electrons)

## Slide 29: Fo – Fc maps

## Slide 30
Fo – Fo maps

## Slide 31
Dear James
The story of the two forms of lysozyme crystals goes back to about 1964 when it was found that the diffraction patterns from different crystals could be placed in one of two classes depending on their intensities. This discovery was a big set back at the time and I can remember a lecture title being changed from the 'The structure of lysozyme' to 'The structure of lysozyme two steps forward and one step back'. Thereafter the crystals were screened based on intensities of the (11,11,l) rows to distinguish them (e.g. 11,11,4 > 11,11,5 in one form and vice versa in another). Data were collected only for those that fulfilled the Type II criteria. (These reflections were easy to measure on the linear diffractometer because crystals were mounted to rotate about the diagonal axis). As I recall both Type I and Type II could be found in the same crystallisation batch . Although sometimes the external morphology allowed recognition this was not infallible.
The structure was based on Type II crystals. Later a graduate student Helen Handoll examined Type I. The work, which was in the early days and before refinement programmes, seemed to suggest that the differences lay in the arrangement of water or chloride molecules (Lysozyme was crystallised from NaCl). But the work was never written up. Keith Wilson at one stage was following this up as lysozyme was being used to test data collection strategies but I do not know the outcome.
An account of this is given in International Table Volume F (Rossmann and Arnold edited 2001) p760.
Tony North was much involved in sorting this out and if you wanted more info he would be the person to contact. I hope this is helpful. Do let me know if you need more.
Best wishes
Louise
Non-isomorphism in lysozyme

## Slide 32: Dehydration: 1934
100 μm
2 mm
= 1.5 μL
= 1.0 nL
10 μm
= 1.0 pL
and 2017?
1 μm
= 1.0 fL

## Slide 33
Chart: 
Number of conformers
R factor (%)
“deconform” cypA 100K

## Slide 34
Chart: 
Number of conformers
R factor (%)
“deconform” cypA 300K