## Slide 1: Same total photons, different detectors
Integrated photons in spot
Exposure time (seconds) for 1° osc
100 20 10 6.7 5
Incident beam transmittance (%)

## Slide 2: What could be better than photon-counting?
Count rate (photons/s)
phi position (degrees)
Dead times:
1000 ns Oxford
200 ns Pilatus

## Slide 3: What could be better than photon-counting?
Count rate (photons/s)
phi position (degrees)
Dead times:
1000 ns Oxford
200 ns Pilatus

## Slide 4: What is a “streak camera”?

## Slide 7: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 8: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 9: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 10: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 11: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 12: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 13: Individual spots at 768 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 14: Double-tap: no dark progression at 675 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 15: Double-tap: no dark progression at 675 kGy/s
Intensity (photons)
Dose (kGy)

## Slide 16: Slow wiggle

## Slide 17: Dose rate: same spot, same xtal
Intensity (photons)
Dose (kGy)

## Slide 18: Dose rate: same spot, same xtal
Intensity (photons)
Dose (kGy)

## Slide 19: Dose rate: same spot, same xtal
Intensity (photons)
Dose (kGy)

## Slide 20: Dose rate: same spot, same xtal
Intensity (photons)
Dose (kGy)

## Slide 21: Dose rate: same spot, same xtal
Intensity (photons)
Dose (kGy)

## Slide 22: Dose rate: same spot, same xtal
Intensity (photons)
Dose (kGy)

## Slide 23: Xtal12 before & after
morphological dose-rate effect?
110 kGy/s
720 kGy/s

## Slide 24: Xtal4_t1
Solvent “reaction” at 764 kGy/s

## Slide 25: xtal4_t2
Solvent “reaction” at 764 kGy/s

## Slide 26: xtal5_t1
Crystal “shrinks?” at 764 kGy/s

## Slide 27: xtal5_t2
Crystal “shrinks?” at 764 kGy/s

## Slide 28: xtal12
Double tap: 0.4 s on + 1 s off + on again

## Slide 29: xtal13
Double tap: 0.4 s on + 1 s off + on again

## Slide 30: xtal13
Double tap: 0.4 s on + 1 s off + on again

## Slide 31: xtal14
Double tap: 0.4 s on + 1 s off + on again

## Slide 32: xtal15
Double tap lite: 5 s on + 12.6 s off + on again

## Slide 33: xtal16

## Slide 34: xtal17

## Slide 35: xtal18

## Slide 36: xtal24big

## Slide 37: Xtal24big_t2

## Slide 38: Xtal5_t1 graph

## Slide 39: Xtal5_t1 graph
Spot intensity
seconds